## Menu
Annual Planning Outlook
Supply, Adequacy and Energy Outlook Module Data
December 2021
Chapter 1: Supply Outlook
Figure 1: 2022 Installed Capacity
Figure 2: Summer and Winter Capacity Contribution
Chapter 2: Capacity Adequacy Outlook
Figure 3: Planning Reserve for Nuclear Refurbishment, Summer
Figure 4: Planning Reserve for Nuclear Refurbishment, Winter
Table 1: Summer LOLE Allocation
Table 2: Winter LOLE Allocation
Figure 5: Impact of 2021 APO LOLE allocation vs. Long-Run Assumption, Summer
Figure 6: Impact of 2021 APO LOLE allocation vs. Long-Run Assumption, Winter
Table 3: Zones and Defining Interfaces
Table 4: Transmission Transfer Capabilities (2023-2042)
Figure 8: Hourly Probability of Loss of Load, Summer of 2026
Figure 9: Hourly Probability of Loss of Load, Winter of 2026
Chapter 3: Energy Adequacy Outlook
Table 5: Henry Hub, Dawn Natural Gas Prices and Exchange Rate

## Figure 1
Back to main menu
Figure 1: 2022 Installed Capacity (MW)
Category | Installed Capacity
Transmission Connected Resources | 36531
Distribution Connected Resources | 3743
Back to main menu

## Figure 2
Back to main menu
Figure 2: Summer and Winter Capacity Contribution (%)
Fuel Type | Summer Capacity Contribution Factor | Winter Capacity Contribution Factor
Nuclear | 94% | 95%
Hydroelectric | 70% | 77%
Wind | 13% | 38%
Solar | 33% | 5%
Bioenergy | 92% | 92%
Gas/Oil | 81% | 88%
Demand Response | 69% | 78%
Back to main menu

## Figure 3
Back to main menu
Figure 3: Planning Reserve for Nuclear Refurbishment, Summer (MW)
Scenario | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
2021 APO | 167 | 287 | 492 | 76 | 187 | 139 | 646 | 56 | 544 | 43 | 544 | 43 | 16 | 1 | 1 | 1 | 1 | 1 | 1 | 1
Back to main menu

## Figure 4
Back to main menu
Figure 4: Planning Reserve for Nuclear Refurbishment, Winter (MW)
Scenario | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2031/2032 | 2032/2033 | 2033/2034 | 2034/2035 | 2035/2036 | 2036/2037 | 2037/2038 | 2038/2039 | 2040/2041 | 2041/2042 | 2039/2042
2021 APO | 333 | 59 | 121 | 668 | 624 | 55 | 350 | 20 | 186 | 16 | 193 | 31 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Back to main menu

## Table 1
Back to main menu
Table 1: Summer LOLE Allocation (days/year)
Scenario | 2023 | 2024 | 2025 | 2026-2046
Target LOLE | 0.09 | 0.09 | 0.09 | 0.06
Back to main menu

## Table 2
Back to main menu
Table 1: Winter LOLE Allocation (days/year)
Scenario | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 - 2041/2042
Target LOLE | 0.01 | 0.01 | 0.01 | 0.04
Back to main menu

## Figure 5
Back to main menu
Figure 5: Impact of 2021 APO LOLE allocation vs. Long-Run Assumption, Summer (MW)
Scenario | 2023 | 2024 | 2025
2021 APO - 0.09 | 212 | 161 | -1796
2021 APO - 0.06 | -31 | -97 | -2062
Back to main menu

## Figure 6
Back to main menu
Figure 6: Impact of 2021 APO LOLE allocation vs. Long-Run Assumption, Winter (MW)
Scenario | 2023/2024 | 2024/2025 | 2025/2026
2021 APO - 0.01 | 1087 | 927 | -1621
2021 APO - 0.04 | 1693 | 1466 | -1070
Back to main menu

## Table 3
Back to main menu
Table 3: Zones and Defining Interfaces
Area | Interface
Bruce | FABC
Niagara | QFW
Northwest | E-W
West | BLIP
Toronto+Essa+East+Ottawa | FETT, FN/FS
Northeast+Northwest | E-W, FN/FS
Bruce+West+Niagara+Southwest | FABC, BLIP, FETT, QFW
Back to main menu

## Table 4
Back to main menu
Table 4: Transmission Transfer Capabilities (2023-2042)
Interface | Positive Direction Interface Transfer Capability (MW) | Negative Direction Interface Transfer Capability (MW)
E-W | 500 | 350
FABC | 9999 | 9999
BLIP | Ranges from 2,020 to 3,700 | Ranges from 570 to 1,550
QFW | 2400 | 9999
FETT | Ranges from 4,700 to 7,350 | 9999
TEC | 9999 | 9999
FIO | 2950 | 9999
FN/FS | 1850 | 1750
CLAN | 9999 | 9999
Back to main menu

## Figure 8
Back to main menu
Figure 8: Hourly Probability of Loss of Load, Summer of 2026
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
May | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
June | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.01 | 0.01 | 0 | 0
July | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.02 | 0.03 | 0.05 | 0.06 | 0.07 | 0.08 | 0.09 | 0.11 | 0.14 | 0.16 | 0.17 | 0.17 | 0.14 | 0.1 | 0.06 | 0.03
August | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.02 | 0.03 | 0.04 | 0.05 | 0.06 | 0.05 | 0.04 | 0.03 | 0.03 | 0.01 | 0
September | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.04 | 0.05 | 0.04 | 0.03 | 0.04 | 0.02 | 0.01 | 0
October | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Figure 9
Back to main menu
Figure 9: Hourly Probability of Loss of Load, Winter of 2026
Month | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
January | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.03 | 0.03 | 0.03 | 0.02 | 0.01 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Table 5
Back to main menu
Table 5: Henry Hub, Dawn Natural Gas Prices and Exchange Rate
Year | Henry Hub ($USD/MMBtu) | USD/CAD Exchange Rate | Dawn ($CAD/MMbtu)
2023 and onward | 2.83 | 0.8 | 3.38
Back to main menu