## Menu
Annual Planning Outlook
Data Tables
March 2024
Chapter 2: Demand Forecast
Figure 2 ¦ Annual Energy Demand
Figure 3 ¦ Seasonal Peak Demand
Figure 4 ¦ Mid-Summer Business Day: Hourly Profile
Figure 5 ¦ Mid-Winter Business Day: Hourly Profile
Figure 6 ¦ Historical Energy Demand
Figure 7 ¦ Annual Energy Demand by Forecast
Figure 8 ¦ Seasonal Peak Demand by Forecast
Chapter 3: Supply Outlook and Transmission Assumptions
Figure 9 ¦ 2024 Installed Capacity by Fuel Type
Table 2 ¦ Ontario’s Summer and Winter Effective Capacity by End of 2024
Figure 10 ¦ Installed Capacity (As Is Case)
Figure 11 ¦ Installed Capacity (High Nuclear Case)
Figure 12 ¦ Summer Effective Capacity (As Is Case)
Figure 13 ¦ Summer Effective Capacity (High Nuclear Case)
Figure 14 ¦ Winter Effective Capacity (As Is Case)
Figure 15 ¦ Winter Effective Capacity (High Nuclear Case)
Figure 16 ¦ Nuclear Refurbishment and Retirement Schedule
Figure 17 ¦ Summer Refurbishment Outages
Figure 18: Existing Resources Post-Contract Expiry by Fuel Type
Figure 19: Summer Effective Post-Contract Expiry by Fuel Type (Existing Resources)
Figure 20: Winter Effective Post-Contract Expiry by Fuel Type (Existing Resources)
Chapter 4: Resource Adequacy
Table 4: Five-Year Reserve Margin (High Nuclear Case)
Figure 23: Reserve Margin Requirement, 2024-2050
Figure 24: Summer Capacity Surplus/Deficit (MW)
Figure 25: Winter Capacity Surplus/Deficit (MW)
Figure 26: Energy Adequacy Outlook (As Is Case)
Figure 27: Energy Adequacy Outlook (High Nuclear Case)
Figure 28: Potential Unserved Energy (GWh)
Figure 29: Capacity Factor of Need Requirements
Chapter 6: Operability
Figure 30: Forecasted Incremental Regulation Needs, in MW
Chapter 8: Integrated Reliability Needs
Figure 31: Integrated Capacity Needs
Figure 32: Integrated Energy Needs
Chapter 9: Planned Actions
Figure 34: Capacity Auction Forward Guidance
Figure 35: Remaining Capacity Needs and Potential Future Procurement Actions
Figure 36: Remaining Energy Needs and Potential Future Procurement Actions, in TWh
Note: Most figures in this file are rounded; accordingly, some totals may not add up precisely.
Updated on March 28, 2024: A previous version of this report misstated the forecasted energy production of natural gas resources from 2035-2042. Values in the corresponding energy figures and data tables have been corrected.

## Figure 2
Back to main menu
Figure 2 ¦ Annual Energy Demand
Net Annual Energy Demand (TWh), By Sector, By Year
Sector | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Residential Sector | 50.07 | 50.66 | 51.24 | 51.75 | 51.78 | 52 | 52.53 | 53.36 | 54.24 | 55.09 | 55.84 | 56.43 | 56.93 | 57.53 | 58.09 | 58.78 | 58.91 | 59.18 | 59.55 | 60.11 | 60.37 | 60.8 | 61.19 | 61.74 | 61.97 | 62.38
Commercial Sector | 49.32 | 49.81 | 49.54 | 50.03 | 51.04 | 51.59 | 52.2 | 53.07 | 53.6 | 53.83 | 54.45 | 55.09 | 55.42 | 56.14 | 56.64 | 57.27 | 57.67 | 58.15 | 58.55 | 59.15 | 59.36 | 59.99 | 60.48 | 61.07 | 61.3 | 61.78
Industrial Sector | 41.94 | 46.43 | 49.51 | 51.13 | 53.89 | 54.41 | 54.94 | 54.63 | 54.53 | 54.64 | 54.63 | 53.91 | 53.55 | 53.38 | 53.41 | 53.99 | 53.74 | 54.05 | 54.51 | 55.19 | 56.3 | 57.14 | 57.63 | 58.78 | 60.35 | 62.95
Agricultural Sector | 4.88 | 5.28 | 5.72 | 6.18 | 6.56 | 6.96 | 7.28 | 7.71 | 7.92 | 7.93 | 7.97 | 7.99 | 7.94 | 7.94 | 7.93 | 7.95 | 7.99 | 7.97 | 7.95 | 7.97 | 7.93 | 7.99 | 7.99 | 8 | 7.95 | 7.94
Transportation Sector | 2.18 | 3 | 3.97 | 5.56 | 7.56 | 10.29 | 12.61 | 15.36 | 18.02 | 20.79 | 23.87 | 26.64 | 28.99 | 31.23 | 33.18 | 35.02 | 36.63 | 37.97 | 39.2 | 40.29 | 41.08 | 42.05 | 42.62 | 43.3 | 43.56 | 43.89
Other Electricity Demand | 5.46 | 5.5 | 5.55 | 5.6 | 5.62 | 5.66 | 5.69 | 5.74 | 5.76 | 5.79 | 5.82 | 5.87 | 5.89 | 5.94 | 5.98 | 6.03 | 6.05 | 6.09 | 6.13 | 6.19 | 6.21 | 6.25 | 6.29 | 6.35 | 6.38 | 6.42
Total | 153.86 | 160.68 | 165.52 | 170.25 | 176.46 | 180.91 | 185.26 | 189.87 | 194.08 | 198.08 | 202.57 | 205.94 | 208.73 | 212.16 | 215.23 | 219.04 | 220.98 | 223.41 | 225.89 | 228.9 | 231.27 | 234.22 | 236.2 | 239.24 | 241.5 | 245.37
Back to main menu

## Figure 3
Back to main menu
Figure 3 ¦ Seasonal Peak Demand
Net Annual Peak Demand (GW), By Season, By Year
Season | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Summer | 24.64 | 25.12 | 25.4 | 25.75 | 26.49 | 26.94 | 27.49 | 28.47 | 28.96 | 29.29 | 29.65 | 30.05 | 30.42 | 31.08 | 31.51 | 31.83 | 32.2 | 32.67 | 33.08 | 33.35 | 33.51 | 33.74 | 34.07 | 34.32 | 34.71 | 34.97
Winter | 23.18 | 23.93 | 24.52 | 25.16 | 26.04 | 26.62 | 27.32 | 28.16 | 28.86 | 28.94 | 29.36 | 29.87 | 30.48 | 30.93 | 31.26 | 31.9 | 32.11 | 32.61 | 32.76 | 33.29 | 33.54 | 33.89 | 34.2 | 34.68 | 35.05 | 35.48
Back to main menu

## Figure 4
Back to main menu
Figure 4 ¦ Mid-Summer Business Day: Hourly Profile
Net Hourly Energy Demand (GW), by Metric, By Hour Ending
Metric | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2025 Hourly Minimum | 13.36 | 13.12 | 13 | 13.04 | 13.4 | 14.3 | 15.48 | 16.54 | 17.63 | 18.14 | 18.47 | 18.68 | 18.83 | 18.9 | 18.98 | 19.1 | 19.14 | 18.73 | 18.44 | 17.93 | 17.05 | 16.39 | 15.25 | 14.19
2025 Hourly Median | 15.34 | 14.76 | 14.37 | 14.29 | 14.54 | 15.54 | 16.77 | 18.02 | 19.14 | 19.87 | 20.53 | 20.85 | 21.2 | 21.3 | 21.37 | 21.48 | 21.52 | 20.94 | 20.37 | 20.02 | 19.63 | 18.6 | 17.27 | 16.17
2025 Hourly Maximum | 17.34 | 16.56 | 16.02 | 15.85 | 16.08 | 17.29 | 18.5 | 19.83 | 21.26 | 22.48 | 23.48 | 23.98 | 24.29 | 24.41 | 24.53 | 24.51 | 24.52 | 24.19 | 23.82 | 23.23 | 22.66 | 21.8 | 20.14 | 18.74
2050 Hourly Minimum | 24.23 | 24.47 | 24.28 | 24.08 | 24.18 | 24.56 | 25.14 | 25.78 | 26.17 | 26.21 | 26.38 | 27.11 | 27.31 | 27.45 | 27.88 | 28.47 | 28.43 | 28.47 | 27.18 | 26.66 | 25.6 | 25.22 | 24.72 | 24.17
2050 Hourly Median | 25.95 | 25.75 | 25.47 | 25.32 | 25.68 | 26.2 | 26.87 | 27.4 | 27.9 | 28.14 | 28.46 | 29.17 | 29.55 | 29.77 | 30.31 | 30.92 | 30.87 | 30.64 | 29.53 | 28.91 | 28.12 | 27.63 | 27.08 | 26.46
2050 Hourly Maximum | 27.8 | 27.43 | 27.19 | 27.02 | 27.22 | 27.76 | 28.34 | 28.91 | 29.95 | 30.82 | 31.68 | 32.85 | 33.72 | 34.34 | 34.71 | 34.97 | 34.95 | 34.75 | 33.81 | 32.59 | 31.87 | 30.97 | 30.15 | 29.27
Back to main menu

## Figure 5
Back to main menu
Figure 5 ¦ Mid-Winter Business Day: Hourly Profile
Net Hourly Energy Demand (GW), by Metric, By Hour Ending
Metric | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2025 Hourly Minimum | 16.21 | 15.49 | 15.24 | 15.13 | 15.27 | 15.91 | 16.95 | 18 | 18.84 | 19 | 18.92 | 18.83 | 18.73 | 18.75 | 18.69 | 18.76 | 19.21 | 19.63 | 19.85 | 19.38 | 19.02 | 18.43 | 17.73 | 16.72
2025 Hourly Median | 17.39 | 17.07 | 16.83 | 16.82 | 16.99 | 17.6 | 18.82 | 19.96 | 20.72 | 20.84 | 20.9 | 20.85 | 20.87 | 20.85 | 20.69 | 20.71 | 20.87 | 21.41 | 21.74 | 21.51 | 21.07 | 20.32 | 19.38 | 18.18
2025 Hourly Maximum | 19.15 | 18.74 | 18.53 | 18.48 | 18.6 | 19.11 | 20.63 | 21.98 | 22.57 | 22.51 | 22.61 | 22.62 | 22.45 | 22.39 | 22 | 21.84 | 22.36 | 23.12 | 23.18 | 23.12 | 22.84 | 22.16 | 21.17 | 19.96
2050 Hourly Minimum | 29.09 | 28.83 | 28.79 | 28.94 | 29.2 | 29.81 | 30.51 | 31.02 | 30.92 | 31.1 | 31.19 | 31.12 | 31.24 | 31.25 | 31.2 | 30.99 | 31.07 | 30.9 | 30.68 | 30.36 | 29.98 | 29.75 | 29.47 | 29.35
2050 Hourly Median | 32.19 | 32.35 | 32.46 | 32.47 | 32.56 | 33.09 | 33.77 | 34.24 | 34.1 | 34.24 | 34.4 | 34.33 | 34.35 | 34.33 | 34.22 | 33.99 | 34.11 | 34.14 | 34 | 33.78 | 33.53 | 33.39 | 33.09 | 32.91
2050 Hourly Maximum | 34.25 | 34.12 | 34.12 | 34.15 | 34.15 | 34.46 | 35 | 35.36 | 35.32 | 35.44 | 35.48 | 35.33 | 35.37 | 35.33 | 35.18 | 35.07 | 35.14 | 35.25 | 35.14 | 35.08 | 35.09 | 35.12 | 35.07 | 34.94
Back to main menu

## Figure 6
Back to main menu
Figure 6 ¦ Historical Energy Demand
Annual Energy (TWh), By Category, By Year
Category | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
Gross-Level Demand | 156.31 | 157.28 | 158.28 | 155.42 | 163.47 | 162.41 | 160.8 | 163.62 | 168.28 | 169.17
Conservation Savings | 11.27 | 13.97 | 15.03 | 16.73 | 19.3 | 20.45 | 20.92 | 22 | 23.17 | 24.82
Net-Level Demand | 145.04 | 143.31 | 143.25 | 138.69 | 144.17 | 141.96 | 139.89 | 141.62 | 145.11 | 144.35
Embedded Generation | 5.14 | 6.04 | 6.32 | 6.39 | 6.35 | 6.36 | 6.86 | 7.03 | 7.27 | 6.48
Grid-Level Demand | 139.91 | 137.27 | 136.94 | 132.29 | 137.82 | 135.6 | 133.03 | 134.59 | 137.85 | 137.86
Back to main menu

## Figure 7
Back to main menu
Figure 7 ¦ Annual Energy Demand by Forecast
Net Annual Energy Demand (TWh), By Category, By Year
Category | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
IESO 2024 APO | 153.86 | 160.68 | 165.52 | 170.25 | 176.46 | 180.91 | 185.26 | 189.87 | 194.08 | 198.08 | 202.57 | 205.94 | 208.73 | 212.16 | 215.23 | 219.04 | 220.98 | 223.41 | 225.89 | 228.9 | 231.27 | 234.22 | 236.2 | 239.24 | 241.5 | 245.37
IESO 2022 P2D - Pathway Scenario | 152.66 | 158.07 | 159.99 | 162.76 | 167.98 | 174.42 | 180.86 | 188.03 | 195.85 | 204.06 | 213.9 | 223.18 | 229.85 | 237.27 | 244.1 | 251 | 256.83 | 261.91 | 266.72 | 272.3 | 275.68 | 282.29 | 286.09 | 290.02 | 291.5 | 293.8
IESO 2022 APO | 153.13 | 158.38 | 160.72 | 163.43 | 167.42 | 171.08 | 173.98 | 177.24 | 180.74 | 184.15 | 188.45 | 192.43 | 194.91 | 198.06 | 200.77 | 203.91 | 205.5 | 206.91 | 208.25 | - | - | - | - | - | - | -
Back to main menu

## Figure 8
Back to main menu
Figure 8 ¦ Seasonal Peak Demand by Forecast
Net Seasonal Peak Demand (GW), By Category, By Year
Category | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
IESO 2024 APO - Summer | 24.64 | 25.12 | 25.4 | 25.75 | 26.49 | 26.94 | 27.49 | 28.47 | 28.96 | 29.29 | 29.65 | 30.05 | 30.42 | 31.08 | 31.51 | 31.83 | 32.2 | 32.67 | 33.08 | 33.35 | 33.51 | 33.74 | 34.07 | 34.32 | 34.71 | 34.97
IESO 2024 APO - Winter | 23.18 | 23.93 | 24.52 | 25.16 | 26.04 | 26.62 | 27.32 | 28.16 | 28.86 | 28.94 | 29.36 | 29.87 | 30.48 | 30.93 | 31.26 | 31.9 | 32.11 | 32.61 | 32.76 | 33.29 | 33.54 | 33.89 | 34.2 | 34.68 | 35.05 | 35.48
IESO 2022 P2D - Pathway Scenario - Summer | 25.07 | 25.38 | 25.29 | 25.25 | 25.59 | 26.42 | 27.75 | 28.31 | 28.82 | 29.25 | 29.85 | 30.35 | 30.78 | 31.23 | 31.66 | 32.09 | 32.5 | 32.89 | 33.26 | 33.76 | 34.26 | 35.17 | 35.56 | 35.9 | 36.19 | 36.44
IESO 2022 P2D - Pathway Scenario - Winter | 23.29 | 23.82 | 23.58 | 24.2 | 25.58 | 26.89 | 28.67 | 30.61 | 32.8 | 34.9 | 37.37 | 39.54 | 41.58 | 43.58 | 45.5 | 47.12 | 48.73 | 50.28 | 51.79 | 53.21 | 54.53 | 56 | 57.13 | 58.14 | 59.03 | 59.82
IESO 2022 APO - Summer | 25.21 | 25.64 | 25.74 | 25.86 | 26.26 | 26.56 | 26.82 | 27.04 | 27.43 | 27.77 | 28.11 | 28.42 | 28.95 | 29.55 | 29.79 | 30.05 | 30.24 | 30.45 | 30.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IESO 2022 APO - Winter | 23.37 | 23.95 | 24.34 | 24.17 | 25 | 25.35 | 25.83 | 26.05 | 26.5 | 27.12 | 27.96 | 28.63 | 29.23 | 29.81 | 30.29 | 30.73 | 31.02 | 31.25 | 31.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Figure 9
Back to main menu
Figure 9 ¦ 2024 Installed Capacity by Fuel Type
Fuel | 2024 Installed Capacity GW | 2024 Installed Capacity Percentages
Nuclear | 10.1 | 0.261
Gas/Oil | 10.4 | 0.269
Hydroelectric | 9.3 | 0.242
Wind | 5.5 | 0.143
Solar | 2.6 | 0.068
Demand Response | - | 0
Dispatchable Load | - | 0
Bioenergy | 0.4 | 0.011
Imports | 0.3 | 0.006
Storage | 0.02 | 0
Total | 38.7 | 1
Back to main menu

## Table 2
Back to main menu
Table 2 ¦ Ontario’s Summer and Winter Effective Capacity by End of 2024
Fuel | 2024 Installed GW | 2024 Summer Effective GW | 2024 Winter Effective GW
Nuclear | 10.1 | 9.9 | 8.3
Gas/Oil | 10.4 | 8.7 | 9.3
Hydroelectric | 9.3 | 6.5 | 7.3
Wind | 5.5 | 0.8 | 1.5
Solar | 2.6 | 0.6 | 0
Demand Response | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0
Bioenergy | 0.4 | 0.4 | 0.4
Imports | 0.3 | 0.3 | 0.2
Storage | 0.02 | 0.01 | 0.01
Total | 38.7 | 27.1 | 27
Back to main menu

## Figure 10
Back to main menu
Figure 10 ¦ Installed Capacity (As Is Case)
Installed Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 9.67 | 8.41 | 8.41 | 8.38 | 9.48 | 8.66 | 9.48 | 9.48 | 10.3 | 10.58 | 10.86 | 11.15 | 11.15 | 11.15 | 11.15 | 11.15 | 11.15 | 11.15 | 11.15 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
Gas/Oil | 10.69 | 10.97 | 10.97 | 9.91 | 7.46 | 7.36 | 6.65 | 6.65 | 6.61 | 5.23 | 1.78 | 1.73 | 1.39 | 1.38 | 1.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35
Wind | 5.53 | 5.3 | 5.28 | 4.82 | 4.42 | 4.32 | 3.62 | 3.48 | 3.05 | 2.04 | 1.16 | 0.67 | 0.56 | 0.46 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 2.65 | 2.65 | 2.65 | 2.64 | 2.61 | 2.46 | 2.22 | 1.99 | 1.61 | 1.07 | 0.51 | 0.29 | 0.21 | 0.14 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.41 | 0.41 | 0.35 | 0.3 | 0.08 | 0.07 | 0.06 | 0.06 | 0.05 | 0.03 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imports | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Storage | 0.25 | 1.18 | 1.18 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.16 | 1.16 | 1.16 | 1.16 | 1.16 | 0.93 | 0.93 | 0 | 0 | 0 | 0
Total | 38.8 | 38.51 | 38.44 | 36.81 | 34.82 | 33.63 | 32.8 | 32.43 | 32.38 | 29.72 | 25.1 | 24.61 | 24.08 | 23.9 | 23.41 | 22.02 | 21.92 | 21.92 | 21.91 | 20.26 | 20.03 | 20.03 | 19.1 | 19.1 | 19.1 | 19.09
Back to main menu

## Figure 11
Back to main menu
Figure 11 ¦ Installed Capacity (High Nuclear Case)
Installed Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 9.67 | 8.41 | 8.41 | 8.38 | 9.48 | 9.21 | 10.03 | 10.58 | 11.96 | 12.79 | 13.07 | 13.35 | 13.35 | 13.35 | 13.35 | 14.55 | 14.55 | 15.75 | 15.75 | 15.3 | 15.3 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5
Gas/Oil | 10.69 | 10.97 | 10.97 | 9.91 | 7.46 | 7.36 | 6.65 | 6.65 | 6.61 | 5.23 | 1.78 | 1.73 | 1.39 | 1.38 | 1.38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35 | 9.35
Wind | 5.53 | 5.3 | 5.28 | 4.82 | 4.42 | 4.32 | 3.62 | 3.48 | 3.05 | 2.04 | 1.16 | 0.67 | 0.56 | 0.46 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 2.65 | 2.65 | 2.65 | 2.64 | 2.61 | 2.46 | 2.22 | 1.99 | 1.61 | 1.07 | 0.51 | 0.29 | 0.21 | 0.14 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.41 | 0.41 | 0.35 | 0.3 | 0.08 | 0.07 | 0.06 | 0.06 | 0.05 | 0.03 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imports | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25
Storage | 0.25 | 1.18 | 1.18 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.17 | 1.16 | 1.16 | 1.16 | 1.16 | 1.16 | 0.93 | 0.93 | 0 | 0 | 0 | 0
Total | 38.8 | 38.51 | 38.44 | 36.81 | 34.82 | 34.18 | 33.35 | 33.53 | 34.03 | 31.92 | 27.31 | 26.82 | 26.29 | 26.11 | 25.61 | 25.42 | 25.32 | 26.52 | 26.52 | 26.07 | 25.84 | 27.04 | 26.11 | 26.11 | 26.11 | 26.1
Back to main menu

## Figure 12
Back to main menu
Figure 12 ¦ Summer Effective Capacity (As Is Case)
Summer Effective Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 9 | 7.1 | 7.9 | 7.9 | 8.1 | 8.9 | 8.9 | 8.9 | 8.9 | 10 | 10.2 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Gas/Oil | 8.9 | 9.1 | 9.1 | 9.1 | 6.3 | 6.2 | 5.6 | 5.6 | 5.6 | 4.9 | 1.5 | 1.5 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5
Wind | 0.8 | 0.8 | 0.8 | 0.8 | 0.7 | 0.7 | 0.6 | 0.5 | 0.5 | 0.4 | 0.3 | 0.2 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.2 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imports | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Storage | 0.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0 | 0 | 0 | 0
Total | 26.6 | 25.3 | 26.1 | 26 | 23.3 | 23.8 | 23.1 | 22.9 | 22.8 | 23 | 19.6 | 19.6 | 19.2 | 19.1 | 19.1 | 17.9 | 17.9 | 17.9 | 17.9 | 16.3 | 16.2 | 16.2 | 15.8 | 15.8 | 15.8 | 15.8
Back to main menu

## Figure 13
Back to main menu
Figure 13 ¦ Summer Effective Capacity (High Nuclear Case)
Summer Effective Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 9 | 9 | 7.9 | 7.9 | 8.1 | 8.9 | 9.4 | 10 | 10 | 11.6 | 12.4 | 12.7 | 12.7 | 12.7 | 12.7 | 13.8 | 13.8 | 14.9 | 14.9 | 14.5 | 14.5 | 15.7 | 15.7 | 15.7 | 15.7 | 15.7
Gas/Oil | 8.9 | 9.1 | 9.1 | 9.1 | 6.3 | 6.2 | 5.6 | 5.6 | 5.6 | 4.9 | 1.5 | 1.5 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5
Wind | 0.8 | 0.8 | 0.8 | 0.8 | 0.7 | 0.7 | 0.6 | 0.5 | 0.5 | 0.4 | 0.3 | 0.2 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0.4 | 0.4 | 0.3 | 0.2 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imports | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
Storage | 0.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0 | 0 | 0 | 0
Total | 26.6 | 27.3 | 26.1 | 26 | 23.3 | 23.8 | 23.7 | 24 | 23.9 | 24.6 | 21.7 | 21.8 | 21.4 | 21.3 | 21.3 | 21.2 | 21.2 | 22.3 | 22.3 | 21.9 | 21.8 | 22.9 | 22.5 | 22.5 | 22.5 | 22.5
Back to main menu

## Figure 14
Back to main menu
Figure 14 ¦ Winter Effective Capacity (As Is Case)
Winter Effective Capacity (GW), By Fuel, By Year
Fuel | 2024 - 2025 | 2025 - 2026 | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050 | 2050 - 2051
Nuclear | 8.3 | 7.2 | 7.9 | 8.7 | 8.2 | 9 | 8.2 | 9 | 9 | 10 | 10.3 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 10.6 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Gas/Oil | 9.3 | 9.5 | 9.8 | 9.8 | 8.8 | 6.8 | 6.8 | 6.1 | 6.1 | 6 | 4.7 | 1.6 | 1.6 | 1.3 | 1.3 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3
Wind | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 1.2 | 1.2 | 1 | 1 | 0.9 | 0.6 | 0.3 | 0.2 | 0.2 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imports | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Storage | 0 | 0.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0 | 0 | 0 | 0
Total | 27 | 26.2 | 27.7 | 28.4 | 26.7 | 25.2 | 24.3 | 24.2 | 24.2 | 25 | 23.6 | 20.6 | 20.4 | 20.1 | 20.1 | 19.9 | 18.7 | 18.6 | 18.6 | 17.1 | 17.1 | 17 | 17 | 16.5 | 16.5 | 16.5 | 16.5
Back to main menu

## Figure 15
Back to main menu
Figure 15 ¦ Winter Effective Capacity (High Nuclear Case)
Winter Effective Capacity (GW), By Fuel, By Year
Fuel | 2024 - 2025 | 2025 - 2026 | 2026 - 2027 | 2027 - 2028 | 2028 - 2029 | 2029 - 2030 | 2030 - 2031 | 2031 - 2032 | 2032 - 2033 | 2033 - 2034 | 2034 - 2035 | 2035 - 2036 | 2036 - 2037 | 2037 - 2038 | 2038 - 2039 | 2039 - 2040 | 2040 - 2041 | 2041 - 2042 | 2042 - 2043 | 2043 - 2044 | 2044 - 2045 | 2045 - 2046 | 2046 - 2047 | 2047 - 2048 | 2048 - 2049 | 2049 - 2050 | 2050 - 2051
Nuclear | 8.3 | 9.1 | 7.9 | 8.7 | 8.2 | 9 | 8.7 | 9.5 | 10 | 11.7 | 12.5 | 12.7 | 12.7 | 12.7 | 12.7 | 13.9 | 13.9 | 15 | 15 | 14.6 | 14.6 | 15.7 | 15.7 | 15.7 | 15.7 | 15.7 | 15.7
Gas/Oil | 9.3 | 9.5 | 9.8 | 9.8 | 8.8 | 6.8 | 6.8 | 6.1 | 6.1 | 6 | 4.7 | 1.6 | 1.6 | 1.3 | 1.3 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3 | 7.3
Wind | 1.5 | 1.5 | 1.5 | 1.5 | 1.3 | 1.2 | 1.2 | 1 | 1 | 0.9 | 0.6 | 0.3 | 0.2 | 0.2 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dispatchable Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bioenergy | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Imports | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2
Storage | 0 | 0.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0 | 0 | 0 | 0
Total | 27 | 28.1 | 27.7 | 28.4 | 26.7 | 25.2 | 24.8 | 24.8 | 25.3 | 26.7 | 25.8 | 22.7 | 22.6 | 22.3 | 22.2 | 23.2 | 22 | 23.1 | 23.1 | 22.7 | 22.7 | 23.7 | 23.7 | 23.2 | 23.2 | 23.2 | 23.2
Back to main menu

## Figure 16
Back to main menu
Figure 16 ¦ Nuclear Refurbishment and Retirement Schedule
Unit | Refurbishment Start | Refurbishment End | Retirement
Bruce G3 | 2023-03-01 | 2026-12-11
Bruce G4 | 2025-01-01 | 2027-12-31
Bruce G5 | 2026-10-01 | 2029-09-29
Bruce G6 | 2020-01-17 | 2023-09-08
Bruce G7 | 2028-07-01 | 2031-06-30
Bruce G8 | 2030-10-01 | 2033-09-30
Darlington G1 | 2022-02-15 | 2025-04-17
Darlington G2 | 2016-10-15 | 2020-05-13
Darlington G3 | 2020-07-30 | 2023-07-07
Darlington G4 | 2023-07-19 | 2026-08-01
Pickering G1 |  |  | 2024-09-30
Pickering G4 |  |  | 2024-12-31
Pickering G5 |  |  | 2025-12-31
Pickering G6 |  |  | 2025-12-31
Pickering G7 |  |  | 2025-12-31
Pickering G8 |  |  | 2025-12-31
Back to main menu

## Figure 17
Back to main menu
Figure 17 ¦ Summer Refurbishment Outages
Metric | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Number of Units On Refurbishment | 1 | 1 | 1 | 2 | 3 | 3 | 3 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 1 | 1
Back to main menu

## Figure 18
Back to main menu
Figure 18: Existing Resources Post-Contract Expiry by Fuel Type
Installed Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65 | 1.65
Gas/Oil | 0.34 | 0.38 | 0.38 | 1.44 | 3.89 | 3.99 | 4.7 | 4.7 | 4.74 | 6.12 | 9.57 | 9.62 | 9.96 | 9.96 | 9.97 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35 | 11.35
Wind | - | 0.24 | 0.25 | 0.71 | 1.12 | 1.22 | 1.92 | 2.05 | 2.49 | 3.5 | 4.37 | 4.87 | 4.97 | 5.07 | 5.43 | 5.43 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53 | 5.53
Solar | - | - | 0 | 0.01 | 0.04 | 0.19 | 0.43 | 0.66 | 1.04 | 1.58 | 2.14 | 2.36 | 2.44 | 2.51 | 2.64 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65 | 2.65
Hydroelectric | 0.01 | 0.01 | 0.02 | 0.05 | 1.04 | 1.15 | 1.15 | 1.17 | 1.18 | 1.18 | 1.18 | 1.18 | 1.19 | 1.19 | 1.21 | 1.23 | 1.23 | 1.27 | 1.27 | 1.27 | 1.28 | 1.3 | 1.3 | 1.32 | 1.32 | 1.32
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | 0 | 0 | 0.06 | 0.12 | 0.33 | 0.35 | 0.35 | 0.36 | 0.37 | 0.39 | 0.4 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.41 | 0.42
Storage | 0.01 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.26 | 0.26 | 1.19 | 1.19 | 1.19 | 1.19
Total | 0.37 | 0.65 | 0.73 | 2.34 | 6.44 | 6.91 | 8.57 | 8.96 | 9.84 | 12.78 | 17.68 | 18.46 | 18.99 | 19.17 | 19.69 | 21.09 | 21.2 | 21.24 | 21.24 | 22.89 | 23.13 | 23.15 | 24.08 | 24.1 | 24.1 | 24.11
Back to main menu

## Figure 19
Back to main menu
Figure 19: Summer Effective Post-Contract Expiry by Fuel Type (Existing Resources)
Summer Effective Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52
Gas/Oil | 0.23 | 0.28 | 0.28 | 0.29 | 3.09 | 3.17 | 3.74 | 3.8 | 3.8 | 4.45 | 7.87 | 7.93 | 8.22 | 8.23 | 8.23 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39 | 9.39
Wind | - | 0.02 | 0.03 | 0.04 | 0.15 | 0.16 | 0.2 | 0.29 | 0.33 | 0.42 | 0.58 | 0.68 | 0.73 | 0.76 | 0.76 | 0.82 | 0.83 | 0.83 | 0.83 | 0.83 | 0.83 | 0.83 | 0.83 | 0.83 | 0.83 | 0.83
Solar | - | - | - | 0 | 0 | 0.01 | 0.06 | 0.12 | 0.18 | 0.27 | 0.4 | 0.46 | 0.5 | 0.53 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55 | 0.55
Hydroelectric | 0 | 0 | 0.01 | 0.01 | 0.02 | 0.77 | 0.78 | 0.79 | 0.79 | 0.79 | 0.79 | 0.79 | 0.8 | 0.8 | 0.8 | 0.81 | 0.81 | 0.83 | 0.83 | 0.83 | 0.83 | 0.85 | 0.85 | 0.86 | 0.86 | 0.86
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | - | 0 | 0.05 | 0.11 | 0.13 | 0.32 | 0.34 | 0.34 | 0.35 | 0.37 | 0.37 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.4
Storage | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.13 | 0.13 | 0.6 | 0.6 | 0.6 | 0.6
Total | 0.24 | 0.31 | 0.38 | 0.46 | 3.4 | 4.46 | 5.13 | 5.35 | 5.47 | 6.32 | 10.03 | 10.27 | 10.65 | 10.72 | 10.76 | 11.98 | 12 | 12.01 | 12.02 | 13.54 | 13.66 | 13.67 | 14.14 | 14.15 | 14.15 | 14.15
Back to main menu

## Figure 20
Back to main menu
Figure 20: Winter Effective Post-Contract Expiry by Fuel Type (Existing Resources)
Winter Effective Capacity (GW), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55 | 1.55
Gas/Oil | 0.34 | 0.34 | 0.34 | 1.36 | 3.32 | 3.41 | 4.03 | 4.03 | 4.14 | 5.49 | 8.57 | 8.57 | 8.89 | 8.89 | 8.91 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16 | 10.16
Wind | - | 0.06 | 0.07 | 0.19 | 0.31 | 0.33 | 0.52 | 0.55 | 0.67 | 0.95 | 1.21 | 1.34 | 1.36 | 1.39 | 1.49 | 1.49 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52 | 1.52
Solar | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Hydroelectric | 0.01 | 0.01 | 0.01 | 0.03 | 0.92 | 0.97 | 0.98 | 0.98 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 0.99 | 1.01 | 1.02 | 1.02 | 1.04 | 1.04 | 1.04 | 1.04 | 1.05 | 1.05 | 1.05 | 1.05 | 1.05
Demand Response | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Dispatchable Load | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Bioenergy | 0 | 0 | 0.06 | 0.12 | 0.32 | 0.34 | 0.34 | 0.34 | 0.35 | 0.37 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.39 | 0.4
Storage | 0 | 0 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.13 | 0.13 | 0.6 | 0.6 | 0.6 | 0.6
Total | 0.35 | 0.42 | 0.48 | 1.7 | 4.87 | 5.05 | 5.88 | 5.92 | 6.16 | 7.82 | 11.16 | 11.3 | 11.65 | 11.68 | 11.82 | 13.08 | 13.11 | 13.13 | 14.68 | 14.68 | 14.81 | 14.81 | 15.27 | 15.28 | 15.28 | 15.28
Back to main menu

## Table 4
Back to main menu
Table 4: Five-Year Reserve Margin (High Nuclear Case)
Category | 2024 | 2025 | 2026 | 2027 | 2028
Annual Peak Demand (MW) | 23,845 | 24,636 | 25,125 | 25,398 | 25,751
Existing Effective Capacity at Time of Peak Demand (MW) | 27,149 | 26,627 | 27,258 | 26,082 | 25,960
Total Resource Requirement (MW) | 27,454 | 27,489 | 28,395 | 29,336 | 28,577
Reserve Margin Available (MW) | 3,304 | 1,991 | 2,133 | 684 | 209
Capacity Surplus/Deficit (MW) | -305 | -862 | -1,137 | -3,254 | -2,616
Reserve Margin Available (%) | 14% | 8% | 8% | 3% | 1%
Reserve Margin Requirement (%) | 15% | 12% | 13% | 16% | 11%
Back to main menu

## Figure 23
Back to main menu
Figure 23: Reserve Margin Requirement, 2024-2050
Category | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Annual Peak Demand (MW) | 23845 | 24636 | 25125 | 25398 | 25751 | 26446 | 26898 | 27435 | 28422 | 28918 | 29248 | 29607 | 30003 | 30425 | 31043 | 31468 | 31849 | 32152 | 32636 | 33046 | 33311 | 33489 | 33846 | 34152 | 34640 | 34995 | 35432
Total Resource Requirement (MW) | 27454 | 27489 | 28395 | 29336 | 28577 | 29111 | 29555 | 31883 | 30549 | 30788 | 32574 | 32134 | 33352 | 34437 | 33840 | 34334 | 36503 | 34922 | 35894 | 35937 | 36197 | 37056 | 38543 | 38218 | 38381 | 38675 | 38585
Reserve Margin Requirement (MW) | 3609 | 2853 | 3270 | 3938 | 2826 | 2665 | 2657 | 4448 | 2127 | 1870 | 3326 | 2527 | 3349 | 4012 | 2797 | 2866 | 4654 | 2770 | 3258 | 2891 | 2886 | 3567 | 4697 | 4066 | 3741 | 3680 | 3153
Back to main menu

## Figure 24
Back to main menu
Figure 24: Summer Capacity Surplus/Deficit (MW)
Scenario | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
2024 APO: As Is Case | -862 | -3061 | -3254 | -2616 | -5812 | -5771 | -8770 | -7677 | -8381 | -9826 | -12547 | -13785 | -14011 | -14717 | -15199 | -16830 | -17017 | -17729 | -17895 | -19736 | -20210 | -20392 | -21572 | -22307 | -22475 | -22907
2024 APO: High Nuclear Case | -862 | -1137 | -3254 | -2616 | -5812 | -5771 | -8227 | -6568 | -6920 | -7949 | -10407 | -11598 | -11849 | -12531 | -13057 | -13599 | -13749 | -13591 | -13636 | -14285 | -14801 | -13943 | -15010 | -16163 | -15935 | -16382
Back to main menu

## Figure 25
Back to main menu
Figure 25: Winter Capacity Surplus/Deficit (MW)
Scenario | 2025-26 | 2026-27 | 2027-28 | 2028-29 | 2029-30 | 2030-31 | 2031-32 | 2032-33 | 2033-34 | 2034-35 | 2035-36 | 2036-37 | 2037-38 | 2038-39 | 2039-40 | 2040-41 | 2041-42 | 2042-43 | 2043-44 | 2044-45 | 2045-46 | 2046-47 | 2047-48 | 2048-49 | 2049-50
2024 APO: As Is Case | -1796 | -1491 | -740 | -2395 | -4214 | -6336 | -6533 | -6515 | -7112 | -8379 | -12166 | -13956 | -14371 | -14514 | -16437 | -17268 | -16990 | -18034 | -19116 | -19700 | -21249 | -21023 | -21572 | -21740 | -21759
2024 APO: High Nuclear Case | 84 | -1491 | -740 | -2395 | -4214 | -5901 | -6040 | -5413 | -5463 | -6390 | -9979 | -11833 | -12295 | -12388 | -13272 | -14062 | -12788 | -13750 | -13819 | -14402 | -14876 | -14551 | -15179 | -15473 | -15383
Back to main menu

## Figure 26
Back to main menu
Figure 26: Energy Adequacy Outlook (As Is Case)
Energy Adequacy (TWh), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 73.2601 | 55.44 | 56.3416 | 65.1787 | 66.4729 | 70.9788 | 70.1815 | 73.2954 | 74.513 | 79.3326 | 84.7541 | 85.6344 | 86.8795 | 84.8783 | 85.6974 | 83.5127 | 86.0734 | 85.9413 | 84.4336 | 75.1612 | 75.0991 | 71.9386 | 76.0684 | 70.6484 | 73.623 | 73.2501
Natural Gas | 21.8468 | 44.4645 | 48.0869 | 45.0157 | 46.9599 | 45.7435 | 46.732 | 46.7953 | 47.6655 | 41.808 | 21.6875 | 13.3421 | 11.0601 | 10.1843 | 10.1816 | 2.2185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 38.5503 | 40.0496 | 40.2691 | 40.382 | 40.241 | 40.2437 | 40.2882 | 40.4129 | 40.2941 | 40.2779 | 40.2498 | 40.3948 | 40.3061 | 40.3021 | 40.2965 | 40.388 | 40.2532 | 40.3082 | 40.3061 | 40.4158 | 40.2811 | 40.2498 | 40.2532 | 40.404 | 40.1915 | 39.341
Non-Hydro Renewables | 20.1268 | 20.0514 | 19.648 | 19.2461 | 17.6067 | 16.9373 | 15.8586 | 13.9663 | 12.6521 | 10.0301 | 6.1597 | 3.5197 | 2.355 | 1.7355 | 1.2425 | 0.3376 | 0.17876 | 0.034973 | 0.026309 | 0.018252 | 0.018192 | 0.018417 | 0.018241 | 0.018275 | 0.018198 | 0.003968
Storage | 0.19094 | 0.29552 | 0.27997 | 0.24396 | 0.22155 | 0.2093 | 0.18927 | 0.17632 | 0.16307 | 0.14457 | 0.12983 | 0.11487 | 0.1079 | 0.10043 | 0.09515 | 0.088327 | 0.082221 | 0.078277 | 0.077572 | 0.074114 | 0.0172 | 0.00042 | 7e-05 | 0 | 0 | 0
Total Ontario Demand | 154 | 161 | 165.8 | 170.5 | 176.2 | 180.7 | 185 | 189.6 | 193.8 | 197.8 | 202.3 | 205.6 | 208.4 | 211.8 | 214.9 | 218.7 | 220.6 | 223.1 | 225.5 | 228.5 | 230.9 | 233.8 | 235.8 | 238.8 | 241.1 | 244.9
Back to main menu

## Figure 27
Back to main menu
Figure 27: Energy Adequacy Outlook (High Nuclear Case)
Energy Adequacy (TWh), By Fuel, By Year
Fuel | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Nuclear | 73.2601 | 67.8044 | 56.3416 | 65.1787 | 66.4729 | 72.5261 | 74.6566 | 80.3886 | 85.5271 | 94.358 | 102.6543 | 103.5832 | 104.7797 | 102.7785 | 103.5976 | 111.5127 | 113.996 | 123.8863 | 122.3786 | 123.2636 | 123.0666 | 129.9285 | 134.0583 | 128.802 | 131.6129 | 131.24
Natural Gas | 21.8469 | 33.1416 | 48.0869 | 45.0157 | 46.9599 | 44.7761 | 44.8365 | 43.904 | 44.1401 | 38.7097 | 20.8572 | 12.7528 | 10.5213 | 10.1806 | 10.1816 | 2.2185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydroelectric | 38.5502 | 39.6265 | 40.2691 | 40.382 | 40.241 | 40.2432 | 40.2638 | 40.4107 | 40.2828 | 40.2629 | 40.2432 | 40.3881 | 40.2925 | 40.3021 | 40.2965 | 40.3847 | 40.2532 | 40.3079 | 40.298 | 40.4158 | 40.2753 | 40.2448 | 40.2509 | 40.4006 | 40.189 | 39.341
Non-Hydro Renewables | 20.1268 | 20.0106 | 19.648 | 19.2461 | 17.6067 | 16.9373 | 15.8585 | 13.9663 | 12.6521 | 10.0301 | 6.1597 | 3.5197 | 2.355 | 1.7355 | 1.2425 | 0.3376 | 0.17876 | 0.034973 | 0.026309 | 0.018252 | 0.018192 | 0.018417 | 0.018241 | 0.018275 | 0.018198 | 0.003968
Storage | 0.19094 | 0.2897 | 0.27997 | 0.24396 | 0.22155 | 0.2093 | 0.18927 | 0.17632 | 0.16306 | 0.14457 | 0.12983 | 0.11487 | 0.1079 | 0.10043 | 0.09515 | 0.088327 | 0.082221 | 0.078277 | 0.077572 | 0.074114 | 0.0172 | 0.00042 | 7e-05 | 0 | 0 | 0
Total Ontario Demand | 154 | 161 | 165.8 | 170.5 | 176.2 | 180.7 | 185 | 189.6 | 193.8 | 197.8 | 202.3 | 205.6 | 208.4 | 211.8 | 214.9 | 218.7 | 220.6 | 223.1 | 225.5 | 228.5 | 230.9 | 233.8 | 235.8 | 238.8 | 241.1 | 244.9
Back to main menu

## Figure 28
Back to main menu
Figure 28: Potential Unserved Energy (GWh)
Scenario | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
As Is Case | 73.8164 | 680.2874 | 1179.8724 | 434.3196 | 4746.8877 | 6560.6352 | 11762.6013 | 14951.4418 | 18510.0903 | 26191.7881 | 49296.8419 | 62612.7547 | 67696.2585 | 74624.6421 | 77390.252 | 92160.7335 | 94043.7937 | 96693.9868 | 100698.5542 | 112870.4466 | 115447.8477 | 121579.0924 | 119414.8611 | 127730.6825 | 127225.5261 | 132344.2839
High Nuclear Case | 73.8164 | 101.9323 | 1179.8727 | 434.3195 | 4746.8879 | 5981.3053 | 9207.4822 | 10751.6887 | 11032.6956 | 14279.7084 | 32233.386 | 45259.9862 | 50348.3325 | 56728.1042 | 59489.9962 | 64164.0218 | 66121.1372 | 58749.2588 | 62761.6259 | 64768.0151 | 67486.1813 | 63594.2014 | 61427.3093 | 69580.3734 | 69238.1097 | 74354.4259
Back to main menu

## Figure 29
Back to main menu
Figure 29: Capacity Factor of Need Requirements
Scenario | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
As Is Case | 0.9772% | 2.537% | 4.139% | 1.89% | 9.324% | 12.98% | 15.31% | 22.17% | 25.21% | 30.43% | 44.85% | 51.71% | 55.16% | 57.88% | 58.12% | 62.34% | 63.09% | 62.26% | 64.24% | 65.11% | 65.21% | 68.06% | 63.19% | 65.19% | 64.62% | 65.95%
High Nuclear Case | 0.9772% | 1.024% | 4.139% | 1.89% | 9.324% | 12.04% | 12.78% | 18.64% | 18.2% | 20.51% | 35.36% | 44.43% | 48.5% | 51.68% | 52.01% | 53.72% | 54.9% | 49.35% | 52.54% | 51.62% | 52.05% | 52.07% | 46.72% | 49.01% | 49.6% | 51.81%
Back to main menu

## Figure 30
Back to main menu
Figure 30: Forecasted Incremental Regulation Needs, in MW
Year | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Minimum Regulation Requirement | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Forecasted Incremental Regulation Needs | 40 | 90 | 90 | 90 | 100 | 110 | 110 | 120
Forecasted Total Regulation Needs | 140 | 190 | 190 | 190 | 200 | 210 | 210 | 220
Back to main menu

## Figure 31
Back to main menu
Figure 31: Integrated Capacity Needs
Summer Capacity UCAP (MW), By Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Needs Resulting from the APO High Nuclear Case | 862.3452 | 1137 | 3253.8632 | 2616.0709 | 5811.8746 | 5770.8036 | 8227 | 6568 | 6920 | 7949 | 10407 | 11598 | 11849 | 12531 | 13057 | 13599
Contribution of Previous and Underway Actions, and Risks | 1120.25 | 1427.25 | 2279.25 | 2322.275 | 3528.3 | 3599.3 | 3199.3 | 2055.3 | 2599.3 | 2647.3 | 565.05 | 843.05 | 1653.05 | 1919.05 | 2185.05 | 619
Potential Future Procurement Actions Required | 0 | 0 | 974.6132 | 293.7959 | 2283.5746 | 2171.5036 | 5027.7 | 4512.7 | 4320.7 | 5301.7 | 9841.95 | 10754.95 | 10195.95 | 10611.95 | 10871.95 | 12980
Back to main menu

## Figure 32
Back to main menu
Figure 32: Integrated Energy Needs
Energy (TWh), By Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Needs Resulting from the APO High Nuclear Case | 0.073816 | 0.10193 | 1.1799 | 0.43432 | 4.7469 | 5.9813 | 9.2075 | 10.7517 | 11.0327 | 14.2797 | 32.2334 | 45.26 | 50.3483 | 56.7281 | 59.49 | 64.164
Contribution of Previous and Underway Actions, and Risks | 0.15495 | -0.35984 | 0.15495 | 0.57291 | 2.9797 | 1.8224 | 0.010869 | 1.9321 | -2.0963 | -1.3598 | -10.5305 | -8.5808 | -6.0697 | -3.6349 | -1.1528 | -10.7012
Potential Future Procurement Actions Required | 0 | 0.46177 | 1.0249 | 0 | 1.7672 | 4.1589 | 9.1966 | 8.8196 | 13.129 | 15.6395 | 42.7639 | 53.8408 | 56.418 | 60.363 | 60.6428 | 74.8652
Back to main menu

## Figure 34
Back to main menu
Figure 34: Capacity Auction Forward Guidance
Target Capacity UCAP (MW), By Season and Year | 2025 | 2025 | 2026 | 2026 | 2027 | 2027 | 2028 | 2028 | 2029 | 2029
Season | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter
Minimum Target | 1600 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
Forward Guidance | 0 | 0 | 1800 | 1200 | 1800 | 1400 | 1800 | 1400 | 1800 | 1400
Back to main menu

## Figure 35
Back to main menu
Figure 35: Remaining Capacity Needs and Potential Future Procurement Actions
Summer Capacity UCAP (MW), By Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Needs Resulting from the APO High Nuclear Case | 862.3452 | 1137 | 3253.8632 | 2616.0709 | 5811.8746 | 5770.8036 | 8227 | 6568 | 6920 | 7949 | 10407 | 11598 | 11849 | 12531 | 13057 | 13599
Contribution of Previous and Underway Actions, and Risks | 1120.25 | 1427.25 | 2279.25 | 2322.275 | 3528.3 | 3599.3 | 3199.3 | 2055.3 | 2599.3 | 2647.3 | 565.05 | 843.05 | 1653.05 | 1919.05 | 2185.05 | 619
Capacity Auction Forward Guidance | 454 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654 | 654
Potential Contribution of Existing Non-Emitting Resources | 9.12 | 26.502 | 86.5378 | 158.7406 | 252.2974 | 471.23 | 553.2916 | 684.1758 | 784.7959 | 956.3958 | 1201.3995 | 1346.8752 | 1422.7943 | 1470.5079 | 1500.8053 | 1542.8353
Potential Contribution of Existing Emitting Resources | 232.7019 | 281.5585 | 281.5585 | 288.4381 | 469.4836 | 551.8591 | 1123.4044 | 1183.7878 | 1183.7878 | 1834.6709 | 0 | 0 | 0 | 0 | 0 | 0
Potential Future Procurement Actions Required | 0 | 0 | 0 | 0 | 907.7936 | 494.4145 | 2697.004 | 1990.7364 | 1698.1164 | 1856.6333 | 7986.5505 | 8754.0748 | 8119.1557 | 8487.4421 | 8717.1447 | 10783.1647
Back to main menu

## Figure 36
Back to main menu
Figure 36: Remaining Energy Needs and Potential Future Procurement Actions, in TWh
Energy (TWh), By Year | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Needs Resulting from the APO High Nuclear Case | 0.073816 | 0.10193 | 1.1799 | 0.43432 | 4.7469 | 5.9813 | 9.2075 | 10.7517 | 11.0327 | 14.2797 | 32.2334 | 45.26 | 50.3483 | 56.7281 | 59.49 | 64.164
Contribution of Previous and Underway Actions, and Risks | 0.15495 | -0.35984 | 0.15495 | 0.57291 | 2.9797 | 1.8224 | 0.010869 | 1.9321 | -2.0963 | -1.3598 | -10.5305 | -8.5808 | -6.0697 | -3.6349 | -1.1528 | -10.7012
Potential Contribution of Existing Non-Emitting Resources | 0.0044163 | 0.23839 | 0.58522 | 0.99497 | 2.0719 | 2.5184 | 3.3569 | 4.8536 | 5.8833 | 7.9113 | 10.8911 | 12.899 | 13.7381 | 14.2501 | 14.66 | 15.3551
Potential Contribution of Existing Emitting Resources | 0 | 0 | 0 | 0 | 1.5108 | 1.958 | 2.489 | 2.0878 | 1.9966 | 2.8664 | 0 | 0 | 0 | 0 | 0 | 0
Potential Future Procurement Actions Required | 0 | 0.22338 | 0.4397 | 0 | 0 | 0 | 3.3507 | 1.8782 | 5.2491 | 4.8618 | 31.8728 | 40.9417 | 42.6799 | 46.1129 | 45.9828 | 59.5101
Back to main menu