## Eligible Measures List
IAP - Retrofit Program - Multi-Residential In-Suite Appliance Eligible Measures Worksheet - May 1, 2017
Note: New construction or major renovation projects eligible under the IAP High Performance New Construction Program are not eligible under the IAP RETROFIT Program. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. In order to receive your Participant Incentive payment, invoices showing proof of payment must be submitted to the IESO. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved.
ENERGY STAR® REFRIGERATOR
Assumed Base case | Efficiency case | Notes | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
Standard Refrigerator | ENERGY STAR® refrigerator | Eligible units shall be an ENERGY STAR® qualified refrigerator. Replaces an existing refrigerator unit equal to or greater than 15 years old. |  |  |  | $60.00 per refrigerator | 0
IN-SUITE TEMPERATURE CONTROLS
Assumed Base case | Efficiency case | Notes | Model # | Manufacturer | Quantity | Unit Participant Incentive | Total Participant Incentive
No in-suite temperature controls | In-suite temperature controls for electric space heating and cooling | Eligible measures include programmable thermostats and/or occupancy sensors linked to thermostats. A programmable thermostat must allow for programming both unoccupied/occupied setpoints and occupied/unoccupied time periods. Occupancy sensors must allow for the thermostat to switch between an occupied and unoccupied setpoints. |  |  |  | $20.00 per Thermostat and/or $20.00 per Occupancy Sensor | 0
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and the incentive amounts do not include HST or other applicable taxes.
|  |  | TOTAL PARTICIPANT INCENTIVE REQUESTED: |  |  |  | 0
Name of Applicant:
Name of Company:
Building Address:

## Version Control (hidden)
Version Number | 6
Month | May
Day | 1
Year | 2017
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
5 | 2013-12-18 | Formatting | Eligible Measures List | Blank columns and rows (far right and bottom) were hidden
5 | 2013-12-18 | Formatting | Version Control | Version control updated. Version: 5.0 Date: January 31, 2014
5 | 2013-12-31 | Clarification | Eligible Measures List | NOTE: Base case already included in version 4.0. Nothing was added
5 | 2014-01-01 | Revision No. | Eligible Measures List | Footer Revision No. was changed from V4.0 to V5.0
5 | 2014-01-02 | Clarification | Eligible Measures List | Base Case' was changed to 'Assumed Base Case' to be consistant with other worksheets
5 | 2014-12-05 | Formatting | Version Control | Version control updated. Version: 5.0 Date: December 12, 2014