## Lighting Eligible Measures List
Version 7.1 - Retrofit Program - Exterior Lighting Eligible Measures - August 31, 2020
All technologies must meet applicable Code, standard and regulatory requirements including, but not limited to, CSA/cUL. It is the Applicant's responsibility to ensure that the technology is suitable (properly sized, etc.) to its intended application and to confirm that light levels of the energy efficient design meet the minimum regulatory requirements and the suggested levels for the proposed use of the space. All products must be legal for sale in Canada. All lighting measures are meant for one to one replacements. Interior lighting redesigns where spaces are over or under lit according to good professional practice or lighting design for a new space are recommended to go through the Custom approach. All wattages indicated on this worksheet are nominal wattages unless otherwise noted. Applicants must confirm base cases with the Technical Reviewer. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. In order to receive your Participant Incentive payment, invoices showing proof of payment must be submitted to the IESO. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Note: This worksheet is intended for Participants’ information purposes only and is not binding on the IESO. Per the Program Requirements and Participant Agreement for the Retrofit Program, the Estimated Participant Incentives will be calculated through the online Retrofit Portal.
LED EXTERIOR AREA LIGHTS |  | Assumed Base Case | Existing lamp/fixture type / Nominal Lamp wattage | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
Products must be listed and approved by Design Lights Consortium1 (DLC) and classified under the following primary use categories: ● Outdoor Pole / Arm-mounted Area and Roadway Luminaires ● Outdoor Pole / Arm-mounted Decorative Luminaires ● Outdoor Wall-mounted Area Luminaires ● Parking Garage Luminaires ● Fuel Pump Canopy Luminaires ● Architectural Flood and Spot Luminaires | LED fixture (≤30W) ≥400 lumens | 50 to 75W Exterior Lamp Wattage |  |  |  | $25 per LED fixture | 0
| LED fixture ( ≤60W) >2,850 lumens | 100 to 175W Exterior Lamp Wattage |  |  |  | $50 per LED fixture | 0
| LED fixture (≤120W) >5,700 lumens | 200 to 250W Exterior Lamp Wattage |  |  |  | $75 per LED fixture | 0
| LED fixture (≤200W) >12,000 lumens | 400 to 450W Exterior Lamp Wattage |  |  |  | $110 per LED fixture | 0
| LED fixture (≤300W) >20,000 lumens | 400 to 450W Exterior Lamp Wattage |  |  |  | $70 per LED fixture | 0
| LED fixture (≤530W) ≥30,000 lumens | 750 to 1000W Exterior Lamp Wattage |  |  |  | $275 per LED fixture | 0
Note: If a fixture fits outside of the assumed base case ranges then the IESO has discretion on which incentive is applicable as long as the decision is justifiable.
1 Design Lights Consortium | http://www.designlights.org/
|  | TOTAL PARTICIPANT INCENTIVE REQUESTED |  |  |  |  | 0
PROJECT COST BREAKDOWN
Costs which are eligible to be included in determining applicable Participant Incentives must be costs of 3rd party suppliers directly related to the procurement and implementation of the Eligible Measures and are limited to the
1. Estimated costs of the equipment purchased and installed
2. Estimated costs of labour for the installation of the equipment by suppliers
3. Estimated costs to dispose of or decommission the replaced equipment
TOTAL ELIGIBLE COSTS FOR THE PROJECT: | [6 empty] | 0
For certainty, costs which are not eligible to be included in Eligible Costs include:
(i) any costs that are not third party costs or that are internal costs of the Participant, including costs of the Participant’s labour, service, administration or overhead;
(ii) financing costs of the Participant;
(iii) related insurance costs of the Participant;
(iv) costs associated with post-installation maintenance or service contracts;
(v) costs of spare parts, spare equipment or other inventories;
(vi) purchase or lease of tools for installation of equipment;
(vii) HST; or
(viii) a portion of the costs of Eligible Measures that have been or will be received from financial incentives generally funded by energy ratepayers or tax payers in the Province of Ontario
1. Total Calculated Participant Incentive | [6 empty] | 0
2. Maximum Allowable Participant Incentive (50% of Total Eligible Costs for the Project) | [6 empty] | 0
3. Estimated Participant Incentive Amount (based on lesser of 50% of Total Eligible Costs for the Project or Total Calculated Participant Incentive) | [6 empty] | 0
Name of Applicant:
Company Name:
Building Address:
Lighting System Worksheet

## Version Control (hidden)
Version Number | 7
Month | April
Day | 1
Year | 2019
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
7 | 2019-03-21 | Update | Lighting Eligible Measures List | Removed LDC language and included Retrofit portal note.
7 | 2019-03-21 | Formatting | Version Control | Version Control updated. Version: 7.0 Date: April 1, 2019
7.1 | 2020-07-17 | Clarification | Lighting Eligible Measures List | Clarification language and baseline input