## HVAC Eligible Measures List
Version 7.0 - Retrofit Program - Services & Hospitality Eligible Measures Worksheet - April 1, 2019
All technologies must meet applicable Code, standard and regulatory requirements including, but not limited to, CSA/cUL. It is the Applicant's responsibility to ensure that the technology is suitable (properly sized, etc.) to its intended application. All products must be legal for sale in Canada. INSTRUCTIONS: In order to calculate the Participant Incentive amount, enter the number of units to be installed in the 'Quantity' column and the 'Total Participant Incentive' column will automatically populate based on this information. The model number and manufacturer must also be clearly indicated for each measure in the 'Model #' and 'Manufacturer' columns. The sum of the 'Total Participant Incentive' amounts will be displayed in the 'TOTAL PARTICIPANT INCENTIVE REQUESTED' field at the bottom of the worksheet. In order to receive your Participant Incentive payment, invoices showing proof of payment must be submitted to the IESO. It is recommended that you provide manufacturer technical specification sheets demonstrating that the equipment meets the program requirements. You may be required to provide additional information in connection with your Project in order for your Application to be approved. Note: This worksheet is intended for Participants’ information purposes only and is not binding on the IESO. Per the Program Requirements and Participant Agreement for the Retrofit Program, the Estimated Participant Incentives will be calculated through the online Retrofit Portal.
HVAC
HOTEL OCCUPANCY CONTROLS (HVAC + LIGHTING) |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
This must include an occupancy sensor such as (but not limited to) infrared sensors, ultrasonic sensors, door magnetic strip sensors and/or card-key sensors. The controls must be able to shutoff and/or place the HVAC equipment serving the space in an unoccupied temperature setback/setup setting. To be eligible, occupancy controls must be capable of a 5°C temperature setback/setup and actively control at least 50% of the "hard-wired" lighting wattage serving the space. | Electrically heated facility | No controls installed |  |  | $67 per control | 0 | 67 | per control
| Gas heated facility | No controls installed |  |  | $41 per control | 0 | 41 | per control
ECM MOTORS FOR HVAC APPLICATION (FAN-POWERED VAV BOX) |  | Assumed Base Case | Manufacturer Name/Model # | CFM | Unit Participant Incentive | Total Participant Incentive
New fan-powered Variable Air Volume (VAV) units equipped with brushless DC fan motors or electronically commutated motors (ECMs) for replacement within an existing building | VAV Units < 1000 CFM (per CFM) | VAV Box with PSC motors |  |  | $0.1 per CFM | 0 | 0.1 | per CFM
| VAV Units > 1000 CFM (per CFM) | VAV Box with PSC motors |  |  | $0.04 per CFM | 0 | 0.04 | per CFM
ECM MOTORS FOR HVAC APPLICATION (FAN MOTOR REPLACEMENT) |  | Assumed Base Case | Manufacturer Name/Model # | HP | Unit Participant Incentive | Total Participant Incentive
Replacement of fan motor in an existing fan-powered Variable Air Volume (VAV) unit with brushless DC fan motors or electronically commutated motors (ECMs). | Motor < 1 HP (per HP) | VAV Box with PSC motors |  |  | $47 per HP | 0 | 47 | per HP
[7 empty] | 59 | per HP
Version 7.0 - Retrofit Program - Services & Hospitality Eligible Measures Worksheet - April 1, 2019
Refrigeration
ENERGY STAR® ICE MACHINES |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
| Ice Making Head <204 kg/day ice | Standard ice machines |  |  | $49 per ice machince | 0 | 49 | per ice machince
| Ice Making Head ≥204 kg/day ice | Standard ice machines |  |  | $120 per ice machince | 0 | 120 | per ice machince
The product is approved and listed on the Energy Star Certified Commercial Ice Machines1 | Remote Condensing Unit (w/o Remote Compressor) <454 kg/day ice | Standard ice machines |  |  | $88 per ice machince | 0 | 88 | per ice machince
1http://www.energystar.gov/productfinder/product/certified-commercial-ice-machines/results | Remote Condensing Unit (w/o Remote Compressor) ≥454 kg/day ice | Standard ice machines |  |  | $188 per ice machince | 0 | 188 | per ice machince
| Remote Condensing Unit (with Remote Compressor) <423 kg/day ice | Standard ice machines |  |  | $112 per ice machince | 0 | 112 | per ice machince
| Remote Condensing Unit (with Remote Compressor) ≥423 kg/day ice | Standard ice machines |  |  | $141 per ice machince | 0 | 141 | per ice machince
| Self Contained Unit <79 kg/day ice | Standard ice machines |  |  | $19 per ice machince | 0 | 19 | per ice machince
| Self Contained Unit ≥79 kg/day ice | Standard ice machines |  |  | $34 per ice machince | 0 | 34 | per ice machince
ENERGY STAR® FREEZER |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
| Glass Door (≥ 15 cu.ft. to < 30 cu.ft.) | Standard Freezer |  |  | $200 per freezer | 0
The product is approved and listed on the Energy Star Certified Commercial Refrigerators and Freezers1 | Glass Door (≥ 30 cu.ft. to < 50 cu.ft.) | Standard Freezer |  |  | $425 per freezer | 0
| Glass Door (≥ 50 cu.ft.) | Standard Freezer |  |  | $672 per freezer | 0
1http://www.energystar.gov/productfinder/product/certified-commercial-refrigerators-and-freezers/results | Solid Door (< 15 cu.ft.) | Standard Freezer |  |  | $55 per freezer | 0
| Solid Door (≥ 15 cu.ft. to < 30 cu.ft.) | Standard Freezer |  |  | $87 per freezer | 0
| Solid Door (≥ 30 cu.ft. to < 50 cu.ft.) | Standard Freezer |  |  | $191 per freezer | 0
| Solid Door (≥ 50 cu.ft.) | Standard Freezer |  |  | $344 per freezer | 0
ENERGY STAR® REFRIGERATOR |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
| Glass Door (< 15 cu.ft.) | Standard Refrigerator |  |  | $72 per refrigerator | 0
The product is approved and listed on the Energy Star Certified Commercial Refrigerators and Freezers1 | Glass Door (≥ 15 cu.ft. to < 30 cu.ft.) | Standard Refrigerator |  |  | $68 per refrigerator | 0
| Glass Door (≥ 30 cu.ft. to < 50 cu.ft.) | Standard Refrigerator |  |  | $75 per refrigerator | 0
1http://www.energystar.gov/productfinder/product/certified-commercial-refrigerators-and-freezers/results | Glass Door (≥ 50 cu.ft.) | Standard Refrigerator |  |  | $92 per refrigerator | 0
| Solid Door (< 15 cu.ft.) | Standard Refrigerator |  |  | $26 per refrigerator | 0
| Solid Door (≥ 15 cu.ft. to < 30 cu.ft.) | Standard Refrigerator |  |  | $43 per refrigerator | 0
| Solid Door (≥ 30 cu.ft. to < 50 cu.ft.) | Standard Refrigerator |  |  | $82 per refrigerator | 0
| Solid Door (≥ 50 cu.ft.) | Standard Refrigerator |  |  | $121 per refrigerator | 0
Version 7.0 - Retrofit Program - Services & Hospitality Eligible Measures Worksheet - April 1, 2019
ECM MOTORS FOR EVAPORATOR FANS (REFRIGERATOR WALK-IN) |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
This is a brushless DC fan electronically commutated motor (ECM) installed on commercial refrigerator evaporator fan units in walk-in types. | Motor Size ≥ 1/20 hp to < 1/10 hp | Shaded Pole Motor (SP) or Permanent Split Capacitor (PSC) |  |  | $55 per motor | 0 | 94 | per motor
ECM MOTORS FOR EVAPORATOR FANS (FREEZER WALK-IN) |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
This is a brushless DC fan electronically commutated motor (ECM) installed on commercial freezer evaporator fan units in walk-in types. | Motor Size ≥ 1/20 hp to < 1/10 hp | Shaded Pole Motor (SP) or Permanent Split Capacitor (PSC) |  |  | $65 per motor | 0 | 113 | per motor
BUILDING PLUG LOADS | [6 empty] | 143 | per beverage vending machine
[7 empty] | 180 | per beverage vending machine
BEVERAGE VENDING MACHINE CONTROLS |  | Assumed Base Case | Manufacturer Name/Model # | Quantity | Unit Participant Incentive | Total Participant Incentive
This power sensor and/or occupancy control must be installed in a standard refrigerated beverage vending machine operating without low power mode. | Vending Machine Occupancy Control | Standard beverage vending machines without low power mode |  |  | $143 per beverage vending machine | 0
Note: The Eligible Measures Lists and Eligible Measures Worksheets are based on assumptions and are subject to change and incentive amounts do not include HST or other applicable taxes.
|  | TOTAL PARTICIPANT INCENTIVE REQUESTED |  |  |  | 0
Name of Applicant:
Name of Company:
Building Address:
Lighting System Worksheet

## Version Control (hidden)
Version Number | 7
Month | April
Day | 1
Year | 2019
Make sure to update the version number on the footer as there is no Excel function that can currently do this automatically

## Revision History (hidden)
Version Number | Date | Revision Type | Tab | Details
7 | 2019-03-21 | Update | HVAC Eligible Measures List | Removed LDC language and included Retrofit portal note
7 | 2019-03-21 | Formatting | Version Control | Version Control updated. Version: 7.0 Date: April 1, 2019