## Menu
Annual Planning Outlook
Data Tables
December 2020
Chapter 1: Demand Forecast
Figure 1: Historical Energy Demand - Annual Energy
Figure 2: Scenario 1 - Sectoral - Annual Energy Demand
Figure 3: Scenario 1 - Seasonal - Annual Peak Demand
Figure 4: Scenario 2 - Sectoral - Annual Energy Demand
Figure 5: Scenario 2 - Seasonal - Annual Peak Demand
Figure 6: Industrial Conservation Initiative Impact - Peak System Day Hourly Demand Impact
Chapter 2: Supply and Transmission Outlook
Figure 7: 2021 Installed Capacity by Fuel Type
Table 2: Ontario’s Summer and Winter Effective Capacity by End of 2021
Figure 8: Installed Capacity 2022-2040
Figure 9: Summer Effective Capacity 2022-2040
Figure 10: Winter Effective Capacity 2022-2040
Figure 11: Nuclear Refurbishment and Retirement Schedule
Figure 12: Summer Refurbishment Outages
Figure 13: Existing Resources Post-Contract Expiry 2022-2040 by Fuel Type
Figure 14: Installed Capacity by Commitment Type: 2022-2040
Chapter 3: Resource Adequacy
Table 4: Five-Year Reserve Margin, with Continued Availability of Existing Resources
Figure 17: Reserve Margin Requirement, 2021-2040
Figure 18: Summer Capacity Surplus/Deficit, without Continued Availability of Existing Resources
Figure 19: Winter Capacity Surplus/Deficit, without Continued Availability of Existing Resources
Table 5: Summer Zonal Constraints, without Continued Availability of Existing Resources
Table 6: Winter Zonal Constraints, without Continued Availability of Existing Resources
Figure 20: Scenario 1 – Energy Adequacy Outlook, with Continued Availability of Existing Resources
Figure 21: Scenario 2 – Energy Adequacy Outlook, with Continued Availability of Existing Resources
Figure 22: Potentially Unserved Energy
Figure 23: Surplus Baseload Generation, with Continued Availability of Existing Resources
Figure 24: Scenario 1 – Energy Production Outlook
Figure 25: Scenario 2 – Energy Production Outlook
Figure 26: Energy Production Outlook, Imports
Figure 27: Energy Production Outlook, Exports
Figure 28: Change in Energy Production Outlook between Scenario 1 and Scenario 2
Chapter 4: Transmission Security
Figure 29: FETT Security Outlook
Figure 30: FIO Security Outlook
Figure 31: BLIP Security Outlook
Chapter 5: Integrating Electricity Needs
Figure 32: Scenario 1 - Summary of Summer Capacity Needs including Locational Requirements, without Continued Availability of Existing Resources
Figure 33: Summer Capacity Surplus/Deficit, with Continued Availability of Existing Resources
Figure 34: Winter Capacity Surplus/Deficit, with Continued Availability of Existing Resource
Chapter 6: Meeting Electricity Needs
Figure 35: FETT Security Outlook following Line Upgrade
Chapter 7: Outcomes and Other Considerations
Figure 36: Weighted Average Marginal Costs Forecast, and Historical HOEP
Figure 37: Electricity Sector GHG Emissions, Historical and Forecast

## Figure 1
Back to main menu
Figure 1: Historical Energy Demand - Annual Energy (TWh)
Category | 2015 | 2016 | 2017 | 2018 | 2019
Gross Level Demand | 157.02 | 158.35 | 155.73 | 163.08 | 160.92
Conservation Savings | 13.97 | 15.03 | 17.24 | 19.33 | 19.48
Net Level Demand | 143.05 | 143.32 | 138.49 | 143.75 | 141.44
Embedded Generation | 6.04 | 6.32 | 6.39 | 6.35 | 6.34
Grid Level Demand | 137.01 | 137 | 132.1 | 137.4 | 135.1
* Note: Not Weather Normalized
Back to main menu

## Figure 2
Back to main menu
Figure 2: Scenario 1 - Sectoral - Annual Energy Demand (TWh)
Source | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Residential Sector | 48.48 | 48.8 | 49.33 | 49.57 | 49.88 | 50.25 | 50.45 | 50.45 | 50.82 | 51.25 | 51.84 | 52.56 | 53.34 | 54.4 | 55.1 | 55.54 | 55.88 | 56.27 | 57.07
Commercial Sector | 47.85 | 48.71 | 49.18 | 49.28 | 49.54 | 49.83 | 50.67 | 51.65 | 52.61 | 53.07 | 53.41 | 53.57 | 53.74 | 53.9 | 54.19 | 54.4 | 54.67 | 55.05 | 55.34
Industrial Sector | 35 | 35.89 | 36.83 | 37.19 | 37.14 | 37.34 | 37.02 | 36.87 | 37.09 | 37.28 | 37.29 | 37.28 | 37.61 | 38.3 | 38.89 | 38.94 | 39.06 | 39.27 | 39.69
Agricultural Sector | 4.24 | 5.09 | 5.55 | 5.66 | 6.36 | 7.14 | 7.9 | 8.44 | 8.94 | 9.4 | 9.86 | 10.09 | 10.1 | 10.13 | 10.11 | 10.11 | 10.11 | 10.11 | 10.12
Electric Vehicles | 0.4 | 0.54 | 0.7 | 0.89 | 1.1 | 1.36 | 1.64 | 1.93 | 2.24 | 2.48 | 2.72 | 2.95 | 3.17 | 3.37 | 3.54 | 3.69 | 3.83 | 3.95 | 4.06
Rail Transit Electrification | 0.28 | 0.34 | 0.4 | 0.74 | 1.09 | 1.63 | 1.63 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84
Other Electricity Demand | 5.21 | 5.24 | 5.31 | 5.35 | 5.38 | 5.42 | 5.46 | 5.49 | 5.52 | 5.56 | 5.59 | 5.62 | 5.65 | 5.67 | 5.71 | 5.75 | 5.78 | 5.82 | 5.85
Total | 141.46 | 144.62 | 147.3 | 148.67 | 150.5 | 152.97 | 154.76 | 156.68 | 159.06 | 160.87 | 162.55 | 163.91 | 165.45 | 167.61 | 169.38 | 170.26 | 171.17 | 172.3 | 173.98
Back to main menu

## Figure 3
Back to main menu
Figure 3: Scenario 1 - Seasonal - Annual Peak Demand (GW)
Season | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Summer | 23.13 | 23.58 | 23.83 | 24.09 | 24.34 | 24.64 | 24.81 | 25.12 | 25.45 | 25.67 | 25.81 | 26 | 26.2 | 26.45 | 26.63 | 26.83 | 26.94 | 27.1 | 27.27
Winter | 22.08 | 22.45 | 22.95 | 23.16 | 23.42 | 23.77 | 23.97 | 24.17 | 24.55 | 24.8 | 25 | 25.26 | 25.47 | 25.73 | 25.88 | 26.09 | 26.2 | 26.35 | 26.54
Back to main menu

## Figure 4
Back to main menu
Figure 4: Scenario 2 - Sectoral - Annual Energy Demand (TWh)
Source | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Residential Sector | 48.89 | 48.58 | 49.03 | 49.19 | 49.41 | 49.65 | 49.69 | 49.52 | 49.72 | 49.98 | 50.43 | 51.01 | 51.68 | 52.61 | 53.19 | 53.54 | 53.82 | 54.14 | 54.85
Commercial Sector | 46.23 | 46.58 | 47.4 | 47.78 | 48.24 | 48.44 | 49.17 | 50.06 | 50.92 | 51.29 | 51.54 | 51.63 | 51.72 | 51.79 | 51.98 | 52.09 | 52.28 | 52.56 | 52.76
Industrial Sector | 33.72 | 34.41 | 35.21 | 35.52 | 35.24 | 35.4 | 34.92 | 34.71 | 34.83 | 34.93 | 34.88 | 34.79 | 35.1 | 35.84 | 36.35 | 36.38 | 36.53 | 36.69 | 37.16
Agricultural Sector | 3.05 | 4.25 | 4.27 | 5.1 | 5.56 | 5.69 | 6.38 | 6.39 | 7.15 | 7.92 | 8.46 | 8.95 | 9.41 | 9.88 | 10.11 | 10.13 | 10.13 | 10.11 | 10.12
Electric Vehicles | 0.34 | 0.46 | 0.59 | 0.74 | 0.91 | 1.1 | 1.3 | 1.49 | 1.68 | 1.86 | 2.04 | 2.21 | 2.38 | 2.53 | 2.66 | 2.77 | 2.87 | 2.96 | 3.05
Transit Electrification | 0.28 | 0.34 | 0.4 | 0.4 | 0.4 | 0.84 | 1.19 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84 | 1.84
Other Electricity Demand | 5.21 | 5.24 | 5.31 | 5.35 | 5.38 | 5.42 | 5.46 | 5.49 | 5.52 | 5.56 | 5.59 | 5.62 | 5.65 | 5.67 | 5.71 | 5.75 | 5.78 | 5.82 | 5.85
Total | 137.72 | 139.86 | 142.21 | 144.08 | 145.15 | 146.54 | 148.11 | 149.51 | 151.66 | 153.38 | 154.77 | 156.07 | 157.77 | 160.16 | 161.83 | 162.5 | 163.26 | 164.13 | 165.64
Back to main menu

## Figure 5
Back to main menu
Figure 5: Scenario 2 - Seasonal - Annual Peak Demand (GW)
Season | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Summer | 22.47 | 22.72 | 23 | 23.35 | 23.55 | 23.72 | 23.86 | 24.11 | 24.4 | 24.62 | 24.75 | 24.91 | 25.1 | 25.34 | 25.49 | 25.63 | 25.72 | 25.83 | 25.97
Winter | 21.69 | 21.92 | 22.15 | 22.44 | 22.82 | 22.97 | 23.14 | 23.34 | 23.61 | 23.83 | 23.88 | 24.13 | 24.34 | 24.6 | 24.75 | 24.93 | 25.02 | 25.13 | 25.28
Back to main menu

## Figure 6
Back to main menu
Figure 6: Industrial Conservation Initiative Impact - Peak System Day Hourly Demand Impact (GW)
Hour
Metric | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24
2022 - 2040 System Peak Day ICI Impact | -0.13 | -0.08 | -0.08 | -0.04 | -0.01 | 0 | 0.04 | 0.05 | 0.03 | -0.05 | -0.21 | -0.39 | -0.55 | -0.68 | -0.83 | -1 | -1.08 | -1.09 | -1.06 | -0.8 | -0.54 | -0.26 | -0.15 | -0.14
Back to main menu

## Figure 7
Back to main menu
Figure 7: 2021 Installed Capacity by Fuel Type (GW)
Fuel | 2021 Installed Capacity
Nuclear | 11.3401
Gas/Oil | 10.6723
Hydroelectric | 9.3669
Wind | 5.5333
Solar | 2.6732
Demand Response | 0.9526
Bioenergy | 0.41053
Total | 40.949
Back to main menu

## Table 2
Back to main menu
Table 2: Ontario’s Summer and Winter Effective Capacity by End of 2021 (GW)
Fuel | 2021 Installed | 2021 Summer Effective | 2021 Winter Effective
Nuclear | 11.3 | 10.7 | 10.7
Gas/Oil | 10.7 | 8.6 | 9.3
Hydroelectric | 9.4 | 6.5 | 7.1
Wind | 5.5 | 0.7 | 2.1
Solar | 2.7 | 0.9 | 0.1
Demand Response | 1 | 0.4 | 0.6
Bioenergy | 0.4 | 0.4 | 0.4
Total | 40.9 | 28.2 | 30.4
Back to main menu

## Figure 8
Back to main menu
Figure 8: Installed Capacity 2022-2040 (GW)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 10.4601 | 9.6161 | 9.9811 | 9.5621 | 8.322 | 9.106 | 8.286 | 9.106 | 8.286 | 9.106 | 9.106 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926 | 9.926
Gas/Oil | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723 | 10.6723
Hydroelectric | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728 | 9.3728
Wind | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333 | 5.5333
Solar | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732 | 2.6732
Demand Response | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526
Bioenergy | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41053 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453 | 0.41453
Total | 40.0749 | 39.2309 | 39.5959 | 39.1769 | 37.9368 | 38.7208 | 37.9008 | 38.7208 | 37.9048 | 38.7248 | 38.7248 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448
Back to main menu

## Figure 9
Back to main menu
Figure 9: Summer Effective Capacity 2022-2040 (GW)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 9.8809 | 9.1517 | 9.9385 | 9.0813 | 7.0785 | 7.9153 | 7.8391 | 8.638 | 7.8421 | 8.6399 | 8.6399 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358 | 9.4358
Gas/Oil | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175 | 8.6175
Hydroelectric | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116 | 6.5116
Wind | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676 | 0.66676
Solar | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584 | 0.88584
Demand Response | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933 | 0.44933
Bioenergy | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983
Total | 27.388 | 26.6588 | 27.4457 | 26.5884 | 24.5856 | 25.4224 | 25.3463 | 26.1451 | 25.3529 | 26.1508 | 26.1508 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467 | 26.9467
Back to main menu

## Figure 10
Back to main menu
Figure 10: Winter Effective Capacity 2022-2040 (GW)
Fuel | 2022/23 | 2023/24 | 2024/25 | 2025/26 | 2026/27 | 2027/28 | 2028/29 | 2029/30 | 2030/31 | 2031/32 | 2032/33 | 2033/34 | 2034/35 | 2035/36 | 2036/37 | 2037/38 | 2038/39 | 2039/40
Nuclear | 9.1657 | 9.9538 | 8.2448 | 7.1484 | 7.9165 | 8.6532 | 7.8593 | 8.6571 | 7.8573 | 8.6513 | 8.6513 | 9.4511 | 9.4511 | 9.4511 | 9.4511 | 9.4511 | 9.4511 | 9.4511
Gas/Oil | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082 | 9.3082
Hydroelectric | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129 | 7.1129
Wind | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386 | 2.1386
Solar | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564 | 0.12564
Demand Response | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432 | 0.63432
Bioenergy | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37609 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983 | 0.37983
Total | 28.8614 | 29.6495 | 27.9405 | 26.8441 | 27.6122 | 28.3489 | 27.555 | 28.3528 | 27.5568 | 28.3507 | 28.3507 | 29.1505 | 29.1505 | 29.1505 | 29.1505 | 29.1505 | 29.1505 | 29.1505
Back to main menu

## Figure 11
Back to main menu
Figure 11: Nuclear Refurbishment and Retirement Schedule
Unit | Out of Service | In Service
Bruce G3 | 2023/1/1 | 2026/6/30
Bruce G4 | 2025/1/1 | 2027/12/31
Bruce G5 | 2026/7/1 | 2029/6/30
Bruce G6 | 2020/1/17 | 2023/11/5
Bruce G7 | 2028/7/1 | 2031/6/30
Bruce G8 | 2030/7/1 | 2033/6/30
Darlington G1 | 2022/2/15 | 2025/4/18
Darlington G2 | 2016/10/14 | 2020/6/4
Darlington G3 | 2020/7/30 | 2024/1/2
Darlington G4 | 2023/9/15 | 2026/10/16
Pickering G1 | 2024/9/30 | -
Pickering G4 | 2024/12/31 | -
Pickering G5 | 2025/12/31 | -
Pickering G6 | 2025/12/31 | -
Pickering G7 | 2025/12/31 | -
Pickering G8 | 2025/12/31 | -
Back to main menu

## Figure 12
Back to main menu
Figure 12: Summer Refurbishment Outages
| 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Number of Units On Refurbishment | 3 | 4 | 3 | 3 | 3 | 2 | 2 | 1 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Figure 13
Back to main menu
Figure 13: Existing Resources Post-Contract Expiry 2022-2040 by Fuel Type (GW)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Gas/Oil | 2.2313 | 2.2543 | 2.8425 | 2.8425 | 3.5207 | 3.5207 | 4.5688 | 6.9026 | 7.9526 | 8.2755 | 8.7386 | 8.7811 | 8.8576 | 9.0822 | 9.134 | 9.4747 | 9.4747 | 9.4794 | 10.5403
Hydroelectric | 0.00838 | 0.00838 | 0.01123 | 0.02473 | 0.02473 | 0.030879 | 0.059829 | 1.0419 | 1.1444 | 1.1553 | 1.174 | 1.1894 | 1.191 | 1.1957 | 1.1958 | 1.1958 | 1.1958 | 1.2202 | 1.2326
Wind | 0 | 0 | 0 | 0 | 0.3946 | 0.41101 | 0.77731 | 1.1845 | 1.2849 | 1.9159 | 2.0503 | 2.4876 | 3.4957 | 4.3683 | 4.8659 | 4.9742 | 5.0734 | 5.4335 | 5.5333
Solar | 0 | 0 | 0 | 0 | 0 | 3.52e-06 | 0.0103 | 0.0398 | 0.1946 | 0.43106 | 0.66107 | 1.041 | 1.5819 | 2.1364 | 2.3636 | 2.4416 | 2.5158 | 2.6412 | 2.6552
Demand Response | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526 | 0.9526
Bioenergy | 0.0398 | 0.0838 | 0.2968 | 0.2993 | 0.3009 | 0.3239 | 0.32778 | 0.32788 | 0.34755 | 0.35276 | 0.3588 | 0.3671 | 0.38939 | 0.40429 | 0.40517 | 0.40567 | 0.40653 | 0.40778 | 0.40803
Total | 3.2321 | 3.2991 | 4.1032 | 4.1192 | 5.1936 | 5.2391 | 6.6966 | 10.4493 | 11.8766 | 13.0832 | 13.9355 | 14.8187 | 16.4682 | 18.1395 | 18.9171 | 19.4446 | 19.6188 | 20.1347 | 21.3221
Back to main menu

## Figure 14
Back to main menu
Figure 14: Installed Capacity by Contract/Commitment Type 2022-2040 (GW)
Contract/Commitment Type | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear Existing | 9.5801 | 7.9161 | 7.4011 | 6.1021 | 3.198 | 3.198 | 2.378 | 2.378 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558 | 1.558
Nuclear Refurbishment | 0.88 | 1.7 | 2.58 | 3.46 | 5.124 | 5.908 | 5.908 | 6.728 | 6.728 | 7.548 | 7.548 | 8.368 | 8.368 | 8.368 | 8.368 | 8.368 | 8.368 | 8.368 | 8.368
Existing Non-Nuclear (Regulated and Contracts) | 26.0627 | 25.9957 | 25.1916 | 25.1756 | 24.1012 | 24.0557 | 22.5982 | 18.8455 | 17.4182 | 16.2116 | 15.3593 | 14.4761 | 12.8266 | 11.1553 | 10.3777 | 9.8502 | 9.676 | 9.2201 | 8.0897
Committed | 0.18551 | 0.18551 | 0.18551 | 0.18551 | 0.18551 | 0.18551 | 0.18551 | 0.18551 | 0.18951 | 0.18951 | 0.18951 | 0.18951 | 0.18951 | 0.18951 | 0.18951 | 0.18951 | 0.18951 | 0.12951 | 0.07253
Merchant | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345 | 0.1345
Resources with Expired Contracts | 3.2321 | 3.2991 | 4.1032 | 4.1192 | 5.1936 | 5.2391 | 6.6966 | 10.4493 | 11.8766 | 13.0832 | 13.9355 | 14.8187 | 16.4682 | 18.1395 | 18.9171 | 19.4446 | 19.6188 | 20.1347 | 21.3221
Total | 40.0749 | 39.2309 | 39.5959 | 39.1769 | 37.9368 | 38.7208 | 37.9008 | 38.7208 | 37.9048 | 38.7248 | 38.7248 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448 | 39.5448
Back to main menu

## Table 4
Back to main menu
Table 4: Five-Year Reserve Margin, with Continued Availability of Existing Resources
Category | 2021 | 2022 | 2023 | 2024 | 2025
Scenario 1 Summer Peak Demand (MW) | 22882 | 23131 | 23583 | 23833 | 24093
Existing Summer Effective Capacity (MW) | 28207 | 27388 | 26659 | 27446 | 26588
Total Resource Requirement (MW) | 27019 | 27262 | 26587 | 27334 | 28505
Reserve Margin Available (MW) | 5325 | 4257 | 3076 | 3613 | 2495
Capacity Surplus/Deficit (MW) | 1188 | 126 | 72 | 112 | -1917
Reserve Margin Available (%) | 23% | 18% | 13% | 15% | 10%
Reserve Margin Requirement (%) | 18% | 18% | 13% | 15% | 18%
Back to main menu

## Figure 17
Back to main menu
Figure 17: Reserve Margin Requirement 2021-2040 (MW)
Category | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Scenario 1 Summer Peak Demand | 22882 | 23131 | 23583 | 23833 | 24093 | 24336 | 24641 | 24806 | 25124 | 25455 | 25673 | 25814 | 26004 | 26200 | 26448 | 26625 | 26828 | 26945 | 27103 | 27265
Total Resource Requirement | 27019.0467 | 27262.0811 | 26587.0808 | 27333.8543 | 28505.0743 | 27975.0223 | 28061.4608 | 28159.7145 | 29414.3438 | 28948.6446 | 29760.5908 | 29459.3956 | 30306.5738 | 30072.1478 | 30366.0784 | 30433.0697 | 30730.0199 | 30798.0703 | 30927.8928 | 31176.4455
Reserve Margin Requirement | 4137.0467 | 4131.0811 | 3004.0808 | 3500.8543 | 4412.0743 | 3639.0223 | 3420.4608 | 3353.7145 | 4290.3438 | 3493.6446 | 4087.5908 | 3645.3956 | 4302.5738 | 3872.1478 | 3918.0784 | 3808.0697 | 3902.0199 | 3853.0703 | 3824.8928 | 3911.4455
Back to main menu

## Figure 18
Back to main menu
Figure 18: Summer Capacity Surplus/Deficit, without Continued Availability of Existing Resources (MW)
Scenario | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Scenario 1 | -875.0762 | -2045.2058 | -2326.3643 | -4552.3443 | -6675.8418 | -6079.5614 | -6178.3871 | -9349.3705 | -10604.542 | -11476.7682 | -11859.9612 | -12124.9508 | -12078.0909 | -12875.9602 | -13325.2692 | -13995.7754 | -14214.0398 | -14481.1874 | -15640.3079
Scenario 2 | -307.5284 | -1242.9288 | -1579.0692 | -3824.0774 | -5857.9859 | -5169.2707 | -5279.2425 | -8287.5444 | -9537.2351 | -10393.5755 | -10653.8026 | -10977.1693 | -10978.3966 | -11700.4356 | -12107.4742 | -12780.5715 | -12943.3681 | -13203.9334 | -14278.9408
Back to main menu

## Figure 19
Back to main menu
Figure 19: Winter Capacity Surplus/Deficit, without Continued Availability of Existing Resources (MW)
Scenario | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2031/2032 | 2032/2033 | 2033/2034 | 2034/2035 | 2035/2036 | 2036/2037 | 2037/2038 | 2038/2039 | 2039/2040
Scenario 1 | -2283.9184 | -1570.1131 | -2733.3743 | -4338.6724 | -5065.0969 | -4534.8265 | -5564.2204 | -7913.7095 | -9942.3684 | -9870.0355 | -10168.2302 | -10301.1039 | -10264.0829 | -10629.857 | -11148.3739 | -11931.4094 | -12252.0871 | -12527.6232
Scenario 2 | -1747.5753 | -965.4765 | -2148.2714 | -3749.2431 | -4275.4696 | -3891.8914 | -4778.5836 | -6986.9637 | -8898.206 | -8777.4398 | -9138.7865 | -9256.6763 | -9188.9917 | -9634.2629 | -10122.4066 | -10952.2064 | -11195.9028 | -11461.0542
Back to main menu

## Table 5
Back to main menu
Table 5: Incremental Summer Zonal Constraints, without Continued Availability of Existing Resources
| 2023 |  | 2025 |  | 2029
Zone | Min | Max | Min | Max | Min | Max
Bruce | 0 | 2800 | 0 | 2750 | 0 | 2150
East | 0 | N/A | 0 | N/A | 0 | N/A
Essa | 0 | N/A | 0 | N/A | 0 | N/A
Niagara | 0 | 900 | 0 | 900 | 0 | 900
Northeast | 0 | 150 | 0 | 250 | 0 | 250
Northwest | 0 | 50 | 0 | 100 | 0 | 100
Ottawa | 0 | N/A | 0 | N/A | 0 | N/A
Southwest | 0 | N/A | 0 | N/A | 0 | N/A
Toronto | 0 | N/A | 0 | N/A | 0 | N/A
West | 0 | 1000 | 0 | 1450 | 400 | 3900
Toronto+Essa+East+Ottawa | 0 | N/A | 1600 | N/A | 4550 | N/A
Northeast+Northwest | 0 | 150 | 0 | 250 | 0 | 250
Bruce+West+Niagara+Southwest | 0 | 2250 | 0 | 2550 | 0 | 4150
Back to main menu

## Table 6
Back to main menu
Table 6: Incremental Winter Zonal Constraints, without Continued Availability of Existing Resources
| 2023/2024 |  | 2025/2026 |  | 2029/2030
Zone | Min | Max | Min | Max | Min | Max
Bruce | 0 | N/A | 0 | 5000 | 0 | 2300
East | 0 | N/A | 0 | N/A | 0 | N/A
Essa | 0 | N/A | 0 | N/A | 0 | N/A
Niagara | 0 | 800 | 0 | 1700 | 0 | 800
Northeast | 0 | 600 | 0 | 1800 | 0 | 1550
Northwest | 0 | 150 | 0 | 1100 | 0 | 350
Ottawa | 0 | N/A | 0 | N/A | 0 | N/A
Southwest | 0 | N/A | 0 | N/A | 0 | N/A
Toronto | 0 | N/A | 0 | N/A | 0 | N/A
West | 0 | 850 | 0 | 2450 | 450 | 4300
Toronto+Essa+East+Ottawa | 0 | N/A | 200 | N/A | 4200 | N/A
Northeast+Northwest | 0 | 600 | 0 | 1800 | 0 | 1550
Bruce+West+Niagara+Southwest | 0 | 1100 | 0 | 4050 | 0 | 3400
Back to main menu

## Figure 20
Back to main menu
Figure 20: Scenario 1 – Energy Adequacy Outlook, with Continued Availability of Existing Resources (TWh)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 73.2412 | 67.6274 | 72.9962 | 68.7408 | 58.8061 | 64.3007 | 63.5201 | 70.9869 | 68.0912 | 67.666 | 72.406 | 74.658 | 75.2867 | 78.1346 | 77.3156 | 77.9168 | 75.9419 | 76.7277 | 74.3092
Natural Gas | 10.005 | 16.5995 | 15.9082 | 21.6237 | 31.0834 | 28.7373 | 30.7833 | 26.0198 | 30.4633 | 32.6377 | 29.7493 | 28.991 | 29.9141 | 29.4938 | 31.321 | 31.9271 | 34.4778 | 34.5434 | 38.2012
Hydroelectric | 37.5926 | 37.8546 | 38.6166 | 38.0377 | 38.5095 | 38.2579 | 38.4497 | 38.1859 | 38.3613 | 38.4504 | 38.5442 | 38.4154 | 38.2743 | 38.2331 | 38.474 | 38.4514 | 38.4997 | 38.5402 | 38.6674
Non-Hydro Renewables | 18.349 | 20.2356 | 19.7734 | 20.2344 | 21.729 | 21.4158 | 21.829 | 21.2635 | 21.7669 | 21.8816 | 21.6932 | 21.6821 | 21.5463 | 21.4042 | 21.8435 | 21.6252 | 21.8111 | 21.9024 | 22.1337
HQ Imports | 2.2715 | 2.3013 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Ontario Demand | 141.4718 | 144.6379 | 147.3158 | 148.6889 | 150.5119 | 152.9822 | 154.7743 | 156.6919 | 159.0846 | 160.8928 | 162.5718 | 163.9348 | 165.4673 | 167.6258 | 169.4015 | 170.277 | 171.187 | 172.32 | 173.9946
Back to main menu

## Figure 21
Back to main menu
Figure 21: Scenario 2 – Energy Adequacy Outlook, with Continued Availability of Existing Resources (TWh)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 73.2339 | 67.6229 | 72.9225 | 68.7394 | 58.8061 | 64.3007 | 63.5201 | 70.9869 | 68.0912 | 67.666 | 72.406 | 74.658 | 75.2867 | 78.1346 | 77.3156 | 77.9168 | 75.9419 | 76.7277 | 74.3092
Natural Gas | 7.9002 | 13.1061 | 12.4841 | 18.1196 | 26.3355 | 23.2548 | 25.0971 | 20.298 | 24.2281 | 26.1075 | 23.2363 | 22.3796 | 23.8147 | 23.4659 | 25.1135 | 25.4399 | 27.7617 | 27.6642 | 31.0596
Hydroelectric | 36.2363 | 37.2069 | 37.4516 | 37.2744 | 38.3037 | 37.8785 | 38.1625 | 37.7201 | 38.0339 | 38.2285 | 38.108 | 38.1245 | 37.8379 | 37.7991 | 38.1573 | 38.1255 | 38.2165 | 38.3214 | 38.4675
Non-Hydro Renewables | 18.1408 | 19.5752 | 19.3139 | 19.88 | 21.3447 | 20.8218 | 21.3821 | 20.4768 | 21.2533 | 21.4159 | 21.0944 | 21.0223 | 20.852 | 20.7852 | 21.2677 | 21.0917 | 21.36 | 21.4181 | 21.7258
HQ Imports | 2.242 | 2.3034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Ontario Demand | 137.7631 | 139.8297 | 142.1887 | 144.0377 | 144.9708 | 146.3601 | 148.2209 | 149.5877 | 151.7918 | 153.5014 | 154.895 | 156.2469 | 157.9536 | 160.3415 | 162.0146 | 162.674 | 163.4387 | 164.3037 | 165.7928
Back to main menu

## Figure 22
Back to main menu
Figure 22: Potentially Unserved Energy (TWh)
Scenario | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Scenario 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1
Scenario 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scenario 1, without continued availability of existing resources | 0 | 0 | 0 | 0 | 3 | 2 | 2 | 8 | 17 | 24 | 24 | 27 | 29 | 35 | 40 | 44 | 46 | 48 | 56
Scenario 2, without continued availability of existing resources | 0 | 0 | 0 | 0 | 2 | 1 | 1 | 5 | 12 | 18 | 18 | 20 | 22 | 28 | 32 | 37 | 39 | 40 | 47
Back to main menu

## Figure 23
Back to main menu
Figure 23: Surplus Baseload Generation, with Continued Availability of Existing Resources (TWh)
Scenario | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Scenario 1 | 6.892 | 3.3006 | 4.6695 | 3.5908 | 0.77939 | 1.3446 | 0.88723 | 1.5114 | 0.84107 | 0.62508 | 0.99032 | 0.92227 | 1.1691 | 1.3316 | 0.89768 | 0.94361 | 0.71919 | 0.57681 | 0.39459
Scenario 2 | 8.4614 | 4.6131 | 6.2907 | 4.7098 | 1.3695 | 2.3181 | 1.6213 | 2.764 | 1.682 | 1.3127 | 2.0253 | 1.8731 | 2.2999 | 2.3847 | 1.7901 | 1.8031 | 1.4534 | 1.28 | 1.0025
Back to main menu

## Figure 24
Back to main menu
Figure 24: Scenario 1 – Energy Production Outlook (TWh)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 73.4154 | 67.6282 | 73.1396 | 68.7409 | 58.8061 | 64.3007 | 63.5201 | 70.9869 | 68.0912 | 67.666 | 72.406 | 74.658 | 75.2867 | 78.1346 | 77.3156 | 77.9168 | 75.9419 | 76.7277 | 74.3092
Natural Gas | 11.137 | 15.5531 | 17.9396 | 20.5947 | 26.1375 | 28.0154 | 29.2263 | 27.6346 | 31.3484 | 34.7163 | 33.4972 | 33.8703 | 34.0516 | 34.194 | 36.1126 | 36.8148 | 38.7091 | 39.6194 | 42.2654
Hydroelectric | 38.5983 | 38.594 | 38.9101 | 38.7099 | 38.7097 | 38.6942 | 38.7795 | 38.6714 | 38.6477 | 38.6343 | 38.8203 | 38.6871 | 38.6643 | 38.6732 | 38.7518 | 38.7144 | 38.7007 | 38.6857 | 38.7745
Non-Hydro Renewables | 19.4398 | 19.4486 | 19.5249 | 19.4721 | 19.4701 | 19.4877 | 19.547 | 19.4626 | 19.4932 | 19.5041 | 19.5696 | 19.5132 | 19.5058 | 19.4686 | 19.6203 | 19.4843 | 19.5074 | 19.5095 | 19.5888
Imports | 13.6688 | 15.5717 | 11.0922 | 12.9999 | 16.1874 | 13.2686 | 14.2719 | 11.5274 | 12.3438 | 10.7984 | 9.7432 | 9.1037 | 9.7822 | 9.2204 | 9.5776 | 8.7893 | 9.4588 | 9.2465 | 9.6688
Ontario Demand + Exports | 156.2759 | 156.8141 | 160.6232 | 160.5333 | 159.326 | 163.7792 | 165.3574 | 168.2981 | 169.9463 | 171.339 | 174.0584 | 175.8523 | 177.3115 | 179.7097 | 181.4003 | 181.7355 | 182.3363 | 183.8051 | 184.6242
Ontario Demand | 141.479 | 144.642 | 147.3202 | 148.6927 | 150.5129 | 152.9833 | 154.7752 | 156.6936 | 159.0871 | 160.8944 | 162.5755 | 163.9366 | 165.4707 | 167.6289 | 169.404 | 170.2779 | 171.1886 | 172.3206 | 173.9955
Back to main menu

## Figure 25
Back to main menu
Figure 25: Scenario 2 – Energy Production Outlook (TWh)
Fuel | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 73.4154 | 67.6282 | 73.1396 | 68.7409 | 58.8061 | 64.3007 | 63.5201 | 70.9869 | 68.0912 | 67.666 | 72.406 | 74.658 | 75.2867 | 78.1346 | 77.3156 | 77.9168 | 75.9419 | 76.7277 | 74.3092
Natural Gas | 10.0486 | 13.8636 | 15.8834 | 18.5319 | 23.5854 | 24.8963 | 25.9195 | 24.3667 | 27.8759 | 31.0478 | 29.5223 | 29.9447 | 30.3 | 30.7122 | 32.6157 | 33.2349 | 35.318 | 36.1937 | 38.9898
Hydroelectric | 38.5992 | 38.5917 | 38.9038 | 38.7039 | 38.7062 | 38.6926 | 38.7782 | 38.6685 | 38.646 | 38.6341 | 38.8191 | 38.6864 | 38.6633 | 38.6715 | 38.751 | 38.7137 | 38.6999 | 38.6855 | 38.7744
Non-Hydro Renewables | 19.44 | 19.446 | 19.5187 | 19.4646 | 19.4631 | 19.4841 | 19.544 | 19.4543 | 19.4906 | 19.4997 | 19.558 | 19.511 | 19.5021 | 19.464 | 19.6157 | 19.4784 | 19.506 | 19.5095 | 19.5888
Imports | 12.255 | 13.8502 | 9.5342 | 11.6736 | 14.5245 | 11.4806 | 12.5703 | 9.7248 | 10.3212 | 9.0696 | 8.211 | 7.4912 | 8.1236 | 7.5638 | 7.9341 | 7.1856 | 7.5733 | 7.206 | 7.4385
Ontario Demand + Exports | 153.7749 | 153.3975 | 156.997 | 157.1309 | 155.1005 | 158.8669 | 160.3447 | 163.2167 | 164.4469 | 165.9363 | 168.5387 | 170.3114 | 171.8966 | 174.565 | 176.2546 | 176.5451 | 177.057 | 178.3378 | 179.1182
Ontario Demand | 137.7722 | 139.8355 | 142.1945 | 144.0425 | 144.9726 | 146.3619 | 148.2224 | 149.5907 | 151.796 | 153.504 | 154.9007 | 156.2502 | 157.959 | 160.3462 | 162.0189 | 162.6756 | 163.441 | 164.3048 | 165.7946
Back to main menu

## Figure 26
Back to main menu
Figure 26: Energy Production Outlook, Imports (TWh)
Imports | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Actual | 5.7635 | 7.9948 | 6.627 | 8.438 | 6.613
Scenario 1 | [5 empty] | 8.9 | 8.5 | 13.6688 | 15.5717 | 11.0934 | 13.0002 | 16.1874 | 13.2686 | 14.2719 | 11.5274 | 12.3438 | 10.7984 | 9.7432 | 9.1037 | 9.7822 | 9.2204 | 9.5776 | 8.7893 | 9.4588 | 9.2465 | 9.6688
Scenario 2 | [5 empty] | 8.9 | 8.5 | 12.255 | 13.8502 | 9.536 | 11.6739 | 14.5245 | 11.4806 | 12.5703 | 9.7248 | 10.3214 | 9.0696 | 8.211 | 7.4912 | 8.1236 | 7.564 | 7.9341 | 7.1856 | 7.5733 | 7.206 | 7.4385
* Note: For 2020 and 2021, the 2019 Annual Planning Outlook forecast values are shown
Back to main menu

## Figure 27
Back to main menu
Figure 27: Energy Production Outlook, Exports (TWh)
Exports | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Actual | 22.618 | 21.8581 | 19.098 | 18.591 | 19.779
Scenario 1 | [5 empty] | 18.6 | 15.7 | 14.797 | 12.1721 | 13.3029 | 11.8407 | 8.8131 | 10.7958 | 10.5822 | 11.6045 | 10.8592 | 10.4446 | 11.4829 | 11.9158 | 11.8408 | 12.0807 | 11.9964 | 11.4575 | 11.1477 | 11.4845 | 10.6287
Scenario 2 | [5 empty] | 18.6 | 15.7 | 16.0027 | 13.562 | 14.8026 | 13.0884 | 10.1279 | 12.505 | 12.1223 | 13.626 | 12.6509 | 12.4323 | 13.6381 | 14.0612 | 13.9376 | 14.2188 | 14.2357 | 13.8695 | 13.616 | 14.033 | 13.3236
* Note: For 2020 and 2021, the 2019 Annual Planning Outlook forecast values are shown
Back to main menu

## Figure 28
Back to main menu
Figure 28: Change in Energy Production Outlook Between Scenario 1 and Scenario 2 (TWh)
Category | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas | 1.0884 | 1.6895 | 2.0562 | 2.0628 | 2.5521 | 3.1191 | 3.3068 | 3.2679 | 3.4724 | 3.6685 | 3.9749 | 3.9256 | 3.7516 | 3.4818 | 3.497 | 3.58 | 3.3911 | 3.4257 | 3.2756
Hydroelectric | -0.00094801 | 0.002352 | 0.006268 | 0.005935 | 0.003492 | 0.00163 | 0.001363 | 0.002868 | 0.001716 | 0.000216 | 0.001234 | 0.000664 | 0.000942 | 0.001718 | 0.000751 | 0.000696 | 0.00076799 | 0.000139 | 0.000157
Non-Hydro Renewables | -0.000167 | 0.002621 | 0.006197 | 0.007448 | 0.007003 | 0.003557 | 0.003014 | 0.008224 | 0.002672 | 0.004441 | 0.011576 | 0.002166 | 0.003621 | 0.004569 | 0.004585 | 0.005836 | 0.001434 | 0 | 1.0004e-06
Imports | 1.4137 | 1.7226 | 1.558 | 1.3264 | 1.6629 | 1.788 | 1.7016 | 1.8026 | 2.0226 | 1.7288 | 1.5322 | 1.6125 | 1.6586 | 1.6567 | 1.6434 | 1.6037 | 1.8855 | 2.0405 | 2.2303
Exports | -1.2057 | -1.3899 | -1.4997 | -1.2478 | -1.3148 | -1.7091 | -1.5401 | -2.0215 | -1.7917 | -1.9877 | -2.1552 | -2.1454 | -2.0968 | -2.1381 | -2.2393 | -2.4119 | -2.4682 | -2.5485 | -2.6949
Back to main menu

## Figure 29
Back to main menu
Figure 29: FETT Security Outlook (MW)
Category | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Receiving Subsystem Supply (Contracted) | 12787.761 | 11923.781 | 9823.781 | 9823.781 | 9671.781 | 7508.611 | 8373.735 | 8364.655 | 6979.195 | 6898.182 | 6867.415 | 6445.903 | 6384.772 | 6215.405 | 5980.109 | 5859.206 | 5840.939 | 5820.948 | 5799.029 | 4818.009
Receiving Subsystem Supply (Reacquired) | 5.595 | 5.95 | 2105.95 | 2105.95 | 2105.95 | 2205.12 | 2217.996 | 2227.076 | 3612.536 | 3693.549 | 3724.316 | 4145.816 | 4206.959 | 4376.326 | 4611.622 | 4732.525 | 4750.792 | 4770.783 | 4792.702 | 5773.723
Transfer Capability | 3350 | 3350 | 3350 | 3350 | 3325 | 2580 | 2580 | 2580 | 2580 | 2580 | 2965 | 2965 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350
Demand | 13457.109 | 13244.719 | 13466.256 | 13575.638 | 13754.394 | 13894.675 | 14029.139 | 14149.318 | 14372.96 | 14592.507 | 14739.77 | 14852.276 | 14995.077 | 15151.095 | 15329.823 | 15461.198 | 15607.974 | 15698.472 | 15807.917 | 15930.96
Back to main menu

## Figure 30
Back to main menu
Figure 30: FIO Security Outlook (MW)
Category | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Receiving Subsystem Supply (Contracted) | 193.255 | 193.255 | 193.255 | 193.255 | 193.255 | 188.016 | 187.345 | 187.251 | 167.108 | 164.447 | 150.193 | 144.395 | 72.144 | 70.695 | 66.709 | 66.683 | 65.715 | 62.128 | 48.726
Receiving Subsystem Supply (Reacquired) | 0 | 0 | 0 | 0 | 0 | 5.239 | 5.911 | 6.004 | 26.147 | 28.808 | 43.05 | 48.86 | 121.111 | 122.56 | 126.546 | 126.572 | 127.54 | 131.127 | 144.529
Transfer Capability | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770 | 1770
Demand | 1656.007 | 1683.021 | 1697.688 | 1717.3 | 1730.795 | 1745.85 | 1760.242 | 1786.774 | 1814.982 | 1832.579 | 1844.707 | 1860.471 | 1877.325 | 1896.53 | 1910.619 | 1931.437 | 1945.666 | 1961.921 | 1978.61
Back to main menu

## Figure 31
Back to main menu
Figure 31: BLIP Security Outlook (MW)
Category | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Receiving Subsystem Supply (Contracted) | 3590.096 | 3590.096 | 3048.486 | 3048.486 | 2566.749 | 2566.749 | 2563.065 | 995.398 | 868.89 | 703.987 | 558.746 | 504.041 | 447.001 | 431.428 | 425.986 | 85.475 | 59.313 | 58.767 | 5.6
Receiving Subsystem Supply (Reacquired) | 0 | 0 | 541.61 | 541.61 | 1023.347 | 1023.347 | 1027.031 | 2594.698 | 2721.206 | 2886.109 | 3031.35 | 3086.003 | 3143.095 | 3158.668 | 3164.11 | 3504.621 | 3530.783 | 3531.329 | 3584.496
Transfer Capability | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275 | 2275
Demand | 2857.343 | 2942.013 | 3001.844 | 3020.308 | 3111.184 | 3197.447 | 3287.012 | 3368.8 | 3442.56 | 3505.506 | 3567.686 | 3616.212 | 3614.415 | 3634.537 | 3657.484 | 3668.376 | 3672.275 | 3680.296 | 3689.774
Back to main menu

## Figure 32
Back to main menu
Figure 32: Scenario 1 - Summary of Summer Capacity Needs including Locational Requirements, without Continued Availability of Existing Resources (MW)
Capacity (MW) | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
West Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98.402 | 298.67 | 526.519 | 733.94 | 837.171 | 892.414 | 928.11 | 956.498 | 1307.9 | 1337.962 | 1346.529 | 1409.174
Ottawa Zone | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.181 | 55.835 | 73.909 | 94.754 | 109.951 | 129.793 | 159.885
East of FETT (except Ottawa) | 0 | 292.475 | 401.857 | 757.612 | 3806.064 | 3075.404 | 3204.664 | 4813.765 | 5114.326 | 4907.355 | 5441.374 | 5260.305 | 5585.69 | 5999.714 | 6251.993 | 6417.035 | 6527.524 | 6658.888 | 7762.952
Remaining Capacity Need in Province | 875.076 | 1752.731 | 1924.507 | 3794.732 | 2869.778 | 3004.158 | 2973.723 | 4437.203 | 5191.546 | 6042.894 | 5684.648 | 6027.474 | 5564.806 | 5892.302 | 6042.869 | 6176.086 | 6238.603 | 6345.977 | 6308.297
Total | 875.076 | 2045.206 | 2326.364 | 4552.344 | 6675.842 | 6079.561 | 6178.387 | 9349.37 | 10604.542 | 11476.768 | 11859.961 | 12124.951 | 12078.091 | 12875.96 | 13325.269 | 13995.775 | 14214.04 | 14481.187 | 15640.308
Back to main menu

## Figure 33
Back to main menu
Figure 33: Summer Capacity Surplus/Deficit, with Continued Availability of Existing Resources (MW)
Scenario | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Scenario 1 | 125.9368 | 71.73 | 111.8037 | -1916.6904 | -3389.3899 | -2639.0594 | -2813.4446 | -3269.257 | -3595.7031 | -3609.809 | -3308.6137 | -3359.9047 | -3125.4787 | -3419.4093 | -3486.4006 | -3783.3508 | -3851.4012 | -3981.2237 | -4229.7764
Scenario 2 | 612.024 | 865.2638 | 822.5541 | -1204.1504 | -2597.4862 | -1763.3273 | -1967.7678 | -2241.1203 | -2544.327 | -2520.125 | -2154.2696 | -2229.1147 | -2069.4116 | -2274.9144 | -2322.3507 | -2521.2532 | -2628.1467 | -2665.6965 | -2909.6546
Back to main menu

## Figure 34
Back to main menu
Figure 34: Winter Capacity Surplus/Deficit, with Continued Availability of Existing Resources (MW)
Scenario | 2022/2023 | 2023/2024 | 2024/2025 | 2025/2026 | 2026/2027 | 2027/2028 | 2028/2029 | 2029/2030 | 2030/2031 | 2031/2032 | 2032/2033 | 2033/2034 | 2034/2035 | 2035/2036 | 2036/2037 | 2037/2038 | 2038/2039 | 2039/2040
Scenario 1 | 75.1669 | 386.7334 | 224.6897 | -934.8887 | -1410.947 | -1009.4768 | -1083.0893 | -763.0684 | -1559.2844 | -1141.5701 | -957.0832 | -915.2265 | -684.3184 | -713.8582 | -1159.8306 | -1351.5795 | -1908.9594 | -1676.6782
Scenario 2 | 576.212 | 948.708 | 763.7346 | -331.2511 | -654.5443 | -243.011 | -301.3612 | 138.6101 | -508.7133 | -94.9234 | 51.2493 | 43.9821 | 287.5445 | 208.2609 | -256.5869 | -349.3687 | -867.4734 | -582.1174
Back to main menu

## Figure 35
Back to main menu
Figure 35: FETT Security Outlook following Line Upgrade (MW)
Category | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Receiving Subsystem Supply (Contracted) | 11923.781 | 9823.781 | 9823.781 | 9671.781 | 7508.611 | 8373.735 | 8364.655 | 6979.195 | 6898.182 | 6867.415 | 6445.903 | 6384.772 | 6215.405 | 5980.109 | 5859.206 | 5840.939 | 5820.948 | 5799.029 | 4818.009
Receiving Subsystem Supply (Reacquired) | 5.95 | 2105.95 | 2105.95 | 2105.95 | 2205.12 | 2217.996 | 2227.076 | 3612.536 | 3693.549 | 3724.316 | 4145.816 | 4206.959 | 4376.326 | 4611.622 | 4732.525 | 4750.792 | 4770.783 | 4792.702 | 5773.723
Transfer Capability | 3350 | 3350 | 3350 | 3325 | 2580 | 2580 | 2580 | 2580 | 2580 | 2965 | 2965 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350 | 3350
Transfer Capability Improvement with Line Upgrades | 0 | 0 | 0 | 0 | 2016 | 2016 | 2016 | 2016 | 2016 | 1770.5 | 1770.5 | 1525 | 1525 | 1525 | 1525 | 1525 | 1525 | 1525 | 1525
Demand | 13244.719 | 13466.256 | 13575.638 | 13754.394 | 13894.675 | 14029.139 | 14149.318 | 14372.96 | 14592.507 | 14739.77 | 14852.276 | 14995.077 | 15151.095 | 15329.823 | 15461.198 | 15607.974 | 15698.472 | 15807.917 | 15930.96
Back to main menu

## Figure 36
Back to main menu
Figure 37: Weighted Average Marginal Costs Forecast, and Historical HOEP ($2020/MWh)
Scenario | 2015 | 2016 | 2017 | 2018 | 2019 | 2020* | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Historic HOEP | 2015: 25.96; 2016: 17.97; 2017: 16.81; 2018: 25.21; 2019: 18.62; 2020*: 13.73
Scenario 1 | [6 empty] | 16.86 | 17.86 | 20.79 | 22.16 | 23.82 | 27.51 | 28.36 | 29.62 | 29.94 | 32.27 | 34.34 | 33.46 | 33.91 | 33.03 | 33.06 | 34.21 | 35.12 | 36.44 | 37.24 | 38.42
Scenario 2 | [6 empty] | 16.4 | 17.24 | 19.4 | 20.32 | 22.45 | 25.42 | 26.2 | 27.47 | 26.99 | 29.92 | 31.24 | 31.03 | 30.48 | 30.38 | 30.91 | 31.54 | 33.03 | 33.99 | 34.01 | 36.11
*Note: 2020 Actual HOEP is year-to-date as of November 26, 2020
Back to main menu

## Figure 37
Back to main menu
Figure 37: Electricity Sector GHG Emissions, Historical and Forecast (Megatonnes CO2e)
Scenario | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020* | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Historic Actual | 2005: 35.4; 2006: 30.8; 2007: 33.9; 2008: 28.3; 2009: 15.3; 2010: 20.3; 2011: 14.4; 2012: 14.3; 2013: 10.3; 2014: 6; 2015: 6.3; 2016: 5.5; 2017: 2.5; 2018: 4; 2019: 4.4
Scenario 1 | 2020*: 5.4; 2021: 3.6; 2022: 4.4; 2023: 6.1; 2024: 7; 2025: 8; 2026: 10.2; 2027: 10.9; 2028: 11.3; 2029: 10.8; 2030: 12.2; 2031: 13.4; 2032: 13; 2033: 13.1; 2034: 13.2; 2035: 13.2; 2036: 14; 2037: 14.2; 2038: 15; 2039: 15.3; 2040: 16.3
Scenario 2 | 2020*: 5.4; 2021: 3.4; 2022: 4; 2023: 5.5; 2024: 6.3; 2025: 7.3; 2026: 9.2; 2027: 9.7; 2028: 10.1; 2029: 9.5; 2030: 10.9; 2031: 12; 2032: 11.4; 2033: 11.6; 2034: 11.7; 2035: 11.9; 2036: 12.6; 2037: 12.9; 2038: 13.6; 2039: 14; 2040: 15
*Note: 2020 emissions data not available; values for 2020 are from the 2019 APO, Energy Efficiency case forecast
Back to main menu