## Project Specifications
Test Case Project Specifications
Step 1 of 2: For the project, please complete the following table.
Project | Value
Project Name
Business Name and Address of Commercial Participant(s) (Note: names and addresses of residential Participants or residences are excluded)
Test Cases for Execution
Project Testing Duration (a date range)
Program Funding Sources
Step 2 of 2: For each aggregated resource or each individual resource not part of an aggregate, please complete the following table.
Specifications | Unit | Resource #1 Value | Resource #2 Value | Resource #3 Value
Description of Resources (if aggregated, include a description of the resources that make up the aggregation). | N/A
Individual Resource (i.e. not part of an aggregation) (Y/N) | Y or N
Aggregated Resource (Y/N) | Y or N
Aggregated Resource - Number of individual resources that make up the aggregation | N/A
Resource metering description | N/A
Minimum sampling rate | Hz
Local Distribution Company ("LDC") | N/A
LDC Wholesale Market Delivery Point ID(s) | N/A
Delivery Point ID (deemed commercial point of delivery as determined by the LDC) | N/A
Substation(s) at connection point to IESO-Controlled Grid | N/A
Location (Address in Ontario)1 | N/A
Technology Type(s) | N/A
Power Capacity of a Resource That Cannot Store Energy2 | kW
Maximum Discharging Rate of the Resource* (if applicable) | kW
Maximum Charging Rate of the Resource2 (if applicable) | kW
Energy Storage Capacity of the Resource2 (if applicable) | kWh
Operating (Ambient) Temperature Range Certified by Equipment Manufacturer | deg. C
Resource ID1 | N/A
1Not to be collected from a residential Participant.
2If aggregated, enter the simultaneous aggregated resource peak value of the resources that make up the aggregation (see example in General Instructions).

## Test Plan
DER Test Plan
DER Test Case | Test Cycle # (Add or delete rows as required) | Common Test Cycle Parameters - Temporal |  |  |  | Demand Response and Transactive Energy |  |  | Operating Reserve |  |  |  |  | Frequency Regulation |  |  |  | Ramp |  |  | Miscellaneous
|  | Activation date (dd/mm/yyyy) | Activation time (HE) | Test duration (hours) | Other activation conditions (e.g. minimum forecasted OAT) as applicable | DR Capacity (kW) | DR Duration (between 1 hour - 4 hours) | Season* | OR Product (10S/30S) | OR Capacity (kW) | Injection or withdrawal | Duration of energy market dispatch following OR activation (15 mins to 4 hours) | Capacity range of energy market dispatch following OR activation (kW) | Basepoint (kW) | High regulating range (kW) | Low regulating range (kW) | Duration (Hours) | Target power output to be reached (kW) | Target duration of ramp up | Duration operating at safe operating limit (15 mins to 6 hours) | Data collection requirements supplemental to Test Cases if applicable
Demand Response | Test Cycle 1
Test Cycle 2
Test Cycle 3
Test Cycle 4
Operating Reserve | Test Cycle 5
Test Cycle 6
Test Cycle 7
Test Cycle 8
Test Cycle 9
Test Cycle 10
Frequency Regulation | Test Cycle 11
Test Cycle 12
Target Ramp | Test Cycle 13
Test Cycle 14
*Please note that season is defined as Summer (May 1 - October 31) or Winter (November 1- April 30).
Note on D14: Maral Kassabian: Provide time range for activation signal
Note on D15: Maral Kassabian: Provide time range for activation signal
Note on D16: Maral Kassabian: Provide time range for activation signal
Note on D17: Maral Kassabian: Provide time range for activation signal
Note on D18: Maral Kassabian: Provide time range for activation signal
Note on D19: Maral Kassabian: Provide time range for activation signal

## Test Plan Example
DER Test Plan
DER Test Case | Test Cycle # | Common Test Cycle Parameters - Temporal |  |  |  | Demand Response and Transactive Energy |  |  | Operating Reserve |  |  |  |  | Frequency Regulation |  |  |  | Ramp |  |  | Miscellaneous
|  | Activation date (dd/mm/yyyy) | Activation time (HE) | Test duration (hours) | Other activation conditions (e.g. minimum forecasted OAT) as applicable | DR Capacity (kW) | DR Duration (between 1 hour - 4 hours) | Season* | OR Product (10S/30S) | OR Capacity (kW) | Injection or withdrawal | Duration of energy market dispatch following OR activation (15 mins to 4 hours) | Capacity range of energy market dispatch following OR activation (kW) | Basepoint (kW) | High regulating range (kW) | Low regulating range (kW) | Duration (Hours) | Target power output to be reached (kW) | Target duration of ramp up | Duration operating at safe operating limit (15 mins to 6 hours) | Data collection requirements supplemental to Test Cases if applicable
Demand Response | Test Cycle 1 | 01/09/2020 | 17:00 | 4 hours | N/A | 1000 | 2 hours | Summer
| Test Cycle 2 | 15/09/2020 | 15:00 | 3 hours | N/A | 800 | 2 hours | Summer
| Test Cycle 3 | 01/11/2020 | 18:00 | 4 hours | Maximum OAT of 0° C at activation start | 1000 | 2 hours | Winter
| Test Cycle 4 | 01/12/2020 | 18:00 | 3 hours | Maximum OAT of 0° C at activation start | 800 | 2 hours | Winter
Operating Reserve | Test Cycle 5 | 15/11/2021 | HE 12 - 18 | 2 hours | N/A |  |  |  | 10S | 1100 | Injection | 30 minutes | Up to 500 kW
| Test Cycle 6 | 26/11/2021 | HE 12 - 18 | 2 hours | N/A |  |  |  | 10S | 1100 | Injection | 30 minutes | Up to 500 kW
| Test Cycle 7 | 03/12/2021 | HE 12 - 18 | 2 hours | N/A |  |  |  | 10S | 1000 | Injection | 30 minutes | Up to 500 kW
| Test Cycle 8 | 15/12/2021 | HE 12 - 18 | 2 hours | N/A |  |  |  | 10S | 1000 | Injection | 30 minutes | Up to 500 kW
| Test Cycle 9 | 16/12/2021 | HE 12 - 18 | 2 hours | N/A |  |  |  | 10S | 500 | Injection | 60 minutes | Up to 500 kW
| Test Cycle 10 | 20/12/2021 | HE 12 - 18 | 2 hours | N/A |  |  |  | 10S | 500 | Injection | 60 minutes | Up to 500 kW
Frequency Regulation | Test Cycle 11 | 15/01/2022 | 17:00 | 1 hour | N/A | [8 empty] | 600 | 1000 | 200 | 1
| Test Cycle 12 | 25/01/2022 | 0:00 | 24 hours | N/A | [8 empty] | 800 | 1000 | 600 | 24
Target Ramp | Test Cycle 13 | 05/02/2022 | 17:00 | 1 hour | N/A | [12 empty] | 1000 | 5 minutes | 60 minutes
| Test Cycle 14 | 10/02/2022 | 16:00 | 1 hour | N/A | [12 empty] | 800 | 4 minutes | 60 minutes
*Please note that season is defined as Summer (May 1 - October 31) or Winter (November 1- April 30).