## Capacity Test Data Submission
Capacity Auction Capacity Test Data Submission Template
Per section 5.3.5 of Market Manual 12, Capacity Market Participants (CMPs) must notify the IESO of the specific day, hours and dispatch intervals for which they wish their performance to be assessed. This information should be sent via email to capacity.auction@ieso.ca with the subject heading "Capacity Auction Capacity Test: <Participant Name, Obligation ID>". The data submission template must be sent by the deadline specified for the applicable resource type, and should only contain test information for a single tested resource.
"Hour Ending" Naming Convention Guide
Hour Ending (HE) | Time Range
13 | 12:00 to 13:00 EST
14 | 13:00 to 14:00 EST
15 | 14:00 to 15:00 EST
16 | 15:00 to 16:00 EST
17 | 16:00 to 17:00 EST
18 | 17:00 to 18:00 EST
19 | 18:00 to 19:00 EST
20 | 19:00 to 20:00 EST
21 | 20:00 to 21:00 EST
Note: There are 12 five-minute intervals in every hour. Eastern Standard Time is used year round.
Capacity Auction Resource Details
Organization Name
Obligation ID
Zone
Resource Type
Use the following drop down menus to complete the required capacity test information. For more details, refer to the testing requirements as outlined in section 5.3.5 of Market Manual 12.
Testing Window | December 15, 2025 - December 19, 2025
Date of Test
Test Start Hour (hour ending)
Test Start Interval | 1
Test End Hour (hour ending)
Test End Interval | 12

## Data (hidden)
Zone | Resource Types | Notes | Test Week | December 15, 2025 - December 19, 2025 | Column1 | HE | Interval
Bruce | Capacity Generation | Test Duration Required: Four (4) consecutive hours (ie, HE17 Interval 1 to HE20 Interval 12) | December 15, 2025 - December 19, 2025 | 2025-12-15 |  | 17 | 1
East | Capacity Storage | Test Duration Required: Four (4) consecutive hours (ie, HE17 Interval 1 to HE20 Interval 12) |  | 2025-12-16 |  | 18 | 2
Essa | Capacity Dispatchable Load | Test Duration Required: At least three (3) consecutive dispatch intervals (ie, HE 17 Interval 2 to HE 17 Interval 4) |  | 2025-12-17 |  | 19 | 3
Niagara | Virtual Hourly Demand Response (HDR) - C&I | Test Duration Required: Four (4) consecutive hours (ie, HE17 Interval 1 to HE20 Interval 12) |  | 2025-12-18 |  | 20 | 4
Northeast | Virtual Hourly Demand Response (HDR) - Residential | Test Duration Required: Four (4) consecutive hours (ie, HE17 Interval 1 to HE20 Interval 12) |  | 2025-12-19 |  | 21 | 5
Northwest | Physical Hourly Demand Response (HDR) | Test Duration Required: Four (4) consecutive hours (ie, HE17 Interval 1 to HE20 Interval 12) |  |  |  |  | 6
Ottawa | Generator-backed Capacity Import | Test Duration Required: Four (4) consecutive hours (ie, HE17 Interval 1 to HE20 Interval 12) |  |  |  |  | 7
Southwest | [6 empty] | 8
Toronto | [6 empty] | 9
West | [6 empty] | 10
11
12