## Illustrative Monthly GA
Illustrative Monthly GA Payments Under Different Rate Design Options
Illustrative Facility Parameters
| Peak Demand | 6 | MW-month
| Contract Demand | 4 | MW-month
| Annual Volume | 47500 | MWh
| Monthly Volume | 3958.3333 | MWh
| Load Factor | 0.90373
|  | Option 1: HOEP + Demand Charge | Option 2: HOEP + Demand + Volumetric Charge | Option 3: All-in Volumetric Charge | Option 4: HOEP + Demand + Fixed Charge | Option 5: HOEP + Two-Part Demand Charge | Status Quo Class A - Perfect ICI Participation | Status Quo Class A - Meeting 3/5 Peaks for ICI
Minimum Charges Set by the IESO
| Demand Charge ($/MW-month) | 31666.6667 | 25000 |  | 30665.5238 | 28095.2381 | 31666.6667 | 31666.6667
| Volumetric Charge ($/MWh) |  | 7 | 33.25
| Risk Premium Multiplier |  |  | 1.1
| Fixed Charge ($) |  |  |  | 5000
| Base Demand Charge for Non-Event ($/MW-month) |  |  |  |  | 2500
Additional Charge Based on Bid Submission by Pilot Participant
| Bid for Demand Charge ($/MW-month) | 0 |  |  | 0 | 0
| Bid for Volumetric Charge ($/MWh) |  | 0 | 0
Total GA-Based Charges
| Demand Charge ($/MW-month) | 31666.6667 | 25000 |  | 30665.5238 | 28095.2381 | 31666.6667 | 31666.6667
| Volumetric Charge ($/MWh) |  | 7 | 36.575
| Fixed Charge ($) |  |  |  | 5000
| Base Demand Charge for Non-Event ($/MW-month) |  |  |  |  | 2500
| Total GA Payment per month ($) | 126666.6667 | 127708.3333 | 144776.0417 | 127662.0952 | 127380.9524 | 126666.6667 | 152000
NOTES:
-Final rate design will be based on forecasted values of relevant parameters.
-Model assumes no non-performance in the pilot and does not reflect price bids as part of pilot applications.
-Risk premium reflects a cost associated with the risk of a setting a constant all-in price based on forecasted GA and HOEP.
-Actual price bid must be greater than 0.
-The illustrative rates would change from month to month in the “floating” approach discussed in rates options presentation.