## Summer Reference Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER REFERENCE: Net Extreme Weather Station Peak Demand Forecast, Coincident to KWCG Region (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 31.5256 | 33.6149 | 25.3891 | 25.7678 | 26.2687 | 26.5277 | 27.3823 | 28.0197 | 29.0738 | 29.8347 | 30.543 | 31.2349 | 31.9949 | 33.0663 | 34.1867 | 35.3186 | 36.4681 | 37.5245 | 38.6088 | 39.7023
Campbell TS | 150.7736 | 151.8974 | 152.9968 | 153.1154 | 153.6414 | 154.3033 | 155.531 | 157.0379 | 159.902 | 162.9335 | 165.3253 | 167.6062 | 169.9444 | 173.0167 | 176.0425 | 179.0793 | 182.1794 | 184.9864 | 187.8725 | 190.7985
Cedar TS | 114.0407 | 116.719 | 120.9742 | 122.562 | 124.5086 | 126.3319 | 129.0285 | 131.6386 | 134.7904 | 137.3379 | 139.8114 | 142.291 | 144.9533 | 148.0444 | 151.379 | 154.6958 | 158.068 | 161.1603 | 164.3304 | 167.5275
Elmira TS | 43.3388 | 43.9177 | 49.646 | 50.0044 | 51.3029 | 51.033 | 50.7947 | 50.6464 | 50.7913 | 50.9353 | 50.8422 | 50.9156 | 50.9275 | 51.0734 | 51.2666 | 51.4491 | 51.5301 | 51.717 | 51.9087 | 52.0995
Energy + MTS | 98.0073 | 122.3696 | 126.0166 | 136.3291 | 139.8266 | 143.372 | 147.0825 | 151.5549 | 156.2689 | 161.3416 | 166.4798 | 171.5187 | 177.0622 | 183.1048 | 189.3575 | 195.7892 | 202.4696 | 209.4477 | 216.7088 | 224.2567
Fergus TS | 101.1329 | 102.996 | 104.899 | 106.468 | 107.0104 | 108.6109 | 109.877 | 111.5472 | 113.0718 | 118.2674 | 118.8369 | 121.0171 | 121.2184 | 122.6593 | 125.4439 | 126.2012 | 128.0574 | 129.5527 | 131.3357 | 132.6964
Galt TS | 133.5767 | 138.2709 | 143.2391 | 148.0876 | 153.0824 | 158.0913 | 163.3677 | 169.1691 | 175.726 | 182.2201 | 189.0029 | 196.6474 | 204.1723 | 212.1158 | 220.7476 | 229.4933 | 238.5633 | 248.0664 | 257.9391 | 268.1672
Hanlon TS | 27.6562 | 27.6098 | 27.9723 | 28.1661 | 28.4741 | 28.5598 | 29.2382 | 29.6505 | 30.7907 | 31.6987 | 32.521 | 33.3481 | 34.2302 | 35.4146 | 36.5682 | 37.7324 | 38.9172 | 40.0044 | 41.1157 | 42.2376
Kitchener MTS #1 | 30.1067 | 31.2854 | 32.4735 | 33.5927 | 36.0025 | 38.3276 | 40.6526 | 43.0158 | 45.4111 | 47.8806 | 50.282 | 62.3301 | 79.2082 | 81.6731 | 84.1885 | 86.6982 | 87.9184 | 89.1735 | 90.4226 | 91.6494
Kitchener MTS #3 | 56.1257 | 56.8525 | 57.6117 | 58.2589 | 59.8573 | 61.351 | 62.8777 | 64.5564 | 66.2659 | 68.0738 | 69.8491 | 71.7297 | 73.5465 | 75.4112 | 77.3364 | 79.2369 | 80.2234 | 81.241 | 82.2538 | 83.2471
Kitchener MTS #4 | 65.0461 | 66.0037 | 67.0015 | 67.8818 | 70.0687 | 72.1274 | 74.2215 | 76.4061 | 78.7325 | 81.0651 | 83.3859 | 85.7758 | 88.2724 | 90.7449 | 93.3105 | 95.8199 | 97.0668 | 98.3529 | 99.6317 | 100.8854
Kitchener MTS #5 | 80.8826 | 81.7389 | 82.6489 | 83.4179 | 85.3722 | 87.1807 | 89.0421 | 91.0203 | 93.1201 | 95.2809 | 97.4416 | 99.8414 | 102.1828 | 104.5387 | 106.9865 | 109.3674 | 110.5369 | 111.7511 | 112.9572 | 114.135
Kitchener MTS #6 | 62.3645 | 63.0623 | 63.806 | 64.4557 | 66.0556 | 67.5408 | 69.0662 | 70.666 | 79.4662 | 81.2381 | 83.1313 | 84.9487 | 86.8613 | 88.7578 | 90.7985 | 92.7031 | 93.6865 | 94.7094 | 95.7237 | 96.7128
Kitchener MTS #7 | 32.8231 | 33.7016 | 34.595 | 35.419 | 37.1824 | 38.8695 | 40.5664 | 42.4301 | 44.2113 | 46.02 | 47.9138 | 49.7491 | 51.6014 | 53.4827 | 55.397 | 57.3076 | 58.306 | 59.3273 | 60.3445 | 61.3471
Kitchener MTS #8 | 42.1671 | 43.5617 | 44.978 | 46.3201 | 49.4409 | 52.45 | 55.4639 | 58.5132 | 61.594 | 64.7287 | 67.8443 | 70.9968 | 74.2046 | 77.4358 | 80.7022 | 83.962 | 85.5581 | 87.19 | 88.8135 | 90.4129
Kitchener MTS #9 | 34.5753 | 35.1556 | 35.7545 | 36.2825 | 37.3981 | 48.2336 | 49.2299 | 50.3002 | 51.4273 | 52.5939 | 53.745 | 54.8789 | 56.1938 | 57.4554 | 59.0356 | 60.3322 | 61.0607 | 61.8132 | 62.5619 | 63.2956
Preston TS | 132.9506 | 140.4212 | 149.7325 | 189.0211 | 202.1726 | 205.6725 | 209.3387 | 213.7255 | 218.6039 | 223.7312 | 228.9986 | 234.1883 | 239.6946 | 245.6987 | 252.3393 | 259.0874 | 266.0994 | 273.4278 | 281.0511 | 288.9803
Puslinch DS | 27.4213 | 36.8604 | 37.1029 | 37.1236 | 37.1973 | 37.2353 | 37.3207 | 37.613 | 38.0894 | 38.5969 | 38.9858 | 39.2971 | 39.6811 | 40.1755 | 40.7892 | 41.395 | 42.0071 | 42.6371 | 43.2879 | 43.9492
Waterloo Rush MTS | 50.3661 | 51.0635 | 51.7827 | 52.3331 | 55.1497 | 57.9088 | 60.6852 | 63.6514 | 67.3582 | 71.1267 | 74.7848 | 73.5584 | 71.8654 | 75.0682 | 78.3989 | 81.7595 | 83.0064 | 84.281 | 85.5729 | 86.8735
Waterloo Scheifele MTS | 149.4836 | 151.2439 | 153.0156 | 154.1428 | 163.8483 | 170.7901 | 202.9649 | 210.8174 | 220.8669 | 231.1604 | 240.9752 | 241.2767 | 240.0629 | 248.876 | 258.1836 | 267.4693 | 271.2257 | 275.0583 | 278.9654 | 282.9076
Waterloo MTS#3 | 59.6227 | 60.2673 | 81.9046 | 99.4576 | 102.0917 | 97.4757 | 191.8039 | 196.1311 | 203.6289 | 213.3292 | 221.1746 | 226.2695 | 231.169 | 236.5333 | 242.2713 | 248.1223 | 251.9128 | 256.2888 | 260.7301 | 265.1911
Wolverton DS | 18.2114 | 19.5317 | 19.9161 | 20.2501 | 20.6022 | 20.9408 | 21.3089 | 21.7444 | 22.2733 | 22.8263 | 23.3733 | 23.9516 | 24.5303 | 25.1681 | 25.8427 | 26.5391 | 27.2558 | 28.1355 | 28.9105 | 29.7073
Total Region | 1542.1988 | 1608.1449 | 1663.4566 | 1748.4575 | 1806.5546 | 1852.9336 | 2016.8446 | 2069.8551 | 2141.4638 | 2212.221 | 2275.2477 | 2333.3708 | 2393.5773 | 2459.5146 | 2530.5722 | 2599.5588 | 2652.117 | 2705.8462 | 2761.0466 | 2816.7799
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter Reference Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER REFERENCE: Net Extreme Weather Station Peak Demand Forecast, Coincident to KWCG Region (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 26.3164 | 28.254 | 19.6195 | 21.3806 | 23.1368 | 24.8114 | 27.4833 | 29.3132 | 32.134 | 34.0404 | 37.7849 | 40.4476 | 43.171 | 46.0008 | 49.8877 | 53.7756 | 57.6521 | 59.5841 | 61.5119 | 63.4311
Campbell TS | 148.8136 | 150.2702 | 152.7792 | 155.7868 | 160.9467 | 166.9019 | 173.8472 | 180.41 | 188.0336 | 195.8679 | 204.2761 | 213.3787 | 222.6841 | 231.3396 | 242.2731 | 253.2077 | 265.1146 | 271.0418 | 277.9595 | 283.8692
Cedar TS | 102.2816 | 104.8969 | 108.5291 | 111.7391 | 118.0762 | 124.123 | 132.1781 | 139.6821 | 147.2008 | 154.9344 | 164.3084 | 172.4345 | 181.743 | 192.3324 | 202.1668 | 212.9939 | 224.772 | 231.6213 | 238.458 | 244.2911
Elmira TS | 45.9683 | 51.7809 | 52.3435 | 52.7169 | 54.1361 | 53.8787 | 53.6409 | 53.6425 | 53.659 | 53.7637 | 53.7425 | 53.6666 | 53.6648 | 53.7626 | 53.9225 | 54.0933 | 54.2686 | 54.435 | 54.6003 | 54.7629
Energy + MTS | 82.0183 | 105.7316 | 108.8053 | 118.6161 | 121.5977 | 124.5425 | 127.6322 | 131.2443 | 135.0775 | 139.1832 | 143.2673 | 147.3742 | 151.801 | 156.6045 | 161.7548 | 167.1163 | 172.6777 | 178.4582 | 184.4677 | 190.7172
Fergus TS | 92.3752 | 94.9074 | 97.2923 | 99.2545 | 100.7249 | 102.8929 | 104.8647 | 106.5651 | 108.7539 | 116.7705 | 119.4348 | 120.1979 | 121.9281 | 124.0548 | 126.1967 | 128.6245 | 130.9249 | 133.2332 | 135.7817 | 137.7158
Galt TS | 107.2278 | 111.0755 | 115.1315 | 119.094 | 123.2202 | 127.1881 | 131.3957 | 136.0494 | 140.9877 | 146.2748 | 151.7184 | 157.3056 | 163.2993 | 169.6874 | 176.4343 | 183.4683 | 190.749 | 198.3114 | 206.1656 | 214.3317
Hanlon TS | 24.2684 | 25.2013 | 25.083 | 25.9223 | 27.801 | 29.6096 | 31.4083 | 34.3178 | 36.2195 | 39.171 | 42.0376 | 44.8385 | 48.6746 | 51.5851 | 55.5451 | 58.5147 | 62.4672 | 65.4273 | 67.3929 | 69.3545
Kitchener MTS #1 | 30.2112 | 32.7982 | 35.3707 | 37.8215 | 42.571 | 47.1486 | 51.697 | 56.3429 | 60.9901 | 65.7028 | 70.3325 | 84.4566 | 103.3874 | 108.0901 | 112.879 | 117.6774 | 120.2366 | 122.7926 | 125.3406 | 127.8827
Kitchener MTS #3 | 53.9202 | 55.8102 | 57.7 | 59.4188 | 62.8927 | 66.1657 | 69.4491 | 72.8983 | 76.3712 | 79.9407 | 83.4213 | 86.8297 | 90.3412 | 93.9614 | 97.6571 | 101.3613 | 103.3799 | 105.3958 | 107.4049 | 109.4091
Kitchener MTS #4 | 68.2281 | 70.622 | 73.0157 | 75.1928 | 79.7035 | 83.9581 | 88.2242 | 92.6996 | 97.2044 | 101.8318 | 106.3454 | 110.7664 | 115.3184 | 120.0091 | 124.7961 | 129.5939 | 132.15 | 134.7027 | 137.2468 | 139.7846
Kitchener MTS #5 | 56.6118 | 59.0648 | 61.513 | 63.7738 | 67.7217 | 71.4503 | 75.187 | 79.1008 | 83.0388 | 87.081 | 91.0255 | 94.89 | 98.8664 | 102.9614 | 107.139 | 111.3258 | 113.8866 | 116.4444 | 118.9944 | 121.5387
Kitchener MTS #6 | 48.6401 | 50.5569 | 52.4716 | 54.2283 | 57.7354 | 61.0533 | 64.3759 | 67.8488 | 78.3831 | 81.9479 | 85.4221 | 88.8229 | 92.3297 | 95.9479 | 99.6433 | 103.3473 | 105.3654 | 107.3808 | 109.3892 | 111.3927
Kitchener MTS #7 | 35.9678 | 37.949 | 39.9233 | 41.7712 | 45.3579 | 48.7835 | 52.2002 | 55.7299 | 59.27 | 62.8798 | 66.4152 | 69.8878 | 73.4389 | 77.0761 | 80.7745 | 84.4797 | 86.4192 | 88.3564 | 90.2877 | 92.2148
Kitchener MTS #8 | 29.7347 | 32.9008 | 36.0467 | 39.0622 | 45.5772 | 51.8866 | 58.1431 | 64.4953 | 70.8401 | 77.2551 | 83.5675 | 89.7879 | 96.0985 | 102.5161 | 109.0134 | 115.5194 | 118.624 | 121.7251 | 124.8179 | 127.9045
Kitchener MTS #9 | 32.2202 | 33.6438 | 35.0646 | 36.3781 | 38.8616 | 50.9296 | 53.2107 | 55.6218 | 58.0528 | 60.5586 | 62.9982 | 65.3845 | 67.8495 | 70.3968 | 73.0009 | 75.6113 | 77.0917 | 78.5701 | 80.0434 | 81.5131
Preston TS | 121.7858 | 128.9022 | 137.8063 | 176.5385 | 189.5348 | 192.649 | 195.9218 | 199.9093 | 204.1844 | 208.7758 | 213.3071 | 217.8256 | 222.7427 | 228.1302 | 233.9473 | 240.004 | 246.2872 | 252.8159 | 259.6056 | 266.6711
Puslinch DS | 28.2519 | 37.7083 | 38.0327 | 38.1547 | 38.3205 | 38.4534 | 38.6258 | 39.0385 | 39.4672 | 39.9991 | 40.3963 | 40.7318 | 41.1496 | 41.6873 | 42.3152 | 42.9547 | 43.6 | 44.2606 | 44.9312 | 45.6081
Waterloo Rush MTS | 39.8426 | 41.386 | 42.9348 | 44.3548 | 48.9709 | 53.504 | 58.0386 | 62.7873 | 68.1871 | 73.7036 | 79.144 | 84.5062 | 89.4222 | 94.5004 | 99.7383 | 105.0288 | 107.3167 | 109.6138 | 111.9372 | 114.2859
Waterloo Scheifele MTS | 136.8336 | 141.2778 | 145.7072 | 149.547 | 164.6722 | 178.0186 | 216.5644 | 231.0039 | 247.1085 | 263.7385 | 278.7588 | 293.4023 | 307.031 | 321.3791 | 336.3429 | 351.464 | 358.442 | 365.5005 | 372.6156 | 379.7796
Waterloo MTS#3 | 38.2122 | 39.855 | 62.3569 | 80.9332 | 85.7626 | 92.9465 | 188.3965 | 194.0032 | 202.3896 | 213.167 | 223.0891 | 230.3423 | 237.3295 | 244.81 | 252.6557 | 260.6014 | 265.4994 | 270.9318 | 276.4084 | 281.9232
Wolverton DS | 18.1906 | 18.5836 | 18.9521 | 19.276 | 19.622 | 19.9302 | 20.2691 | 20.6775 | 21.1148 | 21.5988 | 22.0828 | 22.5713 | 23.1082 | 23.6923 | 24.3148 | 24.9611 | 25.6243 | 26.3096 | 27.017 | 27.748
Total Region | 1367.9205 | 1453.1767 | 1516.4789 | 1620.9611 | 1716.9437 | 1810.8253 | 2012.7539 | 2103.3813 | 2208.6679 | 2318.1866 | 2422.876 | 2529.8489 | 2645.3791 | 2750.5255 | 2862.3986 | 2975.7242 | 3062.5492 | 3136.9125 | 3212.3776 | 3286.1295
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Summer High Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER HIGH: Net Extreme Weather Station Peak Demand Forecast, Coincident to KWCG Region (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 31.5256 | 33.6149 | 25.3891 | 25.7678 | 26.2687 | 26.5277 | 27.3823 | 28.0197 | 29.0738 | 29.8347 | 30.543 | 31.2349 | 31.9949 | 33.0663 | 34.1867 | 35.3186 | 36.4681 | 37.5245 | 38.6088 | 39.7023
Campbell TS | 150.7736 | 151.8974 | 152.9968 | 153.1154 | 153.6414 | 154.3033 | 155.531 | 157.0379 | 159.902 | 162.9335 | 165.3253 | 167.6062 | 169.9444 | 173.0167 | 176.0425 | 179.0793 | 182.1794 | 184.9864 | 187.8725 | 190.7985
Cedar TS | 114.0407 | 116.719 | 120.9742 | 122.562 | 124.5086 | 126.3319 | 129.0285 | 131.6386 | 134.7904 | 137.3379 | 139.8114 | 142.291 | 144.9533 | 148.0444 | 151.379 | 154.6958 | 158.068 | 161.1603 | 164.3304 | 167.5275
Elmira TS | 43.5539 | 44.2403 | 55.4537 | 56.0272 | 57.6483 | 57.5935 | 57.4628 | 57.6371 | 57.9971 | 58.3562 | 58.5858 | 58.7667 | 58.9937 | 59.4623 | 59.8706 | 60.2681 | 60.6718 | 61.0738 | 61.5882 | 61.994
Energy + MTS | 100.0064 | 126.3291 | 132.3747 | 145.031 | 151.2899 | 157.852 | 164.8535 | 172.9111 | 181.5262 | 190.8389 | 200.5804 | 210.6122 | 221.5661 | 233.4662 | 246.0555 | 259.3364 | 273.4149 | 288.3785 | 304.2533 | 321.0868
Fergus TS | 101.1436 | 103.0191 | 104.9359 | 106.5188 | 107.0733 | 108.6839 | 109.9615 | 111.6424 | 113.1778 | 118.6854 | 118.9207 | 121.0903 | 121.281 | 122.7219 | 125.4853 | 126.2422 | 128.0884 | 129.5833 | 131.356 | 132.7056
Galt TS | 136.2815 | 143.9564 | 152.2025 | 160.649 | 169.4531 | 178.622 | 188.4353 | 199.1779 | 211.11 | 223.4447 | 236.5674 | 251.0867 | 266.0599 | 282.0657 | 299.4176 | 317.5874 | 336.8353 | 357.3226 | 379.042 | 402.0393
Hanlon TS | 27.6562 | 27.6098 | 27.9723 | 28.1661 | 28.4741 | 28.5598 | 29.2382 | 29.6505 | 30.7907 | 31.6987 | 32.521 | 33.3481 | 34.2302 | 35.4146 | 36.5682 | 37.7324 | 38.9172 | 40.0044 | 41.1157 | 42.2376
Kitchener MTS #1 | 30.6818 | 32.4357 | 34.199 | 35.8934 | 38.8784 | 41.7787 | 44.6788 | 47.6172 | 50.5876 | 53.6324 | 56.6089 | 58.9074 | 60.8736 | 63.9136 | 67.0042 | 70.0892 | 71.9168 | 73.7793 | 75.6359 | 77.4701
Kitchener MTS #3 | 56.5777 | 57.7563 | 58.9675 | 60.0666 | 62.1169 | 64.0626 | 66.0412 | 68.1718 | 70.3332 | 72.593 | 74.8203 | 77.1527 | 79.4215 | 81.7381 | 84.1152 | 86.4677 | 87.9061 | 89.3756 | 90.8403 | 92.2856
Kitchener MTS #4 | 65.6213 | 67.1541 | 68.727 | 70.1825 | 72.9445 | 75.5785 | 78.2477 | 81.0075 | 83.909 | 86.8168 | 89.7128 | 92.6779 | 95.7497 | 98.7974 | 101.9381 | 105.0227 | 106.8447 | 108.706 | 110.56 | 112.3889
Kitchener MTS #5 | 81.4578 | 82.8892 | 84.3744 | 85.7186 | 88.2481 | 90.6318 | 93.0684 | 95.6217 | 98.2966 | 101.0326 | 103.7685 | 106.7434 | 109.6601 | 112.5912 | 115.6141 | 118.5702 | 120.3148 | 122.1043 | 123.8855 | 125.6385
Kitchener MTS #6 | 62.8165 | 63.9662 | 65.1618 | 66.2634 | 68.3152 | 70.2523 | 72.2297 | 74.2814 | 86.7599 | 88.9838 | 91.329 | 93.5982 | 95.9628 | 98.3112 | 100.8038 | 103.1603 | 104.5957 | 106.0705 | 107.5367 | 108.9778
Kitchener MTS #7 | 33.2751 | 34.6054 | 35.9508 | 37.2267 | 39.442 | 41.581 | 43.7298 | 46.0455 | 48.2786 | 50.5393 | 52.8849 | 55.1722 | 57.4763 | 59.8096 | 62.1759 | 64.5383 | 65.9887 | 67.4619 | 68.9311 | 70.3855
Kitchener MTS #8 | 42.8655 | 44.9586 | 47.0732 | 49.1138 | 52.933 | 56.6406 | 60.3529 | 64.1007 | 67.8798 | 71.7129 | 75.527 | 79.3779 | 83.2841 | 87.2137 | 91.1786 | 95.1369 | 99.1953 | 103.2897 | 107.3756 | 111.4375
Kitchener MTS #9 | 34.904 | 35.813 | 36.7405 | 37.5971 | 39.0414 | 39.9884 | 41.3134 | 42.7123 | 44.1682 | 45.6634 | 47.1432 | 48.6058 | 50.2493 | 51.8396 | 53.7484 | 55.3738 | 56.4309 | 57.5121 | 58.5895 | 59.6519
Preston TS | 134.8361 | 144.6181 | 156.4717 | 198.2446 | 213.0791 | 219.6616 | 226.6926 | 234.7469 | 243.618 | 253.0868 | 263.0699 | 273.3763 | 284.4293 | 296.4407 | 309.5819 | 323.3589 | 337.9653 | 353.4933 | 369.9637 | 387.4325
Puslinch DS | 30.4757 | 40.9212 | 44.0675 | 44.3033 | 44.377 | 44.4149 | 44.5004 | 44.7927 | 45.2691 | 45.7766 | 46.1655 | 46.4768 | 46.8607 | 47.3552 | 47.9688 | 48.5747 | 49.1867 | 49.8168 | 50.4676 | 51.1289
Waterloo Rush MTS | 50.8647 | 52.0806 | 53.3388 | 54.4489 | 57.8468 | 61.2322 | 64.6813 | 68.3677 | 72.8437 | 77.4378 | 81.9796 | 86.8591 | 91.3847 | 95.7526 | 100.3074 | 104.9528 | 107.5468 | 110.2092 | 112.9306 | 115.7033
Waterloo Scheifele MTS | 150.9786 | 154.2915 | 157.6751 | 160.4533 | 174.582 | 183.4641 | 244.5971 | 255.4611 | 268.6784 | 282.3168 | 295.6578 | 309.6741 | 322.7889 | 335.89 | 349.6721 | 363.6236 | 372.2419 | 381.0758 | 390.1271 | 399.3594
Waterloo MTS#3 | 60.2176 | 61.4798 | 105.2676 | 141.8759 | 146.3914 | 158.7887 | 353.2458 | 363.9261 | 379.9842 | 400.6546 | 418.1862 | 430.5671 | 443.0964 | 456.3054 | 470.1082 | 484.2489 | 496.5592 | 510.206 | 524.1519 | 538.3565
Wolverton DS | 18.3775 | 19.8809 | 20.4667 | 26.3991 | 26.9851 | 27.5793 | 28.2261 | 28.9651 | 29.8241 | 30.7359 | 31.6723 | 32.6728 | 33.709 | 34.842 | 36.0522 | 37.3275 | 38.6693 | 40.2236 | 41.7264 | 43.3074
Total Region | 1558.9314 | 1640.2365 | 1740.7808 | 1865.6247 | 1943.5386 | 2014.1288 | 2323.4982 | 2403.5328 | 2508.7987 | 2614.1127 | 2711.3808 | 2807.8978 | 2903.9698 | 3008.0583 | 3119.2744 | 3230.7057 | 3330.0056 | 3433.3579 | 3540.8886 | 3651.6154
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter High Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER HIGH: Net Extreme Weather Station Peak Demand Forecast, Coincident to KWCG Region (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 26.3164 | 28.254 | 19.6195 | 21.3806 | 23.1368 | 24.8114 | 27.4833 | 29.3132 | 32.134 | 34.0404 | 37.7849 | 40.4476 | 43.171 | 46.0008 | 49.8877 | 53.7756 | 57.6521 | 59.5841 | 61.5119 | 63.4311
Campbell TS | 148.8136 | 150.2702 | 152.7792 | 155.7868 | 160.9467 | 166.9019 | 173.8472 | 180.41 | 188.0336 | 195.8679 | 204.2761 | 213.3787 | 222.6841 | 231.3396 | 242.2731 | 253.2077 | 265.1146 | 271.0418 | 277.9595 | 283.8692
Cedar TS | 102.2816 | 104.8969 | 108.5291 | 111.7391 | 118.0762 | 124.123 | 132.1781 | 139.6821 | 147.2008 | 154.9344 | 164.3084 | 172.4345 | 181.743 | 192.3324 | 202.1668 | 212.9939 | 224.772 | 231.6213 | 238.458 | 244.2911
Elmira TS | 46.128 | 52.1003 | 52.8545 | 53.409 | 55.0198 | 54.954 | 54.9079 | 55.1012 | 55.3199 | 55.6163 | 55.8081 | 55.9344 | 56.1349 | 56.4457 | 56.8185 | 57.2022 | 57.5904 | 57.9698 | 58.3587 | 58.7556
Energy + MTS | 83.6664 | 108.9958 | 114.0469 | 125.7898 | 131.0479 | 136.4798 | 142.2824 | 148.8502 | 155.8994 | 163.5005 | 171.3795 | 179.6026 | 188.4896 | 198.122 | 208.496 | 219.504 | 231.1644 | 243.5281 | 256.6386 | 270.5431
Fergus TS | 92.3858 | 94.9287 | 97.3242 | 99.3077 | 100.7888 | 102.9674 | 104.9605 | 106.6716 | 108.871 | 116.8663 | 119.52 | 120.2617 | 121.992 | 124.1081 | 126.2499 | 128.667 | 130.9569 | 133.2651 | 135.803 | 137.7158
Galt TS | 109.3751 | 115.5892 | 122.2474 | 129.0662 | 136.2166 | 143.4871 | 151.2964 | 159.8728 | 169.0784 | 179.0023 | 189.479 | 200.524 | 212.4307 | 225.2194 | 238.889 | 253.4047 | 268.7654 | 285.0479 | 302.307 | 320.6103
Hanlon TS | 24.2684 | 25.2013 | 25.083 | 25.9223 | 27.801 | 29.6096 | 31.4083 | 34.3178 | 36.2195 | 39.171 | 42.0376 | 44.8385 | 48.6746 | 51.5851 | 55.5451 | 58.5147 | 62.4672 | 65.4273 | 67.3929 | 69.3545
Kitchener MTS #1 | 30.7806 | 33.9371 | 37.0789 | 40.0991 | 45.4181 | 50.565 | 55.6828 | 60.8981 | 66.1147 | 71.3968 | 76.5959 | 81.0683 | 85.2368 | 90.5089 | 95.8672 | 101.235 | 104.3637 | 107.489 | 110.6064 | 113.7179
Kitchener MTS #3 | 54.3676 | 56.705 | 59.0422 | 61.2083 | 65.1296 | 68.85 | 72.5809 | 76.4774 | 80.3977 | 84.4146 | 88.3426 | 92.1983 | 96.1572 | 100.2248 | 104.368 | 108.5195 | 110.9854 | 113.4487 | 115.9052 | 118.3568
Kitchener MTS #4 | 68.7975 | 71.7608 | 74.7239 | 77.4704 | 82.5505 | 87.3745 | 92.21 | 97.2548 | 102.329 | 107.5258 | 112.6088 | 117.5992 | 122.7207 | 127.9807 | 133.3372 | 138.7043 | 141.8298 | 144.952 | 148.0654 | 151.1726
Kitchener MTS #5 | 58.9 | 61.9224 | 64.94 | 67.7702 | 70.5688 | 73.1479 | 77.454 | 81.9372 | 86.4447 | 91.0563 | 95.5701 | 100.0041 | 104.5499 | 109.2142 | 113.9613 | 118.7174 | 123.5665 | 128.4124 | 133.2506 | 138.0832
Kitchener MTS #6 | 49.0875 | 51.4517 | 53.8137 | 56.0179 | 59.9723 | 63.7376 | 67.5076 | 71.4279 | 85.6037 | 89.6159 | 93.5374 | 97.3856 | 101.3398 | 105.4054 | 109.5483 | 113.6996 | 116.1651 | 118.6279 | 121.0837 | 123.5346
Kitchener MTS #7 | 36.4152 | 38.8438 | 41.2654 | 43.5607 | 47.5948 | 51.4678 | 55.3319 | 59.309 | 63.2964 | 67.3537 | 71.3365 | 75.2565 | 79.255 | 83.3395 | 87.4853 | 91.6379 | 94.1142 | 96.5882 | 99.0564 | 101.5202
Kitchener MTS #8 | 30.4261 | 34.2836 | 38.1209 | 41.8279 | 49.0343 | 56.0351 | 62.983 | 70.0266 | 77.0628 | 84.1692 | 91.1731 | 98.0849 | 105.0869 | 112.196 | 119.3846 | 126.582 | 130.3781 | 134.1706 | 137.9548 | 141.7328
Kitchener MTS #9 | 32.5456 | 34.2946 | 36.0407 | 37.6796 | 40.4885 | 42.7671 | 45.3737 | 48.1101 | 50.8665 | 53.6977 | 56.4626 | 59.1743 | 61.9647 | 64.8374 | 67.7668 | 70.7026 | 72.5083 | 74.3121 | 76.1108 | 77.9059
Preston TS | 123.462 | 132.6332 | 143.7976 | 184.7383 | 199.2308 | 205.0855 | 211.3495 | 218.5975 | 226.4222 | 234.8733 | 243.5967 | 252.6641 | 262.5122 | 273.2403 | 284.8365 | 297.1419 | 310.1766 | 323.9948 | 338.6496 | 354.1959
Puslinch DS | 28.2519 | 37.7083 | 38.0327 | 38.1547 | 38.3205 | 38.4534 | 38.6258 | 39.0385 | 39.4672 | 39.9991 | 40.3963 | 40.7318 | 41.1496 | 41.6873 | 42.3152 | 42.9547 | 43.6 | 44.2606 | 44.9312 | 45.6081
Waterloo Rush MTS | 40.2258 | 42.1845 | 44.1699 | 46.0476 | 51.1535 | 56.2296 | 61.3711 | 66.8012 | 72.9357 | 79.272 | 85.5961 | 91.9379 | 97.8866 | 104.0933 | 110.5344 | 117.1132 | 120.7532 | 124.4771 | 128.2697 | 132.1303
Waterloo Scheifele MTS | 138.1645 | 144.0141 | 149.934 | 155.3496 | 174.7869 | 191.1144 | 259.4719 | 278.1169 | 298.6826 | 320.0293 | 338.989 | 357.8274 | 375.8959 | 394.9287 | 414.8434 | 435.1708 | 447.6214 | 460.3441 | 473.3044 | 486.5159
Waterloo MTS#3 | 38.5849 | 40.611 | 84.8221 | 122.0626 | 128.5423 | 140.134 | 333.3236 | 343.828 | 359.3904 | 379.7182 | 398.9778 | 413.1941 | 427.3893 | 442.2908 | 457.8023 | 473.6375 | 486.6805 | 501.0031 | 515.6149 | 530.499
Wolverton DS | 18.3451 | 18.9086 | 19.4644 | 19.994 | 20.5576 | 21.1036 | 21.7018 | 22.3927 | 23.1372 | 23.955 | 24.8014 | 25.6828 | 26.6454 | 27.6903 | 28.8112 | 29.9961 | 31.241 | 32.5541 | 33.9386 | 35.3994
Total Region | 1381.5898 | 1479.4951 | 1577.7303 | 1714.3824 | 1826.3824 | 1929.3998 | 2273.3319 | 2388.4347 | 2524.9074 | 2666.076 | 2802.578 | 2930.2313 | 3063.1098 | 3202.7906 | 3351.1876 | 3503.0823 | 3632.467 | 3752.1203 | 3875.1716 | 3998.9434
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Summer DG
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | SUMMER: Total Contracted Distributed Generation (DG) Contribution to Peak (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 0.03 | 0.03 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.53 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
Campbell TS | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.12 | 2.05 | 1.51 | 0.79 | 0.56 | 0.38 | 0.34 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0
Cedar TS | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.47 | 0.41 | 0.36 | 0.28 | 0.17 | 0.08 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0
Elmira TS | 1.45 | 1.45 | 1.45 | 1.45 | 0.45 | 0.45 | 0.45 | 0.45 | 0.38 | 0.34 | 0.32 | 0.16 | 0.15 | 0.01 | 0 | 0 | 0 | 0 | 0 | 0
Energy + MTS | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.41 | 1.19 | 1.15 | 1 | 0.74 | 0.59 | 0.35 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0
Fergus TS | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.39 | 4.35 | 4.23 | 0.27 | 0.16 | 0.1 | 0.09 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0
Galt TS | 1.29 | 1.29 | 1.29 | 1.29 | 1.29 | 1.29 | 1.29 | 1.28 | 0.96 | 1.06 | 1.02 | 0.28 | 0.22 | 0.21 | 0 | 0 | 0 | 0 | 0 | 0
Hanlon TS | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.23 | 0.21 | 0.11 | 0.1 | 0.1 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #1 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.08 | 0.03 | 0.03 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #3 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.44 | 0.38 | 0.36 | 0.29 | 0.23 | 0.04 | 0.03 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #4 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.29 | 0.27 | 0.25 | 0.14 | 0.06 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #5 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.53 | 0.5 | 0.48 | 0.45 | 0.16 | 0.09 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #6 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.65 | 0.63 | 0.55 | 0.36 | 0.24 | 0.16 | 0.13 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #7 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.28 | 0.16 | 0.16 | 0.16 | 0.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #8 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #9 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.37 | 0.28 | 0.28 | 0 | 0 | 0 | 0 | 0 | 0
Preston TS | 0.7 | 0.7 | 0.7 | 0.7 | 0.69 | 0.69 | 0.69 | 0.65 | 0.62 | 0.61 | 0.37 | 0.18 | 0.15 | 0.14 | 0 | 0 | 0 | 0 | 0 | 0
Puslinch DS | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.21 | 0.17 | 0.14 | 0.09 | 0.04 | 0.02 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0
Waterloo Rush MTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waterloo Scheifele MTS | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.94 | 0.84 | 0.61 | 0.32 | 0.24 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0
Waterloo MTS#3 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.26 | 0.25 | 0.19 | 0.14 | 0.09 | 0.06 | 0.06 | 0 | 0 | 0 | 0 | 0
Wolverton DS | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.26 | 0.23 | 0.2 | 0.14 | 0.14 | 0.13 | 0.13 | 0.13 | 0.13 | 0 | 0 | 0
Total Region | 16.66 | 16.66 | 26.16 | 26.16 | 25.15 | 25.15 | 25.15 | 24.57 | 23.09 | 17.73 | 15.97 | 13.08 | 12.1 | 10.91 | 9.69 | 9.63 | 9.63 | 9.5 | 9.5 | 9.5
DRAFT

## Winter DG
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | WINTER: Total Contracted Distributed Generation (DG) Contribution to Peak (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 0 | 0 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
Campbell TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cedar TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elmira TS | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy + MTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Fergus TS | 6.88 | 6.88 | 6.88 | 6.88 | 6.88 | 6.88 | 6.29 | 6.29 | 6.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Galt TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hanlon TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kitchener MTS #9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preston TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Puslinch DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waterloo Rush MTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waterloo Scheifele MTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Waterloo MTS#3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wolverton DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Region | 7.88 | 7.88 | 17.38 | 17.38 | 16.38 | 16.38 | 15.79 | 15.79 | 15.79 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5
DRAFT

## Summer CDM
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | SUMMER: Total Conservation and Demand Management (CDM) Forecast (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 0.4242 | 0.72209 | 1.0342 | 1.5021 | 1.9475 | 2.4337 | 2.9344 | 3.2508 | 3.4838 | 3.6594 | 3.9648 | 4.354 | 4.6567 | 4.8784 | 5.0221 | 5.1671 | 5.3211 | 5.4542 | 5.5828 | 5.7167
Campbell TS | 1.5169 | 2.3965 | 3.2374 | 4.6381 | 5.9303 | 7.3436 | 8.7309 | 9.5651 | 10.0857 | 10.528 | 11.3512 | 12.4378 | 13.2717 | 13.8076 | 14.0928 | 14.3857 | 14.6949 | 14.9551 | 15.2064 | 15.4616
Cedar TS | 1.2902 | 2.1279 | 3.0195 | 4.3596 | 5.6397 | 7.0851 | 8.5195 | 9.4815 | 10.1501 | 10.6818 | 11.5485 | 12.6416 | 13.4768 | 14.0567 | 14.4159 | 14.7814 | 15.1714 | 15.4991 | 15.8191 | 16.156
Elmira TS | 0.47966 | 0.76122 | 1.1632 | 1.6652 | 2.1195 | 2.6046 | 3.0579 | 3.3138 | 3.454 | 3.5651 | 3.7857 | 4.0874 | 4.3007 | 4.4023 | 4.4342 | 4.4668 | 4.4933 | 4.5215 | 4.5449 | 4.5693
Energy + MTS | 0.79064 | 1.5682 | 2.1374 | 3.2677 | 4.2489 | 5.3614 | 6.4951 | 7.2807 | 7.8462 | 8.3726 | 9.1614 | 10.1662 | 10.9922 | 11.6142 | 12.0511 | 12.5143 | 13.0045 | 13.4838 | 13.9784 | 14.4965
Fergus TS | 1.0981 | 1.7812 | 2.4479 | 3.5205 | 4.4937 | 5.6175 | 6.675 | 7.363 | 7.7807 | 8.0986 | 8.629 | 9.4381 | 9.9048 | 10.2306 | 10.4664 | 10.5627 | 10.7498 | 10.8869 | 11.0425 | 11.1585
Galt TS | 1.0353 | 1.8464 | 2.607 | 3.72 | 4.8365 | 6.1833 | 7.5168 | 8.5997 | 9.5121 | 10.3534 | 11.3433 | 12.4807 | 13.3795 | 14.1443 | 14.7686 | 15.4309 | 16.1452 | 16.8178 | 17.5278 | 18.3057
Hanlon TS | 0.28985 | 0.4657 | 0.64181 | 0.91908 | 1.1818 | 1.4657 | 1.767 | 1.953 | 2.1198 | 2.2484 | 2.4497 | 2.7038 | 2.9044 | 3.0631 | 3.1735 | 3.2863 | 3.405 | 3.5073 | 3.6089 | 3.7144
Kitchener MTS #1 | 0.24286 | 0.4553 | 0.65836 | 0.93037 | 1.2502 | 1.6548 | 2.0594 | 2.4259 | 2.7603 | 3.0704 | 3.3988 | 4.4351 | 5.7737 | 6.0385 | 6.2528 | 6.4727 | 6.6114 | 6.7152 | 6.825 | 6.9572
Kitchener MTS #3 | 0.46394 | 0.84116 | 1.1859 | 1.6427 | 2.118 | 2.6981 | 3.2451 | 3.7002 | 4.0845 | 4.4203 | 4.7788 | 5.162 | 5.4289 | 5.648 | 5.8165 | 5.9898 | 6.1073 | 6.1936 | 6.2848 | 6.3955
Kitchener MTS #4 | 0.51468 | 0.94828 | 1.3417 | 1.8525 | 2.3954 | 3.0663 | 3.7019 | 4.2469 | 4.7202 | 5.1373 | 5.5661 | 6.0159 | 6.3289 | 6.5961 | 6.8102 | 7.0305 | 7.1748 | 7.2798 | 7.3922 | 7.5296
Kitchener MTS #5 | 0.64063 | 1.1756 | 1.6567 | 2.2789 | 2.9216 | 3.7102 | 4.4459 | 5.0649 | 5.5922 | 6.0485 | 6.5148 | 7.0022 | 7.3278 | 7.5989 | 7.8083 | 8.0245 | 8.1704 | 8.2716 | 8.3809 | 8.5185
Kitchener MTS #6 | 0.4681 | 0.8743 | 1.2346 | 1.6888 | 2.1628 | 2.7513 | 3.2996 | 3.7735 | 4.5956 | 4.9775 | 5.348 | 5.7244 | 5.9655 | 6.1728 | 6.3358 | 6.505 | 6.6256 | 6.7066 | 6.7963 | 6.9112
Kitchener MTS #7 | 0.26567 | 0.4912 | 0.70175 | 0.98174 | 1.2921 | 1.6787 | 2.0556 | 2.3857 | 2.6782 | 2.9432 | 3.2233 | 3.5217 | 3.7432 | 3.9356 | 4.095 | 4.2582 | 4.3638 | 4.4465 | 4.5332 | 4.6346
Kitchener MTS #8 | 0.31004 | 0.5938 | 0.85594 | 1.1922 | 1.5896 | 2.0985 | 2.6029 | 3.0717 | 3.5091 | 3.9126 | 4.3151 | 4.7308 | 5.0411 | 5.3281 | 5.5798 | 5.8381 | 5.9962 | 6.1185 | 6.2491 | 6.4038
Kitchener MTS #9 | 0.28731 | 0.52375 | 0.74164 | 1.0304 | 1.3327 | 2.1322 | 2.5537 | 2.9013 | 3.192 | 3.4433 | 3.71 | 3.994 | 4.1869 | 4.3432 | 4.4608 | 4.582 | 4.6703 | 4.7346 | 4.8026 | 4.8857
Preston TS | 0.98539 | 1.6404 | 2.2821 | 4.0318 | 5.4504 | 6.8069 | 8.1914 | 9.0973 | 9.7118 | 10.2758 | 11.157 | 12.3023 | 13.2166 | 13.8689 | 14.2805 | 14.7212 | 15.1854 | 15.6323 | 16.0954 | 16.576
Puslinch DS | 0.41174 | 0.86696 | 1.2034 | 1.7447 | 2.2423 | 2.7857 | 3.2917 | 3.6015 | 3.7779 | 3.9245 | 4.2209 | 4.6066 | 4.9014 | 5.0778 | 5.1674 | 5.2574 | 5.354 | 5.4457 | 5.5299 | 5.6173
Waterloo Rush MTS | 0.48721 | 0.79311 | 1.0872 | 1.5603 | 2.0896 | 2.71 | 3.3468 | 3.8279 | 4.2375 | 4.6265 | 5.1676 | 5.4726 | 5.6007 | 5.9796 | 6.2664 | 6.5595 | 6.6905 | 6.8076 | 6.9213 | 7.0403
Waterloo Scheifele MTS | 1.7956 | 2.8487 | 3.9185 | 5.6828 | 7.7167 | 9.943 | 13.9153 | 15.684 | 17.0467 | 18.3189 | 20.3144 | 21.997 | 23.0444 | 24.4372 | 25.4163 | 26.409 | 26.8819 | 27.3211 | 27.7283 | 28.1437
Waterloo MTS#3 | 0.67911 | 1.1133 | 2.0755 | 3.5838 | 4.6822 | 5.5396 | 12.8136 | 14.3102 | 15.566 | 16.8677 | 18.5711 | 20.4211 | 21.8149 | 22.7864 | 23.4171 | 24.0586 | 24.5386 | 25.0135 | 25.4717 | 25.9592
Wolverton DS | 0.17397 | 0.3181 | 0.44652 | 0.63212 | 0.81071 | 1.0196 | 1.2166 | 1.3646 | 1.4782 | 1.5773 | 1.703 | 1.8487 | 1.956 | 2.0371 | 2.0952 | 2.1561 | 2.2224 | 2.2821 | 2.3441 | 2.4129
Total Region | 14.651 | 25.1531 | 35.6783 | 52.4255 | 68.4521 | 86.6898 | 112.4363 | 126.2632 | 137.3825 | 147.0511 | 160.2226 | 175.544 | 187.2169 | 196.0454 | 202.2267 | 208.4577 | 213.5777 | 218.0945 | 222.6658 | 227.5641
DRAFT

## Winter CDM
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | WINTER: Total Conservation and Demand Management (CDM) Forecast (MW)
| 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043
Arlen MTS | 0.30109 | 0.49292 | 0.69213 | 1.0604 | 1.4336 | 1.8885 | 2.4107 | 2.7101 | 3.0834 | 3.3065 | 3.8208 | 4.3522 | 4.8229 | 5.1872 | 5.5591 | 5.93 | 6.3123 | 6.5097 | 6.7113 | 6.9215
Campbell TS | 1.3093 | 1.9821 | 2.6672 | 3.9184 | 5.1467 | 6.6444 | 8.2167 | 9.1069 | 10.0008 | 10.6841 | 11.8583 | 13.4027 | 14.7443 | 15.6711 | 16.4493 | 17.2264 | 18.0959 | 18.557 | 19.0922 | 19.5707
Cedar TS | 0.99438 | 1.5732 | 2.1998 | 3.2487 | 4.3645 | 5.7706 | 7.2978 | 8.3114 | 9.3103 | 10.0943 | 11.3673 | 12.8235 | 14.1621 | 15.2843 | 16.097 | 16.9816 | 17.9799 | 18.5835 | 19.1997 | 19.7548
Elmira TS | 0.44283 | 0.75229 | 1.0095 | 1.4559 | 1.8565 | 2.3056 | 2.7244 | 2.9144 | 3.0789 | 3.1658 | 3.368 | 3.6356 | 3.829 | 3.9229 | 3.944 | 3.9648 | 3.9919 | 4.0171 | 4.0435 | 4.0725
Energy + MTS | 0.59214 | 1.1655 | 1.5676 | 2.4366 | 3.1473 | 4.0423 | 4.9462 | 5.4873 | 5.9736 | 6.36 | 6.9478 | 7.6996 | 8.3258 | 8.7775 | 9.0927 | 9.4152 | 9.7651 | 10.1324 | 10.5167 | 10.9168
Fergus TS | 0.92433 | 1.4442 | 1.9696 | 2.8667 | 3.6892 | 4.7041 | 5.6484 | 6.1634 | 6.6587 | 6.9459 | 7.528 | 8.1354 | 8.6363 | 8.9489 | 9.1047 | 9.2816 | 9.465 | 9.649 | 9.8581 | 10.019
Galt TS | 0.72436 | 1.2472 | 1.7392 | 2.5095 | 3.2349 | 4.3126 | 5.3526 | 6.1563 | 6.8937 | 7.5093 | 8.2046 | 9.0018 | 9.6479 | 10.1651 | 10.5998 | 11.0346 | 11.5215 | 12.0374 | 12.5847 | 13.1561
Hanlon TS | 0.21972 | 0.35158 | 0.46981 | 0.69526 | 0.94598 | 1.2667 | 1.5974 | 1.8821 | 2.1098 | 2.3523 | 2.6799 | 3.073 | 3.4958 | 3.7794 | 4.0782 | 4.3027 | 4.609 | 4.843 | 5.0068 | 5.1746
Kitchener MTS #1 | 0.24821 | 0.43832 | 0.643 | 0.96944 | 1.3721 | 1.9467 | 2.5505 | 3.0568 | 3.5618 | 4.0013 | 4.5238 | 5.773 | 7.3261 | 7.7756 | 8.1389 | 8.4927 | 8.7106 | 8.9318 | 9.161 | 9.3961
Kitchener MTS #3 | 0.44299 | 0.74585 | 1.0489 | 1.523 | 2.027 | 2.7319 | 3.4263 | 3.955 | 4.4601 | 4.8684 | 5.3657 | 5.9352 | 6.4016 | 6.7593 | 7.0414 | 7.3151 | 7.4894 | 7.6664 | 7.8501 | 8.0388
Kitchener MTS #4 | 0.56054 | 0.9438 | 1.3273 | 1.9273 | 2.5688 | 3.4665 | 4.3526 | 5.0293 | 5.6767 | 6.2015 | 6.8401 | 7.5714 | 8.1715 | 8.6331 | 8.9982 | 9.3527 | 9.5737 | 9.7981 | 10.0312 | 10.2706
Kitchener MTS #5 | 0.4651 | 0.78935 | 1.1182 | 1.6346 | 2.1827 | 2.9501 | 3.7094 | 4.2915 | 4.8494 | 5.3032 | 5.8547 | 6.4861 | 7.0057 | 7.4067 | 7.725 | 8.0343 | 8.2506 | 8.47 | 8.6972 | 8.93
Kitchener MTS #6 | 0.39961 | 0.67565 | 0.95387 | 1.39 | 1.8608 | 2.5208 | 3.176 | 3.6811 | 4.5775 | 4.9906 | 5.4943 | 6.0714 | 6.5425 | 6.9022 | 7.1846 | 7.4585 | 7.6333 | 7.8108 | 7.9951 | 8.1845
Kitchener MTS #7 | 0.2955 | 0.50715 | 0.72575 | 1.0707 | 1.4619 | 2.0142 | 2.5753 | 3.0236 | 3.4613 | 3.8294 | 4.2718 | 4.7771 | 5.2039 | 5.5446 | 5.8241 | 6.0968 | 6.2607 | 6.4269 | 6.599 | 6.7754
Kitchener MTS #8 | 0.24429 | 0.43969 | 0.65528 | 1.0012 | 1.4689 | 2.1423 | 2.8685 | 3.4991 | 4.137 | 4.7048 | 5.3751 | 6.1374 | 6.8096 | 7.3747 | 7.8602 | 8.3369 | 8.5938 | 8.8541 | 9.1228 | 9.3977
Kitchener MTS #9 | 0.26471 | 0.44962 | 0.63743 | 0.93244 | 1.2525 | 2.1028 | 2.6252 | 3.0177 | 3.3903 | 3.688 | 4.052 | 4.4693 | 4.8078 | 5.0641 | 5.2636 | 5.4568 | 5.5849 | 5.7151 | 5.8503 | 5.9891
Preston TS | 0.82109 | 1.3151 | 1.8129 | 3.2884 | 4.4305 | 5.6337 | 6.851 | 7.5332 | 8.1146 | 8.5739 | 9.2955 | 10.2398 | 11.0042 | 11.5253 | 11.8532 | 12.1873 | 12.5506 | 12.9342 | 13.3334 | 13.7443
Puslinch DS | 0.35781 | 0.71395 | 0.98035 | 1.4317 | 1.8489 | 2.3092 | 2.7404 | 2.942 | 3.1387 | 3.2435 | 3.4946 | 3.8192 | 4.0737 | 4.2204 | 4.2897 | 4.3603 | 4.4381 | 4.514 | 4.5935 | 4.6804
Waterloo Rush MTS | 0.33927 | 0.54192 | 0.74988 | 1.108 | 1.5492 | 2.1267 | 2.7452 | 3.2029 | 3.6909 | 4.1154 | 4.6905 | 5.3865 | 5.9751 | 6.444 | 6.817 | 7.1907 | 7.373 | 7.5565 | 7.7459 | 7.9419
Waterloo Scheifele MTS | 1.4178 | 2.1907 | 3.0316 | 4.5047 | 6.3401 | 8.5277 | 12.2825 | 13.952 | 15.7344 | 17.1723 | 19.3363 | 22.0368 | 24.3253 | 26.0436 | 27.3058 | 28.5812 | 29.237 | 29.887 | 30.5548 | 31.259
Waterloo MTS#3 | 0.37256 | 0.60363 | 1.2803 | 2.3797 | 3.2038 | 4.3779 | 10.543 | 11.729 | 13.0315 | 14.1574 | 15.7234 | 17.4244 | 18.7844 | 19.7469 | 20.4189 | 21.0867 | 21.5547 | 22.0634 | 22.5916 | 23.1457
Wolverton DS | 0.14808 | 0.247 | 0.34248 | 0.48927 | 0.6242 | 0.81249 | 0.98621 | 1.1074 | 1.2171 | 1.2983 | 1.3984 | 1.5137 | 1.6008 | 1.6619 | 1.7065 | 1.7501 | 1.8003 | 1.8529 | 1.9088 | 1.9675
Total Region | 11.8857 | 19.6107 | 27.6222 | 41.8419 | 56.0101 | 74.5977 | 99.6261 | 112.7525 | 126.1505 | 136.5663 | 151.4908 | 169.7651 | 185.6962 | 196.8388 | 205.352 | 213.8369 | 220.7912 | 226.8103 | 233.0477 | 239.3069
DRAFT