## Summer
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER: Historical Gross Station Peak Demand, KWCG Region 2023 (MW)
| Non-Coincident | Coincident
Arlen MTS | 28.6919 | 25.2856
Campbell TS | 133.4165 | 131.3359
Cedar TS | 106.6705 | 100.9889
Elmira TS | 36.2813 | 35.5784
Energy + MTS | 99.9841 | 87.5506
Fergus TS | 100.7702 | 94.9775
Galt TS | 121.5216 | 118.4599
Hanlon TS | 25.2003 | 25.0376
Kitchener MTS #1 | 27.2596 | 26.8459
Kitchener MTS #3 | 54.9707 | 51.2268
Kitchener MTS #4 | 69.1178 | 59.0594
Kitchener MTS #5 | 75.0396 | 73.1627
Kitchener MTS #6 | 58.5041 | 56.8279
Kitchener MTS #7 | 37.6503 | 29.0233
Kitchener MTS #8 | 38.6188 | 37.6112
Kitchener MTS #9 | 31.7835 | 31.251
Preston TS | 92.9854 | 92.7995
Puslinch DS | 27.8276 | 24.8049
Waterloo Rush MTS | 46.311 | 45.331
Waterloo Scheifele MTS | 135.4923 | 135.4923
Waterloo MTS#3 | 54.9417 | 53.3815
Wolverton DS | 16.8893 | 16.1553
Total | 1419.928 | 1352.187
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER: Historical Gross Station Peak Demand, KWCG Region 2023 (MW)
| Non-Coincident | Coincident
Arlen MTS | 21.8089 | 20.222
Campbell TS | 121.4181 | 116.3386
Cedar TS | 98.8113 | 84.22
Elmira TS | 36.1677 | 33.4673
Energy + MTS | 79.4852 | 64.3519
Fergus TS | 97.2938 | 78.1712
Galt TS | 92.676 | 83.8487
Hanlon TS | 21.6617 | 21.6279
Kitchener MTS #1 | 22.8023 | 22.4529
Kitchener MTS #3 | 45.019 | 42.2856
Kitchener MTS #4 | 56.0904 | 53.4161
Kitchener MTS #5 | 53.2881 | 44.1203
Kitchener MTS #6 | 40.0069 | 37.9601
Kitchener MTS #7 | 29.0263 | 27.4538
Kitchener MTS #8 | 24.8081 | 21.9661
Kitchener MTS #9 | 28.0533 | 25.2611
Preston TS | 74.9692 | 73.5564
Puslinch DS | 25.0626 | 22.567
Waterloo Rush MTS | 35.324 | 31.175
Waterloo Scheifele MTS | 107.7883 | 107.7883
Waterloo MTS#3 | 43.3075 | 29.7822
Wolverton DS | 15.6827 | 12.7465
Total | 1170.5514 | 1054.7791
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT