Metering Plan

Northern Hydro Program Contract

NHP Contract

Supplier: Click here to enter text.

Facility:

Buyer: Independent Electricity System Operator (“IESO”)

Prepared by

Revision [No.] – DRAFT

[Intentionally left blank]

Approval Signature Block

| Supplier | Buyer |
| --- | --- |
| Name: Click here to enter text. | Name: |
| Title: Click here to enter text. | Title: |
| Date: Click here to enter a date. | Date: |

Revision Block

| Revision | Reason for Issue / Description | Date |
| --- | --- | --- |
| 1.0 | First approved issue of the Metering Plan |  |

Table of Contents

Facility Overview	4

1	Introduction	5

1.1	Purpose of the Plan	5

1.2	Facility Description	5

1.3	Remote Meter Readings – Access by the IESO Contract Management	6

2	Electrical Power Metering	7

2.1	Meters and Instruments	7

2.2	Delivered Electricity	7

2.2.1	Measurement, Calculations and Adjustments	8

2.2.2	Validation	8

3	Technical Information – Attach to Metering Plan	9

3.1	Exhibit A: Single-Line Diagrams	9

3.2	Exhibit B: Electricity Metering Technical Data	9

4	Technical Information – Maintained on Site	11

# Facility Overview

All undefined capitalized terms herein have the same meaning as in the NHP Contract (the “Contract”).

This Metering Plan is submitted to the IESO for the following Facility:

| Facility Name (“Facility”) |  |
| --- | --- |
| Supplier Name (“Supplier”) |  |
| Contract Capacity (MW) |  |
| Contract Date |  |

# Introduction

## Purpose of the Plan

- Identify all instruments, meters and equipment used to measure the Facility’s Delivered Electricity. Such instruments must comply with the requirements of the Contract and all applicable Laws and Regulations;

- Delineate all Station Service Loads;

- Illustrate the method of measuring, validating, adjusting, and calculating Delivered Electricity for the Facility for the purpose of the Contract, using formulae or equations. These methods will be employed for the Capacity Check Test, reporting to the Buyer, and for contract administration purposes as stipulated in the Contract;

- Specify the technical requirements for the Buyer to access remote real-time meter readings, as stipulated in the Contract for contract administration purposes;

## Facility Description

Delivery Point:

[State the Delivery Point as defined by the IESO. Example: The Delivery Point is the connection to switches SW-01 and SW-02 on Buses 1 and 2 at the Bright Storage Substation.] [Highlight referenced points on SLD]

Meter Point(s):

[Provide meter point ID(s) and indicate whether the Delivery Point and the defined meter point(s) share the same location. If the meter point(s) is (are) not located at the Delivery Point, provide the exact location. Example: Bi-directional IESO meters M1 and M2 are used to measure net generation output of the Facility. Their meter point IDs are BSUNTECH.115.A1 and BSUNTECH.115.B2. They are located on the high-voltage side of step-up transformers TX1 and TX2 installed at the Facility, approximately 50 meters southwest of the Delivery Point.] [Highlight referenced meter points on SLD] [Provide a brief description of the Facility; explain interconnection to the grid and interactions among the Facility and neighbouring facilities: i.e. loads in the Transmission System or Distribution System and Station Service Load.] [Discuss technical specifications and functional details for both main and backup metering infrastructure, such as metering capabilities and data storage, metering components, and communication.] [Discuss redundant metering strategy (e.g.,what if both main and alt meters fail), restoration plan of meters/instruments.]

Station Service Load:

[Provide a list of all station service loads along with the corresponding size.]

## Remote Meter Readings – Access by the IESO Contract Management

[Explain how the IESO Contract Management team will gain remote access to meter data from the Facility. Confirm that one or more of the following communication methods will be used for remote access: Meter Data Management (MDM) or Meter Data Distribution (MDD)]

Log-in information, including the username and password, will be provided to IESO Contract Management once the access method has been setup.

# Electrical Power Metering

## Meters and Instruments

Metering Installation Configuration:

[State whether the metering installation uses a main/alternate or main/check meter configuration.]

State Accuracy Class of Electricity Meters Installed:

[State accuracy class of meters]

Total Number And Accuracy Of Voltage And Current Transformers For The Metering Installation:

[State make, model and accuracy class of instrument transformers] [State whether the metering installation is comprised of two independent sets of instrument transformers or a single set of instrument transformers (main/alternate meter configuration). If instrument transformers are built-in within the electricity meter, please explain accordingly.]

Has the Supplier received written confirmation from the IESO that the accuracy and operating limits of metering installation (including instrument transformers and electricity meters) are acceptable to the IESO as administrator of the IESO Market Rules?

[State Yes or No]

## Delivered Electricity

[Explain how Hourly Delivered Electricity delivered from the Contract Facility is arrived at; describe gross generation, Station Service Loads and other loads as applicable. The following are examples of some possible scenarios: Example 1: Single metering point measuring Facility’s net power output. “Power is exported from the Facility to the IESO-Controlled Grid through meter M1, which is located at the delivery point and measures Electricity delivered net of Station Service Load. Readings from M1 represent the Delivered Electricity for the Contract Facility.” Example 2: Multiple meters measuring Facility’s net power output. “Power is exported from the Facility to the IESO Controlled-Grid through the Delivery Point located on feeder A. Total power generation is measured through meters M1 and M2 located on feeders B and C, respectively; each meter measures power generated by G1 and G2 net of Station Service Load. The Delivered Electricity is the aggregate of M1 and M2.” Example 3: One or more meters measuring Facility’s gross power output and separate meter(s) measuring Station Service Load. “Gross power is exported from the Facility to the IESO-Controlled Grid through the Delivery Point located on feeder A. Power output is the aggregate of measurements from M1 and M2, installed on feeders B and C, respectively. Station Service Load is measured through meter M3 located on feeder D. Facility’s Delivered Electricity is the sum of meters M1 and M2 minus M3.”]

### Measurement, Calculations and Adjustments

[Explain the process of measuring, gathering, and recording data. Provide details on the collection and manipulation of raw data to derive MW or MWh, including the use of multipliers and instrument transformer ratios in calculations. Clarify how data is adjusted or edited and describe correction factors applied due to conditions on meter wiring, burdens in instrument transformers, or other factors requiring correction. Additionally, elaborate on any adjustments necessary to account for transformation and/or line losses.] [Specify the applicable formulae, including adjustments (e.g., Site-Specific Loss adjustments and meter error correction), to determine the quantities outlined in section 2.2 above. Substitute each quantity in the formulas with the corresponding meter designation. In cases where backup metering is mandated by the IESO Market Rules, provide the formulae that would be utilized in terms of quantities incorporating readings from backup meters. If the listed formulae below are not applicable, propose the correct formulae and explain any deviations from the formulas listed. Where applicable, provide details on any intermediate calculations and electrical parameters (e.g., MW, MVAR, etc) accessible to the IESO, along with any ratios or factors used in these calculations. Refer to industry norms, procedures, codes, or standards whenever possible.] Net Power Output (MW) = Gross (Generation) Power Output – Station Service Loads – Generation and Station Service Loads Loss Adjustment – Measurement Error Correction MWMAIN = Gross Power Output – Station Service Load – Meter Error Correction – Site-Specific Loss Adjustment MWALTERNATE = Gross Power Output – Station Service Load – Meter Error Correction – Site-Specific Loss Adjustment

### Validation

[Clarify how meter data is validated. Provide details on the methods employed to ensure meter readings are meaningful and reliable. This may include data reconciliation following meter interrogation and spot check procedures.] [Provide details regarding maintenance and calibration of meters.]

# Technical Information – Attach to Metering Plan

## Exhibit A: Single-Line Diagrams

Include all “As Built” single-line diagrams for the Facility, illustrating the generation units, storage unit (if applicable), Station Service Load and internal distribution system, metering installation, Connection Point, area transmission and/or distribution facilities, including the transformer station(s) electrically closest to the Facility.

| Exhibit | Drawing No. | Drawing Title | Revision | Date |
| --- | --- | --- | --- | --- |
| A.1 |  |  |  |  |

## Exhibit B: Electricity Metering Technical Data

[Identify the Electricity meters that are part of this Plan by completing the tables below]

Exhibit B.1: Main Electricity Meters

| Meter ID | Description | MC NofA No.(*) |
| --- | --- | --- |
|  | [Make, model number, serial number, quantity measured] |  |

Exhibit B.2: Alternate/Check Electricity Meters (as applicable)

| Meter ID | Description | MC NofA No.(*) |
| --- | --- | --- |
|  | [Make, model number, serial number, quantity measured] |  |

Exhibit B.3: Instrument Transformers (Current Transformers and Voltage Transformers)

| Tag No. | Associated Meter | Description | MC NofA No.(*) |
| --- | --- | --- | --- |
|  |  | [Make, model number, serial number] |  |

(*) Measurement Canada Notice of Approval

# Technical Information – Maintained on Site

The following technical documents are integral to this Plan. The Supplier represents, warrants, and covenants that they are and will be procured, updated, and maintained on site by the Supplier. These documents will be made available to IESO Contract Management for contract administration purposes upon request within 10 Business Days:

Exhibit C.1	Notification of Registration for the Facility issued by IESO as administrator of the IESO Market Rules.

Exhibit C.2	Meter Commissioning Report and/or Record of Installation by the MSP for the metering installation. It must identify the Facility, the metering point, the metered market participant and provide the following technical information: model and serial number of the main and backup meters, model, and serial number of instrument transformers. Additionally, it must include the date and person confirming that the metering installation has been commissioned in accordance with applicable regulations, standards, and procedures.

Exhibit C.3	Electricity Metering Three-Line Diagrams showing metering configuration, wiring size and length. Must be stamped by a Professional Engineer.

Exhibit D.1	Measurement Canada Notice of Approval for the electricity meter(s).

Exhibit D.2	Measurement Canada Notice of Approval for the current transformers.

Exhibit D.3	Measurement Canada Notice of Approval for the voltage transformers.

Exhibit E.1	Calibration Certificate for the electricity meter(s).

Exhibit E.2	Test card for the current transformers.

Exhibit E.3	Test card for the voltage transformers.

Exhibit F	IESO Emergency Instrument Transformer Restoration Plan.

Exhibit G	IESO Totalization Table for the Facility (IMO-FORM-1310).

Exhibit H	IESO Site Registration Report.

Exhibit I.1	Manufacturer technical specification datasheet for the electricity meter(s).

Exhibit I.2	Manufacturer’s technical specification datasheet for the current transformers.

Exhibit I.3	Manufacturer’s technical specification datasheet for the voltage transformers.