## S1 - General Information
Survey Date & Time: Tuesday July 21, 2026 17:00 EST
PART 1 – MARKET PARTICIPANT INFORMATION
Market Participant Name:
Market Participant ID:
Reliability Compliance Contact / Person Completing Form
Name:
Telephone No.:
Fax No.:
Email Address:
Assessment/Survey Date (3rd Tuesday of July): | July 21, 2026 17:00 EST
This form shall be sent via email to underfrequency@ieso.ca with a subject line of the following:
Subject: Form 113 - MP ID XXXXXX - Manual Load Shedding Plans
All information submitted in this process will be used by the IESO solely in support of its obligations under the “Electricity Act, 1998”, the “Ontario Energy Board Act, 1998”, the “Market Rules” and associated policies, standards and procedures and its license. All submitted information will be assigned the appropriate confidentiality level upon receipt.
Terms and acronyms used in this Form that are italicized have the meanings ascribed thereto in Chapter 11 of the “Market Rules”.
This form has been subdivided into three sections:
S1 - General Information
S2 - Survey Applicability Questionnaire
S3 - Embedded Generator Under Frequency Protection Settings
S4 - Manual Load Shedding Plans
S5 - Form Evaluation
Please follow these instructions when completing the form:
• Recommended file-naming convention when saving the form: MP_ID_[Market Participant ID Number]_IESO_FORM_113.xlsx;
• Ensure that Facility Name, Resource Name, Feeder/Load/Bus Name, match your market registration information provided in the IESO Online tool (https://online.ieso.ca).
Ontario Reliability Compliance Program Data Request Form
Ontario Manual Load Shedding Data Collection
PART 2 – REQUEST FOR INFORMATION
As per Chapter 5, Section 14.1.4 of the Market Rules, market participants are required to provide the IESO with information on under frequency load shedding relay settings and/or embedded generator under frequency protection settings for the IESO to assess and ensure Ontario’s compliance with the requirements of UFLS Program Requirements.
This information is to be provided by completing Section 2 (if applicable) of this form.
Reference Document(s):
Market Rules, Chapter 5 – Power System Reliability, Section 14.1.4
Market Rules, Chapter 4 - Grid Connection Requirements Appendices, Appendix 4.2
Market Rules, Chapter 11 – Definitions
NERC Standard: PRC-006-5 & PRC-024-2
NERC Regional Standard: PRC-006-NPCC-2
PART 2 – REQUEST FOR INFORMATION
As per Chapter 5, Section 14.1.4 of the Market Rules, market participants are required to provide the IESO with information on under frequency load shedding relay settings and/or embedded generator under frequency protection settings for the IESO to assess and ensure Ontario’s compliance with UFLS Program Requirements.
This information is to be provided after completing Section 2 of this form.
Reference Document(s):
Market Manual 7, Part 7.1: IESO-Controlled Grid Operating Procedures, Section 9.1
Market Rules, Chapter 5 – Power System Reliability, Section 14.1.4
Market Rules, Chapter 4 - Grid Connection Requirements Appendices, Appendix 4.2
Market Rules, Chapter 11 – Definitions
NERC Standard: PRC-006-5 & PRC-024-2
NERC Regional Standard: PRC-006-NPCC-2

## S2 - Questionnaire
2
2
Survey Date & Time: Tuesday July 21, 2026 17:00 EST
PART 3 – SURVEY APPLICABILITY QUESTIONNAIRE
1. Are there any embedded generators (market participant-owned or otherwise) connected to the distribution system?
2. Is your organization ready and able to conduct Manual Load Shedding, independent of Hydro One Networks Inc.?
Complete the Following Tables:
Ontario Reliability Compliance Program Data Request Form
Ontario Manual Load Shedding Data Collection
YES
NO
YES
NO

## S3 - Embedded Generator Data
2
2
Survey Date & Time: Tuesday July 21, 2026 17:00 EST
PART 4 – EMBEDDED GENERATOR UNDER FREQUENCY PROTECTION SETTINGS | [8 empty] | NERC/NPCC Requirements for Short-Term Over/Under Frequency and Example of Acceptable Protection:
Ensure that Facility Name, Resource Name, Feeder/Load/Bus Name, match your market registration information provided in the IESO Online tool (https://online.ieso.ca).
Calculated Prematurely Tripped Generation (MW):
Notes:
1 Generation output should only include those hours where the generation unit was a net generator to the system.
2 Answer based on Figure 2 in IESO Generator Frequency and Voltage Protective Relay Settings Requirements Verification Workbook (see on right).
Number of Registered Facilities (Table Rows) |  |  |  | Please enter the number of Registered Facilities you are reporting.
Table 1: Embedded Generator Under Frequency Protection Settings
Facility Name | Resource Name | Embedded Generator Maximum Capability (MW) | Hourly Average Net Generation Output for past two calendar years (MW)1 | Frequency Set Point (Hz) | Time Delay (Seconds) | Capacity Tripped (MW) | Connected to a feeder with UFLS capability? (Yes/No) | Compliant (Yes/No)2
COMMENTS:
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements

## S4 - Manual Load Shedding Plans
2
2
Survey Date & Time: Tuesday July 21, 2026 17:00 EST
PART 5 - MANUAL LOAD SHEDDING PLANS
Number of Registered Facilities (Table Rows) |  | Please enter the number of Registered Facilities you are reporting.
Table 2: Manual Load Shedding Plans
Facility Name | Feeder or Load Name1 | COMMENTS:
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements

## S5 - Form Evaluation
0
Survey Date & Time: Tuesday July 21, 2026 17:00 EST
PRE-SUBMISSION FORM EVALUATION
Prior to submitting, please ensure that the status below reads "Valid Form."
Otherwise, if it depicts "Invalid Form," please address the notable concerns.
Form 113 Status: | Valid Form |  | Form is eligible for submission.
FORM CONCERNS
If present, address the below concerns.
SUBMITTING THE FORM
Please save this file as: | MP_ID__IESO_FORM_113.xlsx
Submit via Email: | underfrequency@ieso.ca
Email Subject Line: | Form 113 - MP ID - Manual Load Shedding Plans
If an Invalid form must be submitted, please explain:
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements