## S1 - General Information
Survey Date & Time: 3rd Tuesday of July at 17:00 EST
PART 1 – MARKET PARTICIPANT INFORMATION
Market Participant Name: | [please fill-in here]
Market Participant ID: | [please fill-in here]
Reliability Compliance Contact / Person Completing Form
Name: | [please fill-in here]
Telephone No.: | [please fill-in here]
Fax No.: | [please fill-in here]
Email Address: | [please fill-in here]
Assessment/Survey Date (3rd Tuesday of July): | July 15, 2025 @ 17:00:00 EST
This form shall be sent via email to underfrequency@ieso.ca with a subject line of the following:
Subject: Form 1719 - MP ID XXXXXX - Automatic Under Frequency Load Shedding Requirements
All information submitted in this process will be used by the IESO solely in support of its obligations under the “Electricity Act, 1998”, the “Ontario Energy Board Act, 1998”, the “Market Rules” and associated policies, standards and procedures and its license. All submitted information will be assigned the appropriate confidentiality level upon receipt.
Terms and acronyms used in this Form that are italicized have the meanings ascribed thereto in Chapter 11 of the “Market Rules”.
This form has been subdivided into five sections:
S1 - General Information
S2 - Survey Applicability Questionnaire
S3 - Embedded Generator Under Frequency Protection Settings
S4 - Automatic Under Frequency Load Shedding Data
S5 - Automatic Under Frequency Capacitor Bank Shedding
Please follow these instructions when completing the form:
• Recommended file-naming convention when saving the form: MP_ID_[Market Participant ID Number]_IESO_FORM_1719.xlsx;
• Ensure that Facility Name, Resource Name, Feeder/Load/Bus Name, match your market registration information provided in the IESO Online tool (https://online.ieso.ca).
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements
PART 2 – REQUEST FOR INFORMATION
As per Chapter 5, Section 14.1.4 of the Market Rules, market participants are required to provide the IESO with information on under frequency load shedding relay settings and/or embedded generator under frequency protection settings for the IESO to assess and ensure Ontario’s compliance with UFLS Program Requirements.
This information is to be provided after completing Section 2 of this form.
Reference Document(s):
Market Manual 7, Part 7.1: IESO-Controlled Grid Operating Procedures, Section 9.1
Market Rules, Chapter 5 – Power System Reliability, Section 14.1.4
Market Rules, Chapter 4 - Grid Connection Requirements Appendices, Appendix 4.2
Market Rules, Chapter 11 – Definitions
NERC Standard: PRC-006-5 & PRC-024-2
NERC Regional Standard: PRC-006-NPCC-2
Form 70: IESO Generator Frequency and Voltage Protective Relay Settings Requirements Verification Workbook

## S2 - Questionnaire
2
2
2
Survey Date & Time: 3rd Tuesday of July at 17:00 EST
PART 3 – SURVEY APPLICABILITY QUESTIONNAIRE
1. Are there any embedded generators (market participant-owned or otherwise) connected to the distribution system?
2. Do you have any Under Frequency Load Shedding equipment or capability?
3. Are there any Capacitor Banks (market participant-owned or otherwise) connected to the loads/buses/feeders in Table 2?
Complete the Following Tables:
YES
NO
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements
YES
NO
YES
NO

## S3 - Embedded Generator Data
Survey Date & Time: 3rd Tuesday of July at 17:00 EST
PART 4 – EMBEDDED GENERATOR UNDER FREQUENCY PROTECTION SETTINGS
Table 1: Embedded Generator Under Frequency Protection Settings | [8 empty] | COMMENTS:
Facility Name | Resource Name | Embedded Generator Maximum Capability (MW) | Hourly Average Net Generation Output for past two calendar years (MW)1 | Frequency Set Point (Hz) | Time Delay (Seconds) | Capacity Tripped (MW) | Connected to a feeder with UFLS capability? (Yes/No) | Compliant (Yes/No)2
End of Table 1 - To extend this table, copy one or more rows and insert above this row to preserve formatting.
Notes:
1 Generation output should only include those hours where the generation unit was a net generator to the system.
2 Answer based on Figure 2 in IESO Generator Frequency and Voltage Protective Relay Settings Requirements Verification Workbook (see below).
NERC/NPCC Requirements for Short-Term Over/Under Frequency and Example of Acceptable Protection:
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements

## S4 - Automatic UFLS Data
Survey Date & Time: 3rd Tuesday of July at 17:00 EST
PART 5 – AUTOMATIC UNDER FREQUENCY LOAD SHEDDING DATA
Instructions for Table 2:
35% of the load of those distributors and connected wholesale customers with a peak load of 25 MW or greater must be connected to UFLS relays. Each distributor
and connected wholesale customer shall select load for UFLS based on their load distribution on the 3rd Tuesday of July at 17:00 EST that approximates system peak.
1. Please complete Table 2 only if you have a peak load of 25 MW or greater:
a) For a peak load of 100 MW or greater:
I. Market Participants are required to fill out their five UFLS stages as per indicated by the market rules (table below)
UFLS Stage | Frequency Threshold (Hz) |  | Total Nominal Operating Time (s) |  | Load Shed at stage as % of MP Load
1 |  | 59.5 | 0.3 |  | 7 – 9
2 |  | 59.3 | 0.3 |  | 7 – 9
3 |  | 59.1 | 0.3 |  | 7 – 9
4 |  | 58.9 | 0.3 |  | 7 – 9
5 |  | 59.5 | 10 |  | 3 – 4
b) For a peak load greater than or equal to 50 MW and less than 100 MW:
II. Market Participants are required to fill out their two UFLS stages as per indicated by the market rules (table below)
UFLS Stage | Frequency Threshold (Hz) |  | Total Nominal Operating Time (s) |  | Load Shed at stage as % of MP Load
1 |  | 59.5 | 0.3 |  | ≥17
2 |  | 59.1 | 0.3 |  | ≥18
c) For a peak load greater than or equal to 25 MW and less than 50 MW:
III. Market Participants are required to fill out their one UFLS stage as per indicated by the market rules (table below)
UFLS Stage | Frequency Threshold (Hz) |  | Total Nominal Operating Time (s) |  | Load Shed at stage as % of MP Load
1 |  | 59.5 | 0.3 |  | ≥35
Summary of UFLS Tripping:
|  | Frequency (Hz) | Total Clearing Time (s) | Net Load Set to Trip (MW) | Net Load Set to Trip (%)
|  | 59.5 | 0.3 | 0
|  | 59.3 | 0.3 | 0
|  | 59.1 | 0.3 | 0
|  | 58.9 | 0.3 | 0
|  | 59.5 | 10 | 0
|  | Other | Other | 0
2. Please fill out all requested stages of the Automatic UFLS Load Connected in Table 2, along with all other required information.
Table 2: Annual Automatic Under Frequency Load Shedding Survey Data
Market Participant Total System Load (MW) at Survey Time 1:
Registered Facility Name (in Online IESO) | Feeder or Load Name2 | Indicate 'W' for Withdrawing From or 'I' for Injecting To the Grid | Enter 'X' below if Feeder or Load is NOT included in your Manual Load Shedding Plans | Enter 'X' below if Feeder or Load is NOT tripped by UFLS | Select the Facility Owner or Operator3 if the Feeder or Load is tripped by UFLS4 | Frequency (Hz) | Total Clearing Time (s) | Automatic UFLS Load Connected (MW)
|  |  |  | X | D
D
End of Table 2 - To extend this table, copy one or more rows and insert above this row to preserve formatting.
Notes:
1 This should equal the sum of feeder loads from MP-owned (not upstream transmitter-owned) facilities, where the MP either has UFLS relays, or has the ability to install UFLS relays.
2 Only include one feeder or load per row.
3 T (Transmitter), D (Distributor) or C (Connected Wholesale Customer).
4 If there is an automatic UFLS protection at this facility (market participant-owned or otherwise), you are required to complete the balance of this table.
You must participate in the annual UFLS survey on the 3rd Tuesday of July at 17:00 EST, and return the form to the IESO.
PART 6 – PROGRESS REPORTING
If you have insufficient Automatic Under Frequency Load Shedding on your system based on the information supplied in Table 2, provide a plan and
schedule to bring your system into compliance in the text box below. Provide specific target values and dates, and specify whether or not you are
currently on schedule for meeting those targets.
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements

## S5 - Progress Reporting (hidden)
0
0
Survey Date & Time: 3rd Tuesday of July at 17:00 EST
PART 6 – STATUS ASSESSMENT OF UFLS IMPLEMENTATION
1. Based on the information supplied in Table 2, do you have sufficient1 Automatic Under Frequency Load Shedding on your system?
2. If 'No', please complete the following:
a. Please provide a plan and schedule to bring their system into compliance.
b. Are you currently on schedule for meeting the target completion date specified in your implementation plan?
I. If Not Applicable, please provide an explanation below:
c. Please provide the percentages of your actual peak load armed to trip for automatic under-frequency load shedding at each of the stages
against the target values and dates in your implementation plan:
Note:
1 Meets the requirements of cumulative load shed at each stage, as a percent of MP load (see instructions for Table 2).
END OF FORM 1719
YES
NO
YES
NO
Ontario Reliability Compliance Program Data Request Form
Ontario Automatic Under Frequency Load Shedding (UFLS) Program Requirements

## DropDown (hidden)
S1 - General Information |  | S2 - Thermal
Fuel Type | Change Type | Mnth | Date
Biofuel | New | JAN | 1
Coal | Modified | FEB | 2
Gas | Retiring | MAR | 3
Oil |  | APR | 4
Uranium |  | MAY | 5
Water |  | JUN | 6
Wind |  | JUL | 7
Solar |  | AUG | 8
Other |  | SEP | 9
|  | OCT | 10
|  | NOV | 11
|  | DEC | 12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31