## Menu
2022 Annual Acquisition Report
Data Tables
List of Figures
Figure 2: Duration of Resource Adequacy Risk Periods, 2029
Figure 3: Probability of Risk, Summer 2029
Figure 4: Probability of Risk, Winter 2029
Figure 5: Capacity Gap East of the FETT Interface (Summer)
Figure 6: Capacity Gap in Northern Ontario including MISSW (Winter)
Figure 7: Capacity Gap in the Ottawa Zone (Summer)
Figure 9: Impact of 2021 Planned Actions on Resource Adequacy Needs
Figure 10: Capacity Auction Forward Guidance
Figure 11: Nameplate Capacity of Expiring Resources, by Connection Type
Figure 12: Minimum Incremental New Resources Required (from 2021 APO)
Figure 13: Size of Need Between 2027 and 2034 (from 2021 APO)

## Figure 2
Back to main menu
Figure 2: Duration of Resource Adequacy Risk Periods (Hours), 2029
Duration of Risk Period | Probability of Exceedance
1 | 91.89%
2 | 82.58%
3 | 74.47%
4 | 70.27%
5 | 63.66%
6 | 58.56%
7 | 54.65%
8 | 51.65%
9 | 50.15%
10 | 48.95%
11 | 46.55%
12 | 46.25%
13 | 43.84%
14 | 39.94%
15 | 32.73%
16 | 24.02%
17 | 14.41%
18 | 8.709%
19 | 6.306%
20 | 5.105%
21 | 4.204%
22 | 3.604%
23 | 3.303%
24 | 3.003%
27 | 2.703%
40 | 2.402%
42 | 1.802%
67 | 1.502%
69 | 1.201%
72 | 0.9009%
114 | 0.6006%
120 | 0.3003%
127 | 0%
Back to main menu

## Figure 3
Back to main menu
Figure 3: Probability of Risk, Summer 2029 (%)
Month / Hour Beginning (EST) | May | June | July | August | September | October
0 | 0.01016% | 0.003086% | 0.07047% | 0.03407% | 0.0005699% | 0.0773%
1 | 0.003126% | 0% | 0.008402% | 0.0002034% | 0% | 0.0597%
2 | 0.0007815% | 0% | 0.0005464% | 0% | 0% | 0.05593%
3 | 0.0007815% | 0% | 0% | 0% | 0% | 0.05468%
4 | 0% | 0% | 0% | 0% | 0% | 0.06347%
5 | 0.004689% | 0% | 0.0009563% | 0% | 0% | 0.08107%
6 | 0.1301% | 0% | 0.01047% | 0.0002034% | 0.00114% | 0.3218%
7 | 1.064% | 0.001851% | 0.06578% | 0.003984% | 0.02935% | 4.091%
8 | 4.168% | 0.05421% | 0.2232% | 0.05914% | 0.1649% | 10.45%
9 | 3.851% | 0.244% | 0.5215% | 0.3645% | 0.2221% | 9.166%
10 | 4.582% | 0.885% | 1.044% | 1.363% | 0.5452% | 9.35%
11 | 4.017% | 1.834% | 1.774% | 2.655% | 1.074% | 6.93%
12 | 2.392% | 1.98% | 2.298% | 3.624% | 1.327% | 3.56%
13 | 2.417% | 3.173% | 3.229% | 5.133% | 2.766% | 3.356%
14 | 3.102% | 5.523% | 4.933% | 6.9% | 5.197% | 3.512%
15 | 3.204% | 8.091% | 7.366% | 8.919% | 7.488% | 3.723%
16 | 6.111% | 12.27% | 11.18% | 12.24% | 16.28% | 5.075%
17 | 9.242% | 15.38% | 15.14% | 15.71% | 22.08% | 6.78%
18 | 11.89% | 15.89% | 16.28% | 14.76% | 15.14% | 7.462%
19 | 13.59% | 15.83% | 16.34% | 12.04% | 10.24% | 12.87%
20 | 15.65% | 11.16% | 11.52% | 8.517% | 11.03% | 9.094%
21 | 12.77% | 6.18% | 5.705% | 6.321% | 5.878% | 3.142%
22 | 1.642% | 1.339% | 1.813% | 1.28% | 0.5076% | 0.5533%
23 | 0.1674% | 0.1535% | 0.4777% | 0.08862% | 0.0397% | 0.1707%
Back to main menu

## Figure 4
Back to main menu
Figure 4: Probability of Risk, Winter 2029 (%)
Month / Hour Beginning (EST) | January | February | March | April | November | December
0 | 0.004206% | 0.2971% | 0.05139% | 0% | 0.05209% | 0%
1 | 0.01108% | 0.1505% | 0% | 0% | 0% | 0%
2 | 0.004206% | 0.07064% | 0% | 0% | 0% | 0%
3 | 0.004206% | 0.06666% | 0% | 0% | 0% | 0%
4 | 0.001682% | 0.05965% | 0% | 0% | 0% | 0%
5 | 0.002524% | 0.09509% | 0% | 0% | 0% | 0%
6 | 0.04837% | 0.1925% | 0.0255% | 0% | 0% | 0%
7 | 0.2323% | 1.136% | 1.786% | 1.331% | 0.9473% | 0.01297%
8 | 4.046% | 7.476% | 8.974% | 8.763% | 5.278% | 1.48%
9 | 3.176% | 6.021% | 8.053% | 0.9983% | 6.879% | 2.217%
10 | 1.709% | 3.389% | 3.779% | 0.9983% | 4.578% | 1.506%
11 | 1.008% | 1.875% | 1.665% | 0.3328% | 2.612% | 0.4452%
12 | 0.8267% | 1.447% | 0.8524% | 0.3328% | 1.441% | 0.2874%
13 | 0.7439% | 1.05% | 0.2272% | 0% | 1.264% | 0.2096%
14 | 0.9447% | 1.125% | 0.3721% | 0% | 0.9224% | 0.2226%
15 | 1.208% | 1.351% | 0.4962% | 0% | 0.8432% | 0.2356%
16 | 1.22% | 2.018% | 0.6415% | 0.3328% | 2.355% | 0.9552%
17 | 4.624% | 3.317% | 3.039% | 5.047% | 5.497% | 8.913%
18 | 23.36% | 12.77% | 5.329% | 5.047% | 31.71% | 36.75%
19 | 24.47% | 20.7% | 17.53% | 9.429% | 22.52% | 22.57%
20 | 19.64% | 18.31% | 27.28% | 52.25% | 10.19% | 13.6%
21 | 10.12% | 11.84% | 16.32% | 14.81% | 2.779% | 8.85%
22 | 2.284% | 4.006% | 3.249% | 0.3328% | 0.1248% | 1.705%
23 | 0.3113% | 1.244% | 0.323% | 0% | 0.006511% | 0.0389%
Back to main menu

## Figure 5
Back to main menu
Figure 5: Capacity Gap East of the FETT Interface (Summer), in MW
Year | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Remaining Capacity Gap East of FETT with Lennox until 2029 (excluding Northern Ontario) | 0 | 0 | 0 | 361.6991 | 0 | 0 | 1280.0222 | 3611.6663 | 3615.0287 | 4124.9071
Back to main menu

## Figure 6
Back to main menu
Figure 6: Capacity Gap in Northern Ontario including MISSW (Winter), in MW
Year | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Capacity Gap West of MISSW | 0 | 0 | 17.1132 | 73.0973 | 85.7374 | 36.8012 | 414.2506 | 634.958 | 604.0955 | 633.7454
Remaining Capacity Gap in Northern Ontario | 0 | 240.8919 | 302.7787 | 293.5435 | 297.2593 | 366.9773 | 364.9678 | 422.2688 | 436.7505 | 496.2462
Back to main menu

## Figure 7
Back to main menu
Figure 7: Capacity Gap in the Ottawa Zone (Summer), in MW
Year | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Remaining Capacity Gap in the Ottawa Zone | 0 | 0 | 0 | 0 | 7.4279 | 26.9944 | 44.9144 | 83.0328 | 102.0825 | 128.4763
Back to main menu

## Figure 9
Back to main menu
Figure 9: Impact of 2021 Planned Actions on Resource Adequacy Needs, in MW
Category/Year | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029
2021 APO Without Reacquisition | 2119.6818 | 2629.1776 | 4789.811 | 7277.4962 | 6155.7536 | 6497.378 | 9362.9555
Impact of 2021 AAR Planned Actions | 2625.6818 | 3204.1776 | 3654.811 | 4893.4962 | 4361.7536 | 2600.378 | 507.9555
Additional Actions Needed | 0 | 0 | 1135 | 2384 | 1794 | 3897 | 8855
Back to main menu

## Figure 10
Back to main menu
Figure 10: Capacity Auction Forward Guidance, in MW
Year | 2023 | 2023 | 2024 | 2024 | 2025 | 2025 | 2026 | 2026 | 2027 | 2027
Season | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter | Summer | Winter
Firm Guidance | 1200 | 750 | 1000 | 850 | 500 | 500 | 500 | 500 | 500 | 500
Forward Guidance | N/A | N/A | 1400 | 1200 | 1600 | 1600 | 1800 | 1700 | 1800 | 1400
Back to main menu

## Figure 11
Back to main menu
Figure 11: Nameplate Capacity of Expiring Resources, by Connection Type (Cumulative Nameplate Capacity, in MW)
Connection Type/Year | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032
Distribution Connected | 0.5 | 0.5 | 8.5 | 30.7 | 156.79 | 202.348 | 300.5476 | 463.0681 | 783.5303 | 1004.0603 | 1288.8456
Transmission Connected | 23.02 | 67.02 | 272.02 | 819.52 | 1214.12 | 1248.92 | 2608.12 | 8920.61 | 9967.36 | 10897.16 | 11410.86
Total | 23.52 | 67.52 | 280.52 | 850.22 | 1370.91 | 1451.268 | 2908.6676 | 9383.6781 | 10750.8903 | 11901.2203 | 12699.7056
Back to main menu

## Figure 12
Back to main menu
Figure 12: Minimum Incremental New Resources Required, in MW
Year | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Minimum Incremental New Resources | 2559.5737 | 2865.4217 | 3129.5389 | 3863.151 | 3900.5415 | 3442.6565 | 3564.8893 | 3807.6715
Back to main menu

## Figure 13
Back to main menu
Figure 13: Size of Need Between 2027 and 2034, in MW
Year | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Potential Contribution of Existing Resources | 3596.1799 | 3631.9563 | 6233.4166 | 7396.7822 | 8080.2253 | 8827.717 | 8994.0968 | 9366.3833
Minimum Incremental New Resources | 2559.5737 | 2865.4217 | 3129.5389 | 3863.151 | 3900.5415 | 3442.6565 | 3564.8893 | 3807.6715
Total (2021 APO Adequacy Need Without Continued Availability of Existing Resources) | 6155.7536 | 6497.378 | 9362.9555 | 11259.9332 | 11980.7668 | 12270.3735 | 12558.9861 | 13174.0548
Back to main menu