## Menu
Hamilton Area Addendum to the Burlington to Nanticoke Integrated Regional Resource Plan - Data Tables July 2026 - Summer
Table 2: IRRP eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 3: Effective DG Contribution to Coincident Peak
Table 4: Extreme-weather Net Coincident Demand - Reference Forecast
Table 5: Extreme-weather Net Concident Demand - High Growth Scenario
Table 6: Extreme-weather Net Coincident Demand - Low Growth Scenario
Table 7: Extreme-weather Net Non-coincident Demand - Reference Forecast
Table 8: Extreme-weather Net Non-concident Demand - High Growth Scenario
Table 9: Extreme-weather Net Non-coincident Demand - Low Growth Scenario
Table 10: Historical Weather-Corrected Gross Non-Coincident Demand
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 2
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 2 IRRP eDSM Forecast (MW) - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 0.2304 | 0.52245 | 2.134 | 4.7535 | 5.9219 | 7.0916 | 8.2756 | 9.4368 | 10.5936 | 11.2535 | 12.0567 | 12.8555 | 13.252 | 13.6457 | 14.0393 | 14.4329 | 14.8296 | 15.2356 | 15.6402 | 16.0661
Beach TS (T5/T6) | 0.84106 | 1.9188 | 3.0291 | 4.2279 | 5.2423 | 6.2235 | 7.3708 | 8.2866 | 9.1891 | 9.7753 | 10.342 | 10.8925 | 11.2741 | 11.5246 | 11.9004 | 12.151 | 12.4074 | 12.8078 | 13.0797 | 13.3697
Birmingham (T3/T4) | 0.63657 | 1.292 | 1.9181 | 2.5214 | 2.9717 | 3.4215 | 3.9416 | 4.4405 | 4.872 | 5.1666 | 5.4118 | 5.7396 | 5.7396 | 5.8279 | 5.8279 | 5.9162 | 6.0045 | 6.0045 | 6.0928 | 6.0928
Birmingham TS (T1/T2) | 0.13125 | 0.29076 | 0.49076 | 0.67678 | 0.80476 | 0.99272 | 1.1976 | 1.3447 | 1.557 | 1.7134 | 1.8838 | 2.0593 | 2.1575 | 2.1575 | 2.2556 | 2.3536 | 2.4519 | 2.5506 | 2.6492 | 2.749
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.4661 | 21.4129 | 22.5904 | 23.4843 | 24.3957 | 24.9413 | 25.5366 | 26.0437 | 26.6392 | 27.1936 | 27.9015 | 28.6739 | 29.381
Dundas TS (T1/T2) | 1.1947 | 2.5065 | 3.8102 | 5.2718 | 5.9685 | 7.0947 | 9.8868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 0.92259 | 1.9766 | 3.065 | 4.2494 | 5.3968 | 6.44 | 7.4805 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 1.1172 | 2.5893 | 4.111 | 5.6749 | 7.0979 | 8.3647 | 9.8495 | 11.1344 | 12.3644 | 13.0579 | 13.9351 | 14.6876 | 15.0359 | 15.4881 | 15.8273 | 16.2795 | 16.6279 | 17.005 | 17.3773 | 17.8813
Gage TS (T11/T4) | 0.26855 | 0.57392 | 0.82363 | 1.0478 | 1.2349 | 1.4218 | 1.6119 | 1.816 | 1.9924 | 2.1492 | 2.2512 | 2.3509 | 2.3509 | 2.3509 | 2.3509 | 2.3509 | 2.4267 | 2.4267 | 2.4267 | 2.4267
Gage TS (T8/T9) | 0.076729 | 0.15305 | 0.21964 | 0.27941 | 0.3293 | 0.37915 | 0.42985 | 0.48426 | 0.53132 | 0.55464 | 0.58097 | 0.60668 | 0.60668 | 0.60668 | 0.60668 | 0.60668 | 0.60668 | 0.68252 | 0.68252 | 0.68252
Horning TS (T3/T4) | 0.84769 | 1.8511 | 2.8183 | 3.8677 | 4.8982 | 5.8239 | 6.887 | 7.7057 | 8.6196 | 9.1628 | 9.6291 | 10.189 | 10.5525 | 10.787 | 11.1388 | 11.4905 | 11.7372 | 12.1392 | 12.5357 | 12.8283
Kenilworth TS (T2/T3) | 0.35478 | 0.73123 | 1.1171 | 1.5073 | 1.8779 | 2.2206 | 2.65 | 3.0601 | 3.5212 | 3.8468 | 4.298 | 4.6752 | 4.8622 | 5.1427 | 5.3297 | 5.5168 | 5.7973 | 5.9843 | 6.1713 | 6.3583
Lake TS (T1/T2) | 0.79331 | 1.7434 | 2.6527 | 3.6317 | 4.6192 | 5.5139 | 6.5012 | 7.3308 | 8.184 | 8.7669 | 9.3297 | 9.8797 | 10.1763 | 10.467 | 10.9031 | 11.1939 | 11.4906 | 11.806 | 12.1185 | 12.4492
Lake TS (T3/T4) | 0.69256 | 1.4811 | 2.2511 | 3.0748 | 3.8372 | 4.5849 | 5.4291 | 6.1431 | 6.8957 | 7.4197 | 7.9345 | 8.4421 | 8.7236 | 9.0005 | 9.4159 | 9.6929 | 9.9747 | 10.2716 | 10.5663 | 10.8756
New Middleport TS | 0 | 0 | 0 | 0 | 7.0877 | 11.3961 | 13.6389 | 16.0678 | 18.4013 | 20.083 | 21.849 | 23.6492 | 24.6181 | 25.5767 | 26.5379 | 27.5 | 28.4761 | 29.4849 | 30.4907 | 31.5068
Mohawk TS (T1/T2) | 1.0572 | 2.2951 | 3.5263 | 5.001 | 6.2216 | 7.3863 | 8.7077 | 9.8618 | 10.8794 | 11.5373 | 12.2623 | 12.967 | 13.2426 | 13.6399 | 14.0371 | 14.4344 | 14.7102 | 15.1523 | 15.5893 | 15.914
Nebo TS (T1/T2) | 2.3527 | 5.1758 | 8.1548 | 11.1623 | 11.1169 | 10.9945 | 13.3941 | 15.7475 | 18.1116 | 19.9071 | 21.6118 | 23.3447 | 24.3245 | 25.1952 | 26.0741 | 27.0511 | 27.947 | 28.8722 | 29.8914 | 30.8289
Nebo TS (T3/T4) | 0.85099 | 1.85 | 2.9489 | 4.1594 | 5.1879 | 6.1719 | 7.2182 | 8.0952 | 8.9649 | 9.5444 | 10.0698 | 10.5742 | 10.8417 | 11.0998 | 11.487 | 11.7452 | 12.0128 | 12.3098 | 12.6019 | 13.041
Newton TS (T1/T2) | 0.71206 | 1.7616 | 2.9361 | 4.347 | 5.8881 | 6.9659 | 8.1756 | 9.1878 | 10.1542 | 10.7556 | 11.3559 | 11.9532 | 12.251 | 12.5412 | 12.8338 | 13.1309 | 13.4157 | 13.7253 | 14.0333 | 14.3606
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 18.2686 | 20.5811 | 22.5811 | 23.5723 | 24.6911 | 25.7839 | 25.7839 | 25.7839 | 25.7839 | 25.7839 | 25.7839 | 25.7839 | 25.7839 | 25.7839
Stirton TS (T3/T4) | 0.76461 | 1.7105 | 2.6846 | 3.7856 | 4.7386 | 5.6571 | 6.6648 | 7.535 | 8.3705 | 8.924 | 9.4798 | 10.0299 | 10.3395 | 10.6432 | 10.9505 | 11.2644 | 11.5579 | 11.8724 | 12.1873 | 12.522
Winona TS (T1/T2) | 0.4342 | 0.96954 | 1.4733 | 2.0394 | 3.218 | 3.8553 | 4.5598 | 5.1744 | 5.7496 | 6.1157 | 6.512 | 6.9226 | 7.2271 | 7.6002 | 7.8468 | 8.0888 | 8.3315 | 8.5806 | 8.8236 | 9.0669
Total Region | 14.2792 | 31.3926 | 50.1647 | 71.2789 | 93.6593 | 111.9998 | 152.1393 | 172.8995 | 192.946 | 205.8964 | 218.9689 | 231.9984 | 238.301 | 244.6154 | 251.1906 | 257.6228 | 263.7832 | 270.597 | 277.4156 | 284.1847

## Table 3
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 3 Effective DG Contribution to Coincident Peak (MW) - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 0.019038 | 0.019038 | 0.019038 | 0.019038 | 0.019038 | 0.019038 | 0.019038 | 0.019038 | 0.016873 | 0.014707 | 0.00514 | 0.00514 | 0.0019676 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Beach TS (T5/T6) | 1.8317 | 0.32768 | 0.32768 | 0.32768 | 0.32768 | 0.32768 | 0.32768 | 0.32649 | 0.31844 | 0.22841 | 0.1491 | 0.086154 | 0.072954 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Birmingham (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Birmingham TS (T1/T2) | 0.003331 | 0.003331 | 0.003331 | 0.003331 | 0.003331 | 0.003331 | 0.0025177 | 0.0025177 | 0.0025177 | 0.0025177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS (New 230 kV) | 0.003331 | 0.003331 | 0.003331 | 0.003331 | 0.003331 | 0.003331 | 0.0025177 | 0.0025177 | 0.0025177 | 0.0025177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS (T1/T2) | 8.9713 | 8.9713 | 8.9713 | 8.9713 | 8.9713 | 8.9713 | 8.8492 | 8.8116 | 8.7222 | 8.5061 | 8.4815 | 8.0553 | 4.944 | 4.8476 | 4.8476 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 0.51293 | 0.51293 | 0.51293 | 0.51293 | 0.51293 | 0.51293 | 0.51044 | 0.47683 | 0.46523 | 0.20223 | 0.18994 | 0.023415 | 0.012589 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 1.8913 | 1.8913 | 1.8913 | 1.8913 | 1.8913 | 1.8913 | 1.8913 | 1.8812 | 1.8789 | 1.8774 | 1.8709 | 1.8684 | 1.8684 | 1.8612 | 0 | 0 | 0 | 0 | 0 | 0
Gage TS (T11/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gage TS (T8/T9) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Horning TS (T3/T4) | 0.3856 | 0.3856 | 0.3856 | 0.3856 | 0.3856 | 0.3856 | 0.37864 | 0.3745 | 0.3671 | 0.35593 | 0.30915 | 0.13167 | 0.057223 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kenilworth TS (T2/T3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lake TS (T1/T2) | 0.0040057 | 0.0040057 | 0.0040057 | 0.0040057 | 0.0040057 | 0.0040057 | 0.0040057 | 0.0040057 | 0.0040057 | 0.0021653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lake TS (T3/T4) | 0.48194 | 0.48194 | 0.48194 | 0.48194 | 0.48194 | 0.48194 | 0.48194 | 0.47769 | 0.43023 | 0.16481 | 0.16229 | 0.093579 | 0.0681 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Middleport TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mohawk TS (T1/T2) | 0.31101 | 0.31101 | 0.31101 | 0.31101 | 0.31101 | 0.31101 | 0.30635 | 0.29404 | 0.2882 | 0.27526 | 0.19893 | 0.1164 | 0.060706 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nebo TS (T1/T2) | 3.499 | 3.499 | 3.499 | 3.499 | 0.49103 | 0.49103 | 0.48624 | 0.45351 | 0.45135 | 0.42024 | 0.37054 | 0.28038 | 0.21762 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nebo TS (T3/T4) | 0.51042 | 0.51042 | 0.51042 | 0.51042 | 0.51042 | 0.51042 | 0.49798 | 0.41238 | 0.39726 | 0.38421 | 0.29493 | 0.17358 | 0.10431 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Newton TS (T1/T2) | 0.17611 | 0.17611 | 0.17611 | 0.17611 | 0.17611 | 0.17611 | 0.15083 | 0.10471 | 0.030397 | 0.024377 | 0.0095976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stirton TS (T3/T4) | 0.18308 | 0.18308 | 0.18308 | 0.18308 | 0.18308 | 0.18308 | 0.18167 | 0.18116 | 0.11061 | 0.10469 | 0.084543 | 0.084543 | 0.080036 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Winona TS (T1/T2) | 0.51133 | 0.51133 | 0.51133 | 0.51133 | 0.51133 | 0.51133 | 0.50838 | 0.47189 | 0.23268 | 0.22835 | 0.17819 | 0.15951 | 0.1327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Region | 19.2954 | 17.7914 | 17.7914 | 17.7914 | 14.7834 | 14.7834 | 14.5987 | 14.294 | 13.7185 | 12.7939 | 12.3048 | 11.078 | 7.6206 | 6.7088 | 4.8476 | 0 | 0 | 0 | 0 | 0

## Table 4
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 4 Extreme-weather Net Coincident Demand - Reference Forecast (MW) - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 15.0321 | 15.6951 | 42.7363 | 70.6798 | 71.4216 | 72.1621 | 72.8883 | 73.6395 | 75.3501 | 76.61 | 78.672 | 80.7417 | 83.2124 | 85.684 | 88.1557 | 90.6273 | 93.096 | 95.5552 | 98.0159 | 100.4553
Beach TS (T5/T6) | 58.047 | 60.7897 | 63.4998 | 65.1662 | 65.1069 | 65.0809 | 66.8 | 66.8473 | 67.945 | 69.3483 | 70.7548 | 72.1277 | 74.6843 | 76.3439 | 78.8334 | 80.4931 | 82.1468 | 84.6117 | 86.25 | 87.8702
Birmingham (T3/T4) | 55.72 | 56.0533 | 57.4046 | 58.7787 | 58.3285 | 57.8787 | 58.3473 | 57.8484 | 57.4169 | 58.111 | 57.8658 | 58.5266 | 58.5266 | 59.4271 | 59.4271 | 60.3275 | 61.2279 | 61.2279 | 62.1283 | 62.1283
Birmingham TS (T1/T2) | 10.7413 | 11.5705 | 13.3479 | 14.1506 | 14.0226 | 14.8242 | 15.608 | 15.4609 | 16.2373 | 17.0722 | 17.8904 | 18.7037 | 19.5941 | 19.5941 | 20.4848 | 21.3754 | 22.2659 | 23.1559 | 24.046 | 24.935
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 212.6335 | 217.1949 | 220.4057 | 225.2458 | 233.5893 | 238.3964 | 244.0364 | 253.7232 | 259.3647 | 264.1582 | 268.8942 | 274.4554 | 279.2932
Dundas TS (T1/T2) | 108.7034 | 109.2849 | 108.9846 | 109.4164 | 97.9061 | 98.4563 | 119.5026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 98.0741 | 100.8504 | 102.6858 | 103.4175 | 105.2948 | 106.2713 | 108.2891 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 85.9779 | 93.6066 | 99.1634 | 101.6444 | 103.255 | 102.9994 | 105.5696 | 106.3094 | 108.1145 | 109.4498 | 112.62 | 114.9012 | 117.5937 | 123.0475 | 125.742 | 129.3346 | 132.0198 | 134.6763 | 137.3376 | 140.8784
Gage TS (T11/T12) | 23.5069 | 24.8997 | 24.65 | 24.4259 | 24.2388 | 24.0519 | 23.8617 | 23.6577 | 23.4812 | 24.1736 | 24.0715 | 23.9719 | 23.9719 | 23.9719 | 23.9719 | 23.9719 | 24.7452 | 24.7452 | 24.7452 | 24.7452
Gage TS (T8/T9) | 6.7162 | 6.6399 | 6.5733 | 6.5136 | 6.4637 | 6.4138 | 6.3631 | 6.3087 | 6.2617 | 6.2383 | 6.212 | 6.1863 | 6.1863 | 6.1863 | 6.1863 | 6.1863 | 6.1863 | 6.9596 | 6.9596 | 6.9596
Horning TS (T3/T4) | 62.4301 | 63.3559 | 63.3532 | 63.2684 | 64.1671 | 64.213 | 66.0478 | 66.2011 | 68.1922 | 69.625 | 71.2653 | 73.6737 | 76.2612 | 77.9559 | 80.4979 | 83.04 | 84.7225 | 87.2142 | 89.7115 | 91.3481
Kenilworth TS (T2/T3) | 29.8407 | 30.4708 | 32.098 | 33.7208 | 35.3632 | 36.0271 | 37.6107 | 38.2071 | 39.759 | 41.4465 | 44.0148 | 45.6506 | 47.4767 | 50.2157 | 52.0417 | 53.8677 | 56.6068 | 58.4328 | 60.2588 | 62.0849
Lake TS (T1/T2) | 49.3139 | 49.3463 | 49.4197 | 49.4233 | 50.4008 | 50.4888 | 51.4666 | 51.6196 | 52.7333 | 54.1178 | 55.5201 | 56.9352 | 58.6039 | 60.2782 | 62.7898 | 64.4642 | 66.1326 | 67.7824 | 69.435 | 71.0695
Lake TS (T3/T4) | 44.0239 | 43.2353 | 43.4479 | 43.6068 | 43.827 | 44.0618 | 45.187 | 45.503 | 46.981 | 48.4247 | 49.9437 | 51.4268 | 53.1785 | 54.8667 | 57.399 | 59.0872 | 60.7706 | 62.4387 | 64.1092 | 65.7651
New Middleport TS | 0 | 0 | 0 | 0 | 114.4119 | 157.3551 | 164.4594 | 171.3658 | 178.4028 | 186.0798 | 193.7055 | 201.3103 | 209.4668 | 217.6234 | 225.8019 | 233.988 | 242.1988 | 250.3921 | 258.5993 | 266.807
Mohawk TS (T1/T2) | 68.7877 | 68.4979 | 69.1627 | 71.4803 | 71.2077 | 70.9958 | 72.5308 | 73.2787 | 74.1701 | 75.4847 | 77.6864 | 79.8815 | 81.5627 | 84.0096 | 86.4565 | 88.9034 | 90.5237 | 92.9257 | 95.3329 | 96.9043
Nebo TS (T1/T2) | 185.8407 | 198.9725 | 213.3891 | 225.8543 | 185.4938 | 156.0288 | 166.143 | 172.9504 | 180.56 | 189.3688 | 196.6209 | 203.8776 | 211.4829 | 218.974 | 226.5555 | 234.0594 | 241.5961 | 249.0877 | 256.4912 | 264.0759
Nebo TS (T3/T4) | 55.8049 | 55.5649 | 57.4271 | 58.5222 | 58.2593 | 57.8722 | 58.5294 | 58.4251 | 58.8187 | 59.4965 | 60.4569 | 61.4617 | 62.7644 | 63.9754 | 65.0709 | 66.3205 | 67.4495 | 68.5453 | 69.6604 | 70.6383
Newton TS (T1/T2) | 46.4628 | 53.0721 | 58.4442 | 63.504 | 69.2354 | 68.9616 | 70.1982 | 70.3078 | 71.1465 | 72.2167 | 73.5758 | 75.0505 | 76.8589 | 78.6794 | 80.5151 | 82.3794 | 84.1057 | 85.8021 | 87.519 | 89.2296
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 270.433 | 268.1205 | 266.1205 | 265.1293 | 264.0105 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177
Stirton TS (T3/T4) | 51.8908 | 53.1933 | 55.0245 | 56.7492 | 57.0302 | 57.2432 | 58.4388 | 58.9595 | 60.0432 | 61.3875 | 62.9708 | 64.629 | 66.6541 | 68.6118 | 70.5926 | 72.6163 | 74.4551 | 76.2654 | 78.1035 | 79.9414
Winona TS (T1/T2) | 45.827 | 46.7946 | 47.5211 | 48.3446 | 48.3068 | 48.7428 | 50.0567 | 50.9155 | 52.0997 | 53.5191 | 55.1112 | 56.749 | 58.6473 | 60.3506 | 62.2056 | 64.1125 | 65.8251 | 67.5242 | 69.2563 | 71.0066
Total CTS* Loads | 327.1699 | 336.3953 | 339.4704 | 321.9562 | 278.7589 | 281.834 | 281.834 | 281.834 | 281.834 | 284.9091 | 284.9091 | 284.9091 | 286.4467 | 286.4467 | 307.554 | 307.554 | 307.554 | 307.554 | 307.554 | 307.554
Total Region | 1429.9112 | 1478.2891 | 1547.8036 | 1590.6231 | 1622.5001 | 1641.9627 | 1970.1649 | 1970.3934 | 2002.8627 | 2042.6142 | 2083.1234 | 2127.221 | 2174.4875 | 2223.1965 | 2296.9225 | 2344.9911 | 2390.7042 | 2436.7082 | 2482.8869 | 2526.6075
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 5
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 5 Extreme-weather Net Concident Demand - High Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 15.0321 | 15.6951 | 43.6914 | 72.59 | 73.3318 | 74.0723 | 76.7086 | 77.4599 | 80.1255 | 82.3405 | 84.4026 | 87.4273 | 90.8531 | 94.2799 | 97.7066 | 101.1334 | 104.5571 | 107.9714 | 111.3872 | 114.7817
Beach TS (T5/T6) | 59.0021 | 61.7448 | 64.4549 | 66.1213 | 67.0171 | 67.9461 | 69.6653 | 70.6677 | 71.7654 | 74.1238 | 76.4853 | 78.8133 | 81.3699 | 83.9847 | 86.4742 | 89.0889 | 92.6528 | 95.1177 | 97.7111 | 100.2864
Birmingham (T3/T4) | 55.72 | 57.042 | 58.3934 | 59.7674 | 60.3059 | 59.8561 | 60.3247 | 60.8145 | 61.3717 | 61.0771 | 61.8206 | 62.4815 | 63.4702 | 64.3706 | 65.3593 | 66.2597 | 68.1489 | 69.1376 | 70.038 | 71.0267
Birmingham TS (T1/T2) | 10.7413 | 11.5705 | 13.3479 | 14.1506 | 15.0113 | 14.8242 | 15.608 | 16.4496 | 17.226 | 18.0609 | 18.8791 | 19.6924 | 20.5829 | 21.5716 | 23.4509 | 24.3416 | 25.2321 | 26.1221 | 27.0121 | 27.9011
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 229.6484 | 235.8611 | 242.3984 | 250.8645 | 260.9502 | 269.3766 | 277.055 | 290.4553 | 300.11 | 308.9133 | 316.968 | 325.8445 | 335.8748
Dundas TS (T1/T2) | 110.9111 | 112.4961 | 114.1895 | 115.6247 | 102.5657 | 103.8642 | 126.5452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 98.0741 | 102.6657 | 105.1068 | 107.5528 | 110.0359 | 111.719 | 116.7615 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 86.9891 | 94.6179 | 101.1858 | 103.6668 | 106.2886 | 107.0442 | 110.6256 | 111.3654 | 114.1817 | 117.5395 | 120.7097 | 124.002 | 128.717 | 134.1708 | 138.8877 | 143.4915 | 147.1879 | 151.8668 | 155.5394 | 160.0914
Gage TS (T11/T12) | 23.5069 | 25.7489 | 25.4992 | 25.275 | 25.0879 | 24.901 | 24.7109 | 25.3559 | 25.1795 | 25.0227 | 25.7698 | 25.6701 | 25.6701 | 26.5193 | 26.5193 | 26.5193 | 27.2926 | 27.2926 | 28.1417 | 28.1417
Gage TS (T8/T9) | 6.7162 | 6.6399 | 6.5733 | 6.5136 | 6.4637 | 6.4138 | 6.3631 | 6.3087 | 6.2617 | 6.2383 | 6.212 | 7.0354 | 7.0354 | 7.0354 | 7.0354 | 7.0354 | 7.0354 | 6.9596 | 7.8087 | 7.8087
Horning TS (T3/T4) | 63.3947 | 64.3205 | 65.2824 | 65.1976 | 66.0963 | 67.1068 | 68.9416 | 70.0595 | 72.0506 | 74.4479 | 77.0529 | 80.4259 | 83.0134 | 86.6372 | 89.1793 | 92.6859 | 95.333 | 98.7894 | 102.2512 | 104.8525
Kenilworth TS (T2/T3) | 29.8407 | 30.4708 | 33.1045 | 34.7274 | 36.3698 | 37.0336 | 39.6237 | 40.2201 | 42.7785 | 44.466 | 47.0344 | 49.6767 | 51.5027 | 54.2418 | 57.0743 | 59.9068 | 62.6459 | 65.4784 | 68.311 | 70.137
Lake TS (T1/T2) | 49.3139 | 50.3289 | 50.4022 | 51.3884 | 51.3834 | 52.4539 | 53.4317 | 54.5673 | 55.681 | 57.0655 | 59.4504 | 61.8481 | 64.4993 | 66.1737 | 68.6853 | 71.3422 | 73.9932 | 76.6255 | 79.2608 | 81.8778
Lake TS (T3/T4) | 44.0239 | 44.2179 | 44.4304 | 44.5894 | 44.8095 | 46.027 | 47.1521 | 48.4507 | 49.9288 | 52.355 | 53.874 | 56.3396 | 59.0739 | 61.7447 | 63.2945 | 65.9652 | 68.6312 | 71.2819 | 73.9349 | 76.5734
New Middleport TS | 0 | 0 | 0 | 0 | 118.2371 | 161.818 | 169.4656 | 176.9998 | 184.6935 | 193.0568 | 201.3992 | 209.7516 | 218.6511 | 227.5765 | 236.5512 | 245.5609 | 254.6242 | 263.6991 | 272.8177 | 281.9674
Mohawk TS (T1/T2) | 68.7877 | 69.446 | 70.1108 | 73.3764 | 74.0519 | 74.788 | 76.323 | 77.0709 | 78.9104 | 81.173 | 84.3227 | 86.5179 | 90.0952 | 93.4901 | 95.937 | 99.332 | 102.8484 | 105.2504 | 108.6056 | 112.0731
Nebo TS (T1/T2) | 188.5815 | 203.3917 | 219.6963 | 232.6822 | 191.2927 | 163.7535 | 175.7054 | 184.5588 | 194.2762 | 205.3258 | 214.9694 | 224.6951 | 234.7057 | 244.7703 | 254.9556 | 265.2514 | 275.4918 | 285.854 | 296.3227 | 306.8691
Nebo TS (T3/T4) | 56.1288 | 56.2257 | 58.4645 | 59.9594 | 60.0948 | 60.115 | 61.2165 | 61.5518 | 62.4193 | 63.5844 | 65.0607 | 66.6059 | 68.4715 | 70.2671 | 71.9697 | 73.8505 | 75.6227 | 77.3826 | 79.1844 | 80.8719
Newton TS (T1/T2) | 46.7789 | 53.7956 | 59.6364 | 65.2426 | 71.6379 | 71.8976 | 73.7275 | 74.4168 | 75.8866 | 77.6054 | 79.6543 | 81.8548 | 84.4208 | 87.0295 | 89.6855 | 92.404 | 95.0022 | 97.6001 | 100.2508 | 102.9275
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 270.433 | 268.1205 | 266.1205 | 265.1293 | 264.0105 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177
Stirton TS (T3/T4) | 52.1903 | 53.8216 | 56.0109 | 58.1301 | 58.8081 | 59.4352 | 61.0904 | 62.0716 | 63.6623 | 65.538 | 67.694 | 69.9584 | 72.6239 | 75.2538 | 77.9407 | 80.7073 | 83.3022 | 85.8986 | 88.5571 | 91.2493
Winona TS (T1/T2) | 46.092 | 47.3453 | 48.3647 | 49.5021 | 49.8001 | 50.5881 | 52.2941 | 53.5471 | 55.1673 | 57.0456 | 59.1343 | 61.2987 | 63.755 | 66.0453 | 68.5183 | 71.0769 | 73.4527 | 75.8423 | 78.2962 | 80.7993
Total CTS* Loads | 327.1699 | 336.3953 | 341.008 | 323.4938 | 280.2965 | 283.3716 | 283.3716 | 283.3716 | 283.3716 | 286.4467 | 286.4467 | 286.4467 | 287.9843 | 287.9843 | 309.0915 | 309.0915 | 309.0915 | 309.0915 | 309.0915 | 309.0915
Total Region | 1438.9952 | 1497.9799 | 1578.9532 | 1629.5515 | 1668.986 | 1699.0293 | 2040.0891 | 2053.0767 | 2096.9191 | 2150.0407 | 2205.2471 | 2264.4093 | 2328.7898 | 2393.1192 | 2481.6892 | 2548.0723 | 2613.9767 | 2677.1472 | 2743.2844 | 2808.1201
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 6
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 6 Extreme-weather Net Coincident Demand - Low Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 15.0321 | 14.74 | 41.7812 | 69.7247 | 69.5114 | 69.2968 | 70.023 | 69.8191 | 70.5746 | 71.8345 | 72.9415 | 75.0111 | 76.5267 | 78.0433 | 79.5598 | 82.0315 | 83.545 | 85.0492 | 86.5548 | 88.0391
Beach TS (T5/T6) | 58.047 | 59.8346 | 61.5896 | 63.256 | 63.1967 | 63.1707 | 63.9347 | 63.0269 | 64.1246 | 64.5729 | 65.9793 | 67.3522 | 67.9986 | 69.6583 | 71.1927 | 72.8523 | 73.5509 | 75.0608 | 75.744 | 77.3642
Birmingham (T3/T4) | 54.7313 | 55.0646 | 56.4159 | 56.8013 | 56.351 | 55.9013 | 55.3812 | 54.8822 | 54.4507 | 54.1561 | 53.9109 | 53.5831 | 54.5718 | 54.4835 | 54.4835 | 54.3952 | 54.3069 | 54.3069 | 55.2073 | 55.2073
Birmingham TS (T1/T2) | 10.7413 | 11.5705 | 12.3592 | 14.1506 | 14.0226 | 13.8354 | 14.6193 | 15.4609 | 15.2486 | 16.0834 | 16.9017 | 16.7262 | 17.6167 | 18.6054 | 18.5074 | 19.398 | 20.2885 | 21.1785 | 21.0798 | 21.9688
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202.5909 | 203.6448 | 205.0249 | 209.1243 | 214.7438 | 218.605 | 220.6281 | 229.2648 | 232.1759 | 235.1272 | 237.9301 | 240.5675 | 243.3712
Dundas TS (T1/T2) | 108.7271 | 107.9318 | 108.032 | 107.0824 | 95.1486 | 95.3733 | 115.2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 98.0741 | 99.54 | 101.0725 | 100.2919 | 100.6568 | 101.1285 | 102.7424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 85.9779 | 92.5954 | 98.1522 | 98.6108 | 100.2214 | 99.9658 | 100.5135 | 100.2421 | 102.0472 | 102.3714 | 104.5303 | 105.8003 | 108.4928 | 111.9242 | 114.6187 | 116.1889 | 117.8628 | 119.5081 | 121.1583 | 123.6879
Gage TS (T11/T12) | 23.5069 | 24.8997 | 24.65 | 24.4259 | 23.3897 | 23.2027 | 23.0126 | 22.8086 | 22.6321 | 22.4753 | 22.3733 | 22.2737 | 22.2737 | 22.2737 | 22.2737 | 22.2737 | 22.1978 | 22.1978 | 22.1978 | 21.3487
Gage TS (T8/T9) | 6.7162 | 5.7908 | 5.7242 | 5.6644 | 5.6146 | 5.5647 | 5.514 | 5.4596 | 5.4125 | 5.3892 | 5.3629 | 5.3372 | 5.3372 | 6.1863 | 6.1863 | 6.1863 | 6.1863 | 6.1105 | 6.1105 | 6.1105
Horning TS (T3/T4) | 62.4301 | 62.3913 | 62.3886 | 62.3038 | 62.2379 | 62.2838 | 63.154 | 63.3073 | 63.3692 | 64.802 | 66.4424 | 67.8861 | 69.509 | 71.2037 | 72.7811 | 74.3586 | 75.0765 | 76.6036 | 78.1363 | 79.773
Kenilworth TS (T2/T3) | 28.8342 | 30.4708 | 32.098 | 32.7143 | 34.3567 | 35.0206 | 35.5976 | 37.2006 | 37.746 | 39.4335 | 40.9953 | 42.6311 | 43.4506 | 45.1831 | 47.0091 | 48.8352 | 50.5677 | 51.3872 | 53.2132 | 55.0392
Lake TS (T1/T2) | 49.3139 | 48.3638 | 48.4371 | 48.4407 | 48.4357 | 48.5236 | 48.5189 | 48.6718 | 49.7856 | 50.1875 | 51.5898 | 52.0223 | 53.691 | 55.3654 | 55.9118 | 57.5862 | 59.2546 | 59.9218 | 60.5919 | 62.2264
Lake TS (T3/T4) | 43.0413 | 43.2353 | 42.4653 | 41.6417 | 41.8618 | 42.0967 | 43.2218 | 43.5379 | 44.0333 | 44.4944 | 46.0134 | 47.4965 | 48.2656 | 49.9538 | 50.521 | 52.2092 | 52.91 | 54.5782 | 55.2661 | 56.922
New Middleport TS | 0 | 0 | 0 | 0 | 103.7307 | 145.7595 | 151.936 | 157.8935 | 163.9573 | 170.6403 | 177.2473 | 183.8105 | 190.9346 | 198.0438 | 205.1558 | 212.2583 | 219.3637 | 226.431 | 233.494 | 240.5393
Mohawk TS (T1/T2) | 67.8396 | 67.5499 | 67.2666 | 69.5842 | 69.3116 | 68.1516 | 69.6866 | 69.4865 | 69.4298 | 70.7444 | 71.998 | 73.2451 | 74.9264 | 75.4771 | 76.976 | 78.4748 | 80.0951 | 81.5491 | 83.0082 | 83.6316
Nebo TS (T1/T2) | 184.2875 | 195.6451 | 208.2792 | 215.3842 | 163.8096 | 128.8224 | 131.8124 | 133.9956 | 136.6699 | 139.7579 | 143.2613 | 146.6673 | 150.4856 | 154.1845 | 157.8701 | 161.4711 | 165.014 | 168.6085 | 172.0122 | 175.4945
Nebo TS (T3/T4) | 55.4809 | 54.9079 | 56.4013 | 57.1091 | 56.4651 | 55.6926 | 55.9326 | 55.4212 | 55.3796 | 55.6145 | 56.1105 | 56.6331 | 57.4384 | 58.138 | 58.7073 | 59.4149 | 59.9976 | 60.535 | 61.0777 | 61.4699
Newton TS (T1/T2) | 46.1468 | 52.3527 | 57.2653 | 61.7946 | 66.8868 | 66.1082 | 66.7876 | 66.3601 | 66.6189 | 67.0994 | 67.837 | 68.6638 | 69.8021 | 70.9321 | 72.0562 | 73.1862 | 74.171 | 75.108 | 76.0456 | 76.9574
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 270.433 | 268.1205 | 266.1205 | 265.1293 | 264.0105 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177 | 262.9177
Stirton TS (T3/T4) | 51.5914 | 52.5685 | 54.0492 | 55.3914 | 55.2922 | 55.1129 | 55.8764 | 55.9696 | 56.5864 | 57.4462 | 58.5115 | 59.6265 | 61.083 | 62.4494 | 63.8146 | 65.1964 | 66.389 | 67.5335 | 68.6832 | 69.8105
Winona TS (T1/T2) | 45.5619 | 46.2471 | 46.6871 | 47.2065 | 46.847 | 46.9493 | 47.8945 | 48.3872 | 49.1696 | 50.1703 | 51.313 | 52.4784 | 53.8808 | 55.0672 | 56.3828 | 57.7257 | 58.8708 | 59.9845 | 61.11 | 62.2333
Total CTS* Loads | 327.1699 | 336.3953 | 339.4704 | 321.9562 | 278.7589 | 281.834 | 281.834 | 281.834 | 281.834 | 284.9091 | 284.9091 | 284.9091 | 286.4467 | 286.4467 | 307.554 | 307.554 | 307.554 | 307.554 | 307.554 | 307.554
Total Region | 1423.2513 | 1462.095 | 1524.5849 | 1553.5348 | 1556.1068 | 1563.7945 | 1873.6285 | 1864.4763 | 1878.8354 | 1902.3365 | 1931.3632 | 1959.8151 | 1994.254 | 2027.1654 | 2083.7442 | 2116.69 | 2145.2472 | 2174.054 | 2201.7301 | 2231.6663
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 7
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 7 Extreme-weather Net Non-coincident Demand - Reference Forecast - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 17.4865 | 18.303 | 49.9463 | 82.7988 | 83.8474 | 84.8947 | 85.9277 | 86.9857 | 89.1566 | 90.7233 | 93.2455 | 95.7754 | 98.7063 | 101.6382 | 104.57 | 107.5019 | 110.4308 | 113.3502 | 116.2711 | 119.1707
Beach TS (T5/T6) | 67.5582 | 70.9144 | 74.2382 | 76.3648 | 76.4589 | 76.5863 | 78.7656 | 78.9663 | 80.3708 | 82.081 | 83.7942 | 85.4739 | 88.4908 | 90.4572 | 93.4069 | 95.3734 | 97.3339 | 100.2591 | 102.2042 | 104.1312
Birmingham (T3/T4) | 62.5478 | 63.0009 | 64.5918 | 66.2055 | 65.7553 | 65.3055 | 65.8938 | 65.3949 | 64.9634 | 65.7773 | 65.5321 | 66.3128 | 66.3128 | 67.333 | 67.333 | 68.3532 | 69.3734 | 69.3734 | 70.3936 | 70.3936
Birmingham TS (T1/T2) | 12.0589 | 13.0079 | 15.0249 | 15.9474 | 15.8194 | 16.7407 | 17.6444 | 17.4973 | 18.3935 | 19.3481 | 20.2862 | 21.2192 | 22.2295 | 22.2295 | 23.2399 | 24.2503 | 25.2606 | 26.2704 | 27.2802 | 28.289
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 254.1544 | 259.964 | 263.9956 | 269.8653 | 279.4671 | 285.314 | 292.2224 | 302.9589 | 309.8689 | 315.7123 | 321.5076 | 328.3469 | 334.2538
Dundas TS (T1/T2) | 124.4058 | 125.3109 | 125.1157 | 125.8711 | 113.355 | 114.1934 | 140.9951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 100.5463 | 103.3721 | 105.2766 | 106.0875 | 108.0439 | 109.1094 | 111.2063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 94.5394 | 103.0437 | 109.2815 | 112.1517 | 114.0542 | 113.8958 | 116.8552 | 117.7896 | 119.8865 | 121.4165 | 124.9758 | 127.5488 | 130.5332 | 136.3762 | 139.3625 | 143.3443 | 146.3214 | 149.2697 | 152.2229 | 156.1529
Gage TS (T11/T12) | 30.7694 | 32.681 | 32.4313 | 32.2072 | 32.0201 | 31.8331 | 31.643 | 31.439 | 31.2625 | 32.2142 | 32.1122 | 32.0126 | 32.0126 | 32.0126 | 32.0126 | 32.0126 | 33.0452 | 33.0452 | 33.0452 | 33.0452
Gage TS (T8/T9) | 8.7913 | 8.7149 | 8.6484 | 8.5886 | 8.5387 | 8.4888 | 8.4381 | 8.3837 | 8.3367 | 8.3133 | 8.287 | 8.2613 | 8.2613 | 8.2613 | 8.2613 | 8.2613 | 8.2613 | 9.294 | 9.294 | 9.294
Horning TS (T3/T4) | 71.9276 | 73.1412 | 73.2825 | 73.3415 | 74.5281 | 74.7179 | 76.9844 | 77.2816 | 79.7043 | 81.4249 | 83.3531 | 86.1932 | 89.2124 | 91.1949 | 94.1686 | 97.1423 | 99.1127 | 102.0361 | 104.9651 | 106.8896
Kenilworth TS (T2/T3) | 32.9002 | 33.6322 | 35.4634 | 37.2902 | 39.1366 | 39.9024 | 41.6899 | 42.3883 | 44.1442 | 46.0357 | 48.9099 | 50.7497 | 52.7797 | 55.8247 | 57.8547 | 59.8847 | 62.9296 | 64.9596 | 66.9896 | 69.0196
Lake TS (T1/T2) | 55.7361 | 55.8945 | 56.0937 | 56.2232 | 57.4527 | 57.6665 | 58.8962 | 59.1751 | 60.5407 | 62.177 | 63.8312 | 65.4981 | 67.4186 | 69.3449 | 72.2343 | 74.1605 | 76.0808 | 77.9824 | 79.8869 | 81.7732
Lake TS (T3/T4) | 49.8164 | 49.0279 | 49.3664 | 49.6512 | 49.9973 | 50.3581 | 51.7351 | 52.1771 | 53.9069 | 55.6024 | 57.3733 | 59.1082 | 61.1118 | 63.0519 | 65.962 | 67.902 | 69.8372 | 71.7572 | 73.6796 | 75.5873
New Middleport TS | 0 | 0 | 0 | 0 | 135.7841 | 187.039 | 195.7875 | 204.336 | 213.0214 | 222.3446 | 231.6223 | 240.8815 | 250.6432 | 260.4032 | 270.1893 | 279.9847 | 289.8115 | 299.6235 | 309.4513 | 319.2815
Mohawk TS (T1/T2) | 80.6606 | 80.5313 | 81.517 | 84.4764 | 84.3642 | 84.3127 | 86.3291 | 87.3979 | 88.6102 | 90.2456 | 92.9287 | 95.6051 | 97.6073 | 100.5355 | 103.4637 | 106.3919 | 108.3332 | 111.2165 | 114.105 | 115.9973
Nebo TS (T1/T2) | 210.6346 | 225.7927 | 242.3895 | 256.4331 | 211.3137 | 178.3369 | 190.0442 | 197.9994 | 206.8788 | 217.027 | 225.4275 | 233.8437 | 242.5432 | 251.1279 | 259.8158 | 268.4303 | 277.0645 | 285.6514 | 294.152 | 302.8462
Nebo TS (T3/T4) | 65.8606 | 65.7542 | 68.1372 | 69.6379 | 69.5097 | 69.2254 | 70.1672 | 70.1962 | 70.8097 | 71.6929 | 72.8933 | 74.1514 | 75.712 | 77.1814 | 78.5377 | 80.0525 | 81.4272 | 82.768 | 84.1306 | 85.3578
Newton TS (T1/T2) | 53.3308 | 61.0509 | 67.3726 | 73.3709 | 80.1572 | 79.9963 | 81.5811 | 81.8426 | 82.9422 | 84.2527 | 85.8946 | 87.6699 | 89.7838 | 91.9104 | 94.0548 | 96.2327 | 98.2506 | 100.2379 | 102.2486 | 104.2547
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 358.6208 | 356.3084 | 354.3084 | 353.3172 | 352.1983 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055
Stirton TS (T3/T4) | 55.9702 | 57.4462 | 59.494 | 61.4369 | 61.8131 | 62.1134 | 63.479 | 64.1017 | 65.3331 | 66.8223 | 68.5708 | 70.3991 | 72.5983 | 74.7306 | 76.888 | 79.0922 | 81.0957 | 83.0699 | 85.0743 | 87.0799
Winona TS (T1/T2) | 54.1946 | 55.4311 | 56.3777 | 57.4498 | 57.6161 | 58.2435 | 59.912 | 60.9916 | 62.4898 | 64.2197 | 66.1641 | 68.1636 | 70.4323 | 72.5071 | 74.7381 | 77.0293 | 79.0918 | 81.1394 | 83.2248 | 85.3318
Total CTS* Loads | 411.55 | 423.55 | 427.55 | 405.55 | 351.25 | 355.25 | 355.25 | 355.25 | 355.25 | 359.25 | 359.25 | 359.25 | 361.25 | 361.25 | 388 | 388 | 388 | 388 | 388 | 388
Total Region | 1661.2854 | 1719.6012 | 1801.5987 | 1851.0836 | 1890.8154 | 1918.21 | 2347.8457 | 2370.0566 | 2410.2737 | 2458.2812 | 2506.5155 | 2558.6902 | 2614.0583 | 2670.6981 | 2758.1575 | 2814.3746 | 2867.879 | 2921.9171 | 2976.0713 | 3027.2548
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 8
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 8 Extreme-weather Net Non-concident Demand - High Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 17.4865 | 18.303 | 51.0548 | 85.0158 | 86.0644 | 87.1117 | 90.3617 | 91.4197 | 94.699 | 97.3743 | 99.8965 | 103.5349 | 107.5743 | 111.6147 | 115.655 | 119.6954 | 123.7327 | 127.7607 | 131.7901 | 135.7982
Beach TS (T5/T6) | 68.6667 | 72.0229 | 75.3467 | 77.4733 | 78.6759 | 79.9118 | 82.0911 | 83.4003 | 84.8048 | 87.6235 | 90.4452 | 93.2334 | 96.2502 | 99.3252 | 102.2749 | 105.3499 | 109.5274 | 112.4525 | 115.5061 | 118.5417
Birmingham (T3/T4) | 62.5478 | 64.1094 | 65.7003 | 67.314 | 67.9722 | 67.5225 | 68.1108 | 68.7204 | 69.3974 | 69.1028 | 69.9661 | 70.7468 | 71.8553 | 72.8755 | 73.984 | 75.0042 | 77.1329 | 78.2414 | 79.2616 | 80.3701
Birmingham TS (T1/T2) | 12.0589 | 13.0079 | 15.0249 | 15.9474 | 16.9279 | 16.7407 | 17.6444 | 18.6058 | 19.502 | 20.4566 | 21.3947 | 22.3277 | 23.338 | 24.4465 | 26.5654 | 27.5758 | 28.5861 | 29.5959 | 30.6057 | 31.6145
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 273.7565 | 281.3791 | 289.3261 | 299.4401 | 310.9547 | 321.0384 | 330.1848 | 345.2617 | 356.841 | 367.3501 | 376.9206 | 387.5314 | 399.534
Dundas TS (T1/T2) | 126.8445 | 128.8581 | 130.9907 | 132.8546 | 118.6277 | 120.2927 | 149.0257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 100.5463 | 105.2565 | 107.8262 | 110.4106 | 113.0322 | 114.8736 | 120.0742 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 95.6479 | 104.1522 | 111.4985 | 114.3687 | 117.3797 | 118.3298 | 122.3976 | 123.332 | 126.5375 | 130.2844 | 133.8438 | 137.5253 | 142.7267 | 148.5697 | 153.773 | 158.8633 | 162.9488 | 168.1142 | 172.1759 | 177.2144
Gage TS (T11/T12) | 30.7694 | 33.7895 | 33.5398 | 33.3157 | 33.1286 | 32.9416 | 32.7515 | 33.656 | 33.4795 | 33.3227 | 34.3292 | 34.2296 | 34.2296 | 35.3381 | 35.3381 | 35.3381 | 36.3707 | 36.3707 | 37.4792 | 37.4792
Gage TS (T8/T9) | 8.7913 | 8.7149 | 8.6484 | 8.5886 | 8.5387 | 8.4888 | 8.4381 | 8.3837 | 8.3367 | 8.3133 | 8.287 | 9.3698 | 9.3698 | 9.3698 | 9.3698 | 9.3698 | 9.3698 | 9.294 | 10.4025 | 10.4025
Horning TS (T3/T4) | 73.0361 | 74.2497 | 75.4995 | 75.5585 | 76.7451 | 78.0434 | 80.3099 | 81.7156 | 84.1383 | 86.9674 | 90.0041 | 93.9527 | 96.9718 | 101.1713 | 104.1451 | 108.2273 | 111.3061 | 115.3381 | 119.3756 | 122.4085
Kenilworth TS (T2/T3) | 32.9002 | 33.6322 | 36.5719 | 38.3987 | 40.2451 | 41.0109 | 43.9069 | 44.6053 | 47.4697 | 49.3611 | 52.2354 | 55.1837 | 57.2137 | 60.2587 | 63.3972 | 66.5356 | 69.5806 | 72.7191 | 75.8576 | 77.8876
Lake TS (T1/T2) | 55.7361 | 57.003 | 57.2022 | 58.4402 | 58.5612 | 59.8835 | 61.1132 | 62.5006 | 63.8662 | 65.5025 | 68.2652 | 71.0406 | 74.0696 | 75.9959 | 78.8852 | 81.92 | 84.9487 | 87.9588 | 90.9719 | 93.9667
Lake TS (T3/T4) | 49.8164 | 50.1364 | 50.4749 | 50.7597 | 51.1058 | 52.5751 | 53.9521 | 55.5026 | 57.2324 | 60.0364 | 61.8073 | 64.6507 | 67.7628 | 70.8114 | 72.6129 | 75.6615 | 78.7052 | 81.7337 | 84.7645 | 87.7808
New Middleport TS | 0 | 0 | 0 | 0 | 140.2822 | 192.287 | 201.6743 | 210.961 | 220.4185 | 230.5488 | 240.6693 | 250.8076 | 261.443 | 272.1071 | 282.8295 | 293.5933 | 304.4226 | 315.2712 | 326.1707 | 337.1086
Mohawk TS (T1/T2) | 80.6606 | 81.6398 | 82.6255 | 86.6934 | 87.6897 | 88.7467 | 90.7631 | 91.8319 | 94.1527 | 96.8966 | 100.6882 | 103.3646 | 107.5837 | 111.6205 | 114.5487 | 118.5854 | 122.7436 | 125.627 | 129.624 | 133.7333
Nebo TS (T1/T2) | 213.7193 | 230.7735 | 249.5018 | 264.1466 | 217.8948 | 187.0944 | 200.8817 | 211.1498 | 222.4133 | 235.0957 | 246.2006 | 257.4096 | 268.8318 | 280.3291 | 291.9647 | 303.7392 | 315.4351 | 327.2719 | 339.2416 | 351.2907
Nebo TS (T3/T4) | 66.2416 | 66.5312 | 69.3571 | 71.3279 | 71.668 | 71.8627 | 73.327 | 73.8728 | 75.0436 | 76.4999 | 78.3069 | 80.2005 | 82.423 | 84.5799 | 86.6501 | 88.9071 | 91.0382 | 93.1598 | 95.33 | 97.3915
Newton TS (T1/T2) | 53.6927 | 61.8794 | 68.7378 | 75.3617 | 82.9081 | 83.3582 | 85.6223 | 86.5476 | 88.3699 | 90.423 | 92.8548 | 95.4611 | 98.4425 | 101.4716 | 104.5553 | 107.7113 | 110.7276 | 113.7472 | 116.8271 | 119.9395
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 358.6208 | 356.3084 | 354.3084 | 353.3172 | 352.1983 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055
Stirton TS (T3/T4) | 56.2927 | 58.123 | 60.5566 | 62.9244 | 63.7282 | 64.4746 | 66.3353 | 67.454 | 69.2316 | 71.2932 | 73.6586 | 76.14 | 79.029 | 81.8854 | 84.8034 | 87.8079 | 90.6258 | 93.4469 | 96.335 | 99.2608
Winona TS (T1/T2) | 54.5071 | 56.0803 | 57.3722 | 58.8144 | 59.3766 | 60.419 | 62.5497 | 64.094 | 66.1063 | 68.3771 | 70.9069 | 73.5273 | 76.4537 | 79.2205 | 82.18 | 85.2396 | 88.0839 | 90.9456 | 93.8819 | 96.8764
Total CTS* Loads | 411.55 | 423.55 | 429.55 | 407.55 | 353.25 | 357.25 | 357.25 | 357.25 | 357.25 | 361.25 | 361.25 | 361.25 | 363.25 | 363.25 | 390 | 390 | 390 | 390 | 390 | 390
Total Region | 1671.5121 | 1741.8131 | 1837.0797 | 1895.2641 | 1943.802 | 1983.2188 | 2427.2015 | 2465.0682 | 2518.137 | 2581.3728 | 2646.6483 | 2716.0161 | 2790.9626 | 2865.5309 | 2969.8995 | 3047.0712 | 3123.7414 | 3197.0748 | 3274.2378 | 3349.7044
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 9
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 9 Extreme-weather Net Non-coincident Demand - Low Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 17.4865 | 17.1945 | 48.8378 | 81.6903 | 81.6305 | 81.5692 | 82.6022 | 82.5517 | 83.6141 | 85.1808 | 86.5945 | 89.1244 | 90.9468 | 92.7702 | 94.5936 | 97.5254 | 99.3458 | 101.1567 | 102.9692 | 104.7603
Beach TS (T5/T6) | 67.5582 | 69.8059 | 72.0212 | 74.1478 | 74.2419 | 74.3693 | 75.4401 | 74.5323 | 75.9368 | 76.5385 | 78.2517 | 79.9314 | 80.7313 | 82.6977 | 84.5389 | 86.5054 | 87.3574 | 89.1741 | 90.0107 | 91.9377
Birmingham (T3/T4) | 61.4393 | 61.8924 | 63.4833 | 63.9885 | 63.5383 | 63.0885 | 62.5684 | 62.0694 | 61.6379 | 61.3433 | 61.0981 | 60.7703 | 61.8788 | 61.7905 | 61.7905 | 61.7022 | 61.6139 | 61.6139 | 62.6341 | 62.6341
Birmingham TS (T1/T2) | 12.0589 | 13.0079 | 13.9164 | 15.9474 | 15.8194 | 15.6322 | 16.5359 | 17.4973 | 17.285 | 18.2396 | 19.1777 | 19.0022 | 20.0125 | 21.121 | 21.0229 | 22.0333 | 23.0436 | 24.0534 | 23.9547 | 24.9635
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 242.4706 | 244.0345 | 245.9245 | 250.981 | 257.329 | 262.1373 | 264.6798 | 274.2634 | 277.9126 | 281.6019 | 285.1432 | 288.5092 | 292.0513
Dundas TS (T1/T2) | 124.4319 | 123.6907 | 124.0633 | 123.1673 | 110.1834 | 110.6623 | 135.9936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 100.5463 | 102.0419 | 103.6139 | 102.8729 | 103.2774 | 103.7886 | 105.4421 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 94.5394 | 101.9352 | 108.173 | 108.8262 | 110.7287 | 110.5703 | 111.3127 | 111.1386 | 113.2355 | 113.657 | 116.1078 | 117.5723 | 120.5567 | 124.1827 | 127.169 | 128.9338 | 130.8024 | 132.6422 | 134.487 | 137.3084
Gage TS (T11/T12) | 30.7694 | 32.681 | 32.4313 | 32.2072 | 30.9116 | 30.7246 | 30.5345 | 30.3305 | 30.154 | 29.9972 | 29.8952 | 29.7956 | 29.7956 | 29.7956 | 29.7956 | 29.7956 | 29.7197 | 29.7197 | 29.7197 | 28.6112
Gage TS (T8/T9) | 8.7913 | 7.6064 | 7.5399 | 7.4801 | 7.4302 | 7.3803 | 7.3296 | 7.2752 | 7.2282 | 7.2048 | 7.1785 | 7.1528 | 7.1528 | 8.2613 | 8.2613 | 8.2613 | 8.2613 | 8.1855 | 8.1855 | 8.1855
Horning TS (T3/T4) | 71.9276 | 72.0327 | 72.174 | 72.2331 | 72.3111 | 72.5009 | 73.6589 | 73.9561 | 74.1618 | 75.8824 | 77.8106 | 79.5422 | 81.4529 | 83.4354 | 85.3006 | 87.1659 | 88.0277 | 89.8426 | 91.6631 | 93.5876
Kenilworth TS (T2/T3) | 31.7917 | 33.6322 | 35.4634 | 36.1817 | 38.0281 | 38.7939 | 39.4729 | 41.2798 | 41.9272 | 43.8187 | 45.5844 | 47.4242 | 48.3457 | 50.2822 | 52.3122 | 54.3422 | 56.2786 | 57.2001 | 59.2301 | 61.2601
Lake TS (T1/T2) | 55.7361 | 54.786 | 54.9852 | 55.1147 | 55.2357 | 55.4495 | 55.5707 | 55.8496 | 57.2152 | 57.7431 | 59.3972 | 59.9557 | 61.8761 | 63.8024 | 64.4748 | 66.401 | 68.3213 | 69.1144 | 69.9104 | 71.7967
Lake TS (T3/T4) | 48.7079 | 49.0279 | 48.2579 | 47.4342 | 47.7803 | 48.1411 | 49.5181 | 49.9601 | 50.5814 | 51.1684 | 52.9393 | 54.6742 | 55.5693 | 57.5094 | 58.2025 | 60.1425 | 60.9692 | 62.8893 | 63.7031 | 65.6108
New Middleport TS | 0 | 0 | 0 | 0 | 123.2241 | 173.4037 | 181.0613 | 188.494 | 196.0348 | 204.1892 | 212.2691 | 220.3034 | 228.8511 | 237.3795 | 245.9116 | 254.4327 | 262.9596 | 271.4475 | 279.9299 | 288.3931
Mohawk TS (T1/T2) | 79.5521 | 79.4228 | 79.3 | 82.2594 | 82.1472 | 80.9872 | 83.0036 | 82.9639 | 83.0677 | 84.7031 | 86.2777 | 87.8456 | 89.8478 | 90.559 | 92.3787 | 94.1984 | 96.1397 | 97.9145 | 99.6945 | 100.4783
Nebo TS (T1/T2) | 208.8802 | 222.035 | 236.6188 | 244.6415 | 186.9432 | 147.7631 | 151.4708 | 154.227 | 157.5572 | 161.2761 | 165.4544 | 169.5334 | 173.9658 | 178.2769 | 182.574 | 186.7889 | 190.9213 | 195.1142 | 199.1045 | 203.173
Nebo TS (T3/T4) | 65.4796 | 64.9816 | 66.931 | 67.9762 | 67.3998 | 66.6624 | 67.1136 | 66.6639 | 66.7656 | 67.128 | 67.7823 | 68.4735 | 69.4491 | 70.3172 | 71.0547 | 71.9322 | 72.6645 | 73.3486 | 74.0382 | 74.5766
Newton TS (T1/T2) | 52.9689 | 60.2272 | 66.0227 | 71.4136 | 77.468 | 76.729 | 77.6758 | 77.3223 | 77.758 | 78.3932 | 79.3234 | 80.3568 | 81.7035 | 83.0395 | 84.369 | 85.706 | 86.8749 | 87.9927 | 89.1111 | 90.2026
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 358.6208 | 356.3084 | 354.3084 | 353.3172 | 352.1983 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055 | 351.1055
Stirton TS (T3/T4) | 55.6476 | 56.7731 | 58.4434 | 59.9743 | 59.9409 | 59.8186 | 60.7188 | 60.881 | 61.6094 | 62.5767 | 63.7672 | 65.0104 | 66.5971 | 68.0924 | 69.5868 | 71.0994 | 72.4068 | 73.6639 | 74.9268 | 76.1669
Winona TS (T1/T2) | 53.8821 | 54.7856 | 55.3945 | 56.1081 | 55.8951 | 56.1293 | 57.363 | 58.011 | 59.0356 | 60.2718 | 61.6864 | 63.129 | 64.813 | 66.2784 | 67.8735 | 69.4999 | 70.8934 | 72.2508 | 73.6212 | 74.9889
Total CTS* Loads | 411.55 | 423.55 | 427.55 | 405.55 | 351.25 | 355.25 | 355.25 | 355.25 | 355.25 | 359.25 | 359.25 | 359.25 | 361.25 | 361.25 | 388 | 388 | 388 | 388 | 388 | 388
Total Region | 1653.7452 | 1701.1102 | 1775.2209 | 1809.2143 | 1815.3845 | 1829.414 | 2238.2574 | 2249.0325 | 2268.3983 | 2297.8036 | 2333.0251 | 2367.2818 | 2408.0386 | 2446.6265 | 2514.579 | 2553.4843 | 2587.3085 | 2621.573 | 2654.5083 | 2689.7923
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 10
The starting points used to develop the IRRP planning forecast were based off of the historical weather-corrected gross non-coincident demand (MW).
Transformer Station | Table 10 Historical Weather-Corrected Gross Non-Coincident Demand (MW) - Summer
| 2021 | 2022 | 2023 | 2024 | 2025
Beach TS (T3/T4) | 14.921 | 14.6852 | 14.9377 | 15.6073 | 14.6812
Beach TS (T5/T6) | 58.9353 | 58.0316 | 58.9994 | 61.5653 | 58.0165
Birmingham (T3/T4) | 57.7403 | 56.6853 | 53.0191 | 57.6598 | 51.7624
Birmingham TS (T1/T2) | 10.6447 | 10.4503 | 9.7746 | 10.6299 | 9.543
Dundas TS (T1/T2) - LDC1* | 25.802 | 25.2191 | 24.1505 | 25.2501 | 24.8151
Dundas TS (T1/T2) - LDC2 | 79.5199 | 78.7081 | 76.5942 | 77.7413 | 66.2845
Dundas TS 2 (T5/T6) - LDC1 | 47.6105 | 48.7836 | 49.8977 | 51.756 | 63.0136
Dundas TS 2 (T5/T6) - LDC2 | 0.065867 | 0.065867 | 0.065867 | 0.065867 | 0.065867
Elgin TS (T5/T6) | 77.6058 | 77.1422 | 74.1235 | 77.2168 | 80.32
Gage TS (T11/T12) | 7.9763 | 7.4634 | 7.6283 | 7.3018 | 7.5154
Gage TS (T8/T9) | 27.1162 | 25.3726 | 25.9331 | 24.8231 | 25.5494
Horning TS (T3/T4) | 63.8683 | 62.4035 | 61.7917 | 64.4114 | 63.5025
Kenilworth TS (T2/T3) | 40.9227 | 39.5643 | 25.7037 | 28.3733 | 27.5877
Lake TS (T1/T2) | 50.6306 | 52.7885 | 46.5254 | 46.2793 | 49.2173
Lake TS (T3/T4) | 46.0905 | 48.0484 | 42.3655 | 42.1422 | 44.808
Mohawk TS (T1/T2) | 74.3136 | 71.5474 | 69.0405 | 71.5366 | 69.8336
Nebo TS (T1/T2) - LDC1 | 32.4079 | 32.0025 | 32.1748 | 33.527 | 30.7893
Nebo TS (T1/T2) - LDC2 | 83.3558 | 82.9595 | 85.5809 | 90.5573 | 88.6956
Nebo TS (T3/T4) | 59.5827 | 58.837 | 59.154 | 61.6407 | 56.6059
Newton TS (T1/T2) | 43.0196 | 45.7677 | 43.4299 | 45.1508 | 43.8428
Stirton TS (T3/T4) | 51.1146 | 51.1356 | 48.2641 | 48.6683 | 45.7557
Winona TS (T1/T2) | 46.4231 | 44.3859 | 47.166 | 53.0193 | 46.2528
Total CTS** Loads | 273.067 | 263.585 | 283.135 | 279.126 | 288
*LDC is the abbreviation of: Local Distribution Company
**CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.