## Menu
Hamilton Area Addendum to the Burlington to Nanticoke Integrated Regional Resource Plan - Data Tables July 2026 - Winter
Table 2: IRRP eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 3: Effective DG Contribution to Coincident Peak
Table 4: Extreme-weather Net Coincident Demand - Reference Forecast
Table 5: Extreme-weather Net Concident Demand - High Growth Scenario
Table 6: Extreme-weather Net Coincident Demand - Low Growth Scenario
Table 7: Extreme-weather Net Non-coincident Demand - Reference Forecast
Table 8: Extreme-weather Net Non-concident Demand - High Growth Scenario
Table 9: Extreme-weather Net Non-coincident Demand - Low Growth Scenario
Table 10: Historical Weather-Corrected Gross Coincident Demand
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 2
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 2 IRRP eDSM Forecast (MW) - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 0.18255 | 0.39239 | 1.5012 | 3.2377 | 4.1352 | 5.0612 | 6.0308 | 7.0177 | 8.0372 | 8.6494 | 9.523 | 10.3149 | 10.779 | 11.3641 | 11.9419 | 12.4128 | 12.7629 | 13.2425 | 13.721 | 14.0959
Beach TS (T5/T6) | 0.61697 | 1.3424 | 2.1633 | 3.1443 | 4.0661 | 5.0134 | 6.0746 | 7.0393 | 8.0191 | 8.686 | 9.4924 | 10.2147 | 10.8728 | 11.4304 | 11.9837 | 12.4395 | 12.8926 | 13.3639 | 13.8322 | 14.2031
Birmingham (T3/T4) | 0.64627 | 1.3194 | 1.9178 | 2.5402 | 2.9795 | 3.4451 | 3.9092 | 4.3933 | 4.8808 | 5.0815 | 5.4117 | 5.7564 | 5.8463 | 5.9363 | 6.0262 | 6.1162 | 6.2061 | 6.2061 | 6.296 | 6.386
Birmingham TS (T1/T2) | 0.1351 | 0.29142 | 0.48897 | 0.67749 | 0.85596 | 1.0419 | 1.2387 | 1.4671 | 1.7699 | 1.9282 | 2.1072 | 2.3913 | 2.5832 | 2.68 | 2.872 | 2.9688 | 3.1609 | 3.2582 | 3.3555 | 3.4534
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.5922 | 16.619 | 17.8545 | 19.2814 | 20.831 | 22.1225 | 23.4176 | 24.8214 | 25.8933 | 26.9329 | 28.0153 | 29.0773 | 30.1612
Dundas TS (T1/T2) | 0.59951 | 1.2771 | 1.9762 | 2.9658 | 3.4246 | 4.293 | 6.2964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 0.51761 | 1.1496 | 1.8287 | 2.8831 | 3.9199 | 5.0563 | 6.2194 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 0.959 | 2.1947 | 3.6081 | 5.3245 | 7.1254 | 8.9213 | 10.9708 | 13.0249 | 15.0698 | 16.542 | 18.4252 | 20.3869 | 21.7741 | 23.381 | 24.9879 | 26.0894 | 26.982 | 28.0106 | 29.0324 | 30.0728
Gage TS (T11/T4) | 0.32738 | 0.68745 | 0.98169 | 1.2563 | 1.4735 | 1.6753 | 1.8699 | 2.1014 | 2.297 | 2.3914 | 2.5064 | 2.6244 | 2.6244 | 2.7064 | 2.7064 | 2.7064 | 2.7064 | 2.7064 | 2.7064 | 2.7064
Gage TS (T8/T9) | 0.098213 | 0.21483 | 0.30678 | 0.43184 | 0.55255 | 0.62825 | 0.75964 | 0.91937 | 1.0049 | 1.121 | 1.2532 | 1.3942 | 1.4762 | 1.5582 | 1.7222 | 1.7222 | 1.8043 | 1.8863 | 1.9683 | 1.9683
Horning TS (T3/T4) | 0.47485 | 1.0537 | 1.6879 | 2.6016 | 3.4959 | 4.5019 | 5.641 | 6.6924 | 7.7675 | 8.5366 | 9.4355 | 10.4607 | 11.2726 | 12.0886 | 13.0101 | 13.6505 | 14.1993 | 14.7692 | 15.4339 | 16.0092
Kenilworth TS (T2/T3) | 0.42535 | 0.90914 | 1.4349 | 2.0111 | 2.564 | 3.1485 | 3.7744 | 4.5343 | 5.276 | 5.9091 | 6.6293 | 7.4894 | 7.9461 | 8.5854 | 9.1334 | 9.5901 | 9.9554 | 10.3208 | 10.7774 | 11.1428
Lake TS (T1/T2) | 0.51102 | 1.0627 | 1.6183 | 2.3332 | 3.0365 | 3.6798 | 4.5126 | 5.129 | 5.8934 | 6.3158 | 6.8759 | 7.4497 | 7.8324 | 8.2204 | 8.6051 | 8.8733 | 9.1392 | 9.4189 | 9.6959 | 10.108
Lake TS (T3/T4) | 0.46668 | 1.0232 | 1.5918 | 2.3868 | 3.149 | 4.0326 | 4.9855 | 5.9595 | 7.0052 | 7.6867 | 8.6402 | 9.5095 | 10.2438 | 10.9848 | 11.8437 | 12.3508 | 12.977 | 13.5002 | 14.0207 | 14.553
New Middleport TS | 0 | 0 | 0 | 0 | 6.8628 | 10.979 | 13.0387 | 15.3663 | 17.5607 | 19.0647 | 20.7607 | 22.5462 | 23.4688 | 24.3912 | 25.3201 | 26.2598 | 27.2098 | 28.1715 | 29.1303 | 30.0954
Mohawk TS (T1/T2) | 0.56526 | 1.2174 | 1.9088 | 2.8885 | 3.8455 | 4.8509 | 5.9837 | 6.9234 | 7.9664 | 8.6989 | 9.5657 | 10.457 | 11.1054 | 11.866 | 12.6263 | 13.0832 | 13.6482 | 14.1275 | 14.709 | 15.196
Nebo TS (T1/T2) | 1.4373 | 3.2573 | 5.3332 | 7.6275 | 7.0562 | 6.4252 | 8.2612 | 10.1331 | 12.0131 | 13.6174 | 15.3147 | 17.0192 | 18.1459 | 19.3671 | 20.5052 | 21.5563 | 22.5264 | 23.5991 | 24.573 | 25.5601
Nebo TS (T3/T4) | 0.46263 | 0.98762 | 1.6048 | 2.3811 | 3.1003 | 3.831 | 4.6561 | 5.3609 | 6.0891 | 6.4685 | 7.0726 | 7.5843 | 8.0284 | 8.3678 | 8.816 | 9.166 | 9.518 | 9.7746 | 10.1372 | 10.3978
Newton TS (T1/T2) | 0.51225 | 1.2479 | 2.1679 | 3.4311 | 4.8776 | 6.1354 | 7.5772 | 8.9415 | 10.3422 | 11.3327 | 12.551 | 13.8385 | 14.8124 | 15.8661 | 16.99 | 17.6788 | 18.3478 | 19.0427 | 19.7357 | 20.4458
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 19.8674 | 22.3276 | 24.4053 | 25.4088 | 26.6303 | 27.884 | 27.884 | 27.884 | 27.884 | 27.884 | 27.884 | 27.884 | 27.884 | 27.884
Stirton TS (T3/T4) | 0.53782 | 1.2027 | 2.0087 | 3.095 | 4.2115 | 5.4012 | 6.7573 | 8.0683 | 9.4301 | 10.4366 | 11.6693 | 12.9672 | 13.9944 | 15.106 | 16.291 | 17.0228 | 17.7283 | 18.4613 | 19.1938 | 19.9458
Winona TS (T1/T2) | 0.3421 | 0.74037 | 1.1754 | 1.7799 | 2.4305 | 3.1221 | 3.9027 | 4.6338 | 5.3934 | 5.9817 | 6.6876 | 7.4032 | 8.0164 | 8.6584 | 9.2817 | 9.6871 | 10.0686 | 10.4571 | 10.8518 | 11.2567
Total Region | 9.8179 | 21.5714 | 35.3044 | 52.9972 | 73.1625 | 91.2433 | 132.3273 | 154.6251 | 176.8401 | 191.7113 | 209.8334 | 228.5226 | 240.8291 | 253.8597 | 267.3684 | 277.1514 | 286.6499 | 296.2161 | 306.1317 | 315.6415

## Table 3
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 3 Effective DG Contribution to Coincident Peak (MW) - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Beach TS (T5/T6) | 1.504 | 1.504 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Birmingham (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Birmingham TS (T1/T2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS (T1/T2) | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 7.8866 | 4.8476 | 4.8476 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 1.8612 | 0 | 0 | 0 | 0 | 0 | 0
Gage TS (T11/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gage TS (T8/T9) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Horning TS (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kenilworth TS (T2/T3) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lake TS (T1/T2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lake TS (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Middleport TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mohawk TS (T1/T2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nebo TS (T1/T2) | 3.008 | 3.008 | 3.008 | 3.008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Nebo TS (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Newton TS (T1/T2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Stirton TS (T3/T4) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Winona TS (T1/T2) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Region | 14.2598 | 14.2598 | 12.7558 | 12.7558 | 9.7478 | 9.7478 | 9.7478 | 9.7478 | 9.7478 | 9.7478 | 9.7478 | 9.7478 | 9.7478 | 6.7088 | 4.8476 | 0 | 0 | 0 | 0 | 0

## Table 4
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 4 Extreme-weather Net Coincident Demand - Reference Forecast (MW) - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 12.7896 | 13.5064 | 34.6356 | 55.1372 | 57.0194 | 58.8732 | 60.6833 | 62.4762 | 65.163 | 67.3306 | 71.0899 | 74.0043 | 77.2466 | 81.2945 | 85.3495 | 88.585 | 91.0146 | 94.2414 | 97.4692 | 99.8741
Beach TS (T5/T6) | 46.0615 | 50.5464 | 54.3584 | 57.0837 | 58.9417 | 60.7742 | 63.4193 | 65.2343 | 67.9609 | 71.0003 | 74.8268 | 77.8109 | 82.7123 | 86.7877 | 90.8673 | 94.1178 | 97.3711 | 100.6061 | 103.8442 | 106.253
Birmingham (T3/T4) | 48.9835 | 50.1485 | 50.4692 | 51.6849 | 51.2457 | 51.6991 | 52.1541 | 51.67 | 52.1016 | 51.9009 | 52.4898 | 53.0641 | 53.8932 | 54.7224 | 55.5515 | 56.3806 | 57.2098 | 57.2098 | 58.0389 | 58.868
Birmingham TS (T1/T2) | 9.9747 | 10.7374 | 12.378 | 13.1086 | 13.8492 | 14.5823 | 15.3045 | 15.9953 | 17.5306 | 18.2914 | 19.0314 | 20.5855 | 22.2317 | 23.054 | 24.7001 | 25.5224 | 27.1684 | 27.9902 | 28.812 | 29.6331
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 178.9817 | 189.2324 | 199.4808 | 211.2268 | 223.8439 | 240.6525 | 254.5186 | 274.018 | 284.5341 | 294.1896 | 303.8966 | 313.6241 | 323.4288
Dundas TS 1 (T1/T2) | 60.1596 | 62.1925 | 65.0976 | 66.8184 | 59.1684 | 61.5923 | 79.8623 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 67.0645 | 72.2751 | 77.637 | 83.7923 | 88.8958 | 95.0683 | 101.1148 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 73.5229 | 82.7844 | 91.8682 | 98.7404 | 106.4824 | 112.3208 | 119.8142 | 126.3487 | 133.8467 | 141.9174 | 152.44 | 162.884 | 173.9026 | 188.4712 | 201.1787 | 209.6201 | 216.3617 | 223.9218 | 231.4886 | 239.0367
Gage TS (T11/T12) | 28.6435 | 30.2148 | 29.9206 | 29.646 | 29.4288 | 29.2269 | 29.0324 | 28.8008 | 28.6053 | 28.5108 | 28.3959 | 28.2779 | 28.2779 | 29.1616 | 29.1616 | 29.1616 | 29.1616 | 29.1616 | 29.1616 | 29.1616
Gage TS (T8/T9) | 8.593 | 9.4421 | 9.3502 | 10.1908 | 11.0358 | 10.9601 | 11.7944 | 12.6004 | 12.5148 | 13.3645 | 14.1979 | 15.0226 | 15.9063 | 16.79 | 18.5574 | 18.5574 | 19.441 | 20.3247 | 21.2084 | 21.2084
Horning TS (T3/T4) | 43.2575 | 46.566 | 49.8191 | 53.7645 | 56.7576 | 60.6107 | 65.3026 | 69.1104 | 73.8662 | 78.9281 | 84.832 | 91.5815 | 98.5442 | 105.5028 | 113.3278 | 118.5184 | 122.8288 | 127.118 | 132.2843 | 136.5682
Kenilworth TS (T2/T3) | 35.9068 | 38.5372 | 42.1637 | 45.7397 | 49.3391 | 52.9068 | 56.4332 | 59.8255 | 63.2361 | 67.7933 | 72.2634 | 77.6316 | 82.3653 | 88.9924 | 94.6727 | 99.4064 | 103.1933 | 106.9802 | 111.7138 | 115.5007
Lake TS (T1/T2) | 37.7447 | 38.1997 | 38.6509 | 39.9494 | 41.2595 | 41.623 | 43.8103 | 44.2007 | 46.4565 | 48.0476 | 50.5076 | 52.954 | 55.5915 | 58.2237 | 60.8591 | 62.6044 | 64.352 | 66.0857 | 67.8222 | 70.4303
Lake TS (T3/T4) | 34.7688 | 37.2325 | 38.6773 | 41.9092 | 44.1672 | 47.3106 | 50.3846 | 53.4375 | 57.4254 | 60.7708 | 65.8577 | 70.022 | 75.3281 | 80.6274 | 86.8157 | 90.3355 | 94.743 | 98.2466 | 101.7531 | 105.2476
New Middleport TS | 0 | 0 | 0 | 0 | 123.8949 | 170.631 | 178.6307 | 186.3497 | 194.2399 | 202.8077 | 211.219 | 219.5552 | 228.4533 | 237.3408 | 246.2479 | 255.1535 | 264.0904 | 273.032 | 281.9882 | 290.9499
Mohawk TS (T1/T2) | 48.1821 | 50.4547 | 52.6882 | 56.5833 | 59.526 | 62.4204 | 66.1624 | 68.1475 | 71.9793 | 76.1215 | 81.1043 | 86.0628 | 91.264 | 97.3281 | 103.3923 | 106.8352 | 111.1449 | 114.5655 | 118.8587 | 122.2715
Nebo TS (T1/T2) | 117.9707 | 133.5381 | 150.6809 | 165.7301 | 127.1801 | 99.7181 | 113.0147 | 122.7041 | 132.6771 | 144.6387 | 155.5754 | 165.4804 | 176.3706 | 188.1706 | 199.124 | 209.1397 | 218.3068 | 228.3741 | 237.5142 | 246.7309
Nebo TS (T3/T4) | 40.1178 | 41.6218 | 45.0626 | 47.3299 | 48.6397 | 49.938 | 52.1564 | 53.4807 | 55.7959 | 57.4456 | 60.8995 | 63.4314 | 67.0453 | 69.7494 | 73.3593 | 76.0528 | 78.7444 | 80.5167 | 83.1977 | 84.9661
Newton TS (T1/T2) | 41.0706 | 48.8434 | 56.7491 | 64.5353 | 73.1083 | 76.8598 | 81.8228 | 85.8001 | 90.906 | 96.2665 | 102.99 | 109.8891 | 117.4674 | 125.6038 | 134.3072 | 139.4176 | 144.3667 | 149.2969 | 154.2583 | 159.2159
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 308.469 | 306.0088 | 303.9312 | 302.9277 | 301.7061 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524
Stirton TS (T3/T4) | 41.4859 | 45.1524 | 50.1956 | 55.2606 | 59.6146 | 63.6462 | 68.408 | 72.5739 | 77.6905 | 83.0978 | 89.822 | 96.6834 | 104.1904 | 112.2461 | 120.8652 | 125.973 | 130.8907 | 135.7861 | 140.718 | 145.6483
Winona TS (T1/T2) | 34.5453 | 36.9404 | 39.8007 | 42.7946 | 45.8118 | 48.6521 | 52.1487 | 55.1428 | 58.8522 | 62.7074 | 67.4358 | 72.2837 | 77.4761 | 83.0182 | 88.967 | 92.8025 | 96.4572 | 100.1052 | 103.7794 | 107.4615
Total CTS* Loads | 308.4295 | 324.0736 | 326.681 | 309.0791 | 267.2859 | 269.8932 | 269.8932 | 269.8932 | 269.8932 | 272.5006 | 272.5006 | 273.8043 | 273.8043 | 275.1079 | 294.4708 | 294.4708 | 294.4708 | 294.4708 | 294.4708 | 294.4708
Total Region | 1139.2724 | 1223.0075 | 1316.8838 | 1388.878 | 1472.6518 | 1539.307 | 1939.816 | 1988.7824 | 2063.9047 | 2145.8499 | 2240.412 | 2335.3249 | 2443.176 | 2557.1635 | 2696.2456 | 2777.6412 | 2855.9591 | 2932.3825 | 3012.458 | 3087.3779
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 5
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 5 Extreme-weather Net Concident Demand - High Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 12.7896 | 13.5064 | 34.6356 | 56.0638 | 57.946 | 59.7997 | 62.5365 | 64.3294 | 67.9428 | 71.037 | 73.8697 | 77.7107 | 81.8795 | 85.9274 | 89.9825 | 93.218 | 96.5741 | 99.8009 | 103.0288 | 106.3602
Beach TS (T5/T6) | 46.0615 | 50.5464 | 54.3584 | 58.0103 | 59.8683 | 62.6273 | 66.199 | 68.9407 | 72.5938 | 76.5598 | 80.3864 | 85.2236 | 89.1984 | 94.2004 | 100.1332 | 103.3836 | 106.6369 | 109.872 | 113.11 | 116.4455
Birmingham (T3/T4) | 48.9835 | 50.1485 | 50.4692 | 51.6849 | 52.1648 | 51.6991 | 52.1541 | 52.5891 | 53.0206 | 52.82 | 53.4088 | 53.9832 | 54.8123 | 56.5605 | 57.3896 | 57.2997 | 58.1288 | 59.0479 | 59.877 | 60.7061
Birmingham TS (T1/T2) | 9.9747 | 10.7374 | 12.378 | 14.0276 | 14.7682 | 15.5013 | 16.2236 | 16.9143 | 18.4497 | 19.2104 | 20.8696 | 22.4236 | 24.0698 | 24.8921 | 26.5382 | 28.2796 | 29.0066 | 30.7474 | 31.5692 | 32.3903
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202.096 | 216.6509 | 231.101 | 247.3431 | 263.46 | 284.7582 | 302.4153 | 327.3905 | 340.1021 | 353.7373 | 366.7256 | 379.7309 | 392.9095
Dundas TS 1 (T1/T2) | 62.1905 | 65.1465 | 69.067 | 72.6047 | 64.4236 | 68.4296 | 87.3847 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 67.0645 | 72.9698 | 79.9965 | 87.8165 | 95.654 | 103.5905 | 112.5695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 73.5229 | 82.7844 | 93.7768 | 101.6032 | 111.2538 | 119.9551 | 129.3571 | 138.7545 | 150.0696 | 161.9575 | 174.3886 | 187.6955 | 200.6227 | 218.0541 | 233.6245 | 242.0659 | 250.7162 | 259.2305 | 267.7515 | 276.254
Gage TS (T11/T12) | 28.6435 | 30.2148 | 29.9206 | 29.646 | 29.4288 | 29.2269 | 29.0324 | 28.8008 | 28.6053 | 28.5108 | 28.3959 | 28.2779 | 28.2779 | 29.1616 | 29.1616 | 29.1616 | 29.1616 | 29.1616 | 29.1616 | 29.1616
Gage TS (T8/T9) | 8.593 | 9.4421 | 9.3502 | 10.1908 | 11.0358 | 11.9258 | 12.7601 | 13.5661 | 14.4462 | 15.2958 | 16.1293 | 17.9197 | 18.8034 | 19.6871 | 21.4544 | 22.4201 | 23.3038 | 24.1875 | 24.1055 | 25.0712
Horning TS (T3/T4) | 43.2575 | 46.566 | 50.791 | 54.7363 | 59.6731 | 64.498 | 70.1618 | 75.9132 | 82.6127 | 89.6183 | 96.494 | 104.2152 | 112.1498 | 121.0521 | 129.8489 | 135.0395 | 140.3217 | 145.5828 | 150.7491 | 156.0048
Kenilworth TS (T2/T3) | 35.9068 | 38.5372 | 43.2017 | 46.7778 | 51.4152 | 54.9829 | 59.5474 | 63.9777 | 69.4644 | 75.0597 | 80.5679 | 86.9742 | 92.7459 | 99.373 | 107.1295 | 111.8631 | 115.65 | 120.475 | 125.2086 | 130.0336
Lake TS (T1/T2) | 38.7514 | 41.2199 | 44.6912 | 48.0032 | 51.3268 | 55.7172 | 59.918 | 64.3353 | 69.6112 | 75.2292 | 80.7095 | 87.1827 | 92.8404 | 100.5063 | 107.1686 | 111.9341 | 116.7018 | 120.4491 | 125.2057 | 128.8205
Lake TS (T3/T4) | 34.7688 | 37.2325 | 39.684 | 42.916 | 46.1807 | 50.3308 | 54.4115 | 58.4711 | 63.4658 | 68.8247 | 73.9115 | 80.0893 | 86.4022 | 92.7082 | 99.9032 | 103.423 | 107.8304 | 112.3408 | 115.8473 | 120.3486
New Middleport TS | 0 | 0 | 0 | 0 | 128.0117 | 175.434 | 184.0183 | 192.413 | 201.0099 | 210.3162 | 219.499 | 228.6397 | 238.3375 | 248.0523 | 257.8164 | 267.6082 | 277.4626 | 287.353 | 297.29 | 307.2654
Mohawk TS (T1/T2) | 48.1821 | 50.4547 | 52.6882 | 57.5582 | 61.4759 | 64.3703 | 69.0872 | 73.0222 | 77.8289 | 83.9211 | 88.9039 | 94.8373 | 101.0135 | 108.0525 | 115.0917 | 119.5095 | 123.8193 | 127.2398 | 131.533 | 135.9208
Nebo TS (T1/T2) | 120.514 | 137.5056 | 156.2761 | 172.5432 | 133.5835 | 107.7415 | 123.5418 | 135.954 | 149.6905 | 164.5224 | 177.4381 | 191.4042 | 204.2362 | 219.1418 | 233.2066 | 245.4859 | 257.8285 | 269.1913 | 281.8304 | 294.415
Nebo TS (T3/T4) | 41.1323 | 41.6218 | 45.0626 | 47.3299 | 49.6542 | 51.967 | 54.1854 | 56.5242 | 58.8395 | 62.5181 | 65.9721 | 68.5039 | 73.1324 | 76.851 | 80.4608 | 83.1544 | 85.8459 | 88.6328 | 91.3138 | 93.0822
Newton TS (T1/T2) | 41.1157 | 49.0962 | 57.574 | 66.3335 | 76.3088 | 81.6351 | 88.4435 | 94.3273 | 101.8338 | 109.6727 | 117.8974 | 126.2811 | 135.3936 | 145.1844 | 155.6641 | 161.5208 | 167.1895 | 172.8271 | 178.4859 | 184.1408
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 308.469 | 306.0088 | 303.9312 | 302.9277 | 301.7061 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524
Stirton TS (T3/T4) | 41.5305 | 45.4033 | 51.0146 | 57.0466 | 62.7929 | 68.3873 | 74.9796 | 81.0362 | 88.532 | 96.3953 | 104.6059 | 112.9405 | 121.9697 | 131.6665 | 142.0471 | 147.9001 | 153.5368 | 159.139 | 164.7677 | 170.3947
Winona TS (T1/T2) | 34.5718 | 37.0894 | 40.2871 | 43.8552 | 47.6993 | 51.4675 | 56.0509 | 60.1673 | 65.2889 | 70.6018 | 76.2122 | 81.9347 | 88.031 | 94.5474 | 101.5419 | 105.8207 | 109.9032 | 113.9717 | 118.0603 | 122.1569
Total CTS* Loads | 308.4295 | 324.0736 | 327.9846 | 310.3828 | 268.5896 | 271.1969 | 271.1969 | 271.1969 | 271.1969 | 273.8043 | 273.8043 | 275.1079 | 275.1079 | 276.4116 | 295.7745 | 295.7745 | 295.7745 | 295.7745 | 295.7745 | 295.7745
Total Region | 1145.984 | 1234.2965 | 1343.2075 | 1429.1306 | 1533.2551 | 1620.484 | 2042.2283 | 2119.3383 | 2225.0846 | 2339.9037 | 2452.5131 | 2575.2575 | 2704.2346 | 2844.8979 | 3011.7802 | 3105.4168 | 3199.582 | 3292.2025 | 3384.8531 | 3478.1085
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 6
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 6 Extreme-weather Net Coincident Demand - Low Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 12.7896 | 13.5064 | 33.709 | 54.2106 | 55.1663 | 57.02 | 58.8302 | 59.6965 | 61.4567 | 63.6243 | 65.5304 | 68.4448 | 71.6871 | 73.8818 | 77.0103 | 79.3192 | 81.7488 | 84.0489 | 85.4236 | 87.8285
Beach TS (T5/T6) | 46.0615 | 50.5464 | 53.4318 | 55.2306 | 57.0885 | 58.921 | 60.6395 | 62.4546 | 64.2545 | 66.3674 | 69.2673 | 72.2514 | 76.2262 | 79.375 | 83.4546 | 85.7785 | 87.1787 | 89.4871 | 91.7986 | 93.2808
Birmingham (T3/T4) | 48.9835 | 49.2295 | 49.5502 | 50.7658 | 50.3266 | 49.861 | 49.3969 | 48.9128 | 49.3444 | 49.1437 | 48.8135 | 49.3878 | 50.217 | 50.127 | 50.9561 | 50.8662 | 50.7763 | 51.6953 | 51.6054 | 51.5154
Birmingham TS (T1/T2) | 9.9747 | 10.7374 | 12.378 | 13.1086 | 13.8492 | 14.5823 | 15.3045 | 15.9953 | 16.6115 | 17.3723 | 18.1124 | 18.7473 | 20.3935 | 21.2158 | 22.8619 | 23.6843 | 24.4112 | 25.233 | 26.0548 | 26.8759
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 168.9915 | 175.7372 | 184.1671 | 194.2913 | 203.2991 | 217.3905 | 229.4315 | 245.2177 | 253.0118 | 259.9438 | 266.8379 | 272.7595 | 278.7584
Dundas TS 1 (T1/T2) | 60.1596 | 61.7445 | 63.3057 | 65.4682 | 56.5348 | 58.6593 | 75.7343 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 67.0645 | 71.0073 | 77.1408 | 80.7605 | 86.5364 | 91.1434 | 96.7928 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 72.5686 | 81.8302 | 90.914 | 96.8318 | 103.6195 | 108.5036 | 115.0427 | 119.6687 | 126.2124 | 133.3288 | 141.9428 | 150.4783 | 160.5426 | 172.2483 | 183.0472 | 189.58 | 194.4131 | 200.0645 | 204.7685 | 210.4081
Gage TS (T11/T12) | 28.6435 | 30.2148 | 28.9549 | 28.6803 | 28.4631 | 28.2612 | 28.0667 | 27.8351 | 26.6739 | 26.5794 | 26.4645 | 26.3465 | 26.3465 | 26.2645 | 26.2645 | 26.2645 | 26.2645 | 26.2645 | 26.2645 | 26.2645
Gage TS (T8/T9) | 8.593 | 9.4421 | 9.3502 | 10.1908 | 10.0701 | 10.9601 | 10.8287 | 11.6347 | 12.5148 | 12.3988 | 13.2322 | 14.0569 | 14.9406 | 15.8243 | 16.626 | 17.5917 | 17.5096 | 18.3933 | 18.3113 | 19.277
Horning TS (T3/T4) | 43.2575 | 45.5942 | 48.8473 | 51.8208 | 55.7857 | 58.6671 | 62.3871 | 66.1949 | 69.9789 | 74.069 | 79.9728 | 84.7786 | 90.7695 | 96.7563 | 102.6376 | 106.8565 | 110.195 | 113.5124 | 116.735 | 121.0189
Kenilworth TS (T2/T3) | 35.9068 | 38.5372 | 41.1256 | 44.7016 | 47.2629 | 50.8307 | 53.319 | 56.7113 | 60.1219 | 63.641 | 68.1111 | 71.4033 | 76.1369 | 81.7259 | 86.3683 | 90.0638 | 92.8127 | 95.5615 | 99.2571 | 102.0059
Lake TS (T1/T2) | 36.7379 | 37.193 | 38.6509 | 38.9427 | 39.2461 | 40.6163 | 41.7969 | 42.1872 | 43.4363 | 45.0274 | 46.4807 | 48.9271 | 50.5579 | 53.19 | 54.8187 | 56.564 | 58.3116 | 59.0386 | 60.7751 | 61.3697
Lake TS (T3/T4) | 34.7688 | 36.2258 | 38.6773 | 40.9025 | 43.1605 | 45.2971 | 48.3711 | 50.4173 | 53.3985 | 56.7439 | 60.824 | 64.9883 | 69.2878 | 74.5871 | 78.7619 | 82.2817 | 84.6757 | 87.1726 | 89.6724 | 92.1602
New Middleport TS | 0 | 0 | 0 | 0 | 112.3999 | 158.1518 | 165.153 | 171.8509 | 178.6936 | 186.1916 | 193.5068 | 200.7219 | 208.509 | 216.2692 | 224.0287 | 231.768 | 239.5152 | 247.2451 | 254.9699 | 262.6805
Mohawk TS (T1/T2) | 47.2071 | 49.4798 | 51.7133 | 55.6083 | 57.5761 | 59.4956 | 63.2375 | 65.2227 | 68.0795 | 71.2468 | 75.2546 | 79.2381 | 84.4394 | 88.5536 | 93.6429 | 97.0858 | 99.4456 | 101.8912 | 105.2094 | 107.6473
Nebo TS (T1/T2) | 115.6337 | 129.6752 | 145.292 | 155.153 | 105.428 | 71.6157 | 76.9507 | 82.253 | 87.5504 | 93.0251 | 99.5265 | 105.9256 | 113.3934 | 119.7532 | 127.2058 | 131.7033 | 137.292 | 142.8802 | 147.4516 | 153.0247
Nebo TS (T3/T4) | 40.1178 | 41.6218 | 44.0481 | 46.3154 | 47.6252 | 47.909 | 50.1274 | 51.4517 | 52.7524 | 54.4021 | 56.8415 | 59.3733 | 61.9728 | 64.6769 | 67.2722 | 68.9512 | 70.6283 | 72.4006 | 73.0526 | 74.821
Newton TS (T1/T2) | 40.8429 | 48.295 | 55.7935 | 63.0728 | 71.0056 | 74.1666 | 78.4463 | 81.7055 | 85.986 | 90.4602 | 96.1439 | 101.9055 | 108.2374 | 114.9939 | 122.1749 | 125.9894 | 129.6002 | 133.1362 | 136.6459 | 140.0959
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 308.469 | 306.0088 | 303.9312 | 302.9277 | 301.7061 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524 | 300.4524
Stirton TS (T3/T4) | 41.2557 | 44.645 | 49.3489 | 54.0049 | 57.8937 | 61.4056 | 65.5691 | 69.0887 | 73.457 | 78.0506 | 83.8084 | 89.6082 | 95.9438 | 102.695 | 109.8668 | 113.7501 | 117.4033 | 120.9783 | 124.5311 | 128.0254
Winona TS (T1/T2) | 34.3543 | 36.5279 | 39.1361 | 41.8354 | 44.511 | 46.972 | 50.0317 | 52.5593 | 55.7303 | 59.0008 | 63.0438 | 67.1418 | 71.5108 | 76.1427 | 81.0886 | 84.042 | 86.7899 | 89.4912 | 92.1759 | 94.8272
Total CTS* Loads | 308.4295 | 324.0736 | 326.681 | 309.0791 | 267.2859 | 269.8932 | 269.8932 | 269.8932 | 269.8932 | 272.5006 | 272.5006 | 273.8043 | 273.8043 | 275.1079 | 294.4708 | 294.4708 | 294.4708 | 294.4708 | 294.4708 | 294.4708
Total Region | 1133.3506 | 1210.127 | 1298.0484 | 1356.6837 | 1410.835 | 1462.9325 | 1844.3885 | 1880.7337 | 1935.8145 | 2000.2685 | 2075.3753 | 2151.2806 | 2242.7592 | 2333.2725 | 2448.2279 | 2510.0751 | 2563.8385 | 2620.2558 | 2672.3853 | 2726.8086
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 7
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 7 Extreme-weather Net Non-coincident Demand - Reference Forecast - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 14.7873 | 15.6468 | 40.2006 | 64.1268 | 66.4371 | 68.7189 | 70.9571 | 73.1781 | 76.4357 | 79.0313 | 83.5041 | 86.9893 | 90.8023 | 95.5637 | 100.3322 | 104.1384 | 106.9961 | 110.7936 | 114.5923 | 117.4252
Beach TS (T5/T6) | 53.4814 | 58.5371 | 63.0626 | 66.3587 | 68.6448 | 70.9053 | 74.1212 | 76.3643 | 79.6616 | 83.2718 | 87.8118 | 91.3666 | 97.1242 | 101.913 | 106.7061 | 110.5273 | 114.3514 | 118.1572 | 121.966 | 124.8029
Birmingham (T3/T4) | 57.0947 | 58.5601 | 59.031 | 60.5471 | 60.1079 | 60.7116 | 61.3167 | 60.8327 | 61.4144 | 61.2137 | 61.9528 | 62.6774 | 63.6567 | 64.636 | 65.6154 | 66.5947 | 67.574 | 67.574 | 68.5534 | 69.5327
Birmingham TS (T1/T2) | 11.627 | 12.5399 | 14.4809 | 15.3617 | 16.2525 | 17.1358 | 18.0083 | 18.8492 | 20.685 | 21.5959 | 22.4862 | 24.3406 | 26.2872 | 27.2598 | 29.2063 | 30.1788 | 32.1253 | 33.0972 | 34.0692 | 35.0406
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 209.2624 | 221.7404 | 234.0483 | 248.1974 | 263.4009 | 282.9716 | 299.6075 | 322.0524 | 334.636 | 346.1835 | 357.7899 | 369.4166 | 381.1284
Dundas TS 1 (T1/T2) | 71.7097 | 74.2399 | 77.8179 | 80.0361 | 71.3839 | 74.4314 | 96.6613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 68.9854 | 74.2345 | 79.6502 | 85.8669 | 91.0319 | 97.2735 | 103.3815 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 82.722 | 93.2483 | 103.597 | 111.504 | 120.3959 | 127.1542 | 135.7975 | 143.367 | 152.0148 | 161.2354 | 173.2528 | 185.1917 | 197.7051 | 213.9985 | 228.4308 | 238.0221 | 245.6837 | 254.2786 | 262.8803 | 271.4633
Gage TS (T11/T12) | 31.7509 | 33.5294 | 33.2352 | 32.9606 | 32.7434 | 32.5415 | 32.347 | 32.1154 | 31.9199 | 31.8255 | 31.7105 | 31.5925 | 31.5925 | 32.5798 | 32.5798 | 32.5798 | 32.5798 | 32.5798 | 32.5798 | 32.5798
Gage TS (T8/T9) | 9.5253 | 10.4779 | 10.386 | 11.3302 | 12.2788 | 12.2031 | 13.141 | 14.0505 | 13.965 | 14.9182 | 15.8552 | 16.7835 | 17.7708 | 18.758 | 20.7326 | 20.7326 | 21.7198 | 22.7071 | 23.6944 | 23.6944
Horning TS (T3/T4) | 47.6426 | 51.3409 | 54.9838 | 59.4164 | 62.7993 | 67.1397 | 72.4162 | 76.7112 | 82.0517 | 87.6984 | 94.2843 | 101.8134 | 109.5557 | 117.2939 | 125.9959 | 131.7712 | 136.5688 | 141.3453 | 147.0962 | 151.8673
Kenilworth TS (T2/T3) | 36.9993 | 39.7234 | 43.4747 | 47.1756 | 50.8998 | 54.5925 | 58.2437 | 61.7609 | 65.2963 | 70.0096 | 74.6358 | 80.1913 | 85.081 | 91.9266 | 97.7943 | 102.684 | 106.5958 | 110.5076 | 115.3973 | 119.309
Lake TS (T1/T2) | 40.1215 | 40.6391 | 41.1528 | 42.5765 | 44.0117 | 44.4377 | 46.8127 | 47.2656 | 49.709 | 51.4252 | 54.0729 | 56.7069 | 59.5321 | 62.3519 | 65.175 | 67.0453 | 68.918 | 70.7769 | 72.6384 | 75.4342
Lake TS (T3/T4) | 36.958 | 39.6093 | 41.1792 | 44.6614 | 47.107 | 50.5006 | 53.8248 | 57.1279 | 61.4285 | 65.0241 | 70.4863 | 74.9633 | 80.6448 | 86.3194 | 92.9455 | 96.7155 | 101.4357 | 105.1895 | 108.9462 | 112.6909
New Middleport TS | 0 | 0 | 0 | 0 | 130.9538 | 180.435 | 188.9778 | 197.2392 | 205.6738 | 214.7852 | 223.7422 | 232.6248 | 242.0531 | 251.4701 | 260.9083 | 270.3453 | 279.816 | 289.2922 | 298.7837 | 308.2812
Mohawk TS (T1/T2) | 52.8986 | 55.4542 | 57.9707 | 62.3374 | 65.6575 | 68.9292 | 73.1428 | 75.4109 | 79.7143 | 84.3282 | 89.877 | 95.4015 | 101.1687 | 107.8931 | 114.6176 | 118.4379 | 123.2192 | 127.0171 | 131.7819 | 135.5721
Nebo TS (T1/T2) | 124.2957 | 140.7603 | 158.8938 | 174.6842 | 134.1471 | 105.2585 | 119.3401 | 129.629 | 140.2163 | 152.8829 | 164.4797 | 174.9895 | 186.5084 | 198.9913 | 210.5772 | 221.17 | 230.8638 | 241.5121 | 251.1777 | 260.9246
Nebo TS (T3/T4) | 42.3085 | 43.922 | 47.5819 | 50.0135 | 51.4329 | 52.8407 | 55.2234 | 56.6572 | 59.1368 | 60.8959 | 64.5689 | 67.2651 | 71.0981 | 73.9665 | 77.7954 | 80.6532 | 83.5091 | 85.391 | 88.2363 | 90.1142
Newton TS (T1/T2) | 44.6669 | 53.1755 | 61.8445 | 70.4134 | 79.8529 | 84.0376 | 89.5546 | 93.9938 | 99.6624 | 105.5722 | 112.9826 | 120.5897 | 128.9077 | 137.8388 | 147.3922 | 153.0041 | 158.439 | 163.8557 | 169.3062 | 174.754
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 343.6868 | 341.2266 | 339.149 | 338.1455 | 336.9239 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702
Stirton TS (T3/T4) | 47.2096 | 51.4662 | 57.306 | 63.2089 | 68.3079 | 73.0507 | 78.6458 | 83.5577 | 89.5567 | 95.8376 | 103.6455 | 111.6183 | 120.2876 | 129.5919 | 139.5464 | 145.4495 | 151.1331 | 156.7952 | 162.4987 | 168.2029
Winona TS (T1/T2) | 40.1634 | 43.0084 | 46.3993 | 49.9726 | 53.5805 | 56.9895 | 61.175 | 64.7689 | 69.198 | 73.7688 | 79.3723 | 85.1161 | 91.2435 | 97.7813 | 104.7885 | 109.307 | 113.6117 | 117.9097 | 122.239 | 126.5793
Total CTS* Loads | 405.05 | 429.05 | 433.05 | 410.55 | 356.25 | 360.25 | 360.25 | 360.25 | 360.25 | 364.25 | 364.25 | 366.25 | 366.25 | 368.25 | 393 | 393 | 393 | 393 | 393 | 393
Total Region | 1319.9978 | 1419.1633 | 1525.2982 | 1603.102 | 1684.2764 | 1759.537 | 2207.0252 | 2273.6184 | 2358.8795 | 2451.7636 | 2558.0923 | 2665.5426 | 2785.9112 | 2913.6614 | 3071.8619 | 3162.663 | 3249.994 | 3335.2399 | 3424.5237 | 3508.0673
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 8
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 8 Extreme-weather Net Non-concident Demand - High Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 14.7873 | 15.6468 | 40.2006 | 65.196 | 67.5064 | 69.7882 | 73.0957 | 75.3167 | 79.6435 | 83.3084 | 86.712 | 91.2664 | 96.1487 | 100.91 | 105.6786 | 109.4848 | 113.4118 | 117.2093 | 121.0079 | 124.9101
Beach TS (T5/T6) | 53.4814 | 58.5371 | 63.0626 | 67.428 | 69.714 | 73.0438 | 77.329 | 80.6414 | 85.008 | 89.6875 | 94.2275 | 99.9209 | 104.6091 | 110.4672 | 117.3989 | 121.2201 | 125.0442 | 128.85 | 132.6588 | 136.565
Birmingham (T3/T4) | 57.0947 | 58.5601 | 59.031 | 60.5471 | 61.1772 | 60.7116 | 61.3167 | 61.9019 | 62.4837 | 62.283 | 63.0221 | 63.7466 | 64.726 | 66.7746 | 67.7539 | 67.664 | 68.6433 | 69.7126 | 70.6919 | 71.6712
Birmingham TS (T1/T2) | 11.627 | 12.5399 | 14.4809 | 16.4309 | 17.3217 | 18.2051 | 19.0775 | 19.9185 | 21.7542 | 22.6652 | 24.6248 | 26.4792 | 28.4258 | 29.3983 | 31.3448 | 33.3867 | 34.2638 | 36.305 | 37.2771 | 38.2484
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 235.6558 | 253.0905 | 270.2446 | 289.5571 | 308.7442 | 333.4712 | 354.4044 | 383.1747 | 398.1238 | 414.172 | 429.42 | 444.6848 | 460.138
Dundas TS 1 (T1/T2) | 74.0621 | 77.6616 | 82.4158 | 86.7726 | 77.5394 | 82.4534 | 105.477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 68.9854 | 74.983 | 82.1095 | 90.0371 | 97.9822 | 106.0416 | 115.1435 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 82.722 | 93.2483 | 105.7356 | 114.7119 | 125.7423 | 135.7085 | 146.4903 | 157.2676 | 170.1925 | 183.6902 | 197.8462 | 212.9929 | 227.6449 | 247.1461 | 264.7862 | 274.3775 | 284.1776 | 293.8418 | 303.5128 | 313.1652
Gage TS (T11/T12) | 31.7509 | 33.5294 | 33.2352 | 32.9606 | 32.7434 | 32.5415 | 32.347 | 32.1154 | 31.9199 | 31.8255 | 31.7105 | 31.5925 | 31.5925 | 32.5798 | 32.5798 | 32.5798 | 32.5798 | 32.5798 | 32.5798 | 32.5798
Gage TS (T8/T9) | 9.5253 | 10.4779 | 10.386 | 11.3302 | 12.2788 | 13.2723 | 14.2102 | 15.1198 | 16.1035 | 17.0567 | 17.9938 | 19.9913 | 20.9786 | 21.9659 | 23.9404 | 25.0097 | 25.9969 | 26.9842 | 26.9022 | 27.9715
Horning TS (T3/T4) | 47.6426 | 51.3409 | 56.0531 | 60.4857 | 66.0071 | 71.4168 | 77.7626 | 84.1962 | 91.6752 | 99.4604 | 107.1157 | 115.714 | 124.5256 | 134.4023 | 144.1736 | 149.9489 | 155.8158 | 161.6615 | 167.4125 | 173.2529
Kenilworth TS (T2/T3) | 36.9993 | 39.7234 | 44.544 | 48.2449 | 53.0384 | 56.731 | 61.4515 | 66.038 | 71.7119 | 77.4945 | 83.19 | 89.8148 | 95.7738 | 102.6194 | 110.6256 | 115.5153 | 119.4271 | 124.4082 | 129.2979 | 134.2789
Lake TS (T1/T2) | 41.1908 | 43.847 | 47.5685 | 51.1307 | 54.7044 | 59.4076 | 63.9211 | 68.6511 | 74.3024 | 80.2957 | 86.1512 | 93.0623 | 99.0953 | 107.2615 | 114.3617 | 119.4399 | 124.5204 | 128.5179 | 133.5872 | 137.4523
Lake TS (T3/T4) | 36.958 | 39.6093 | 42.2485 | 45.7307 | 49.2456 | 53.7084 | 58.1019 | 62.4742 | 67.8442 | 73.5784 | 79.0405 | 85.6561 | 92.4068 | 99.1507 | 106.8461 | 110.6161 | 115.3363 | 120.1594 | 123.9161 | 128.7301
New Middleport TS | 0 | 0 | 0 | 0 | 135.2928 | 185.4973 | 194.6562 | 203.6298 | 212.8092 | 222.6992 | 232.4692 | 242.1998 | 252.4708 | 262.7599 | 273.1012 | 283.4724 | 293.9101 | 304.3863 | 314.9115 | 325.4775
Mohawk TS (T1/T2) | 52.8986 | 55.4542 | 57.9707 | 63.4067 | 67.7961 | 71.0678 | 76.3507 | 80.7573 | 86.13 | 92.8825 | 98.4312 | 105.025 | 111.8614 | 119.6551 | 127.449 | 132.3385 | 137.1198 | 140.9177 | 145.6825 | 150.542
Nebo TS (T1/T2) | 126.9689 | 144.9304 | 164.7748 | 181.8484 | 140.8836 | 113.6978 | 130.4138 | 143.5676 | 158.1167 | 173.8029 | 187.4799 | 202.2643 | 215.8241 | 231.5742 | 246.4334 | 259.4055 | 272.44 | 284.4469 | 297.7934 | 311.0831
Nebo TS (T3/T4) | 43.3777 | 43.922 | 47.5819 | 50.0135 | 52.5022 | 54.9793 | 57.3619 | 59.865 | 62.3446 | 66.2423 | 69.9153 | 72.6115 | 77.5138 | 81.4514 | 85.2804 | 88.1382 | 90.9941 | 93.9452 | 96.7905 | 98.6685
Newton TS (T1/T2) | 44.7159 | 53.4502 | 62.7408 | 72.3671 | 83.3302 | 89.226 | 96.7479 | 103.2585 | 111.5354 | 120.1379 | 129.1792 | 138.3993 | 148.3842 | 159.1129 | 170.5961 | 177.0189 | 183.2357 | 189.421 | 195.6291 | 201.8345
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 343.6868 | 341.2266 | 339.149 | 338.1455 | 336.9239 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702
Stirton TS (T3/T4) | 47.2604 | 51.7512 | 58.2366 | 65.2381 | 71.9192 | 78.4376 | 86.1125 | 93.1726 | 101.8748 | 110.9462 | 120.4431 | 130.0896 | 140.4885 | 151.6575 | 163.6134 | 170.3632 | 176.8638 | 183.3289 | 189.8239 | 196.3198
Winona TS (T1/T2) | 40.1942 | 43.1813 | 46.9641 | 51.2041 | 55.772 | 60.2584 | 65.7056 | 70.6026 | 76.6712 | 82.9344 | 89.562 | 96.3213 | 103.498 | 111.1672 | 119.3884 | 124.4215 | 129.2228 | 134.0091 | 138.8197 | 143.6412
Total CTS* Loads | 405.05 | 429.05 | 435.05 | 412.55 | 358.25 | 362.25 | 362.25 | 362.25 | 362.25 | 366.25 | 366.25 | 368.25 | 368.25 | 370.25 | 395 | 395 | 395 | 395 | 395 | 395
Total Region | 1327.2924 | 1431.4441 | 1554.3901 | 1647.6342 | 1750.7468 | 1848.4438 | 2319.0095 | 2417.6266 | 2536.6104 | 2665.6309 | 2791.845 | 2929.8122 | 3073.3594 | 3230.3788 | 3419.1963 | 3523.195 | 3627.8455 | 3730.775 | 3833.6498 | 3937.2
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 9
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 9 Extreme-weather Net Non-coincident Demand - Low Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Beach TS (T3/T4) | 14.7873 | 15.6468 | 39.1313 | 63.0575 | 64.2985 | 66.5803 | 68.8186 | 69.9703 | 72.1586 | 74.7542 | 77.0885 | 80.5736 | 84.3866 | 87.0094 | 90.7087 | 93.4457 | 96.3033 | 99.0316 | 100.6916 | 103.5246
Beach TS (T5/T6) | 53.4814 | 58.5371 | 61.9933 | 64.2201 | 66.5062 | 68.7667 | 70.9133 | 73.1565 | 75.3845 | 77.9254 | 81.3961 | 84.951 | 89.6392 | 93.3588 | 98.1519 | 100.9038 | 102.5894 | 105.3259 | 108.0654 | 109.8331
Birmingham (T3/T4) | 57.0947 | 57.4909 | 57.9618 | 59.4778 | 59.0386 | 58.573 | 58.1089 | 57.6248 | 58.2066 | 58.0059 | 57.6757 | 58.4002 | 59.3796 | 59.2896 | 60.269 | 60.179 | 60.0891 | 61.1584 | 61.0684 | 60.9785
Birmingham TS (T1/T2) | 11.627 | 12.5399 | 14.4809 | 15.3617 | 16.2525 | 17.1358 | 18.0083 | 18.8492 | 19.6157 | 20.5266 | 21.4169 | 22.2021 | 24.1487 | 25.1212 | 27.0677 | 28.0403 | 28.9174 | 29.8894 | 30.8614 | 31.8328
Dundas TS (New 230 kV) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 197.9667 | 206.3493 | 216.5914 | 228.8868 | 239.8822 | 256.3126 | 270.8757 | 289.0006 | 298.4387 | 306.8391 | 315.202 | 322.4091 | 329.7012
Dundas TS 1 (T1/T2) | 71.7097 | 73.7209 | 75.7083 | 78.4721 | 68.2993 | 71 | 91.8116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dundas TS 2 (T5/T6) | 68.9854 | 72.9513 | 79.1156 | 82.766 | 88.5726 | 93.2103 | 98.8905 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 81.6527 | 92.1791 | 102.5277 | 109.3655 | 117.1881 | 122.8771 | 130.4511 | 135.882 | 143.4606 | 151.6119 | 161.4907 | 171.2911 | 182.7352 | 195.8208 | 208.1145 | 215.5673 | 221.0903 | 227.5466 | 232.9405 | 239.385
Gage TS (T11/T12) | 31.7509 | 33.5294 | 32.1659 | 31.8913 | 31.6741 | 31.4722 | 31.2777 | 31.0462 | 29.7813 | 29.6869 | 29.5719 | 29.4539 | 29.4539 | 29.3719 | 29.3719 | 29.3719 | 29.3719 | 29.3719 | 29.3719 | 29.3719
Gage TS (T8/T9) | 9.5253 | 10.4779 | 10.386 | 11.3302 | 11.2095 | 12.2031 | 12.0717 | 12.9812 | 13.965 | 13.8489 | 14.786 | 15.7142 | 16.7015 | 17.6888 | 18.594 | 19.6633 | 19.5813 | 20.5685 | 20.4865 | 21.5558
Horning TS (T3/T4) | 47.6426 | 50.2716 | 53.9146 | 57.2779 | 61.73 | 65.0011 | 69.2084 | 73.5034 | 77.7746 | 82.352 | 88.938 | 94.3284 | 101.0015 | 107.6704 | 114.2338 | 118.9399 | 122.6682 | 126.3754 | 129.9878 | 134.7589
Kenilworth TS (T2/T3) | 36.9993 | 39.7234 | 42.4054 | 46.1063 | 48.7613 | 52.4539 | 55.0359 | 58.553 | 62.0885 | 65.7325 | 70.3587 | 73.7757 | 78.6654 | 84.4417 | 89.2401 | 93.0605 | 95.903 | 98.7455 | 102.566 | 105.4084
Lake TS (T1/T2) | 39.0522 | 39.5699 | 41.1528 | 41.5072 | 41.8731 | 43.3684 | 44.6741 | 45.127 | 46.5012 | 48.2174 | 49.7958 | 52.4298 | 54.1857 | 57.0055 | 58.7593 | 60.6297 | 62.5023 | 63.292 | 65.1535 | 65.8107
Lake TS (T3/T4) | 36.958 | 38.5401 | 41.1792 | 43.5921 | 46.0377 | 48.362 | 51.6862 | 53.92 | 57.1514 | 60.747 | 65.1399 | 69.617 | 74.2291 | 79.9037 | 84.3913 | 88.1613 | 90.7429 | 93.4275 | 96.1149 | 98.7903
New Middleport TS | 0 | 0 | 0 | 0 | 118.8382 | 167.2821 | 174.7725 | 181.9576 | 189.2882 | 197.2722 | 205.0738 | 212.7748 | 221.0321 | 229.261 | 237.4895 | 245.6974 | 253.9141 | 262.1132 | 270.3068 | 278.4857
Mohawk TS (T1/T2) | 51.8293 | 54.385 | 56.9015 | 61.2681 | 63.5189 | 65.7214 | 69.935 | 72.2031 | 75.4372 | 78.9819 | 83.4614 | 87.9165 | 93.6837 | 98.2696 | 103.9249 | 107.7451 | 110.3879 | 113.1165 | 116.8121 | 119.5329
Nebo TS (T1/T2) | 121.8363 | 136.697 | 153.2266 | 163.5637 | 111.2807 | 75.7144 | 81.4247 | 87.1023 | 92.7752 | 98.6204 | 105.5524 | 112.3773 | 120.2989 | 127.0578 | 134.964 | 139.7508 | 145.6834 | 151.6208 | 156.4813 | 162.3983
Nebo TS (T3/T4) | 42.3085 | 43.922 | 46.5126 | 48.9442 | 50.3636 | 50.7021 | 53.0848 | 54.5186 | 55.9289 | 57.6881 | 60.2918 | 62.988 | 65.7517 | 68.6201 | 71.3798 | 73.1683 | 74.9549 | 76.8368 | 77.5435 | 79.4215
Newton TS (T1/T2) | 44.4195 | 52.5797 | 60.8063 | 68.8244 | 77.5683 | 81.1115 | 85.886 | 89.5451 | 94.3169 | 99.2638 | 105.5444 | 111.9156 | 118.8794 | 126.3114 | 134.2106 | 138.4146 | 142.3955 | 146.2974 | 150.1706 | 153.9803
Steelport TS | 0 | 0 | 0 | 0 | 0 | 0 | 343.6868 | 341.2266 | 339.149 | 338.1455 | 336.9239 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702 | 335.6702
Stirton TS (T3/T4) | 46.9482 | 50.8896 | 56.3439 | 61.7822 | 66.3526 | 70.505 | 75.4202 | 79.5978 | 84.7466 | 90.1029 | 96.8128 | 103.5793 | 110.9179 | 118.74 | 127.05 | 131.5618 | 135.8088 | 139.9705 | 144.107 | 148.1797
Winona TS (T1/T2) | 39.9416 | 42.5295 | 45.6277 | 48.859 | 52.0703 | 55.0389 | 58.717 | 61.7694 | 65.5733 | 69.4653 | 74.273 | 79.1462 | 84.3175 | 89.7987 | 95.6414 | 99.1357 | 102.3875 | 105.5864 | 108.767 | 111.9104
Total CTS* Loads | 405.05 | 429.05 | 433.05 | 410.55 | 356.25 | 360.25 | 360.25 | 360.25 | 360.25 | 364.25 | 364.25 | 366.25 | 366.25 | 368.25 | 393 | 393 | 393 | 393 | 393 | 393
Total Region | 1313.6 | 1405.2311 | 1504.5914 | 1568.2174 | 1617.6841 | 1677.3295 | 2104.1334 | 2156.751 | 2219.9025 | 2293.7901 | 2378.7285 | 2465.2373 | 2567.6404 | 2669.5364 | 2801.2332 | 2870.5453 | 2930.8006 | 2994.1464 | 3052.5755 | 3113.5303
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 10
The starting points used to develop the IRRP planning forecast were based off of the historical weather-corrected gross coincident demand (MW).
Transformer Station | Table 10 Historical Weather-Corrected Gross Coincident Demand (MW) - Winter
| 2020 | 2021 | 2022 | 2023 | 2024
Beach TS (T3/T4) | 12.0994 | 11.7771 | 12.244 | 13.4018 | 11.8931
Beach TS (T5/T6) | 47.8686 | 46.6332 | 48.4227 | 52.8593 | 47.078
Birmingham (T3/T4) | 54.5194 | 51.8826 | 58.3166 | 56.6518 | 45.131
Birmingham TS (T1/T2) | 10.0478 | 9.5618 | 10.7476 | 10.4408 | 9.6849
Dundas TS (T1/T2) - LDC1* | 17.8346 | 17.3854 | 17.6564 | 18.1697 | 16.8189
Dundas TS (T1/T2) - LDC2 | 57.8272 | 62.7645 | 62.5272 | 61.511 | 63.6444
Dundas TS 2 (T5/T6) - LDC1 | 34.9514 | 35.1633 | 36.8843 | 35.7803 | 29.2777
Dundas TS 2 (T5/T6) - LDC2 | 0 | 0 | 0 | 0 | 0
Elgin TS (T5/T6) | 62.6657 | 67.0276 | 70.1886 | 69.7081 | 71.228
Gage TS (T11/T12) | 9.079 | 9.0165 | 8.338 | 8.7247 | 9.1202
Gage TS (T8/T9) | 30.8652 | 30.6527 | 28.346 | 29.6607 | 23.6263
Horning TS (T3/T4) | 41.9364 | 40.2048 | 42.1849 | 40.8361 | 41.3296
Kenilworth TS (T2/T3) | 40.8528 | 39.8228 | 34.631 | 27.9885 | 19.4472
Lake TS (T1/T2) | 35.3896 | 38.4677 | 35.5267 | 36.9668 | 36.3938
Lake TS (T3/T4) | 32.1114 | 34.9044 | 32.2359 | 33.5425 | 33.0226
Mohawk TS (T1/T2) | 45.015 | 45.521 | 47.1186 | 46.4023 | 47.8179
Nebo TS (T1/T2) - LDC1 | 20.6291 | 20.3024 | 21.0573 | 21.5932 | 21.3226
Nebo TS (T1/T2) - LDC2 | 57.1953 | 59.6729 | 61.9269 | 63.9938 | 64.5408
Nebo TS (T3/T4) | 37.9379 | 37.3371 | 38.7254 | 39.7109 | 39.2133
Newton TS (T1/T2) | 35.853 | 35.8754 | 35.9115 | 36.589 | 38.1312
Stirton TS (T3/T4) | 37.2977 | 39.3074 | 40.2197 | 40.7235 | 44.5662
Winona TS (T1/T2) | 35.9229 | 32.0957 | 35.3095 | 33.8016 | 35.8593
Total CTS** Loads | 274.131 | 274.101 | 279.469 | 288.151 | 285.3
*LDC is the abbreviation of: Local Distribution Company
**CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.