## Menu
GTA East Integrated Regional Resource Plan
Data Tables
October 2026
Table 1: IRRP Summer eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 2: IRRP Winter eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 3: Distributed Generation Contribution Factor Assumptions
Table 4: Installed Distributed Generation Summer Output Assumptions
Table 5: Installed Distributed Generation Winter Output Assumptions
Table 6: Summer Coincident Reference Forecast
Table 7: Summer Non-Coincident Reference Forecast
Table 8: Winter Coincident Reference Forecast
Table 9: Winter Non-Coincident Reference Forecast
Table 10: Summer Coincident High Forecast
Table 11: Summer Non-Coincident High Forecast
Table 12: Winter Coincident High Forecast
Table 13: Winter Non-Coincident High Forecast
Table 14: Summer Coincident Low Forecast
Table 15: Summer Non-Coincident Low Forecast
Table 16: Winter Coincident Low Forecast
Table 17: Winter Non-Coincident Low Forecast
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 1
Back to main menu
Table 1: IRRP Summer eDSM (Codes and Standards + Energy Efficiency) Forecast (MW)
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 1.8789 | 3.6866 | 5.7491 | 7.4061 | 9.0427 | 10.7158 | 12.406 | 13.9731 | 15.452 | 16.9663 | 17.8578 | 18.5392 | 18.7726 | 18.9803 | 19.2193 | 19.5089 | 19.7308 | 19.965 | 20.2445 | 20.4968
ENFIELD TS T5/T6 | 1.1247 | 2.1694 | 3.4269 | 4.6556 | 6.0089 | 7.3733 | 8.7537 | 10.0405 | 11.3134 | 12.6317 | 13.6826 | 14.538 | 15.1662 | 15.8117 | 16.487 | 17.1929 | 17.7669 | 18.3666 | 19.0066 | 19.6228
SEATON MTS | 0.19978 | 0.52636 | 1.0486 | 1.7337 | 2.6048 | 3.548 | 4.6206 | 5.8033 | 7.1627 | 8.7526 | 10.6354 | 12.4125 | 14.0587 | 15.8456 | 17.7245 | 19.7206 | 21.7013 | 23.7737 | 25.9112 | 28.0161
THORNTON TS | 1.6382 | 3.6209 | 5.5367 | 7.1973 | 8.9493 | 10.7546 | 12.6353 | 14.4693 | 16.3324 | 18.341 | 19.8108 | 21.1453 | 22.025 | 22.9216 | 23.8592 | 24.7652 | 25.4409 | 26.1309 | 26.8677 | 27.5558
WHITBY TS T1/T2 27.6 kV | 0.64662 | 1.1863 | 1.8305 | 2.4317 | 3.0976 | 3.7544 | 4.421 | 5.0607 | 6.1108 | 7.3038 | 8.7048 | 9.9809 | 11.1844 | 12.4888 | 13.8522 | 15.3091 | 16.7109 | 18.1481 | 19.6263 | 21.0712
WHITBY TS T1/T2 44 kV | 0.79418 | 1.4018 | 2.2628 | 3.1255 | 4.12 | 5.2063 | 6.3714 | 7.5729 | 8.5722 | 9.639 | 10.6037 | 11.4266 | 12.0604 | 12.7321 | 13.4395 | 14.2111 | 14.936 | 15.6829 | 16.4587 | 17.2117
WHITBY TS T3/T4 | 2.2532 | 4.1901 | 6.4219 | 8.4127 | 10.5335 | 12.6447 | 14.7911 | 16.8326 | 18.7172 | 20.6709 | 22.1306 | 23.2895 | 23.9871 | 24.7106 | 25.4904 | 26.3679 | 27.1515 | 27.9638 | 28.8328 | 29.6582
WILSON TS T7/T8 | 1.7423 | 3.3485 | 5.0926 | 6.7693 | 8.4765 | 10.2913 | 12.2041 | 14.094 | 16.046 | 18.1542 | 19.8238 | 21.3674 | 22.4889 | 23.6324 | 24.8099 | 25.9476 | 26.8182 | 27.7121 | 28.6463 | 29.5389
WILSON TS T3/T4 | 2.2139 | 4.6073 | 7.6535 | 10.696 | 14.0516 | 18.3406 | 21.913 | 25.7337 | 29.5219 | 33.552 | 36.5384 | 39.1649 | 40.9503 | 42.7632 | 44.6952 | 46.7497 | 48.4845 | 50.2679 | 52.1998 | 54.0467
CTS #1 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
CTS #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
CTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Table 2
Back to main menu
Table 2: IRRP Winter eDSM (Codes and Standards + Energy Efficiency) Forecast (MW)
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 1.4805 | 3.1131 | 4.8522 | 6.3973 | 8.4008 | 10.042 | 11.7511 | 13.3486 | 14.8007 | 16.2312 | 16.9577 | 17.4925 | 17.6616 | 17.859 | 18.0863 | 18.3188 | 18.5791 | 18.838 | 19.0846 | 19.3303
ENFIELD TS T5/T6 | 1.2116 | 2.4106 | 3.7818 | 5.0323 | 6.7837 | 8.4707 | 10.2036 | 11.8341 | 13.3738 | 14.8919 | 15.9189 | 16.8278 | 17.4782 | 18.1649 | 18.9321 | 19.6582 | 20.3742 | 21.1137 | 21.8167 | 22.5051
SEATON MTS | 0.1818 | 0.51862 | 1.0466 | 1.7229 | 2.6848 | 3.7513 | 4.9689 | 6.3386 | 7.8709 | 9.6186 | 11.4773 | 13.2334 | 14.88 | 16.6877 | 18.5902 | 20.5666 | 22.5847 | 24.6985 | 26.8224 | 28.9614
THORNTON TS | 1.3592 | 3.1161 | 4.6945 | 6.0019 | 7.6752 | 9.3489 | 11.1469 | 12.9342 | 14.7116 | 16.5818 | 17.8651 | 19.0341 | 19.8464 | 20.7321 | 21.6603 | 22.4994 | 23.2302 | 23.9584 | 24.6591 | 25.3429
WHITBY TS T1/T2 27.6 kV | 0.44921 | 0.87414 | 1.3701 | 1.8297 | 2.489 | 3.1395 | 3.8184 | 4.496 | 5.7335 | 7.1245 | 8.6704 | 10.1536 | 11.5951 | 13.1518 | 14.8013 | 16.4991 | 18.2236 | 19.9994 | 21.7565 | 23.506
WHITBY TS T1/T2 44 kV | 0.7365 | 1.4642 | 2.3856 | 3.2877 | 4.5694 | 5.9363 | 7.4157 | 8.9645 | 10.1984 | 11.4548 | 12.4361 | 13.3075 | 13.9767 | 14.7002 | 15.4925 | 16.3067 | 17.1531 | 18.0266 | 18.8779 | 19.7206
WHITBY TS T3/T4 | 1.5217 | 3.0181 | 4.6313 | 6.0359 | 7.9224 | 9.771 | 11.7082 | 13.6102 | 15.3018 | 17.003 | 18.1853 | 19.1832 | 19.8623 | 20.6107 | 21.434 | 22.2811 | 23.1646 | 24.0703 | 24.9511 | 25.8232
WILSON TS T7/T8 | 1.2422 | 2.5583 | 3.8529 | 5.0237 | 6.4616 | 7.9582 | 9.5989 | 11.2599 | 12.9552 | 14.7493 | 16.0684 | 17.3392 | 18.2748 | 19.2663 | 20.3183 | 21.2643 | 22.095 | 22.9368 | 23.741 | 24.5224
WILSON TS T3/T4 | 1.7367 | 3.8147 | 6.2331 | 8.5792 | 11.512 | 15.1662 | 18.333 | 21.7543 | 25.0814 | 28.5719 | 30.9754 | 33.0395 | 34.513 | 36.1337 | 37.8003 | 39.4868 | 41.0795 | 42.6705 | 44.267 | 45.8806
CTS #1 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07 | 0.07
CTS #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4
CTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Table 3
Back to main menu
Table 3: Distributed Generation Contribution Factor Assumptions
Resource Type | Summer Peak Contribution Factor | Winter Peak Contribution Factor
Solar | 25.18% | 0%
Wind | 15.78% | 29.69%
Biomass | 94% | 94%
Gas | 94% | 94%
Back to main menu

## Table 4
Back to main menu
Table 4: Installed Distributed Generation Summer Output Assumptions
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ENFIELD TS T5/T6 | 5.6575 | 5.6575 | 4.04 | 4.04 | 4.04 | 4.04 | 4.04 | 4.04 | 4.04 | 4.04 | 4.04 | 4.04 | 1.2625 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SEATON MTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
THORNTON TS | 0.49747 | 0.49747 | 0.49747 | 0.49747 | 0.49747 | 0.49747 | 0.49747 | 0.47154 | 0.44045 | 0.40268 | 0.27322 | 0.095227 | 0.066992 | 0.033502 | 0 | 0 | 0 | 0 | 0 | 0
WHITBY TS T1/T2 27.6 kV | 0.45378 | 0.45378 | 0.45378 | 0.45378 | 0.45378 | 0.45378 | 0.45378 | 0.42475 | 0.39234 | 0.38038 | 0.37588 | 0.11449 | 0.067869 | 0.047069 | 0 | 0 | 0 | 0 | 0 | 0
WHITBY TS T1/T2 44 kV | 0.40416 | 0.40416 | 0.40416 | 0.40416 | 0.40416 | 0.40416 | 0.40416 | 0.29211 | 0.14606 | 0.13178 | 0.094799 | 0.069001 | 0.036271 | 0.026649 | 0 | 0 | 0 | 0 | 0 | 0
WHITBY TS T3/T4 | 17.7699 | 17.7699 | 17.7699 | 17.7699 | 17.7699 | 17.7699 | 17.7699 | 17.7069 | 17.5464 | 17.4246 | 0.39571 | 0.1338 | 0.051582 | 0.015261 | 0 | 0 | 0 | 0 | 0 | 0
WILSON TS T7/T8 | 2.8039 | 2.8039 | 2.8039 | 2.8039 | 0.64186 | 0.64186 | 0.64186 | 0.62196 | 0.51931 | 0.40966 | 0.37983 | 0.25012 | 0.14971 | 0.082698 | 0 | 0 | 0 | 0 | 0 | 0
WILSON TS T3/T4 | 19.0162 | 19.0162 | 19.0162 | 19.0162 | 19.0162 | 19.0162 | 19.0162 | 18.9348 | 18.7702 | 18.4712 | 18.348 | 0.21677 | 0.09746 | 0.048404 | 0 | 0 | 0 | 0 | 0 | 0
CTS #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Table 5
Back to main menu
Table 5: Installed Distributed Generation Winter Output Assumptions
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ENFIELD TS T5/T6 | 10.6423 | 10.6423 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 7.5995 | 2.3749 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SEATON MTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
THORNTON TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WHITBY TS T1/T2 27.6 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WHITBY TS T1/T2 44 kV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WHITBY TS T3/T4 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 16.7433 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WILSON TS T7/T8 | 2.162 | 2.162 | 2.162 | 2.162 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WILSON TS T3/T4 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 13.066 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS #4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Back to main menu

## Table 6
Back to main menu
Table 6: Summer Coincident Reference Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 151.6424 | 154.7191 | 157.893 | 157.1798 | 155.5431 | 155.5159 | 155.488 | 155.5999 | 155.8167 | 156.0151 | 156.8534 | 157.9191 | 159.4504 | 161.0249 | 162.5859 | 164.1143 | 165.7287 | 167.3491 | 168.9427 | 170.5823
ENFIELD TS T5/T6 | 95.1583 | 97.3744 | 103.6983 | 107.9112 | 111.0452 | 114.6467 | 117.7939 | 120.5588 | 123.8676 | 127.5004 | 132.1679 | 137.3402 | 145.8253 | 153.1309 | 159.2235 | 164.8503 | 169.9156 | 175.0034 | 180.0197 | 185.0033
SEATON MTS | 16.1241 | 22.0904 | 28.7986 | 36.7943 | 44.8057 | 51.4909 | 57.9106 | 64.6235 | 72.2275 | 80.4854 | 93.416 | 105.7311 | 119.4115 | 134.4309 | 149.9401 | 165.8951 | 182.2801 | 199.2744 | 216.2327 | 233.1611
THORNTON TS | 133.2156 | 152.2331 | 152.4921 | 153.4035 | 154.8658 | 157.2392 | 159.7422 | 162.7815 | 166.6856 | 171.0414 | 176.9115 | 183.6286 | 191.0665 | 198.9785 | 206.8967 | 213.8321 | 219.5326 | 225.2024 | 230.7202 | 236.1413
WHITBY TS T1/T2 27.6 kV | 55.3548 | 53.5378 | 54.3878 | 55.3054 | 56.223 | 57.3188 | 58.358 | 59.56 | 65.5197 | 72.0296 | 82.1275 | 92.2061 | 103.127 | 115.0337 | 127.2771 | 139.6968 | 152.1435 | 164.697 | 177.1053 | 189.3685
WHITBY TS T1/T2 44 kV | 68.8821 | 63.8453 | 68.1654 | 72.5693 | 77.0652 | 82.0565 | 86.8061 | 92.0018 | 94.7777 | 97.7254 | 102.7761 | 107.7489 | 113.4297 | 119.6281 | 126 | 132.4459 | 138.9239 | 145.4539 | 151.9008 | 158.2776
WHITBY TS T3/T4 | 171.7921 | 166.7154 | 168.1564 | 169.8989 | 171.6701 | 173.8673 | 175.9135 | 178.3905 | 180.3415 | 182.5605 | 204.1839 | 209.13 | 214.8761 | 221.1364 | 227.514 | 233.9454 | 240.456 | 247.0129 | 253.4581 | 259.8529
WILSON TS T7/T8 | 151.0584 | 152.1134 | 153.6369 | 158.31 | 163.1205 | 166.9684 | 170.9961 | 175.6949 | 181.6188 | 188.1934 | 196.3248 | 205.5805 | 215.7926 | 226.6076 | 237.468 | 246.9564 | 254.7264 | 262.4507 | 269.9923 | 277.3786
WILSON TS T3/T4 | 149.1774 | 161.9585 | 175.1547 | 189.3519 | 201.6462 | 223.3485 | 230.9342 | 241.5083 | 251.4596 | 261.1509 | 272.5783 | 302.5706 | 315.8372 | 329.5396 | 343.3569 | 356.9653 | 369.6651 | 382.5322 | 395.3171 | 408.2243
CTS #1 | 32.0534 | 33.3557 | 33.3557 | 33.3557 | 34.658 | 34.658 | 34.658 | 34.658 | 34.658 | 34.658 | 36.3944 | 36.3944 | 36.3944 | 36.3944 | 36.3944 | 38.1308 | 38.1308 | 38.1308 | 38.1308 | 38.1308
CTS #2 | 90.7167 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762
CTS #3 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 47.7369 | 47.7369 | 57.3643 | 57.3643 | 66.9916 | 76.619 | 76.619 | 76.619 | 76.619 | 76.619
CTS #4 | 0 | 0 | 0 | 0 | 2.6658 | 2.6658 | 2.6658 | 2.6658 | 2.6658 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 12.1638
Back to main menu

## Table 7
Back to main menu
Table 7: Summer Non-Coincident Reference Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 169.6767 | 173.3272 | 177.1163 | 176.5139 | 174.8773 | 175.0434 | 175.2108 | 175.5198 | 175.9359 | 176.3355 | 177.377 | 178.6479 | 180.3864 | 182.1703 | 183.9428 | 185.6848 | 187.5149 | 189.3532 | 191.1668 | 193.0286
ENFIELD TS T5/T6 | 114.1141 | 116.9366 | 124.3694 | 129.5941 | 133.5626 | 138.0875 | 142.0766 | 145.595 | 149.7557 | 154.3091 | 160.04 | 166.3332 | 175.9963 | 184.5457 | 191.8968 | 198.7012 | 204.8151 | 210.9605 | 217.0286 | 223.0535
SEATON MTS | 18.2931 | 25.0955 | 32.7644 | 41.9136 | 51.1052 | 58.804 | 66.2192 | 73.9813 | 82.7762 | 92.3426 | 107.2415 | 121.4291 | 137.1459 | 154.3984 | 172.2179 | 190.5582 | 209.3834 | 228.9112 | 248.4067 | 267.8641
THORNTON TS | 157.9875 | 180.8485 | 181.5055 | 182.8877 | 184.9382 | 188.0764 | 191.3818 | 195.3082 | 200.2622 | 205.7758 | 212.9656 | 221.1236 | 230.0787 | 239.5968 | 249.1296 | 257.5001 | 264.3676 | 271.2013 | 277.8639 | 284.4031
WHITBY TS T1/T2 27.6 kV | 64.2489 | 62.2307 | 63.3161 | 64.473 | 65.64 | 67.012 | 68.3199 | 69.8075 | 76.8665 | 84.588 | 96.4967 | 108.3231 | 121.1468 | 135.1314 | 149.511 | 164.1169 | 178.7454 | 193.5031 | 208.0991 | 222.5219
WHITBY TS T1/T2 44 kV | 76.7848 | 71.2485 | 76.1529 | 81.1507 | 86.2657 | 91.9424 | 97.3589 | 103.2634 | 106.4486 | 109.8473 | 115.5722 | 121.1956 | 127.5849 | 134.5569 | 141.7241 | 148.9838 | 156.2741 | 163.6247 | 170.886 | 178.0668
WHITBY TS T3/T4 | 190.7502 | 185.3632 | 187.1671 | 189.2787 | 191.4346 | 194.0575 | 196.5181 | 199.4354 | 201.7497 | 204.3691 | 226.5908 | 232.1144 | 238.4893 | 245.4362 | 252.5197 | 259.6735 | 266.905 | 274.1902 | 281.3584 | 288.4668
WILSON TS T7/T8 | 182.321 | 183.9107 | 186.0907 | 192.0395 | 197.7251 | 202.7107 | 207.932 | 213.9504 | 221.4361 | 229.7332 | 239.8277 | 251.227 | 263.6959 | 276.9 | 290.1624 | 301.7857 | 311.2917 | 320.7475 | 329.992 | 339.0416
WILSON TS T3/T4 | 166.5475 | 180.8753 | 195.7272 | 211.6817 | 225.5713 | 249.9229 | 258.646 | 270.6791 | 282.0141 | 293.0736 | 305.9576 | 337.4268 | 352.2155 | 367.4944 | 382.9121 | 398.1171 | 412.2882 | 426.6487 | 440.9337 | 455.3449
CTS #1 | 36.93 | 38.43 | 38.43 | 38.43 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 41.93 | 41.93 | 41.93 | 41.93 | 41.93 | 43.93 | 43.93 | 43.93 | 43.93 | 43.93
CTS #2 | 105 | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
CTS #3 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 49.6 | 49.6 | 59.6 | 59.6 | 69.6 | 79.6 | 79.6 | 79.6 | 79.6 | 79.6
CTS #4 | 0 | 0 | 0 | 0 | 3.02 | 3.02 | 3.02 | 3.02 | 3.02 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 13.78
Back to main menu

## Table 8
Back to main menu
Table 8: Winter Coincident Reference Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 134.9434 | 140.1652 | 145.7724 | 151.8087 | 157.6763 | 157.6959 | 157.6642 | 157.7609 | 158.0198 | 158.3175 | 159.3366 | 160.5647 | 162.1762 | 163.7771 | 165.3662 | 166.9683 | 168.5607 | 170.1733 | 171.8168 | 173.4801
ENFIELD TS T5/T6 | 104.4079 | 106.9448 | 115.2448 | 120.0854 | 123.4287 | 127.3582 | 130.6444 | 133.5936 | 137.2018 | 141.2291 | 146.5683 | 152.3115 | 163.8681 | 172.9203 | 179.6081 | 185.8808 | 191.3726 | 196.8904 | 202.4179 | 207.9061
SEATON MTS | 16.5709 | 23.3503 | 31.4437 | 40.8839 | 50.3907 | 58.9093 | 66.6672 | 74.9135 | 84.0335 | 93.8184 | 107.8426 | 121.4702 | 136.6346 | 153.035 | 169.9739 | 187.4564 | 204.9018 | 223.1145 | 241.4796 | 259.9143
THORNTON TS | 124.4205 | 140.3099 | 141.2259 | 142.8294 | 144.7306 | 147.612 | 150.4269 | 153.8079 | 158.0945 | 162.8827 | 169.1488 | 176.1083 | 183.7931 | 191.8952 | 200.0023 | 207.2078 | 213.0073 | 218.7627 | 224.4395 | 229.9864
WHITBY TS T1/T2 27.6 kV | 42.2369 | 42.0513 | 43.8321 | 45.7064 | 47.477 | 49.4544 | 51.1794 | 53.0754 | 61.4068 | 70.3595 | 82.9364 | 95.3072 | 108.9524 | 123.6549 | 138.7149 | 154.1255 | 169.1528 | 184.383 | 199.6154 | 214.7668
WHITBY TS T1/T2 44 kV | 69.8085 | 69.8444 | 76.1865 | 82.7307 | 89.2014 | 96.2184 | 102.4089 | 109.0708 | 112.4162 | 116.1098 | 121.8872 | 127.6458 | 134.1965 | 141.2541 | 148.4583 | 155.8316 | 163.002 | 170.267 | 177.5463 | 184.7917
WHITBY TS T3/T4 | 124.8352 | 123.8701 | 127.3114 | 131.0882 | 134.5962 | 138.5816 | 141.9815 | 145.7929 | 148.6534 | 151.873 | 174.1526 | 179.7453 | 186.2434 | 193.2299 | 200.3558 | 207.6476 | 214.7334 | 221.918 | 229.1195 | 236.2876
WILSON TS T7/T8 | 115.9863 | 117.3519 | 119.297 | 124.106 | 129.0666 | 132.9687 | 136.7952 | 141.2596 | 146.7514 | 152.8489 | 160.4772 | 168.8404 | 177.9755 | 187.6362 | 197.2929 | 205.8814 | 212.7903 | 219.6329 | 226.3872 | 232.9904
WILSON TS T3/T4 | 139.4381 | 152.0004 | 165.2384 | 179.511 | 191.7285 | 212.867 | 220.5388 | 230.9601 | 240.7685 | 250.2582 | 261.4912 | 286.3319 | 299.1191 | 312.2237 | 325.5039 | 338.7342 | 350.8305 | 363.1442 | 375.5399 | 387.9825
CTS #1 | 29.566 | 30.7674 | 30.7674 | 30.7674 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 33.5708 | 33.5708 | 33.5708 | 33.5708 | 33.5708 | 35.1728 | 35.1728 | 35.1728 | 35.1728 | 35.1728
CTS #2 | 88.2515 | 92.454 | 92.454 | 92.454 | 92.454 | 92.454 | 92.454 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589
CTS #3 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 44.188 | 44.188 | 53.1056 | 53.1056 | 62.0232 | 70.9408 | 70.9408 | 70.9408 | 70.9408 | 70.9408
CTS #4 | 0 | 0 | 0 | 0 | 2.5943 | 2.5943 | 2.5943 | 2.5943 | 2.5943 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 11.8375
Back to main menu

## Table 9
Back to main menu
Table 9: Winter Non-Coincident Reference Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 143.4849 | 149.1358 | 155.2029 | 161.7139 | 168.0743 | 168.1979 | 168.2712 | 168.474 | 168.84 | 169.2459 | 170.3742 | 171.7128 | 173.4357 | 175.1492 | 176.8521 | 178.569 | 180.2775 | 182.0072 | 183.769 | 185.5519
ENFIELD TS T5/T6 | 112.8265 | 115.6339 | 124.4139 | 129.6956 | 133.4078 | 137.7441 | 141.3936 | 144.6744 | 148.6554 | 153.0843 | 158.8845 | 165.1094 | 177.1715 | 186.757 | 193.9847 | 200.7641 | 206.7054 | 212.6763 | 218.6549 | 224.5904
SEATON MTS | 21.2702 | 30.0457 | 40.5575 | 52.8355 | 65.2789 | 76.4861 | 86.7618 | 97.7054 | 109.8135 | 122.8334 | 141.3129 | 159.2558 | 179.1358 | 200.6437 | 222.8678 | 245.8086 | 268.7137 | 292.6282 | 316.7407 | 340.9465
THORNTON TS | 140.2521 | 158.3625 | 159.5924 | 161.5623 | 163.9134 | 167.3682 | 170.7637 | 174.7951 | 179.8451 | 185.4714 | 192.6877 | 200.6703 | 209.4246 | 218.6579 | 227.9022 | 236.1204 | 242.7418 | 249.3133 | 255.7928 | 262.1238
WHITBY TS T1/T2 27.6 kV | 48.3945 | 48.2435 | 50.3527 | 52.5636 | 54.6847 | 57.0412 | 59.113 | 61.3802 | 71.092 | 81.5368 | 96.151 | 110.5203 | 126.3418 | 143.3896 | 160.86 | 178.7386 | 196.1824 | 213.8658 | 231.549 | 249.1383
WHITBY TS T1/T2 44 kV | 83.6006 | 83.7858 | 91.5481 | 99.548 | 107.5344 | 116.1906 | 123.8806 | 132.1477 | 136.3884 | 141.0498 | 148.1486 | 155.2034 | 163.1657 | 171.7445 | 180.5121 | 189.4861 | 198.2239 | 207.0801 | 215.9489 | 224.7756
WHITBY TS T3/T4 | 153.8326 | 152.9752 | 157.4407 | 162.2675 | 166.8686 | 172.0361 | 176.5176 | 181.4867 | 185.2697 | 189.4864 | 213.1274 | 220.0557 | 228.0081 | 236.562 | 245.2987 | 254.2398 | 262.9404 | 271.7644 | 280.6037 | 289.401
WILSON TS T7/T8 | 152.6102 | 154.7983 | 157.7372 | 164.3806 | 170.6407 | 176.1989 | 181.7025 | 188.0459 | 195.7424 | 204.2607 | 214.6337 | 225.9521 | 238.1765 | 251.1049 | 264.0464 | 275.5598 | 284.8428 | 294.0427 | 303.1156 | 311.9841
WILSON TS T3/T4 | 160.4803 | 175.0398 | 190.4137 | 206.9535 | 221.2379 | 245.7587 | 254.9092 | 267.219 | 278.8193 | 290.0798 | 303.1732 | 329.9018 | 344.6345 | 359.748 | 375.0673 | 390.3326 | 404.2965 | 418.507 | 432.8116 | 447.1718
CTS #1 | 36.93 | 38.43 | 38.43 | 38.43 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 41.93 | 41.93 | 41.93 | 41.93 | 41.93 | 43.93 | 43.93 | 43.93 | 43.93 | 43.93
CTS #2 | 105 | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
CTS #3 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 49.6 | 49.6 | 59.6 | 59.6 | 69.6 | 79.6 | 79.6 | 79.6 | 79.6 | 79.6
CTS #4 | 0 | 0 | 0 | 0 | 3.02 | 3.02 | 3.02 | 3.02 | 3.02 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 13.78
Back to main menu

## Table 10
Back to main menu
Table 10: Summer Coincident High Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 152.3376 | 155.8746 | 159.6934 | 164.5049 | 169.8606 | 169.8309 | 169.8004 | 169.9225 | 170.1593 | 170.376 | 171.2915 | 172.4553 | 174.1275 | 175.8469 | 177.5516 | 179.2208 | 180.9837 | 182.7533 | 184.4936 | 186.2841
ENFIELD TS T5/T6 | 102.0393 | 105.337 | 112.9719 | 118.5052 | 122.8818 | 128.0595 | 133.3536 | 138.3856 | 142.4051 | 146.7892 | 152.3073 | 158.3538 | 167.7462 | 175.9565 | 182.9333 | 189.1927 | 194.5842 | 200.3435 | 206.0267 | 211.6814
SEATON MTS | 16.8099 | 23.2302 | 30.5745 | 39.8877 | 49.7327 | 59.004 | 68.8586 | 81.7357 | 96.4591 | 112.145 | 137.0836 | 158.1846 | 181.1251 | 205.6619 | 231.0617 | 256.388 | 280.0221 | 302.338 | 324.3358 | 346.0272
THORNTON TS | 135.212 | 155.894 | 158.0212 | 160.9021 | 164.4492 | 170.4633 | 180.4798 | 194.8203 | 199.8348 | 205.3561 | 212.5485 | 220.6095 | 229.4598 | 238.7609 | 248.0179 | 255.7875 | 261.6972 | 268.2607 | 274.6622 | 280.9727
WHITBY TS T1/T2 27.6 kV | 55.6891 | 54.1086 | 55.2651 | 56.7476 | 58.428 | 60.5818 | 62.9637 | 66.595 | 81.8457 | 98.0004 | 123.291 | 144.3773 | 166.7632 | 190.3776 | 214.7841 | 236.6284 | 255.8593 | 274.9619 | 293.6345 | 311.8714
WHITBY TS T1/T2 44 kV | 70.0414 | 65.8248 | 71.2084 | 77.5736 | 84.7216 | 93.3905 | 102.8077 | 116.4475 | 123.9095 | 131.7301 | 144.6161 | 155.2657 | 166.9143 | 179.2124 | 191.9203 | 203.2714 | 213.2829 | 223.2231 | 232.9305 | 242.4176
WHITBY TS T3/T4 | 172.6136 | 168.1174 | 170.3102 | 173.4396 | 177.0851 | 181.8802 | 187.2217 | 195.659 | 202.3856 | 209.5614 | 239.1077 | 249.788 | 261.5506 | 273.9584 | 286.7208 | 298.0979 | 308.1714 | 318.168 | 327.9016 | 337.4345
WILSON TS T7/T8 | 156.8348 | 160.3524 | 164.3298 | 171.9297 | 179.5486 | 186.5395 | 193.7218 | 199.8589 | 207.4603 | 215.7921 | 225.8137 | 236.9645 | 249.1074 | 261.8182 | 274.5102 | 285.1467 | 293.2042 | 302.1495 | 310.9036 | 319.5059
WILSON TS T3/T4 | 162.9068 | 177.4195 | 192.381 | 208.472 | 222.4864 | 246.8892 | 255.7629 | 267.581 | 278.7287 | 289.5809 | 302.3481 | 333.7167 | 348.4714 | 363.6938 | 379.0303 | 394.0375 | 407.9152 | 422.1533 | 436.3034 | 450.5912
CTS #1 | 32.0534 | 33.3557 | 33.3557 | 33.3557 | 34.658 | 34.658 | 34.658 | 34.658 | 34.658 | 34.658 | 36.3944 | 36.3944 | 36.3944 | 36.3944 | 36.3944 | 38.1308 | 38.1308 | 38.1308 | 38.1308 | 38.1308
CTS #2 | 90.7167 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762
CTS #3 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 47.7369 | 47.7369 | 57.3643 | 57.3643 | 66.9916 | 76.619 | 76.619 | 76.619 | 76.619 | 76.619
CTS #4 | 0 | 0 | 0 | 0 | 2.6658 | 2.6658 | 2.6658 | 2.6658 | 2.6658 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 12.1638
Back to main menu

## Table 11
Back to main menu
Table 11: Summer Non-Coincident High Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 170.4546 | 174.6218 | 179.1358 | 184.7401 | 190.9744 | 191.1558 | 191.3386 | 191.6761 | 192.1304 | 192.5668 | 193.7042 | 195.0922 | 196.9907 | 198.9388 | 200.8744 | 202.7768 | 204.7753 | 206.7828 | 208.7634 | 210.7965
ENFIELD TS T5/T6 | 122.2889 | 126.411 | 135.4222 | 142.2399 | 147.7151 | 154.1497 | 160.7385 | 167.0056 | 172.0471 | 177.5309 | 184.3025 | 191.6575 | 202.4153 | 212.0556 | 220.4738 | 228.0441 | 234.5524 | 241.5091 | 248.3844 | 255.221
SEATON MTS | 19.0711 | 26.3904 | 34.7849 | 45.4374 | 56.725 | 67.3841 | 78.738 | 93.5713 | 110.5468 | 128.6663 | 157.3718 | 181.6703 | 208.0249 | 236.2095 | 265.3924 | 294.5043 | 321.6587 | 347.3027 | 372.5948 | 397.5288
THORNTON TS | 160.3536 | 185.1944 | 188.0812 | 191.8196 | 196.3718 | 203.8783 | 216.2006 | 233.7074 | 240.0449 | 247.0124 | 255.8224 | 265.6184 | 276.2751 | 287.4655 | 298.6115 | 307.9907 | 315.1114 | 323.0229 | 330.7531 | 338.3657
WHITBY TS T1/T2 27.6 kV | 64.6365 | 62.8934 | 64.3362 | 66.1523 | 68.2114 | 70.8225 | 73.7058 | 78.0443 | 96.0029 | 115.063 | 144.8295 | 169.6021 | 195.8949 | 223.6334 | 252.3046 | 277.993 | 300.5957 | 323.0536 | 345.0211 | 366.4718
WHITBY TS T1/T2 44 kV | 78.0763 | 73.4562 | 79.5503 | 86.7435 | 94.8314 | 104.6352 | 115.2968 | 130.692 | 139.1621 | 148.0643 | 162.6166 | 174.6386 | 187.7418 | 201.5752 | 215.8708 | 228.653 | 239.9198 | 251.1092 | 262.0432 | 272.7268
WHITBY TS T3/T4 | 191.6538 | 186.9069 | 189.5412 | 193.185 | 197.4145 | 202.9146 | 209.0293 | 218.5572 | 226.1786 | 234.3144 | 265.3398 | 277.2381 | 290.2917 | 304.0622 | 318.2339 | 330.8812 | 342.0688 | 353.1741 | 363.9965 | 374.5914
WILSON TS T7/T8 | 189.2712 | 193.8411 | 199.0021 | 208.5105 | 217.6247 | 226.4559 | 235.5494 | 243.3588 | 252.9283 | 263.4115 | 275.8394 | 289.5712 | 304.4013 | 319.9226 | 335.4246 | 348.4556 | 358.3146 | 369.2651 | 379.9958 | 390.5351
WILSON TS T3/T4 | 181.6953 | 197.9534 | 214.7798 | 232.8516 | 248.6712 | 276.044 | 286.2254 | 299.6693 | 312.3628 | 324.7443 | 339.1372 | 372.1513 | 388.5998 | 405.5736 | 422.6864 | 439.4542 | 454.9402 | 470.8305 | 486.6405 | 502.5928
CTS #1 | 36.93 | 38.43 | 38.43 | 38.43 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 41.93 | 41.93 | 41.93 | 41.93 | 41.93 | 43.93 | 43.93 | 43.93 | 43.93 | 43.93
CTS #2 | 105 | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
CTS #3 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 49.6 | 49.6 | 59.6 | 59.6 | 69.6 | 79.6 | 79.6 | 79.6 | 79.6 | 79.6
CTS #4 | 0 | 0 | 0 | 0 | 3.02 | 3.02 | 3.02 | 3.02 | 3.02 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 13.78
Back to main menu

## Table 12
Back to main menu
Table 12: Winter Coincident High Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 137.3622 | 143.335 | 149.9143 | 157.6377 | 165.7195 | 165.74 | 165.7068 | 165.8084 | 166.0805 | 166.3934 | 167.4644 | 168.7552 | 170.4489 | 172.1315 | 173.8016 | 175.4854 | 177.1591 | 178.8539 | 180.5813 | 182.3294
ENFIELD TS T5/T6 | 110.7974 | 114.4309 | 124.0917 | 130.3175 | 134.9426 | 140.515 | 146.0094 | 151.4526 | 155.9111 | 160.8387 | 167.2324 | 174.0305 | 186.6418 | 196.7442 | 204.455 | 211.4958 | 217.4001 | 223.6196 | 229.8561 | 236.0566
SEATON MTS | 18.5781 | 25.9807 | 34.8807 | 45.721 | 57.0652 | 68.1254 | 78.9646 | 92.659 | 108.0561 | 124.399 | 148.9448 | 170.1668 | 193.1928 | 217.653 | 242.9654 | 268.3914 | 291.9166 | 314.5391 | 337.0943 | 359.4597
THORNTON TS | 127.3214 | 144.3804 | 146.5169 | 150.0213 | 153.9402 | 160.4239 | 170.7012 | 185.6798 | 191.2604 | 197.4075 | 205.2641 | 213.8141 | 223.0748 | 232.7186 | 242.3134 | 250.5079 | 256.6242 | 263.2414 | 269.7845 | 276.1985
WHITBY TS T1/T2 27.6 kV | 43.217 | 43.3687 | 45.5644 | 48.1088 | 50.7354 | 53.8575 | 56.9215 | 61.2263 | 78.7887 | 97.3287 | 124.942 | 148.0035 | 172.6075 | 198.4943 | 225.1609 | 249.5401 | 270.8944 | 292.1902 | 313.2477 | 333.923
WHITBY TS T1/T2 44 kV | 72.9354 | 74.0464 | 81.7129 | 90.3975 | 99.609 | 110.2899 | 120.766 | 135.1363 | 142.7371 | 150.8705 | 163.7922 | 174.6294 | 186.4372 | 198.8603 | 211.6271 | 223.2983 | 233.4957 | 243.6618 | 253.7298 | 263.6208
WHITBY TS T3/T4 | 127.0107 | 126.7927 | 131.1538 | 136.4176 | 141.8306 | 148.3621 | 154.7392 | 163.9047 | 171.0453 | 178.7175 | 208.1021 | 218.7452 | 230.4558 | 242.7591 | 255.4021 | 266.9564 | 277.049 | 287.1181 | 297.0897 | 306.8845
WILSON TS T7/T8 | 121.2297 | 124.5974 | 128.5789 | 135.8688 | 143.201 | 149.7808 | 156.2232 | 162.1546 | 169.3252 | 177.1754 | 186.754 | 197.0444 | 208.0515 | 219.5485 | 230.9785 | 240.7483 | 248.0408 | 255.913 | 263.7013 | 271.3398
WILSON TS T3/T4 | 153.1774 | 167.3639 | 182.2896 | 198.3847 | 212.2384 | 235.9429 | 244.8234 | 256.4893 | 267.5024 | 278.1679 | 290.7591 | 316.9931 | 331.2481 | 345.8349 | 360.6026 | 375.2194 | 388.4648 | 402.0778 | 415.7838 | 429.5445
CTS #1 | 29.566 | 30.7674 | 30.7674 | 30.7674 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 33.5708 | 33.5708 | 33.5708 | 33.5708 | 33.5708 | 35.1728 | 35.1728 | 35.1728 | 35.1728 | 35.1728
CTS #2 | 88.2515 | 92.454 | 92.454 | 92.454 | 92.454 | 92.454 | 92.454 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589
CTS #3 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 44.188 | 44.188 | 53.1056 | 53.1056 | 62.0232 | 70.9408 | 70.9408 | 70.9408 | 70.9408 | 70.9408
CTS #4 | 0 | 0 | 0 | 0 | 2.5943 | 2.5943 | 2.5943 | 2.5943 | 2.5943 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 11.8375
Back to main menu

## Table 13
Back to main menu
Table 13: Winter Non-Coincident High Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 146.0568 | 152.5084 | 159.6128 | 167.9232 | 176.6479 | 176.7777 | 176.8549 | 177.0679 | 177.4527 | 177.8793 | 179.0651 | 180.4719 | 182.2828 | 184.0837 | 185.8734 | 187.6779 | 189.4735 | 191.2915 | 193.1432 | 195.017
ENFIELD TS T5/T6 | 119.6836 | 123.6733 | 133.9212 | 140.6977 | 145.7985 | 151.9134 | 157.9537 | 163.936 | 168.8457 | 174.2571 | 181.2007 | 188.5678 | 201.769 | 212.4887 | 220.8219 | 228.4316 | 234.8199 | 241.5502 | 248.2958 | 255.0018
SEATON MTS | 23.8466 | 33.4303 | 44.9908 | 59.0867 | 73.9254 | 88.4521 | 102.7657 | 120.8499 | 141.2058 | 162.8716 | 195.1717 | 223.1003 | 253.2869 | 285.3642 | 318.5734 | 351.9375 | 382.8274 | 412.5372 | 442.1552 | 471.5267
THORNTON TS | 143.522 | 162.9566 | 165.5711 | 169.6968 | 174.3428 | 181.8937 | 193.7771 | 211.0128 | 217.57 | 224.779 | 233.823 | 243.6289 | 254.1783 | 265.1684 | 276.1093 | 285.4559 | 292.4412 | 299.9976 | 307.4664 | 314.7878
WHITBY TS T1/T2 27.6 kV | 49.5174 | 49.7547 | 52.3426 | 55.3264 | 58.4378 | 62.1198 | 65.7452 | 70.8066 | 91.2154 | 112.7903 | 144.8494 | 171.628 | 200.1565 | 230.173 | 261.1067 | 289.3905 | 314.1817 | 338.9113 | 363.3596 | 387.3644
WHITBY TS T1/T2 44 kV | 87.3454 | 88.8266 | 98.1888 | 108.7733 | 120.081 | 133.1829 | 146.0866 | 163.7281 | 173.1752 | 183.277 | 199.0823 | 212.3303 | 226.6836 | 241.7853 | 257.3198 | 271.5235 | 283.9501 | 296.3434 | 308.6107 | 320.6612
WHITBY TS T3/T4 | 156.4537 | 156.5027 | 162.0868 | 168.7208 | 175.6457 | 183.9232 | 192.0512 | 203.576 | 212.6187 | 222.3191 | 254.6747 | 267.8018 | 282.135 | 297.1981 | 312.6927 | 326.8563 | 339.2457 | 351.6094 | 363.8471 | 375.8669
WILSON TS T7/T8 | 159.4787 | 164.3148 | 169.9572 | 179.8953 | 189.328 | 198.4781 | 207.5112 | 215.8654 | 225.8569 | 236.7744 | 249.7829 | 263.7008 | 278.4304 | 293.8162 | 309.1345 | 322.232 | 332.0346 | 342.6195 | 353.0821 | 363.3413
WILSON TS T3/T4 | 176.1155 | 192.5484 | 209.8732 | 228.5174 | 244.7034 | 272.194 | 282.7662 | 296.5406 | 309.5595 | 322.2083 | 336.8819 | 365.2256 | 381.649 | 398.4713 | 415.5061 | 432.3711 | 447.6619 | 463.3719 | 479.1885 | 495.0699
CTS #1 | 36.93 | 38.43 | 38.43 | 38.43 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 41.93 | 41.93 | 41.93 | 41.93 | 41.93 | 43.93 | 43.93 | 43.93 | 43.93 | 43.93
CTS #2 | 105 | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
CTS #3 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 49.6 | 49.6 | 59.6 | 59.6 | 69.6 | 79.6 | 79.6 | 79.6 | 79.6 | 79.6
CTS #4 | 0 | 0 | 0 | 0 | 3.02 | 3.02 | 3.02 | 3.02 | 3.02 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 13.78
Back to main menu

## Table 14
Back to main menu
Table 14: Summer Coincident Low Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 146.1566 | 146.5385 | 146.9706 | 147.7464 | 148.5518 | 149.4636 | 150.3884 | 150.4966 | 150.7063 | 150.8982 | 151.709 | 152.7398 | 154.2208 | 155.7437 | 157.2534 | 158.7318 | 160.2932 | 161.8605 | 163.4018 | 164.9876
ENFIELD TS T5/T6 | 89.0765 | 91.1015 | 97.0405 | 100.8785 | 103.6155 | 106.5303 | 109.0001 | 111.1052 | 113.5258 | 116.2098 | 119.6498 | 123.4714 | 130.5821 | 136.4778 | 141.3123 | 146.3077 | 151.4878 | 156.8054 | 162.0573 | 166.689
SEATON MTS | 10.7129 | 14.021 | 18.0246 | 23.357 | 28.7136 | 34.145 | 39.4786 | 44.9032 | 49.2316 | 53.8513 | 60.7327 | 66.9198 | 73.6444 | 80.8183 | 88.1509 | 95.6253 | 103.2767 | 111.4261 | 119.558 | 127.6946
THORNTON TS | 131.8775 | 150.0747 | 152.2137 | 153.0561 | 154.1404 | 155.5513 | 157.0037 | 158.9048 | 161.2393 | 163.9229 | 167.662 | 172.0308 | 177.1166 | 182.6266 | 188.4548 | 194.5547 | 200.9285 | 207.5098 | 213.9502 | 219.1213
WHITBY TS T1/T2 27.6 kV | 53.3317 | 50.6708 | 50.6768 | 50.7623 | 50.8287 | 50.9497 | 51.0869 | 51.3255 | 53.2074 | 55.1559 | 57.7327 | 60.2946 | 62.8132 | 65.3184 | 67.8449 | 70.301 | 72.7931 | 75.3952 | 77.9829 | 80.5867
WHITBY TS T1/T2 44 kV | 61.8663 | 53.9025 | 55.293 | 56.8045 | 58.3348 | 59.9332 | 61.5443 | 63.3878 | 64.2219 | 64.9724 | 66.2017 | 67.3234 | 68.633 | 69.9343 | 71.2465 | 72.5098 | 73.8028 | 75.1507 | 76.4858 | 77.8326
WHITBY TS T3/T4 | 166.8209 | 159.6734 | 159.045 | 158.745 | 158.4231 | 158.2264 | 158.0611 | 158.1774 | 158.1128 | 158.0635 | 175.8043 | 176.852 | 178.1903 | 179.5147 | 180.7929 | 181.9981 | 183.2815 | 184.6126 | 185.9033 | 187.2249
WILSON TS T7/T8 | 147.4679 | 148.4889 | 150.0846 | 154.4139 | 158.7338 | 161.3013 | 163.9293 | 167.1058 | 170.9174 | 175.2375 | 180.4777 | 186.5416 | 193.5493 | 201.0906 | 209.102 | 217.4529 | 226.1414 | 235.1094 | 243.9093 | 250.9567
WILSON TS T3/T4 | 135.8551 | 147.3591 | 159.2641 | 172.0519 | 183.0603 | 202.412 | 209.0405 | 218.3571 | 227.033 | 235.4736 | 245.3737 | 273.7478 | 285.2864 | 297.2093 | 309.3158 | 321.5271 | 333.2759 | 345.2355 | 357.1201 | 368.8114
CTS #1 | 32.0534 | 33.3557 | 33.3557 | 33.3557 | 34.658 | 34.658 | 34.658 | 34.658 | 34.658 | 34.658 | 36.3944 | 36.3944 | 36.3944 | 36.3944 | 36.3944 | 38.1308 | 38.1308 | 38.1308 | 38.1308 | 38.1308
CTS #2 | 90.7167 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 95.0365 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762 | 103.6762
CTS #3 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 38.1095 | 47.7369 | 47.7369 | 57.3643 | 57.3643 | 66.9916 | 76.619 | 76.619 | 76.619 | 76.619 | 76.619
CTS #4 | 0 | 0 | 0 | 0 | 2.6658 | 2.6658 | 2.6658 | 2.6658 | 2.6658 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 8.4034 | 12.1638
Back to main menu

## Table 15
Back to main menu
Table 15: Summer Non-Coincident Low Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 163.5385 | 164.1627 | 164.8641 | 165.9201 | 167.0169 | 168.2311 | 169.4643 | 169.7632 | 170.1656 | 170.5521 | 171.5594 | 172.7887 | 174.4702 | 176.1956 | 177.9099 | 179.5948 | 181.3648 | 183.1428 | 184.897 | 186.6977
ENFIELD TS T5/T6 | 106.8888 | 109.4726 | 116.4343 | 121.1998 | 124.6803 | 128.3695 | 131.5315 | 134.243 | 137.3218 | 140.7181 | 144.9608 | 149.6204 | 157.6264 | 164.476 | 170.3098 | 176.3506 | 182.6021 | 189.0234 | 195.3736 | 200.9726
SEATON MTS | 12.154 | 15.9283 | 20.5068 | 26.6067 | 32.7506 | 38.9945 | 45.1427 | 51.4053 | 56.4218 | 61.7847 | 69.721 | 76.8553 | 84.5817 | 92.8225 | 101.2483 | 109.8416 | 118.633 | 127.9978 | 137.3475 | 146.7003
THORNTON TS | 156.4015 | 178.2854 | 181.1745 | 182.4738 | 184.0727 | 186.0595 | 188.1043 | 190.6619 | 193.726 | 197.2214 | 201.8422 | 207.1695 | 213.2937 | 219.9211 | 226.9381 | 234.3011 | 241.9782 | 249.908 | 257.6793 | 263.9165
WHITBY TS T1/T2 27.6 kV | 61.9034 | 58.9021 | 59.001 | 59.183 | 59.3495 | 59.5742 | 59.8172 | 60.1662 | 62.4346 | 64.7878 | 67.8533 | 70.8406 | 73.7933 | 76.7339 | 79.6966 | 82.5902 | 85.5207 | 88.5821 | 91.6301 | 94.6952
WHITBY TS T1/T2 44 kV | 68.9688 | 60.1601 | 61.781 | 63.532 | 65.3108 | 67.1668 | 69.0403 | 71.1579 | 72.1359 | 73.037 | 74.4483 | 75.7284 | 77.1997 | 78.663 | 80.1376 | 81.5637 | 83.02 | 84.5389 | 86.0453 | 87.5639
WHITBY TS T3/T4 | 185.2818 | 177.6094 | 177.1242 | 176.973 | 176.8054 | 176.7688 | 176.7665 | 177.0532 | 177.1162 | 177.2007 | 195.1029 | 196.2912 | 197.773 | 199.2412 | 200.6636 | 202.0134 | 203.4416 | 204.9245 | 206.3672 | 207.8414
WILSON TS T7/T8 | 178.0009 | 179.5417 | 181.8008 | 187.3278 | 192.4133 | 195.8374 | 199.3466 | 203.4997 | 208.3966 | 213.9244 | 220.4763 | 227.966 | 236.5183 | 245.7219 | 255.5018 | 265.7317 | 276.3589 | 287.3329 | 298.1127 | 306.746
WILSON TS T3/T4 | 151.8487 | 164.7484 | 178.1503 | 192.5244 | 204.9664 | 226.6867 | 234.3206 | 244.9303 | 254.8213 | 264.4609 | 275.6289 | 305.2844 | 318.1469 | 331.4425 | 344.9521 | 358.5963 | 371.705 | 385.051 | 398.328 | 411.3813
CTS #1 | 36.93 | 38.43 | 38.43 | 38.43 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 41.93 | 41.93 | 41.93 | 41.93 | 41.93 | 43.93 | 43.93 | 43.93 | 43.93 | 43.93
CTS #2 | 105 | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
CTS #3 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 49.6 | 49.6 | 59.6 | 59.6 | 69.6 | 79.6 | 79.6 | 79.6 | 79.6 | 79.6
CTS #4 | 0 | 0 | 0 | 0 | 3.02 | 3.02 | 3.02 | 3.02 | 3.02 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 13.78
Back to main menu

## Table 16
Back to main menu
Table 16: Winter Coincident Low Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 122.5466 | 123.6743 | 125.1094 | 127.0321 | 128.8884 | 131.0398 | 133.2177 | 135.6551 | 135.8778 | 136.1338 | 137.01 | 138.0661 | 139.4518 | 140.8284 | 142.1948 | 143.5723 | 144.9417 | 146.3283 | 147.7415 | 149.1717
ENFIELD TS T5/T6 | 98.8086 | 101.0872 | 108.91 | 113.2725 | 116.1265 | 119.2555 | 121.7754 | 123.9718 | 126.5876 | 129.5602 | 133.5142 | 137.7529 | 147.8139 | 155.3334 | 160.6534 | 166.2136 | 171.8038 | 177.5431 | 183.2884 | 188.3727
SEATON MTS | 6.2836 | 9.6656 | 14.2969 | 20.3235 | 26.5016 | 32.9123 | 39.1234 | 45.6388 | 51.5733 | 57.9667 | 66.5131 | 74.4802 | 83.1753 | 92.2787 | 101.5603 | 111.0299 | 120.4787 | 130.5851 | 140.7554 | 150.9591
THORNTON TS | 121.8969 | 136.2115 | 140.7435 | 142.1813 | 143.5961 | 145.3994 | 147.077 | 149.2231 | 151.848 | 154.881 | 158.8763 | 163.3495 | 168.6139 | 174.248 | 180.2047 | 186.5255 | 192.9844 | 199.6456 | 206.2314 | 211.501
WHITBY TS T1/T2 27.6 kV | 37.4475 | 35.8694 | 36.2556 | 36.753 | 37.1724 | 37.6871 | 38.2181 | 38.8611 | 42.1447 | 45.6943 | 49.9889 | 53.9684 | 58.2732 | 62.5813 | 66.8706 | 71.1622 | 75.4335 | 79.8716 | 84.3252 | 88.7857
WHITBY TS T1/T2 44 kV | 54.5268 | 50.1247 | 52.0157 | 54.1575 | 56.2877 | 58.6125 | 60.9719 | 63.6156 | 64.841 | 66.2202 | 68.1425 | 69.9568 | 72.025 | 74.0947 | 76.1419 | 78.1904 | 80.2185 | 82.3249 | 84.4457 | 86.5725
WHITBY TS T3/T4 | 114.2035 | 110.1549 | 110.5057 | 111.2264 | 111.7176 | 112.4433 | 113.1839 | 114.208 | 114.8655 | 115.7035 | 134.125 | 135.7816 | 137.8359 | 139.8811 | 141.8905 | 143.9003 | 145.8784 | 147.936 | 150.0148 | 152.1012
WILSON TS T7/T8 | 112.543 | 113.8052 | 115.7173 | 120.1063 | 124.5101 | 127.1556 | 129.6587 | 132.6819 | 136.2238 | 140.2584 | 145.1983 | 150.6156 | 156.8744 | 163.6003 | 170.7015 | 178.2382 | 185.9323 | 193.8538 | 201.6894 | 207.964
WILSON TS T3/T4 | 126.0596 | 137.3717 | 149.317 | 162.1734 | 173.1111 | 191.9627 | 198.6801 | 207.862 | 216.4128 | 224.6671 | 234.3972 | 257.6442 | 268.7657 | 280.1717 | 291.8104 | 303.6796 | 314.8573 | 326.2871 | 337.7895 | 349.0532
CTS #1 | 29.566 | 30.7674 | 30.7674 | 30.7674 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 31.9689 | 33.5708 | 33.5708 | 33.5708 | 33.5708 | 33.5708 | 35.1728 | 35.1728 | 35.1728 | 35.1728 | 35.1728
CTS #2 | 88.2515 | 92.454 | 92.454 | 92.454 | 92.454 | 92.454 | 92.454 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589 | 100.8589
CTS #3 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 35.2704 | 44.188 | 44.188 | 53.1056 | 53.1056 | 62.0232 | 70.9408 | 70.9408 | 70.9408 | 70.9408 | 70.9408
CTS #4 | 0 | 0 | 0 | 0 | 2.5943 | 2.5943 | 2.5943 | 2.5943 | 2.5943 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 8.178 | 11.8375
Back to main menu

## Table 17
Back to main menu
Table 17: Winter Non-Coincident Low Forecast
Station | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
CHERRYWOOD TS | 130.3033 | 131.5895 | 133.2032 | 135.3207 | 137.388 | 139.7665 | 142.18 | 144.8671 | 145.1819 | 145.5309 | 146.5011 | 147.652 | 149.1336 | 150.607 | 152.0712 | 153.5476 | 155.0166 | 156.504 | 158.019 | 159.552
ENFIELD TS T5/T6 | 106.8175 | 109.3435 | 117.6064 | 122.3701 | 125.5501 | 129.0186 | 131.8358 | 134.2984 | 137.2025 | 140.4865 | 144.7879 | 149.3858 | 159.8327 | 167.7626 | 173.5124 | 179.5218 | 185.5685 | 191.7778 | 197.9911 | 203.4896
SEATON MTS | 8.0655 | 12.4371 | 18.4407 | 26.2646 | 34.3316 | 42.7323 | 50.9158 | 59.5241 | 67.3951 | 75.8939 | 87.1563 | 97.6486 | 109.0476 | 120.9864 | 133.1647 | 145.5918 | 157.9991 | 171.2703 | 184.6242 | 198.0228
THORNTON TS | 137.4072 | 153.7365 | 159.0474 | 160.8292 | 162.6287 | 164.8596 | 166.9612 | 169.5853 | 172.7399 | 176.3612 | 180.9872 | 186.134 | 192.1309 | 198.5523 | 205.3459 | 212.5551 | 219.9266 | 227.529 | 235.0434 | 241.0577
WHITBY TS T1/T2 27.6 kV | 42.9068 | 41.1512 | 41.6491 | 42.2669 | 42.8157 | 43.4686 | 44.1424 | 44.9418 | 48.7919 | 52.9533 | 57.9538 | 62.5829 | 67.5739 | 72.569 | 77.5461 | 82.5264 | 87.4873 | 92.643 | 97.8151 | 102.9951
WHITBY TS T1/T2 44 kV | 65.2998 | 60.13 | 62.5037 | 65.1666 | 67.8561 | 70.7788 | 73.7557 | 77.0753 | 78.668 | 80.4441 | 82.8243 | 85.0599 | 87.5732 | 90.0885 | 92.5817 | 95.077 | 97.5523 | 100.1242 | 102.7111 | 105.3044
WHITBY TS T3/T4 | 141.0234 | 136.4212 | 137.1201 | 138.2166 | 139.1113 | 140.2681 | 141.454 | 142.9656 | 144.0017 | 145.2485 | 164.1418 | 166.2324 | 168.7454 | 171.2497 | 173.7187 | 176.1887 | 178.6276 | 181.1648 | 183.7238 | 186.291
WILSON TS T7/T8 | 148.0995 | 150.1391 | 153.0234 | 159.1049 | 164.6195 | 168.5004 | 172.2281 | 176.6319 | 181.7039 | 187.4377 | 194.1996 | 201.5626 | 209.937 | 218.9372 | 228.4558 | 238.5588 | 248.8888 | 259.5288 | 270.0467 | 278.4725
WILSON TS T3/T4 | 145.2554 | 158.3684 | 172.2428 | 187.1433 | 199.936 | 221.8094 | 229.8327 | 240.687 | 250.8108 | 260.6169 | 271.9646 | 296.8483 | 309.6625 | 322.8182 | 336.2449 | 349.9398 | 362.842 | 376.0312 | 389.3037 | 402.3031
CTS #1 | 36.93 | 38.43 | 38.43 | 38.43 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 39.93 | 41.93 | 41.93 | 41.93 | 41.93 | 41.93 | 43.93 | 43.93 | 43.93 | 43.93 | 43.93
CTS #2 | 105 | 110 | 110 | 110 | 110 | 110 | 110 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
CTS #3 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 39.6 | 49.6 | 49.6 | 59.6 | 59.6 | 69.6 | 79.6 | 79.6 | 79.6 | 79.6 | 79.6
CTS #4 | 0 | 0 | 0 | 0 | 3.02 | 3.02 | 3.02 | 3.02 | 3.02 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 9.52 | 13.78
Back to main menu