## Menu
London Area Integrated Regional Resource Plan Data Tables December 2025 - Summer
Table 2: IRRP eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 3: Effective DG Contribution to Coincident Peak
Table 4: Extreme-weather Net Coincident Demand - Reference Forecast
Table 5: Extreme-weather Net Concident Demand - High Growth Scenario
Table 6: Extreme-weather Net Coincident Demand - Low Growth Scenario
Table 7: Extreme-weather Net Non-coincident Demand - Reference Forecast
Table 8: Extreme-weather Net Non-concident Demand - High Growth Scenario
Table 9: Extreme-weather Net Non-coincident Demand - Low Growth Scenario
Table 10: Historical Weather-Corrected Gross Coincident Demand
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 2
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 2 IRRP eDSM Forecast (MW) - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 0.43948 | 0.85743 | 1.4052 | 1.85 | 2.3751 | 2.836 | 3.3338 | 3.8063 | 4.2547 | 4.701 | 4.934 | 5.0876 | 5.1484 | 5.2059 | 5.2637 | 5.3165 | 5.3733 | 5.4333 | 5.497 | 5.557
Buchanan TS | 2.0517 | 3.8385 | 6.0826 | 7.9843 | 10.0945 | 12.3188 | 14.446 | 16.4757 | 18.4618 | 20.4753 | 21.8069 | 22.8664 | 23.4639 | 24.048 | 24.6393 | 25.1963 | 25.7526 | 26.3269 | 26.9257 | 27.5217
Clarke TS | 1.4221 | 2.6641 | 4.2627 | 5.6609 | 7.1057 | 8.3374 | 9.6461 | 10.8535 | 11.9709 | 13.0683 | 13.7225 | 14.1772 | 14.3564 | 14.5283 | 14.7041 | 14.8609 | 15.0177 | 15.1865 | 15.3706 | 15.5525
Commerce Way TS | 0.7636 | 1.5714 | 2.6176 | 4.6632 | 5.7593 | 7.9707 | 9.2235 | 10.3905 | 11.4923 | 12.6053 | 13.2668 | 13.8065 | 14.0016 | 14.1085 | 14.219 | 14.3385 | 14.4404 | 14.5916 | 14.7096 | 14.829
Edgeware TS | 1.808 | 4.1482 | 7.5724 | 10.3876 | 13.7599 | 16.9538 | 20.3526 | 23.7357 | 27.0508 | 30.4815 | 32.0031 | 33.0004 | 33.391 | 33.8012 | 34.2202 | 34.5763 | 34.9593 | 35.3416 | 35.7585 | 36.1678
Highbury TS | 0.82119 | 1.5391 | 2.3989 | 3.1204 | 3.9436 | 4.6481 | 5.3954 | 6.0892 | 6.735 | 7.3717 | 7.7645 | 8.0425 | 8.1691 | 8.2926 | 8.419 | 8.5353 | 8.6499 | 8.7722 | 8.904 | 9.0352
Ingersoll TS | 0.80055 | 1.6336 | 2.8186 | 3.5984 | 4.3507 | 5.1488 | 5.9724 | 6.7459 | 7.4911 | 8.2668 | 8.7153 | 9.1236 | 9.2562 | 9.3424 | 9.429 | 9.5183 | 9.5971 | 9.6882 | 9.7686 | 9.8454
Longwood TS | 0.63414 | 1.4233 | 2.5319 | 3.3555 | 4.3242 | 5.2049 | 6.0425 | 6.8172 | 7.5697 | 8.2696 | 8.7031 | 9.0333 | 9.1669 | 9.3042 | 9.4447 | 9.5719 | 9.7094 | 9.8555 | 10.0134 | 10.1703
Nelson TS | 0.87494 | 1.6584 | 2.6091 | 3.4207 | 4.3345 | 5.142 | 5.9943 | 6.799 | 7.5585 | 8.322 | 9.1808 | 9.5495 | 9.7363 | 9.9245 | 10.1179 | 10.684 | 10.8562 | 11.0383 | 11.2332 | 11.4289
Strathroy TS | 0.66669 | 1.2799 | 2.0384 | 2.6834 | 3.4006 | 4.0435 | 4.7254 | 5.374 | 5.9897 | 6.6132 | 7.0076 | 7.3083 | 7.4647 | 7.622 | 7.7822 | 7.9296 | 8.0832 | 8.2408 | 8.4069 | 8.5729
Talbot T1/T2 | 1.5287 | 3.0512 | 4.7979 | 6.3664 | 8.3022 | 9.9759 | 11.5844 | 13.0646 | 14.4348 | 15.7842 | 16.6477 | 17.1932 | 17.4835 | 18.2109 | 18.4496 | 18.7453 | 19.0094 | 19.2925 | 19.5891 | 19.9788
Talbot T3/T4 | 2.4158 | 4.7913 | 7.5743 | 9.9944 | 12.7089 | 15.1525 | 17.5253 | 19.7303 | 21.7828 | 23.8515 | 25.0749 | 25.8974 | 26.2511 | 27.1249 | 27.4326 | 27.7815 | 28.0891 | 28.4148 | 28.7581 | 29.2108
Tillsonburg TS | 1.2961 | 2.7278 | 4.2697 | 5.6077 | 7.0662 | 8.449 | 9.8801 | 11.1892 | 12.4272 | 13.6638 | 14.4598 | 15.0787 | 15.3745 | 15.6244 | 15.8789 | 16.1445 | 16.3853 | 16.6798 | 16.9415 | 17.2026
Wonderland TS | 1.1759 | 2.2417 | 3.5968 | 4.7636 | 6.1986 | 7.4151 | 8.6413 | 9.7819 | 10.8326 | 11.8651 | 12.5321 | 12.973 | 13.2135 | 13.4617 | 13.7165 | 13.9553 | 14.1885 | 14.4379 | 14.7067 | 14.9751
Woodstock TS | 0.98287 | 2.0753 | 3.4699 | 4.6737 | 6.0171 | 7.2934 | 8.5694 | 9.7907 | 10.9555 | 12.1123 | 12.9264 | 13.5462 | 13.9331 | 14.104 | 14.2809 | 14.4721 | 14.6369 | 14.8748 | 15.0657 | 15.2593
Total Region | 17.6817 | 35.5012 | 58.046 | 78.1303 | 99.7412 | 120.8901 | 141.3325 | 160.6438 | 179.0074 | 197.4515 | 208.7455 | 216.6839 | 220.4103 | 224.7036 | 227.9977 | 231.6263 | 234.7483 | 238.1747 | 241.6485 | 245.3074
DRAFT

## Table 3
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 3 Effective DG Contribution to Coincident Peak (MW) - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707 | 0.026707
Buchanan TS | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709 | 16.709
Clarke TS | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756 | 3.756
Commerce Way TS | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014 | 3.5014
Edgeware TS | 5.7166 | 5.7166 | 5.7166 | 5.7166 | 5.7166 | 5.7217 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845 | 6.3845
Highbury TS | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732 | 6.9732
Ingersoll TS | 15.9848 | 15.9848 | 15.9848 | 15.9848 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363 | 16.363
Longwood TS | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786 | 1.4786
Nelson TS | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316 | 16.8316
Strathroy TS | 10.9641 | 10.9641 | 10.9641 | 10.9641 | 10.9641 | 10.9641 | 10.9641 | 10.9975 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638 | 11.0638
Talbot T1/T2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Talbot T3/T4 | 11.9358 | 11.9358 | 11.9358 | 11.9358 | 11.9358 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664 | 12.8664
Tillsonburg TS | 4.2419 | 4.2419 | 4.2419 | 4.2419 | 4.2419 | 4.2486 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374 | 5.5374
Wonderland TS | 2.5572 | 2.5572 | 2.5572 | 2.5572 | 2.5572 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721 | 3.0721
Woodstock TS | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126 | 2.9126
Total Region | 103.5894 | 103.5894 | 103.5894 | 103.5894 | 103.9677 | 105.4249 | 107.3765 | 107.41 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763 | 107.4763
DRAFT

## Table 4
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 4 Extreme-weather Net Coincident Demand - Reference Forecast (MW) - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 43.9101 | 46.1462 | 48.8123 | 49.8373 | 50.8046 | 51.8858 | 52.9604 | 54.0957 | 55.2972 | 56.5509 | 57.348 | 58.2952 | 59.4218 | 60.6581 | 62.0254 | 63.59 | 65.3518 | 67.3601 | 69.6753 | 72.3806
Buchanan TS | 179.7927 | 181.0867 | 185.2376 | 189.7235 | 194.2446 | 204.2044 | 208.6994 | 213.3523 | 218.7441 | 224.3131 | 230.682 | 237.3635 | 244.518 | 251.7232 | 258.9639 | 266.2812 | 273.4061 | 280.5484 | 287.7135 | 294.9363
Clarke TS | 133.8971 | 135.0895 | 139.6439 | 144.1183 | 145.0364 | 146.2014 | 147.2743 | 148.4848 | 149.8957 | 151.4967 | 153.6264 | 155.9644 | 158.5587 | 161.1629 | 163.7672 | 166.3905 | 168.8801 | 171.3427 | 173.7791 | 176.2031
Commerce Way TS | 63.7588 | 68.0916 | 74.3579 | 103.5653 | 103.948 | 122.0331 | 122.3199 | 122.7081 | 123.1775 | 123.6521 | 124.5949 | 125.6763 | 127.1195 | 128.2363 | 129.3659 | 130.5032 | 131.6749 | 132.8142 | 134.0041 | 135.21
Edgeware TS | 136.6749 | 170.086 | 202.3265 | 213.2428 | 223.7681 | 234.6347 | 244.8373 | 256.0428 | 267.4912 | 279.0026 | 282.654 | 286.9852 | 291.9458 | 297.0552 | 302.3331 | 307.862 | 313.5646 | 319.2837 | 325.2063 | 331.3999
Highbury TS | 72.6433 | 73.3556 | 73.9343 | 74.7491 | 75.6455 | 76.6886 | 77.6906 | 78.776 | 80.0076 | 81.4004 | 83.1114 | 84.9434 | 86.9057 | 88.8692 | 90.8292 | 92.7956 | 94.6461 | 96.4726 | 98.2772 | 100.0673
Ingersoll TS | 59.9028 | 63.9614 | 75.6712 | 76.1679 | 76.3355 | 76.8638 | 77.4142 | 78.0718 | 78.8272 | 79.6363 | 80.8755 | 82.2816 | 84.119 | 86.091 | 88.3004 | 90.8024 | 93.6818 | 97.0057 | 100.9092 | 105.526
Longwood TS | 55.1669 | 66.4116 | 76.4242 | 77.5156 | 77.9851 | 79.5959 | 80.2635 | 81.031 | 82.3681 | 83.2794 | 84.4918 | 86.3575 | 87.9416 | 89.558 | 91.2076 | 92.9074 | 94.6342 | 96.3823 | 98.1568 | 99.9707
Nelson TS | 62.3189 | 63.3533 | 64.2519 | 65.42 | 66.7224 | 68.1767 | 69.5527 | 71.0225 | 72.6637 | 74.4902 | 80.5021 | 82.8787 | 85.4237 | 87.9775 | 90.5381 | 96.9491 | 99.3583 | 101.7465 | 104.1154 | 106.474
Strathroy TS | 47.5033 | 48.9257 | 50.2866 | 51.3639 | 52.4074 | 53.5642 | 54.7216 | 55.927 | 57.1732 | 58.5191 | 60.1357 | 61.8941 | 63.8455 | 65.8447 | 67.89 | 69.9975 | 72.1484 | 74.3279 | 76.5491 | 78.821
Talbot T1/T2 | 133.272 | 140.9639 | 142.6552 | 143.9678 | 145.0976 | 147.391 | 148.9995 | 150.7824 | 153.1968 | 156.0714 | 159.6001 | 163.4889 | 167.56 | 175.3893 | 178.7718 | 182.8981 | 186.4673 | 189.9534 | 193.2722 | 197.4025
Talbot T3/T4 | 169.3528 | 176.3649 | 177.1902 | 177.8186 | 178.3338 | 179.0878 | 180.0866 | 181.2961 | 183.1764 | 185.4767 | 188.7869 | 192.5369 | 196.679 | 204.4926 | 207.933 | 212.1292 | 215.7702 | 219.3256 | 222.7063 | 226.8788
Tillsonburg TS | 114.7243 | 126.1584 | 128.8221 | 130.047 | 131.7909 | 133.0077 | 133.6609 | 135.1537 | 136.7619 | 138.4214 | 140.7493 | 143.3199 | 146.2895 | 149.3938 | 152.5984 | 155.9167 | 159.4093 | 163.0289 | 166.9007 | 171.0408
Wonderland TS | 103.955 | 105.5961 | 109.4359 | 110.8292 | 112.2439 | 113.4217 | 115.079 | 116.8873 | 118.9519 | 121.2849 | 124.1217 | 127.2892 | 130.655 | 134.0431 | 137.4575 | 140.9137 | 144.147 | 147.3618 | 150.5598 | 153.7553
Woodstock TS | 80.6392 | 88.8751 | 95.6344 | 97.5631 | 99.3681 | 101.2567 | 103.173 | 105.1716 | 107.2551 | 109.3753 | 111.8674 | 114.5837 | 117.563 | 119.0607 | 120.5781 | 122.1072 | 123.689 | 125.2244 | 126.834 | 128.4685
Total CTS* Loads | 16.7738 | 235.6896 | 400.1771 | 498.3086 | 648.2824 | 648.2917 | 648.2917 | 648.2917 | 648.1205 | 648.1205 | 648.1205 | 648.1205 | 648.1205 | 647.8637 | 647.8637 | 661.5613 | 661.5613 | 661.5613 | 661.3901 | 661.3901
Total Region | 1474.2859 | 1790.1557 | 2044.8612 | 2204.2382 | 2382.0143 | 2436.3053 | 2465.0247 | 2497.0951 | 2533.1082 | 2571.091 | 2611.268 | 2651.979 | 2696.6661 | 2747.4193 | 2790.4234 | 2853.605 | 2898.3902 | 2943.7396 | 2990.049 | 3039.925
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 5
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 5 Extreme-weather Net Concident Demand - High Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 45.06 | 48.4598 | 52.3047 | 54.4869 | 56.6308 | 60.0217 | 62.3279 | 64.7254 | 67.2255 | 69.8213 | 71.16 | 72.7097 | 74.5135 | 76.5194 | 78.77 | 81.3652 | 84.3327 | 87.7644 | 91.7738 | 96.5109
Buchanan TS | 180.6705 | 182.908 | 191.3281 | 200.1979 | 209.3033 | 223.8877 | 233.0135 | 242.346 | 253.0869 | 264.1726 | 276.1553 | 288.4846 | 301.2969 | 314.1921 | 327.1595 | 340.2406 | 353.0733 | 365.9558 | 378.9044 | 391.9607
Clarke TS | 134.5034 | 136.3581 | 142.8279 | 149.3095 | 151.162 | 153.2868 | 155.3316 | 157.5414 | 160.0403 | 162.8667 | 166.2902 | 169.9275 | 173.8042 | 177.6917 | 181.5815 | 185.4892 | 189.2182 | 192.9073 | 196.5608 | 200.1902
Commerce Way TS | 64.0291 | 68.6433 | 75.2017 | 114.0833 | 114.7958 | 135.422 | 136.066 | 136.8239 | 137.6756 | 138.5456 | 139.8971 | 141.4009 | 143.2805 | 144.8483 | 146.4436 | 148.0618 | 149.7299 | 151.3818 | 153.1005 | 154.8521
Edgeware TS | 165.1468 | 226.7793 | 287.8304 | 328.0393 | 368.5546 | 410.1405 | 451.8291 | 495.3316 | 539.9255 | 585.1385 | 597.4803 | 610.6734 | 624.6545 | 638.9507 | 653.5908 | 668.6683 | 684.1188 | 699.7731 | 715.8375 | 732.4033
Highbury TS | 73.0816 | 74.2814 | 75.3596 | 76.752 | 78.374 | 80.1637 | 81.9317 | 83.806 | 85.9055 | 88.2894 | 91.0512 | 93.938 | 96.937 | 99.935 | 102.9286 | 105.9251 | 108.7573 | 111.5521 | 114.3152 | 117.0516
Ingersoll TS | 60.3853 | 64.9461 | 77.1804 | 78.9866 | 80.4961 | 83.4288 | 85.405 | 87.5416 | 89.8395 | 92.268 | 95.22 | 98.4526 | 102.256 | 105.5943 | 109.3794 | 113.7167 | 118.7538 | 124.6364 | 131.5982 | 139.8959
Longwood TS | 55.4332 | 66.9355 | 79.4651 | 83.4901 | 86.9772 | 91.6934 | 95.558 | 97.3993 | 99.9029 | 102.0423 | 104.5467 | 107.7338 | 110.6693 | 113.6679 | 116.7311 | 119.8768 | 123.0825 | 126.3425 | 129.6625 | 133.0566
Nelson TS | 62.8989 | 64.5791 | 66.1455 | 68.0856 | 70.3507 | 72.8025 | 75.1773 | 77.6822 | 80.4606 | 83.5783 | 103.5066 | 107.3162 | 111.2835 | 115.2691 | 119.2729 | 139.7804 | 143.5826 | 147.3569 | 151.1092 | 154.8469
Strathroy TS | 52.4915 | 58.0823 | 63.7408 | 65.3463 | 67.0573 | 69.0286 | 71.1552 | 73.4932 | 76.0435 | 78.7927 | 81.9162 | 85.2057 | 88.7127 | 92.2927 | 95.9444 | 99.6844 | 103.4944 | 107.3581 | 111.2891 | 115.2969
Talbot T1/T2 | 134.0745 | 144.9053 | 147.8153 | 150.2577 | 152.7734 | 156.7709 | 159.8445 | 163.1266 | 167.307 | 172.2459 | 177.9622 | 184.0592 | 190.2756 | 201.6323 | 206.8823 | 213.124 | 218.5634 | 223.8651 | 228.9187 | 235.0526
Talbot T3/T4 | 170.1874 | 180.3682 | 182.4395 | 184.2225 | 186.1457 | 188.6228 | 191.1024 | 193.8239 | 197.48 | 201.8513 | 207.3527 | 213.311 | 219.5951 | 230.9293 | 236.2265 | 242.5236 | 248.0181 | 253.3691 | 258.4609 | 264.6099
Tillsonburg TS | 120.663 | 139.9315 | 146.6212 | 152.436 | 158.8763 | 166.7095 | 172.0214 | 177.7222 | 183.5838 | 189.5469 | 196.0635 | 202.8858 | 210.1795 | 216.9169 | 223.8499 | 231.0098 | 238.479 | 246.2376 | 254.4449 | 263.1598
Wonderland TS | 105.6351 | 109.0466 | 114.6893 | 118.2237 | 122.0178 | 125.6256 | 129.7301 | 134.0409 | 138.7463 | 143.9278 | 149.7294 | 155.9511 | 162.3736 | 168.8479 | 175.3806 | 181.9826 | 188.2689 | 194.5413 | 200.806 | 207.0732
Woodstock TS | 81.0223 | 89.6577 | 96.8321 | 99.1922 | 101.445 | 106.1225 | 108.5247 | 111.0272 | 113.633 | 116.2945 | 119.3474 | 122.6444 | 126.2249 | 128.3452 | 130.5067 | 132.7022 | 134.9733 | 137.2216 | 139.5682 | 141.9645
Total CTS* Loads | 16.7738 | 235.6896 | 400.1771 | 498.3086 | 648.2824 | 648.2917 | 648.2917 | 648.2917 | 648.1205 | 648.1205 | 661.8181 | 661.8181 | 661.8181 | 661.5613 | 661.5613 | 661.5613 | 661.5613 | 661.5613 | 661.3901 | 661.3901
Total Region | 1522.0565 | 1891.5719 | 2199.9586 | 2421.4184 | 2653.2425 | 2772.0186 | 2857.31 | 2944.723 | 3038.9762 | 3137.5023 | 3239.497 | 3316.512 | 3397.8752 | 3487.1939 | 3566.2092 | 3665.712 | 3748.0074 | 3831.8243 | 3917.74 | 4009.315
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 6
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 6 Extreme-weather Net Coincident Demand - Low Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 42.8354 | 43.9867 | 45.5571 | 45.5707 | 45.5132 | 45.5422 | 45.5468 | 45.5913 | 45.6774 | 45.7866 | 46.1345 | 46.5925 | 47.181 | 47.8191 | 48.5136 | 49.2983 | 50.1659 | 51.138 | 52.2402 | 53.5125
Buchanan TS | 179.0118 | 179.4547 | 180.7522 | 182.262 | 183.5811 | 184.7866 | 186.0473 | 187.4191 | 189.0727 | 190.7155 | 193.057 | 195.6854 | 198.7886 | 201.923 | 205.0722 | 208.2815 | 211.3699 | 214.4728 | 217.5896 | 220.7525
Clarke TS | 133.3945 | 134.026 | 136.2717 | 138.3309 | 138.3725 | 138.6369 | 138.7985 | 139.0653 | 139.4277 | 139.8151 | 140.6503 | 141.6868 | 142.9978 | 144.319 | 145.6412 | 146.9893 | 148.2522 | 149.5119 | 150.7677 | 152.0369
Commerce Way TS | 63.4899 | 67.5454 | 73.5267 | 93.582 | 93.2231 | 91.7541 | 91.2492 | 90.8356 | 90.4931 | 90.1454 | 90.2553 | 90.4932 | 91.0819 | 91.7653 | 92.4517 | 93.1357 | 93.8439 | 94.5094 | 95.2149 | 95.9258
Edgeware TS | 111.5917 | 146.959 | 168.1331 | 167.8667 | 167.0807 | 166.5068 | 165.1245 | 164.4615 | 163.9088 | 163.2848 | 164.6161 | 166.5203 | 169.0829 | 171.6809 | 174.3293 | 177.1048 | 179.9231 | 182.8196 | 185.7685 | 188.823
Highbury TS | 72.3001 | 72.6169 | 72.7881 | 73.1048 | 73.3279 | 73.6775 | 73.9684 | 74.315 | 74.7137 | 75.1246 | 75.7826 | 76.5559 | 77.4787 | 78.4057 | 79.3331 | 80.2758 | 81.1529 | 82.0295 | 82.9058 | 83.7923
Ingersoll TS | 59.4734 | 63.0895 | 74.3416 | 74.2607 | 73.8311 | 73.7391 | 73.6413 | 73.6177 | 73.6518 | 73.691 | 74.1011 | 74.6055 | 75.4518 | 76.4269 | 77.5034 | 78.7038 | 80.0719 | 81.6236 | 83.4301 | 85.5446
Longwood TS | 54.4665 | 65.3322 | 74.9137 | 75.6133 | 75.6713 | 76.8505 | 77.0663 | 77.3581 | 78.1987 | 78.5928 | 79.2671 | 80.5733 | 81.5764 | 82.5901 | 83.6151 | 84.6682 | 85.7261 | 86.7904 | 87.8583 | 88.9427
Nelson TS | 61.8574 | 62.3606 | 62.7079 | 63.208 | 63.621 | 64.1546 | 64.6093 | 65.1187 | 65.6828 | 66.2515 | 70.0782 | 71.0666 | 72.2394 | 73.4172 | 74.5987 | 78.7911 | 79.903 | 81.0178 | 82.1349 | 83.2671
Strathroy TS | 44.9283 | 45.3001 | 45.5029 | 45.3816 | 45.186 | 45.0631 | 44.9002 | 44.7363 | 44.5724 | 44.4671 | 44.5914 | 44.8158 | 45.1909 | 45.5719 | 45.9568 | 46.3615 | 46.767 | 47.1756 | 47.5832 | 47.9982
Talbot T1/T2 | 132.6384 | 136.4457 | 136.941 | 137.2145 | 137.0104 | 137.5336 | 137.699 | 137.9875 | 138.5569 | 139.2075 | 140.3523 | 141.823 | 143.5334 | 147.0508 | 148.4343 | 150.2066 | 151.7144 | 153.2096 | 154.6502 | 156.5252
Talbot T3/T4 | 168.6871 | 171.7842 | 171.3847 | 170.9469 | 170.1031 | 169.0636 | 168.5988 | 168.2954 | 168.314 | 168.3757 | 169.2894 | 170.6108 | 172.3839 | 175.8797 | 177.3173 | 179.1582 | 180.7389 | 182.3064 | 183.8141 | 185.7386
Tillsonburg TS | 111.1534 | 118.9677 | 120.303 | 120.1826 | 120.1087 | 119.9504 | 118.6527 | 118.6294 | 118.6954 | 118.7836 | 119.336 | 120.1516 | 121.3222 | 122.576 | 123.8695 | 125.2048 | 126.6281 | 128.0744 | 129.6467 | 131.3337
Wonderland TS | 103.3498 | 104.305 | 107.4341 | 107.9745 | 108.2661 | 108.2801 | 108.7635 | 109.3445 | 110.0302 | 110.7478 | 111.8446 | 113.1904 | 114.7424 | 116.2982 | 117.8617 | 119.458 | 120.9287 | 122.4002 | 123.8723 | 125.3648
Woodstock TS | 80.258 | 88.1003 | 94.4545 | 94.2657 | 93.9356 | 93.6718 | 93.4175 | 93.2275 | 93.1038 | 92.9982 | 93.2455 | 93.6976 | 94.3933 | 95.3159 | 96.2436 | 97.1681 | 98.1302 | 99.0305 | 99.9894 | 100.9571
Total CTS* Loads | 16.7738 | 235.6896 | 400.1771 | 498.3086 | 648.2824 | 648.2917 | 648.2917 | 648.2917 | 648.1205 | 648.1205 | 648.1205 | 648.1205 | 648.1205 | 647.8637 | 647.8637 | 647.8637 | 647.8637 | 647.8637 | 647.6925 | 647.6925
Total Region | 1436.2094 | 1735.9638 | 1965.1894 | 2088.0736 | 2237.1141 | 2237.5027 | 2236.3753 | 2238.2948 | 2242.22 | 2246.1077 | 2260.7218 | 2276.1892 | 2295.5651 | 2318.9034 | 2338.6052 | 2362.6693 | 2383.1797 | 2403.9736 | 2425.1584 | 2448.2076
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 7
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 7 Extreme-weather Net Non-coincident Demand - Reference Forecast - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 44.9991 | 47.2673 | 49.9748 | 50.9981 | 51.9622 | 53.0393 | 54.1085 | 55.2371 | 56.4305 | 57.675 | 58.4491 | 59.373 | 60.4765 | 61.69 | 63.0347 | 64.5778 | 66.3188 | 68.3073 | 70.6039 | 73.2921
Buchanan TS | 177.43 | 178.5905 | 182.5575 | 186.8541 | 191.1767 | 200.8445 | 205.1275 | 209.5617 | 214.7173 | 220.0404 | 226.1548 | 232.5748 | 239.461 | 246.391 | 253.3491 | 260.3765 | 267.2092 | 274.0523 | 280.9111 | 287.82
Clarke TS | 131.2277 | 132.3534 | 136.7689 | 141.1082 | 141.9582 | 143.0539 | 144.0572 | 145.1967 | 146.5338 | 148.0569 | 150.1063 | 152.3631 | 154.8759 | 157.3979 | 159.9193 | 162.4588 | 164.8669 | 167.2477 | 169.6018 | 171.9433
Commerce Way TS | 62.7281 | 66.9834 | 73.1456 | 101.9835 | 102.308 | 120.1156 | 120.3346 | 120.6539 | 121.0532 | 121.4566 | 122.3268 | 123.3345 | 124.7026 | 125.7495 | 126.8081 | 127.8734 | 128.9722 | 130.0376 | 131.1525 | 132.2825
Edgeware TS | 143.0228 | 177.6972 | 211.1935 | 222.5833 | 233.5861 | 244.9357 | 255.7652 | 267.4676 | 279.4172 | 291.4343 | 295.2474 | 299.7452 | 304.8726 | 310.1541 | 315.6095 | 321.322 | 327.2144 | 333.1232 | 339.2431 | 345.6423
Highbury TS | 70.3834 | 71.0328 | 71.5475 | 72.2949 | 73.1176 | 74.0852 | 75.0109 | 76.0183 | 77.168 | 78.4732 | 80.0933 | 81.8332 | 83.7031 | 85.5734 | 87.4392 | 89.3105 | 91.0688 | 92.8028 | 94.5146 | 96.2114
Ingersoll TS | 67.9657 | 72.1068 | 84.0785 | 84.5653 | 84.8744 | 85.3922 | 85.9319 | 86.5793 | 87.3247 | 88.1245 | 89.3553 | 90.7542 | 92.5861 | 94.5527 | 96.7596 | 99.2627 | 102.1476 | 105.4825 | 109.404 | 114.0472
Longwood TS | 62.1641 | 74.7839 | 86.0767 | 87.4126 | 88.0738 | 89.9972 | 90.8662 | 91.8403 | 93.4479 | 94.5758 | 96.0098 | 98.162 | 99.9782 | 101.832 | 103.7244 | 105.6723 | 107.6527 | 109.6591 | 111.6975 | 113.781
Nelson TS | 66.1901 | 67.3195 | 68.3149 | 69.5866 | 71.0043 | 72.5764 | 74.069 | 75.6581 | 77.4251 | 79.387 | 85.7454 | 88.2664 | 90.9554 | 93.6541 | 96.3608 | 103.1278 | 105.6757 | 108.2024 | 110.7097 | 113.2069
Strathroy TS | 51.1661 | 52.6527 | 54.0799 | 55.206 | 56.2987 | 57.5052 | 58.7127 | 59.9736 | 61.2803 | 62.6778 | 64.3465 | 66.1575 | 68.1621 | 70.215 | 72.3146 | 74.4768 | 76.6829 | 78.9173 | 81.1939 | 83.5215
Talbot T1/T2 | 147.0946 | 155.7973 | 157.9101 | 159.5892 | 161.1071 | 163.8858 | 165.9039 | 168.1039 | 170.9936 | 174.3933 | 178.4687 | 182.9123 | 187.5341 | 196.3724 | 200.2341 | 204.9299 | 209.0076 | 212.9983 | 216.8076 | 221.5316
Talbot T3/T4 | 178.219 | 185.7067 | 186.7292 | 187.5283 | 188.2236 | 189.2023 | 190.3896 | 191.7905 | 193.8883 | 196.4284 | 199.9875 | 203.9891 | 208.3801 | 216.652 | 220.3063 | 224.7569 | 228.6233 | 232.4016 | 235.9978 | 240.4322
Tillsonburg TS | 119.4238 | 131.3215 | 134.1272 | 135.4332 | 137.281 | 138.5818 | 139.8128 | 141.3934 | 143.0905 | 144.8402 | 147.266 | 149.9363 | 153.0079 | 156.2167 | 159.529 | 162.9589 | 166.5678 | 170.3094 | 174.3103 | 178.5883
Wonderland TS | 118.2202 | 120.2785 | 124.8591 | 126.659 | 128.521 | 130.2685 | 132.3845 | 134.6636 | 137.2245 | 140.0909 | 143.4837 | 147.2253 | 151.1693 | 155.144 | 159.1536 | 163.2131 | 167.0224 | 170.8169 | 174.599 | 178.3822
Woodstock TS | 86.1032 | 94.8887 | 102.1355 | 104.2695 | 106.2822 | 108.381 | 110.5106 | 112.7258 | 115.0289 | 117.3721 | 120.0904 | 123.0362 | 126.2484 | 127.8795 | 129.5324 | 131.1994 | 132.9214 | 134.5994 | 136.3541 | 138.1361
Total CTS* Loads | 22.7 | 242.0491 | 406.473 | 504.631 | 654.5828 | 654.6 | 654.6 | 654.6 | 654.4 | 654.4 | 654.4 | 654.4 | 654.4 | 654.1 | 654.1 | 670.1 | 670.1 | 670.1 | 669.9 | 669.9
Total Region | 1549.0379 | 1870.8294 | 2129.972 | 2290.7028 | 2470.3577 | 2526.4647 | 2557.5854 | 2591.4638 | 2629.4237 | 2669.4263 | 2711.5312 | 2754.0632 | 2800.5134 | 2853.5742 | 2898.1748 | 2965.6167 | 3012.0516 | 3059.0579 | 3107.0008 | 3158.7185
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 8
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 8 Extreme-weather Net Non-concident Demand - High Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 46.1771 | 49.6357 | 53.5475 | 55.7514 | 57.9143 | 61.3456 | 63.6656 | 66.0748 | 68.5842 | 71.1872 | 72.5034 | 74.0308 | 75.8129 | 77.7978 | 80.0285 | 82.6057 | 85.557 | 88.9748 | 92.9731 | 97.7022
Buchanan TS | 177.9655 | 180.0559 | 188.2295 | 196.8418 | 205.6735 | 219.886 | 228.7156 | 237.7404 | 248.1405 | 258.8679 | 270.4773 | 282.4206 | 294.8351 | 307.32 | 319.8643 | 332.5093 | 344.8998 | 357.3277 | 369.8086 | 382.3838
Clarke TS | 131.8224 | 133.5977 | 139.8916 | 146.1986 | 147.964 | 149.9997 | 151.9545 | 154.0722 | 156.4741 | 159.1964 | 162.5116 | 166.0393 | 169.806 | 173.5825 | 177.36 | 181.1545 | 184.773 | 188.3513 | 191.8935 | 195.4111
Commerce Way TS | 63.3639 | 67.8976 | 74.3486 | 112.7553 | 113.4021 | 133.7172 | 134.2843 | 134.9636 | 135.7352 | 136.5234 | 137.7915 | 139.2101 | 141.0029 | 142.4883 | 143.9997 | 145.5325 | 147.1137 | 148.677 | 150.3055 | 151.9652
Edgeware TS | 172.5099 | 236.4085 | 299.7355 | 341.4514 | 383.4988 | 426.6442 | 470.0596 | 515.1835 | 561.4289 | 608.3135 | 621.1025 | 634.7527 | 649.1956 | 663.9636 | 679.0862 | 694.6575 | 710.6139 | 726.7792 | 743.3683 | 760.474
Highbury TS | 70.729 | 71.8514 | 72.8506 | 74.1579 | 75.6838 | 77.3747 | 79.042 | 80.8128 | 82.8021 | 85.0658 | 87.7017 | 90.4608 | 93.3318 | 96.2004 | 99.0632 | 101.9278 | 104.632 | 107.2985 | 109.9327 | 112.5398
Ingersoll TS | 68.4597 | 73.1144 | 85.6223 | 87.4475 | 89.1269 | 92.0995 | 94.0928 | 96.2467 | 98.5624 | 101.0097 | 103.982 | 107.2369 | 111.0655 | 114.4165 | 118.2199 | 122.5825 | 127.6534 | 133.5806 | 140.6001 | 148.9718
Longwood TS | 62.4603 | 75.3668 | 89.4611 | 94.0641 | 98.0878 | 103.4736 | 107.9093 | 110.0855 | 112.9993 | 115.5029 | 118.3847 | 122.0183 | 125.3503 | 128.755 | 132.2344 | 135.8063 | 139.4485 | 143.1546 | 146.9312 | 150.7926
Nelson TS | 66.796 | 68.6025 | 70.2983 | 72.3796 | 74.8071 | 77.4257 | 79.9664 | 82.6416 | 85.6021 | 88.9194 | 109.8797 | 113.9062 | 118.0899 | 122.2934 | 126.517 | 148.0825 | 152.0961 | 156.0816 | 160.0452 | 163.994
Strathroy TS | 56.3625 | 62.1883 | 68.0863 | 69.7575 | 71.54 | 73.5887 | 75.7988 | 78.2314 | 80.8872 | 83.7362 | 86.9629 | 90.3561 | 93.9674 | 97.6521 | 101.409 | 105.2546 | 109.1706 | 113.1399 | 117.1768 | 121.2907
Talbot T1/T2 | 147.9794 | 160.1447 | 163.604 | 166.5328 | 169.5841 | 174.2488 | 177.8906 | 181.7531 | 186.6018 | 192.2921 | 198.7966 | 205.694 | 212.7018 | 225.4598 | 231.4037 | 238.4583 | 244.6246 | 250.6448 | 256.3953 | 263.3609
Talbot T3/T4 | 179.0939 | 189.9038 | 192.2331 | 194.2436 | 196.4163 | 199.2032 | 201.9449 | 204.9333 | 208.8956 | 213.6105 | 219.4709 | 225.7923 | 232.434 | 244.4041 | 250.0107 | 256.6702 | 262.4863 | 268.1538 | 273.551 | 280.0654
Tillsonburg TS | 125.3349 | 145.3556 | 152.3343 | 158.397 | 165.1111 | 173.2651 | 178.8528 | 184.7907 | 190.8913 | 197.0959 | 203.8566 | 210.9265 | 218.4718 | 225.4377 | 232.6054 | 240.007 | 247.7268 | 255.7468 | 264.2289 | 273.2349
Wonderland TS | 120.1142 | 124.1707 | 130.7884 | 135.0097 | 139.5651 | 144.0663 | 148.9586 | 154.0797 | 159.6426 | 165.7495 | 172.5183 | 179.7411 | 187.173 | 194.6727 | 202.248 | 209.9079 | 217.2161 | 224.5185 | 231.8225 | 239.1371
Woodstock TS | 85.8009 | 95.0086 | 102.6943 | 105.2846 | 107.7712 | 112.82 | 115.4649 | 118.2145 | 121.0719 | 123.9897 | 127.3036 | 130.8664 | 134.7176 | 137.0104 | 139.3484 | 141.7244 | 144.18 | 146.6169 | 149.1564 | 151.7498
Total CTS* Loads | 22.7 | 242.0491 | 406.473 | 504.631 | 654.5828 | 654.6 | 654.6 | 654.6 | 654.4 | 654.4 | 670.4 | 670.4 | 670.4 | 670.1 | 670.1 | 670.1 | 670.1 | 670.1 | 669.9 | 669.9
Total Region | 1597.6695 | 1975.3514 | 2290.1985 | 2514.9037 | 2750.7291 | 2873.7584 | 2963.2006 | 3054.4237 | 3152.7192 | 3255.4602 | 3363.6433 | 3443.852 | 3528.3554 | 3621.5545 | 3703.4984 | 3806.981 | 3892.2918 | 3979.1458 | 4068.089 | 4162.9732
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 9
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 9 Extreme-weather Net Non-coincident Demand - Low Growth Scenario - Summer
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 43.8982 | 45.0567 | 46.6448 | 46.6364 | 46.5564 | 46.563 | 46.5448 | 46.5662 | 46.629 | 46.7146 | 47.0387 | 47.4728 | 48.0373 | 48.6513 | 49.3218 | 50.0829 | 50.9269 | 51.8758 | 52.9553 | 54.2053
Buchanan TS | 176.6596 | 176.9813 | 178.137 | 179.5039 | 180.6771 | 181.7339 | 182.8439 | 184.0619 | 185.5551 | 187.0341 | 189.2088 | 191.667 | 194.597 | 197.5549 | 200.5242 | 203.5503 | 206.455 | 209.3707 | 212.2966 | 215.265
Clarke TS | 130.7345 | 131.3103 | 133.4618 | 135.4332 | 135.4247 | 135.6385 | 135.7496 | 135.9655 | 136.2765 | 136.6121 | 137.3951 | 138.3789 | 139.637 | 140.9048 | 142.1732 | 143.467 | 144.6771 | 145.8835 | 147.0854 | 148.3002
Commerce Way TS | 62.4618 | 66.4427 | 72.3231 | 92.1086 | 91.7036 | 90.188 | 89.636 | 89.1749 | 88.7842 | 88.3879 | 88.4487 | 88.637 | 89.1756 | 89.8083 | 90.4434 | 91.0756 | 91.7315 | 92.3442 | 92.9962 | 93.6531
Edgeware TS | 117.0451 | 153.7471 | 175.7852 | 175.5977 | 174.8918 | 174.4 | 173.2403 | 172.6611 | 172.1934 | 171.6557 | 173.0745 | 175.0677 | 177.7207 | 180.4108 | 183.153 | 186.0242 | 188.9402 | 191.9368 | 194.9884 | 198.1487
Highbury TS | 70.0502 | 70.3158 | 70.4353 | 70.6997 | 70.8698 | 71.1656 | 71.4028 | 71.6951 | 72.039 | 72.3945 | 72.9965 | 73.7135 | 74.5794 | 75.4491 | 76.3186 | 77.2028 | 78.0232 | 78.8424 | 79.6606 | 80.4883
Ingersoll TS | 67.5261 | 71.2146 | 82.7185 | 82.6153 | 82.3147 | 82.1996 | 82.0788 | 82.0322 | 82.0433 | 82.0599 | 82.4477 | 82.9301 | 83.7552 | 84.71 | 85.7673 | 86.9499 | 88.3021 | 89.8402 | 91.636 | 93.7434
Longwood TS | 61.3851 | 73.5829 | 84.3955 | 85.2948 | 85.497 | 86.9389 | 87.3035 | 87.7462 | 88.799 | 89.3487 | 90.1807 | 91.7068 | 92.8724 | 94.0511 | 95.2435 | 96.4664 | 97.6964 | 98.9354 | 100.1804 | 101.4445
Nelson TS | 65.7062 | 66.2788 | 66.6961 | 67.267 | 67.7518 | 68.3581 | 68.8841 | 69.4653 | 70.1019 | 70.7436 | 74.8086 | 75.872 | 77.1201 | 78.3737 | 79.6318 | 84.0687 | 85.2532 | 86.4415 | 87.6331 | 88.8406
Strathroy TS | 48.4837 | 48.8771 | 49.0998 | 48.9801 | 48.7858 | 48.6638 | 48.5014 | 48.3424 | 48.1876 | 48.0819 | 48.2056 | 48.4294 | 48.8039 | 49.1842 | 49.5684 | 49.9723 | 50.377 | 50.7849 | 51.1916 | 51.6058
Talbot T1/T2 | 146.396 | 150.8138 | 151.6048 | 152.1342 | 152.1759 | 152.9952 | 153.4138 | 153.9564 | 154.7993 | 155.7315 | 157.1603 | 158.9174 | 160.914 | 164.9625 | 166.5951 | 168.6664 | 170.4424 | 172.2078 | 173.9153 | 176.117
Talbot T3/T4 | 177.5211 | 180.9042 | 180.642 | 180.3224 | 179.5917 | 178.6883 | 178.3393 | 178.1516 | 178.2947 | 178.4841 | 179.5263 | 180.977 | 182.8789 | 186.6154 | 188.1639 | 190.1381 | 191.8374 | 193.5242 | 195.1492 | 197.218
Tillsonburg TS | 115.7208 | 123.8652 | 125.2944 | 125.2064 | 125.1708 | 125.0474 | 124.2576 | 124.2684 | 124.369 | 124.4922 | 125.0803 | 125.9345 | 127.1446 | 128.4391 | 129.7746 | 131.1534 | 132.6223 | 134.1167 | 135.7402 | 137.4819
Wonderland TS | 117.5379 | 118.8223 | 122.5997 | 123.4352 | 124.0263 | 124.4554 | 125.24 | 126.1259 | 127.1203 | 128.1505 | 129.5636 | 131.2308 | 133.107 | 134.9905 | 136.8857 | 138.8182 | 140.6089 | 142.4047 | 144.2056 | 146.0317
Woodstock TS | 85.7006 | 94.07 | 100.8886 | 100.7839 | 100.5384 | 100.3594 | 100.191 | 100.0878 | 100.0519 | 100.0352 | 100.3724 | 100.9156 | 101.7034 | 102.7192 | 103.7412 | 104.7611 | 105.8199 | 106.818 | 107.8758 | 108.9435
Total CTS* Loads | 22.7 | 242.0491 | 406.473 | 504.631 | 654.5828 | 654.6 | 654.6 | 654.6 | 654.4 | 654.4 | 654.4 | 654.4 | 654.4 | 654.1 | 654.1 | 654.1 | 654.1 | 654.1 | 653.9 | 653.9
Total Region | 1509.5271 | 1814.3319 | 2047.1996 | 2170.6499 | 2320.5584 | 2321.9951 | 2322.2269 | 2324.9009 | 2329.6442 | 2334.3265 | 2349.9078 | 2366.2505 | 2386.4466 | 2410.925 | 2431.4057 | 2456.4974 | 2477.8136 | 2499.4268 | 2521.4097 | 2545.387
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 10
The starting points used to develop the IRRP planning forecast were based off of the historical weather-corrected gross coincident demand (MW).
Transformer Station | Table 10 Historical Weather-Corrected Gross Coincident Demand (MW) - Summer
| 2020 | 2021 | 2022 | 2023 | 2024
Aylmer TS | 39.6217 | 39.4732 | 42.7363 | 38.2519 | 37.1922
Buchanan TS | 192.7945 | 179.1964 | 149.7134 | 167.4879 | 178.5371
Clarke TS | 108.342 | 116.5586 | 116.2385 | 115.3888 | 124.8153
Commerce Way TS | 35.1956 | 39.1015 | 40.2049 | 40.6235 | 48.461
Edgeware TS | 102.773 | 99.6723 | 101.6504 | 100.4844 | 111.7166
Highbury TS | 72.8001 | 73.3162 | 80.0121 | 70.7179 | 71.5102
Ingersoll TS | 69.8463 | 79.6325 | 70.1142 | 65.8892 | 67.1213
Longwood TS | 34.5747 | 38.9655 | 42.3721 | 35.0957 | 37.1692
Nelson TS | 37.0337 | 39.8969 | 57.1059 | 40.5421 | 71.4804
Strathroy TS | 36.727 | 37.0387 | 37.8119 | 40.2352 | 52.4973
Talbot T1/T2 | 104.6833 | 115.3483 | 120.5205 | 110.2412 | 120.9118
Talbot T3/T4 | 153.2055 | 178.7996 | 160.8629 | 152.3038 | 165.4
Tillsonburg TS | 91.6888 | 100.5423 | 101.1144 | 101.9289 | 102.8853
Wonderland TS | 107.3702 | 83.9764 | 96.2428 | 99.5849 | 95.5533
Woodstock TS | 63.1447 | 62.6389 | 64.5972 | 61.1468 | 68.6211
Total CTS* Loads | 20.8011 | 22.022 | 21.2897 | 20.9055 | 18.9251
Total Region | 1270.6022 | 1306.1792 | 1302.5873 | 1260.8277 | 1372.7972
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.