## Menu
London Area Integrated Regional Resource Plan Data Tables December 2025 - Winter
Table 2: IRRP eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 3: Effective DG Contribution to Coincident Peak
Table 4: Extreme-weather Net Coincident Demand - Reference Forecast
Table 5: Extreme-weather Net Concident Demand - High Growth Scenario
Table 6: Extreme-weather Net Coincident Demand - Low Growth Scenario
Table 7: Extreme-weather Net Non-coincident Demand - Reference Forecast
Table 8: Extreme-weather Net Non-concident Demand - High Growth Scenario
Table 9: Extreme-weather Net Non-coincident Demand - Low Growth Scenario
Table 10: Historical Weather-Corrected Gross Coincident Demand
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.

## Table 2
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 2 IRRP eDSM Forecast (MW) - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 0.39399 | 0.77257 | 1.2388 | 1.5811 | 2.022 | 2.4427 | 2.8986 | 3.3403 | 3.7524 | 4.1619 | 4.3328 | 4.4198 | 4.4771 | 4.5342 | 4.61 | 4.6826 | 4.7587 | 4.8461 | 4.9298 | 5.0114
Buchanan TS | 1.2386 | 2.3526 | 3.6847 | 4.7263 | 6.0118 | 7.2564 | 8.6419 | 10.0099 | 11.3547 | 12.7337 | 13.5578 | 14.0999 | 14.5427 | 14.9847 | 15.4682 | 15.9465 | 16.4185 | 16.9248 | 17.4068 | 17.8685
Clarke TS | 0.86173 | 1.6404 | 2.6117 | 3.4047 | 4.2829 | 5.0982 | 5.9775 | 6.8139 | 7.5814 | 8.3376 | 8.7156 | 8.9149 | 9.0516 | 9.188 | 9.3557 | 9.5156 | 9.6916 | 9.8876 | 10.0705 | 10.2432
Commerce Way TS | 0.53753 | 1.153 | 1.9236 | 3.5025 | 4.3843 | 5.2316 | 6.1121 | 6.9462 | 7.7157 | 8.4762 | 8.9104 | 9.2265 | 9.3282 | 9.3757 | 9.4424 | 9.5213 | 9.6052 | 9.6724 | 9.7391 | 9.8044
Edgeware TS | 1.1331 | 2.807 | 5.1153 | 6.9834 | 9.3808 | 11.9218 | 14.5285 | 17.2035 | 19.8049 | 22.5248 | 23.5001 | 23.9722 | 24.3136 | 24.6523 | 25.0626 | 25.4071 | 25.7717 | 26.1439 | 26.533 | 26.8866
Highbury TS | 0.49545 | 0.94427 | 1.4521 | 1.8446 | 2.3439 | 2.812 | 3.3158 | 3.7988 | 4.2449 | 4.686 | 4.9176 | 5.0512 | 5.1509 | 5.2509 | 5.3707 | 5.4851 | 5.611 | 5.7485 | 5.8795 | 6.0049
Ingersoll TS | 0.62827 | 1.3878 | 2.3716 | 2.938 | 3.554 | 4.1896 | 4.8872 | 5.5522 | 6.1863 | 6.8322 | 7.1922 | 7.4829 | 7.5577 | 7.6139 | 7.6778 | 7.7463 | 7.8224 | 7.8931 | 7.9626 | 8.0312
Longwood TS | 0.41662 | 1.0208 | 1.7976 | 2.3568 | 3.041 | 3.799 | 4.4526 | 5.0708 | 5.6972 | 6.2429 | 6.5037 | 6.762 | 6.8594 | 6.9567 | 7.0809 | 7.1877 | 7.2997 | 7.4205 | 7.5413 | 7.6533
Nelson TS | 0.5031 | 0.97819 | 1.5116 | 1.9467 | 2.4899 | 3.0185 | 3.5686 | 4.1044 | 4.605 | 5.1107 | 5.6936 | 5.8686 | 6.0086 | 6.1495 | 6.3111 | 6.777 | 6.9442 | 7.1239 | 7.3011 | 7.4712
Strathroy TS | 0.39803 | 0.78606 | 1.2306 | 1.5973 | 2.0582 | 2.5098 | 2.9772 | 3.4348 | 3.8637 | 4.299 | 4.5437 | 4.6957 | 4.8205 | 4.9457 | 5.0866 | 5.2203 | 5.3557 | 5.4989 | 5.6413 | 5.7779
Talbot T1/T2 | 0.73592 | 1.564 | 2.4314 | 3.2204 | 4.2694 | 5.336 | 6.3202 | 7.2615 | 8.128 | 8.9865 | 9.4471 | 9.74 | 9.9868 | 10.5658 | 10.8083 | 11.0788 | 11.351 | 11.6339 | 11.9143 | 12.2578
Talbot T3/T4 | 1.2967 | 2.7323 | 4.2016 | 5.5441 | 7.1838 | 8.8823 | 10.4245 | 11.9151 | 13.2892 | 14.6917 | 15.4238 | 15.8222 | 16.1516 | 16.8655 | 17.1761 | 17.5082 | 17.8427 | 18.1859 | 18.5433 | 18.9633
Tillsonburg TS | 0.8812 | 1.9241 | 3.0038 | 3.8837 | 5.0196 | 6.0773 | 7.2109 | 8.2634 | 9.2344 | 10.1816 | 10.7736 | 11.2141 | 11.4245 | 11.6077 | 11.8204 | 12.0505 | 12.3004 | 12.5333 | 12.7653 | 12.9969
Wonderland TS | 0.60583 | 1.1852 | 1.8775 | 2.4725 | 3.2683 | 4.047 | 4.8204 | 5.5698 | 6.2569 | 6.9363 | 7.3105 | 7.5655 | 7.782 | 7.9997 | 8.2559 | 8.4902 | 8.7748 | 9.0723 | 9.3715 | 9.6618
Woodstock TS | 0.57389 | 1.2337 | 2.1261 | 2.8528 | 3.7959 | 4.6889 | 5.6027 | 6.498 | 7.333 | 8.1562 | 8.7163 | 9.1377 | 9.4053 | 9.4908 | 9.6065 | 9.7408 | 9.882 | 9.9971 | 10.1125 | 10.2264
Total Region | 10.7 | 22.482 | 36.5779 | 48.8551 | 63.1058 | 77.3111 | 91.7388 | 105.7826 | 119.0478 | 132.3573 | 139.5389 | 143.9734 | 146.8603 | 150.1814 | 153.1331 | 156.3581 | 159.4297 | 162.5822 | 165.7119 | 168.8587
DRAFT

## Table 3
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 3 Effective DG Contribution to Coincident Peak (MW) - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966 | 0.00057966
Buchanan TS | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928 | 1.9928
Clarke TS | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052 | 0.51052
Commerce Way TS | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357 | 11.9357
Edgeware TS | 0.12408 | 0.12408 | 0.12408 | 0.12408 | 0.12408 | 0.12419 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857 | 0.13857
Highbury TS | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135 | 0.15135
Ingersoll TS | 0.77537 | 0.77537 | 0.77537 | 0.77537 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358 | 0.78358
Longwood TS | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092 | 0.032092
Nelson TS | 0.00012105 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261 | 16.8261
Strathroy TS | 2.9394 | 2.9394 | 2.9394 | 2.9394 | 2.9394 | 2.9394 | 2.9394 | 2.9401 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415 | 2.9415
Talbot T1/T2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Talbot T3/T4 | 11.2942 | 11.2942 | 11.2942 | 11.2942 | 11.2942 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842 | 12.2842
Tillsonburg TS | 13.1378 | 13.1378 | 13.1378 | 13.1378 | 13.1378 | 13.1379 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659 | 13.1659
Wonderland TS | 0.055503 | 0.055503 | 0.055503 | 0.055503 | 0.055503 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678 | 0.066678
Woodstock TS | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937 | 0.068937
Total Region | 43.0185 | 59.8445 | 59.8445 | 59.8445 | 59.8527 | 60.8541 | 60.8965 | 60.8972 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986 | 60.8986
DRAFT

## Table 4
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 4 Extreme-weather Net Coincident Demand - Reference Forecast (MW) - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 45.8245 | 47.9402 | 50.5133 | 51.5406 | 52.5 | 53.5248 | 54.5496 | 55.6228 | 56.765 | 57.9596 | 58.7664 | 59.7349 | 60.8279 | 62.0306 | 63.3657 | 64.9046 | 66.7 | 68.7635 | 71.1792 | 74.0273
Buchanan TS | 136.3603 | 137.4415 | 141.486 | 145.788 | 150.0528 | 154.3775 | 158.5238 | 162.7155 | 167.5601 | 172.5311 | 178.1338 | 183.976 | 189.8898 | 195.7993 | 201.6653 | 207.5306 | 213.4384 | 219.2933 | 225.1596 | 231.0326
Clarke TS | 98.1698 | 99.4148 | 104.0414 | 108.5549 | 109.6069 | 110.7429 | 111.9072 | 113.1379 | 114.5316 | 116.0864 | 118.0886 | 120.2196 | 122.383 | 124.5369 | 126.6512 | 128.761 | 131.1198 | 133.4336 | 135.7391 | 138.0304
Commerce Way TS | 43.3077 | 47.373 | 53.4026 | 81.5193 | 81.7786 | 82.0818 | 82.3617 | 82.6979 | 83.1092 | 83.54 | 84.308 | 85.205 | 86.3275 | 87.1088 | 87.8824 | 88.6556 | 89.4356 | 90.2444 | 91.0659 | 91.9011
Edgeware TS | 113.3998 | 145.5973 | 177.0933 | 187.9312 | 198.3683 | 208.7887 | 219.2897 | 229.9751 | 240.8676 | 251.7788 | 255.1577 | 259.1871 | 263.4008 | 267.7754 | 272.2506 | 276.9713 | 281.8804 | 286.8515 | 292.0457 | 297.5443
Highbury TS | 57.1357 | 57.8612 | 58.5373 | 59.4143 | 60.3515 | 61.3375 | 62.4174 | 63.5377 | 64.7793 | 66.1609 | 67.8126 | 69.5215 | 71.2344 | 72.9353 | 74.6056 | 76.2679 | 78.0727 | 79.8417 | 81.5969 | 83.3346
Ingersoll TS | 65.7214 | 69.5396 | 80.8241 | 81.3734 | 81.8904 | 82.4195 | 82.9365 | 83.5402 | 84.2382 | 85.0029 | 86.154 | 87.4962 | 89.2037 | 91.0086 | 93.0417 | 95.3452 | 98.0389 | 101.1842 | 104.8876 | 109.2822
Longwood TS | 46.4386 | 59.3999 | 69.0699 | 70.6775 | 71.1312 | 73.6488 | 74.1872 | 74.7909 | 76.4695 | 77.2016 | 78.2469 | 80.9064 | 82.1727 | 83.4683 | 84.7664 | 86.1114 | 87.4812 | 88.867 | 90.283 | 91.7382
Nelson TS | 55.2481 | 39.4405 | 40.4172 | 41.6038 | 42.8942 | 44.2277 | 45.5203 | 46.8566 | 48.3332 | 49.9689 | 55.5633 | 57.679 | 59.8003 | 61.9134 | 64.0003 | 69.7313 | 71.9282 | 74.0872 | 76.2278 | 78.3515
Strathroy TS | 41.04 | 42.5328 | 44.0454 | 45.2513 | 46.3966 | 47.5852 | 48.7924 | 50.0489 | 51.3686 | 52.7191 | 54.2962 | 56.0084 | 57.7909 | 59.6158 | 61.468 | 63.3705 | 65.3145 | 67.2821 | 69.2938 | 71.3548
Talbot T1/T2 | 83.8141 | 91.6741 | 93.9216 | 95.6983 | 97.3766 | 99.8825 | 101.8365 | 103.8621 | 106.4424 | 109.4304 | 112.9572 | 116.6722 | 120.3457 | 127.6201 | 130.5581 | 134.2033 | 137.6134 | 140.937 | 144.1035 | 148.036
Talbot T3/T4 | 116.7 | 124.14 | 125.9722 | 127.381 | 128.6535 | 129.7214 | 131.2929 | 132.9437 | 135.19 | 137.8065 | 141.2333 | 145.0134 | 148.7735 | 156.0811 | 159.1178 | 162.8672 | 166.3625 | 169.7723 | 173.0071 | 177.0071
Tillsonburg TS | 82.0453 | 93.0491 | 95.6328 | 96.8646 | 98.5059 | 99.6192 | 101.4094 | 102.7291 | 104.1616 | 105.6593 | 107.7455 | 110.0501 | 112.6612 | 115.3726 | 118.1804 | 121.0836 | 124.2076 | 127.5411 | 131.1124 | 134.9693
Wonderland TS | 69.7382 | 70.941 | 74.074 | 75.8314 | 77.645 | 79.5001 | 81.484 | 83.5338 | 85.7831 | 88.2561 | 91.1427 | 94.3634 | 97.5973 | 100.8346 | 104.0404 | 107.2682 | 110.9419 | 114.5796 | 118.1967 | 121.7987
Woodstock TS | 57.7374 | 65.5192 | 71.9878 | 73.7896 | 75.3806 | 77.0275 | 78.6667 | 80.3377 | 82.0827 | 83.8535 | 85.9017 | 88.1032 | 90.4733 | 91.4128 | 92.3375 | 93.2593 | 94.19 | 95.163 | 96.1519 | 97.159
Total CTS* Loads | 12.8588 | 231.6653 | 396.1998 | 494.3246 | 644.1709 | 644.1783 | 644.1118 | 644.1118 | 644.0453 | 644.0453 | 643.9788 | 643.9788 | 643.9788 | 643.9788 | 643.9788 | 654.551 | 654.551 | 654.551 | 654.551 | 654.551
Total Region | 1125.5398 | 1423.5294 | 1677.2186 | 1837.5439 | 2016.7031 | 2048.6637 | 2079.2871 | 2110.442 | 2145.7276 | 2182.0005 | 2219.4867 | 2258.1154 | 2296.861 | 2341.4925 | 2377.9103 | 2430.8818 | 2471.2763 | 2512.3926 | 2554.6014 | 2600.1183
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 5
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 5 Extreme-weather Net Concident Demand - High Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 46.8934 | 50.1365 | 53.8535 | 56.0189 | 58.1424 | 61.3898 | 63.6277 | 65.9465 | 68.368 | 70.8834 | 72.2688 | 73.8953 | 75.7298 | 77.7743 | 80.0865 | 82.7432 | 85.8605 | 89.4063 | 93.5715 | 98.5139
Buchanan TS | 132.0785 | 134.243 | 142.5523 | 151.2131 | 160.0133 | 174.1373 | 182.8151 | 191.5689 | 201.5953 | 211.8906 | 222.8969 | 234.1199 | 245.4144 | 256.7279 | 268.0329 | 279.3719 | 290.7046 | 302.0239 | 313.4232 | 324.9183
Clarke TS | 98.8439 | 100.9021 | 107.5378 | 114.1385 | 116.2424 | 118.4478 | 120.7944 | 123.227 | 125.8998 | 128.8569 | 132.3183 | 135.8601 | 139.4101 | 142.9435 | 146.4312 | 149.9054 | 153.5892 | 157.2085 | 160.8034 | 164.3656
Commerce Way TS | 43.5194 | 47.8045 | 54.0623 | 82.4158 | 82.9205 | 101.42 | 101.9635 | 102.5727 | 103.2666 | 103.9898 | 105.0604 | 106.2704 | 107.7165 | 108.8322 | 109.9514 | 111.0816 | 112.2305 | 113.42 | 114.6346 | 115.8754
Edgeware TS | 142.6689 | 204.1888 | 265.8808 | 307.7306 | 350.2259 | 393.5996 | 437.8603 | 483.3977 | 530.0854 | 577.4162 | 593.6423 | 610.8622 | 628.4517 | 646.5176 | 665.0155 | 684.0959 | 703.7312 | 719.2345 | 734.4417 | 750.192
Highbury TS | 57.6065 | 58.9181 | 60.1872 | 61.7271 | 63.4636 | 65.2633 | 67.2995 | 69.3923 | 71.6756 | 74.2096 | 77.0637 | 79.9354 | 82.7873 | 85.618 | 88.4105 | 91.1846 | 94.0318 | 96.8245 | 99.5877 | 102.3157
Ingersoll TS | 66.3966 | 70.8732 | 82.8469 | 84.8557 | 86.885 | 89.9273 | 92.0617 | 94.354 | 96.8194 | 99.4486 | 102.6035 | 106.1215 | 110.1974 | 113.8754 | 118.0911 | 122.9069 | 128.5952 | 135.1711 | 142.9507 | 152.2426
Longwood TS | 46.8665 | 60.2725 | 72.6005 | 77.3045 | 80.9755 | 86.8171 | 90.7748 | 92.8053 | 96.0191 | 98.3603 | 101.0907 | 105.4782 | 108.5162 | 111.6276 | 114.786 | 118.0367 | 121.3578 | 124.2742 | 127.1683 | 130.1271
Nelson TS | 55.9071 | 40.8643 | 42.6188 | 44.6742 | 47.0066 | 49.4054 | 51.7704 | 54.2036 | 56.8639 | 59.8187 | 78.671 | 82.2385 | 85.7893 | 89.3285 | 92.8394 | 111.8629 | 115.3805 | 118.8423 | 122.2716 | 125.668
Strathroy TS | 46.083 | 51.8784 | 57.9156 | 60.3667 | 63.0053 | 65.9018 | 69.0052 | 72.3972 | 76.0682 | 79.9072 | 84.1136 | 88.5206 | 93.0639 | 97.7158 | 102.4617 | 107.3248 | 112.2968 | 116.3007 | 120.1912 | 124.1495
Talbot T1/T2 | 84.9187 | 96.1933 | 99.9995 | 103.2411 | 106.6204 | 111.1215 | 114.9164 | 118.8059 | 123.4938 | 128.8618 | 134.8738 | 141.0813 | 147.176 | 158.1615 | 163.2332 | 169.2338 | 174.5929 | 179.8041 | 184.7726 | 190.748
Talbot T3/T4 | 117.8674 | 128.7841 | 132.2364 | 135.1709 | 138.2044 | 141.3266 | 144.7949 | 148.3647 | 152.7727 | 157.8223 | 163.7865 | 170.1101 | 176.3413 | 187.4087 | 192.6266 | 198.7775 | 204.2619 | 209.5983 | 214.6729 | 220.7523
Tillsonburg TS | 88.2372 | 107.4788 | 114.3268 | 120.3833 | 127.0595 | 134.8194 | 141.5968 | 147.4209 | 153.3775 | 159.4341 | 166.0292 | 172.9743 | 180.3105 | 187.183 | 194.3233 | 201.6168 | 209.4003 | 217.3507 | 225.7401 | 234.7015
Wonderland TS | 71.6705 | 75.0887 | 80.4532 | 84.7504 | 89.3147 | 93.9509 | 98.8541 | 103.8582 | 109.1749 | 114.8931 | 121.1152 | 127.8744 | 134.6281 | 141.3914 | 148.1317 | 154.8973 | 161.8617 | 168.7743 | 175.6545 | 182.5037
Woodstock TS | 57.9912 | 66.037 | 72.7799 | 74.8666 | 76.753 | 80.924 | 82.8808 | 84.8809 | 86.9669 | 89.0908 | 91.5046 | 94.0845 | 96.8462 | 98.1907 | 99.5343 | 100.8892 | 102.2676 | 103.7032 | 105.17 | 106.6708
Total CTS* Loads | 12.8588 | 231.6653 | 396.1998 | 494.3246 | 644.1709 | 644.1783 | 644.1118 | 644.1118 | 644.0453 | 644.0453 | 654.6175 | 654.6175 | 654.6175 | 654.6175 | 654.6175 | 654.551 | 654.551 | 654.551 | 654.551 | 654.551
Total Region | 1170.4077 | 1525.3287 | 1836.0512 | 2053.1818 | 2291.0034 | 2412.6303 | 2505.1273 | 2597.3075 | 2696.4925 | 2798.9287 | 2901.656 | 2984.0442 | 3066.9961 | 3157.9136 | 3238.5728 | 3338.4795 | 3424.7135 | 3506.4877 | 3589.605 | 3678.2954
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 6
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 6 Extreme-weather Net Coincident Demand - Low Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 44.6955 | 45.777 | 47.3069 | 47.3606 | 47.3261 | 47.3336 | 47.3288 | 47.3528 | 47.4231 | 47.5171 | 47.8732 | 48.3443 | 48.8834 | 49.4657 | 50.089 | 50.7985 | 51.628 | 52.5591 | 53.6345 | 54.8855
Buchanan TS | 130.4168 | 130.7447 | 132.1244 | 133.659 | 134.9562 | 136.2794 | 137.5251 | 138.7893 | 140.2909 | 141.7614 | 143.79 | 146.0802 | 148.4696 | 150.8641 | 153.2266 | 155.6068 | 158.1122 | 160.6053 | 163.1515 | 165.7522
Clarke TS | 97.6401 | 98.2313 | 100.5323 | 102.6279 | 102.7429 | 102.9243 | 103.1672 | 103.4511 | 103.8039 | 104.167 | 104.9072 | 105.7993 | 106.7474 | 107.6929 | 108.6061 | 109.5282 | 110.7022 | 111.8596 | 113.0355 | 114.2272
Commerce Way TS | 43.097 | 46.9457 | 52.7526 | 72.1597 | 71.777 | 71.4318 | 71.0569 | 70.7319 | 70.4752 | 70.2313 | 70.3177 | 70.5262 | 70.9531 | 71.4386 | 71.909 | 72.3715 | 72.8334 | 73.3163 | 73.8041 | 74.2976
Edgeware TS | 101.9341 | 123.3547 | 144.1591 | 144.2128 | 143.7628 | 143.1951 | 142.5965 | 141.9721 | 141.4503 | 140.8412 | 142.0095 | 143.7169 | 145.5941 | 147.5157 | 149.4142 | 151.4301 | 153.4988 | 155.6305 | 157.8274 | 160.1553
Highbury TS | 56.7848 | 57.0546 | 57.2668 | 57.5966 | 57.8232 | 58.0836 | 58.4235 | 58.7818 | 59.1765 | 59.5748 | 60.1812 | 60.8635 | 61.5733 | 62.2795 | 62.9644 | 63.6552 | 64.5175 | 65.3709 | 66.2355 | 67.1106
Ingersoll TS | 65.389 | 68.8419 | 79.7481 | 79.8022 | 79.8004 | 79.7907 | 79.7484 | 79.7647 | 79.8425 | 79.9466 | 80.3815 | 80.9433 | 81.7922 | 82.7434 | 83.7983 | 84.9786 | 86.365 | 87.9743 | 89.8565 | 92.0767
Longwood TS | 45.8699 | 58.485 | 67.7696 | 69.03 | 69.118 | 71.2512 | 71.3865 | 71.5659 | 72.8012 | 73.071 | 73.6348 | 75.7935 | 76.5394 | 77.2952 | 78.0336 | 78.7994 | 79.57 | 80.3418 | 81.1237 | 81.9247
Nelson TS | 54.7505 | 38.3435 | 38.7078 | 39.1763 | 39.5439 | 39.9323 | 40.3619 | 40.8055 | 41.2862 | 41.7628 | 45.329 | 46.1609 | 47.0227 | 47.8823 | 48.7222 | 52.4275 | 53.4415 | 54.4484 | 55.4657 | 56.498
Strathroy TS | 38.7148 | 39.1512 | 39.5273 | 39.5576 | 39.4882 | 39.4231 | 39.3377 | 39.2574 | 39.2014 | 39.1373 | 39.2609 | 39.4806 | 39.731 | 39.9844 | 40.2259 | 40.4782 | 40.7325 | 40.9829 | 41.2379 | 41.5026
Talbot T1/T2 | 82.9735 | 86.8173 | 87.6422 | 88.1537 | 88.2917 | 88.8489 | 89.3033 | 89.7884 | 90.5031 | 91.2754 | 92.4453 | 93.7823 | 95.1426 | 98.2766 | 99.2659 | 100.6389 | 102.0874 | 103.5244 | 104.9187 | 106.7355
Talbot T3/T4 | 115.7966 | 119.1582 | 119.5059 | 119.5882 | 119.2596 | 118.3184 | 118.3331 | 118.3866 | 118.7112 | 119.0565 | 120.0715 | 121.4192 | 122.8127 | 125.9271 | 126.963 | 128.3888 | 129.8771 | 131.3556 | 132.7742 | 134.6154
Tillsonburg TS | 78.5063 | 86.1014 | 87.5808 | 87.6698 | 87.667 | 87.5908 | 87.6105 | 87.6059 | 87.6992 | 87.8363 | 88.3493 | 89.0998 | 90.1136 | 91.1892 | 92.2852 | 93.4155 | 94.6375 | 95.963 | 97.3955 | 98.9578
Wonderland TS | 68.9451 | 69.1173 | 71.2047 | 71.7894 | 72.1816 | 72.5873 | 73.2692 | 73.9769 | 74.7508 | 75.5356 | 76.6284 | 77.9214 | 79.2483 | 80.5743 | 81.865 | 83.183 | 85.0244 | 86.8599 | 88.7031 | 90.5648
Woodstock TS | 57.4848 | 65.0066 | 71.2075 | 71.106 | 70.786 | 70.5144 | 70.227 | 69.9633 | 69.7655 | 69.585 | 69.6735 | 69.9065 | 70.2993 | 70.8804 | 71.4376 | 71.9825 | 72.5268 | 73.1037 | 73.6866 | 74.2777
Total CTS* Loads | 10.6405 | 229.4471 | 393.9815 | 494.3246 | 644.1709 | 644.1783 | 644.1118 | 644.1118 | 644.0453 | 644.0453 | 643.9788 | 643.9788 | 643.9788 | 643.9788 | 643.9788 | 643.9124 | 643.9124 | 643.9124 | 643.9124 | 643.9124
Total Region | 1093.6393 | 1362.5774 | 1591.0174 | 1717.8144 | 1868.6956 | 1871.6833 | 1873.7874 | 1876.3053 | 1881.2263 | 1885.3448 | 1898.832 | 1913.8167 | 1928.9016 | 1947.9882 | 1962.785 | 1981.5952 | 1999.4667 | 2017.808 | 2036.7627 | 2057.494
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 7
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 7 Extreme-weather Net Non-coincident Demand - Reference Forecast - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 45.8658 | 47.9838 | 50.5598 | 51.5883 | 52.5491 | 53.5752 | 54.6013 | 55.676 | 56.8197 | 58.0157 | 58.8235 | 59.7929 | 60.887 | 62.0909 | 63.4273 | 64.9677 | 66.7649 | 68.8304 | 71.2483 | 74.0992
Buchanan TS | 131.1123 | 132.327 | 136.6988 | 141.3261 | 145.9288 | 150.5925 | 155.0755 | 159.6056 | 164.827 | 170.1845 | 176.1784 | 182.4092 | 188.7099 | 195.0061 | 201.2586 | 207.51 | 213.8062 | 220.0483 | 226.301 | 232.5596
Clarke TS | 103.2814 | 104.6454 | 109.601 | 114.4265 | 115.592 | 116.8427 | 118.1271 | 119.4794 | 121.0001 | 122.6908 | 124.8329 | 127.1009 | 129.3995 | 131.6881 | 133.9365 | 136.1797 | 138.6876 | 141.1489 | 143.6007 | 146.0369
Commerce Way TS | 50.5028 | 54.9575 | 61.5528 | 92.1401 | 92.4944 | 92.8933 | 93.2697 | 93.7033 | 94.2129 | 94.7428 | 95.6108 | 96.6087 | 97.8331 | 98.6833 | 99.5268 | 100.3708 | 101.2228 | 102.1045 | 102.9998 | 103.91
Edgeware TS | 118.6851 | 152.5606 | 185.7313 | 197.1987 | 208.2717 | 219.3339 | 230.4391 | 241.7864 | 253.3474 | 264.9339 | 268.5285 | 272.7809 | 277.2203 | 281.8284 | 286.5456 | 291.5172 | 296.6877 | 301.9235 | 307.3943 | 313.1827
Highbury TS | 53.1211 | 53.876 | 54.5818 | 55.4906 | 56.4637 | 57.4862 | 58.6057 | 59.7662 | 61.05 | 62.4773 | 64.1761 | 65.9312 | 67.6895 | 69.4354 | 71.1506 | 72.8573 | 74.7105 | 76.5273 | 78.3297 | 80.114
Ingersoll TS | 62.0704 | 65.8911 | 77.1826 | 77.7325 | 78.1612 | 78.691 | 79.2087 | 79.8131 | 80.5118 | 81.2774 | 82.4293 | 83.7724 | 85.4809 | 87.2868 | 89.3211 | 91.6259 | 94.3212 | 97.4683 | 101.1739 | 105.5709
Longwood TS | 46.7816 | 59.8398 | 69.5843 | 71.2075 | 71.6693 | 74.2102 | 74.7571 | 75.3695 | 77.0646 | 77.8059 | 78.8605 | 81.5408 | 82.8168 | 84.1224 | 85.4306 | 86.786 | 88.1664 | 89.5629 | 90.9898 | 92.4563
Nelson TS | 52.4046 | 35.4468 | 36.3465 | 37.4504 | 38.6473 | 39.8858 | 41.0845 | 42.3254 | 43.7011 | 45.2276 | 50.507 | 52.5059 | 54.5119 | 56.5101 | 58.4824 | 63.8974 | 65.9737 | 68.0135 | 70.0359 | 72.0427
Strathroy TS | 43.2067 | 44.9478 | 46.719 | 48.1326 | 49.4901 | 50.8953 | 52.3237 | 53.7924 | 55.315 | 56.9014 | 58.719 | 60.6775 | 62.712 | 64.7944 | 66.9099 | 69.0813 | 71.3 | 73.5463 | 75.8426 | 78.1939
Talbot T1/T2 | 87.6205 | 95.8717 | 98.2594 | 100.1516 | 101.9526 | 104.6194 | 106.7057 | 108.8649 | 111.6003 | 114.7615 | 118.4678 | 122.3632 | 126.2132 | 133.8412 | 136.9223 | 140.7438 | 144.3197 | 147.8057 | 151.1274 | 155.2524
Talbot T3/T4 | 122.6965 | 130.5973 | 132.6008 | 134.1525 | 135.5761 | 136.8984 | 138.6315 | 140.4454 | 142.8796 | 145.7047 | 149.3474 | 153.3443 | 157.3168 | 165.0408 | 168.2512 | 172.2124 | 175.9065 | 179.5111 | 182.9324 | 187.1618
Tillsonburg TS | 80.712 | 91.907 | 94.5487 | 95.8141 | 97.4994 | 98.6469 | 100.428 | 101.7853 | 103.2559 | 104.7924 | 106.9211 | 109.2693 | 111.9251 | 114.6825 | 117.5382 | 120.4911 | 123.6686 | 127.0587 | 130.6904 | 134.6122
Wonderland TS | 89.3488 | 91.048 | 95.2467 | 97.6594 | 100.1998 | 102.7916 | 105.5437 | 108.3733 | 111.4405 | 114.7917 | 118.5866 | 122.7756 | 126.9707 | 131.1704 | 135.3406 | 139.5328 | 144.3092 | 149.0431 | 153.7513 | 158.4376
Woodstock TS | 60.9414 | 69.1904 | 76.0663 | 78.0081 | 79.7392 | 81.5268 | 83.3072 | 85.1202 | 87.008 | 88.9223 | 91.1148 | 93.4615 | 95.9776 | 96.9738 | 97.9561 | 98.9362 | 99.9263 | 100.9595 | 102.0095 | 103.0787
Total CTS* Loads | 19.55 | 238.8991 | 403.323 | 501.481 | 651.2328 | 651.25 | 651.15 | 651.15 | 651.05 | 651.05 | 650.95 | 650.95 | 650.95 | 650.95 | 650.95 | 666.85 | 666.85 | 666.85 | 666.85 | 666.85
Total Region | 1167.901 | 1469.9893 | 1728.6029 | 1893.96 | 2075.4675 | 2110.1393 | 2143.2585 | 2177.0564 | 2215.084 | 2254.2797 | 2294.0537 | 2335.2845 | 2376.6143 | 2424.1045 | 2462.9478 | 2523.5599 | 2566.6213 | 2610.402 | 2655.2771 | 2703.5588
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 8
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 8 Extreme-weather Net Non-concident Demand - High Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 46.9357 | 50.1822 | 53.9031 | 56.0708 | 58.1967 | 61.4475 | 63.6879 | 66.0093 | 68.4335 | 70.9516 | 72.3384 | 73.9665 | 75.8028 | 77.8493 | 80.1636 | 82.8229 | 85.9432 | 89.4924 | 93.6616 | 98.6086
Buchanan TS | 126.5698 | 128.9339 | 137.8301 | 147.0814 | 156.4956 | 171.5551 | 180.8454 | 190.2153 | 200.934 | 211.9398 | 223.6662 | 235.6054 | 247.6144 | 259.6434 | 271.6661 | 283.7244 | 295.7756 | 307.8148 | 319.9373 | 332.1602
Clarke TS | 103.9952 | 106.2201 | 113.303 | 120.3384 | 122.6175 | 125.0005 | 127.5368 | 130.1615 | 133.0367 | 136.212 | 139.8991 | 143.6609 | 147.4276 | 151.1767 | 154.8794 | 158.5672 | 162.4779 | 166.3215 | 170.1385 | 173.9202
Commerce Way TS | 50.7321 | 55.4249 | 62.2674 | 93.1112 | 93.7313 | 113.8404 | 114.5023 | 115.2316 | 116.0472 | 116.8939 | 118.0897 | 119.4266 | 121.0015 | 122.214 | 123.4319 | 124.6627 | 125.9141 | 127.2082 | 128.5293 | 129.8788
Edgeware TS | 149.4042 | 214.0548 | 278.9175 | 322.9331 | 367.6525 | 413.3005 | 459.838 | 507.7638 | 556.8934 | 606.7038 | 623.7821 | 641.8784 | 660.3563 | 679.3339 | 698.7686 | 718.8113 | 739.4374 | 755.7272 | 771.7071 | 788.2552
Highbury TS | 53.6037 | 54.9594 | 56.273 | 57.8613 | 59.6538 | 61.5102 | 63.61 | 65.7674 | 68.119 | 70.7275 | 73.6588 | 76.6059 | 79.5316 | 82.4357 | 85.3011 | 88.1476 | 91.0692 | 93.9353 | 96.771 | 99.5704
Ingersoll TS | 62.746 | 67.2255 | 79.2065 | 81.2168 | 83.1586 | 86.2031 | 88.339 | 90.6329 | 93.1002 | 95.7311 | 98.8881 | 102.4081 | 106.4864 | 110.1665 | 114.3846 | 119.2032 | 124.8947 | 131.4744 | 139.2584 | 148.5555
Longwood TS | 47.2126 | 60.7186 | 73.1402 | 77.8817 | 81.5838 | 87.4725 | 91.4632 | 93.5126 | 96.7537 | 99.1156 | 101.8673 | 106.288 | 109.3484 | 112.4827 | 115.6646 | 118.9392 | 122.2848 | 125.2228 | 128.1384 | 131.1192
Nelson TS | 53.03 | 36.798 | 38.4359 | 40.3642 | 42.55 | 44.7996 | 47.0159 | 49.2978 | 51.7968 | 54.5752 | 72.4365 | 75.8131 | 79.1758 | 82.5273 | 85.8509 | 103.8807 | 107.2104 | 110.4865 | 113.7319 | 116.9465
Strathroy TS | 48.9157 | 55.5279 | 62.4212 | 65.2445 | 68.2925 | 71.6312 | 75.2063 | 79.0926 | 83.277 | 87.6806 | 92.4749 | 97.484 | 102.6439 | 107.9268 | 113.3182 | 118.8413 | 124.4879 | 129.0395 | 133.4627 | 137.9619
Talbot T1/T2 | 88.7749 | 100.5943 | 104.6109 | 108.0339 | 111.6127 | 116.3644 | 120.3744 | 124.4814 | 129.4194 | 135.0676 | 141.3711 | 147.8712 | 154.2514 | 165.7575 | 171.0685 | 177.3514 | 182.964 | 188.4226 | 193.6274 | 199.8872
Talbot T3/T4 | 123.9245 | 135.4824 | 139.1902 | 142.3467 | 145.6228 | 149.106 | 152.8344 | 156.6668 | 161.375 | 166.7595 | 173.0713 | 179.7438 | 186.3155 | 197.9945 | 203.4994 | 209.9868 | 215.7732 | 221.4044 | 226.761 | 233.1777
Tillsonburg TS | 87.0022 | 106.5656 | 113.5394 | 119.7059 | 126.5061 | 134.4056 | 141.253 | 147.1862 | 153.2528 | 159.4204 | 166.1297 | 173.1919 | 180.6478 | 187.6323 | 194.8893 | 202.3021 | 210.2131 | 218.2933 | 226.8195 | 235.9268
Wonderland TS | 91.8194 | 96.3512 | 103.4029 | 109.0629 | 115.1203 | 121.268 | 127.7526 | 134.3594 | 141.3485 | 148.849 | 156.9086 | 165.6218 | 174.3171 | 183.0251 | 191.7145 | 200.43 | 209.4138 | 218.3349 | 227.2151 | 236.0531
Woodstock TS | 61.2093 | 69.7368 | 76.9023 | 79.1446 | 81.1876 | 85.6389 | 87.7545 | 89.9148 | 92.1624 | 94.4494 | 97.0278 | 99.7738 | 102.7031 | 104.1267 | 105.5511 | 106.9884 | 108.4509 | 109.9723 | 111.5267 | 113.1168
Total CTS* Loads | 19.55 | 238.8991 | 403.323 | 501.481 | 651.2328 | 651.25 | 651.15 | 651.15 | 651.05 | 651.05 | 666.95 | 666.95 | 666.95 | 666.95 | 666.95 | 666.85 | 666.85 | 666.85 | 666.85 | 685.482
Total Region | 1215.4252 | 1577.6748 | 1896.6664 | 2121.8784 | 2365.2146 | 2494.7935 | 2593.1636 | 2691.4434 | 2796.9995 | 2906.1271 | 3018.5595 | 3106.2895 | 3194.5736 | 3291.2426 | 3377.1015 | 3481.509 | 3573.1603 | 3660.0002 | 3748.1358 | 3860.6204
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 9
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 9 Extreme-weather Net Non-coincident Demand - Low Growth Scenario - Winter
| 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Aylmer TS | 44.7357 | 45.8186 | 47.3504 | 47.4044 | 47.3703 | 47.3782 | 47.3739 | 47.3983 | 47.4691 | 47.5635 | 47.9201 | 48.3917 | 48.9314 | 49.5142 | 50.1382 | 50.8485 | 51.6788 | 52.6108 | 53.6873 | 54.9396
Buchanan TS | 124.8069 | 125.2226 | 126.7674 | 128.4589 | 129.9133 | 131.3928 | 132.7986 | 134.223 | 135.8979 | 137.5419 | 139.7441 | 142.2066 | 144.7684 | 147.3357 | 149.8713 | 152.4256 | 155.1122 | 157.7879 | 160.5184 | 163.3055
Clarke TS | 102.7206 | 103.3923 | 105.8857 | 108.1511 | 108.3245 | 108.5645 | 108.8733 | 109.223 | 109.6417 | 110.0706 | 110.8766 | 111.8328 | 112.8447 | 113.8538 | 114.8306 | 115.8162 | 117.0696 | 118.3066 | 119.5624 | 120.8343
Commerce Way TS | 50.2746 | 54.4947 | 60.8488 | 82.0019 | 81.6606 | 81.3573 | 81.0244 | 80.7417 | 80.5277 | 80.3268 | 80.4566 | 80.7087 | 81.1796 | 81.7093 | 82.2245 | 82.732 | 83.2393 | 83.768 | 84.3019 | 84.8419
Edgeware TS | 106.6513 | 129.2161 | 151.1655 | 151.3144 | 150.9609 | 150.4906 | 149.9465 | 149.4236 | 149.0048 | 148.5003 | 149.7748 | 151.5902 | 153.5773 | 155.6109 | 157.6237 | 159.7566 | 161.9458 | 164.2016 | 166.5266 | 168.9873
Highbury TS | 52.7615 | 53.0492 | 53.2795 | 53.6274 | 53.8721 | 54.1508 | 54.5118 | 54.8912 | 55.3069 | 55.7263 | 56.3537 | 57.0563 | 57.7864 | 58.5128 | 59.2179 | 59.9289 | 60.8159 | 61.6941 | 62.5836 | 63.4838
Ingersoll TS | 61.7378 | 65.1931 | 76.106 | 76.1604 | 76.0701 | 76.0607 | 76.0188 | 76.0354 | 76.1136 | 76.2182 | 76.6536 | 77.2158 | 78.0652 | 79.017 | 80.0725 | 81.2535 | 82.6408 | 84.251 | 86.1343 | 88.3558
Longwood TS | 46.2089 | 58.9184 | 68.2747 | 69.5482 | 69.6416 | 71.7955 | 71.9364 | 72.1215 | 73.3702 | 73.6458 | 74.2154 | 76.3914 | 77.1433 | 77.9052 | 78.6498 | 79.4218 | 80.1987 | 80.9768 | 81.7652 | 82.5727
Nelson TS | 51.9323 | 34.4057 | 34.7242 | 35.1467 | 35.4678 | 35.8095 | 36.1891 | 36.5828 | 37.0134 | 37.4399 | 40.7946 | 41.5751 | 42.3859 | 43.1945 | 43.9833 | 47.4759 | 48.4296 | 49.3761 | 50.3324 | 51.3034
Strathroy TS | 40.5743 | 41.1196 | 41.6042 | 41.6868 | 41.6692 | 41.6551 | 41.6202 | 41.5755 | 41.5407 | 41.5256 | 41.6979 | 41.9667 | 42.2666 | 42.57 | 42.862 | 43.1653 | 43.4711 | 43.7734 | 44.0809 | 44.3987
Talbot T1/T2 | 86.742 | 90.7962 | 91.6973 | 92.2673 | 92.4588 | 93.089 | 93.6082 | 94.1575 | 94.9434 | 95.7892 | 97.0325 | 98.4428 | 99.8755 | 103.1767 | 104.2214 | 105.6684 | 107.1944 | 108.7088 | 110.1784 | 112.0926
Talbot T3/T4 | 121.7462 | 125.3568 | 125.7989 | 125.9551 | 125.6946 | 124.9035 | 124.999 | 125.1327 | 125.5454 | 125.9814 | 127.0871 | 128.5255 | 130.0084 | 133.3215 | 134.4273 | 135.9444 | 137.5273 | 139.1004 | 140.6112 | 142.5697
Tillsonburg TS | 77.1169 | 84.849 | 86.369 | 86.4734 | 86.4885 | 86.4277 | 86.4101 | 86.4221 | 86.5323 | 86.6866 | 87.2172 | 87.9866 | 89.0198 | 90.1153 | 91.2322 | 92.384 | 93.6294 | 94.9795 | 96.4385 | 98.0292
Wonderland TS | 88.3348 | 88.7164 | 91.578 | 92.4914 | 93.2146 | 93.9532 | 95.0405 | 96.154 | 97.335 | 98.5277 | 100.0291 | 101.7533 | 103.5102 | 105.2662 | 106.9879 | 108.7383 | 111.1719 | 113.6015 | 116.0415 | 118.5028
Woodstock TS | 60.6749 | 68.6494 | 75.2428 | 75.1759 | 74.8904 | 74.6532 | 74.4005 | 74.1718 | 74.0092 | 73.8643 | 73.9886 | 74.2579 | 74.6872 | 75.3052 | 75.8997 | 76.4821 | 77.0644 | 77.6795 | 78.3011 | 78.9312
Total CTS* Loads | 16.55 | 235.8991 | 400.323 | 501.481 | 651.2328 | 651.25 | 651.15 | 651.15 | 651.05 | 651.05 | 650.95 | 650.95 | 650.95 | 650.95 | 650.95 | 650.85 | 650.85 | 650.85 | 650.85 | 650.85
Total Region | 1133.5687 | 1405.0972 | 1637.0153 | 1767.3442 | 1918.9301 | 1922.9315 | 1925.9011 | 1929.4041 | 1935.3013 | 1940.4581 | 1954.7918 | 1970.8514 | 1986.9998 | 2007.3583 | 2023.1922 | 2042.8915 | 2062.0391 | 2081.6661 | 2101.9139 | 2123.9985
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Table 10
The starting points used to develop the IRRP planning forecast were based off of the historical weather-corrected gross coincident demand (MW).
Transformer Station | Table 10 Historical Weather-Corrected Gross Coincident Demand (MW) - Winter
| 2020 | 2021 | 2022 | 2023 | 2024
Aylmer TS | 39.1504 | 37.3193 | 39.2254 | 40.5064 | 40.3968
Buchanan TS | 127.9201 | 125.1265 | 113.1239 | 110.1646 | 125.2705
Clarke TS | 78.5999 | 85.6646 | 97.3256 | 84.651 | 92.5295
Commerce Way TS | 31.4012 | 31.1955 | 31.1709 | 31.3581 | 39.4287
Edgeware TS | 82.3967 | 83.5994 | 84.5709 | 86.964 | 89.0507
Highbury TS | 48.7194 | 53.0999 | 53.0183 | 48.7102 | 53.0702
Ingersoll TS | 72.5483 | 66.7629 | 69.7094 | 65.1261 | 60.8058
Longwood TS | 34.3 | 39.899 | 33.2683 | 38.5085 | 34.4563
Nelson TS | 25.302 | 29.414 | 28.1105 | 33.3858 | 51.5223
Strathroy TS | 32.3711 | 33.5595 | 32.0411 | 29.3264 | 40.7279
Talbot T1/T2 | 62.4573 | 85.7724 | 88.1864 | 82.8948 | 78.168
Talbot T3/T4 | 146.1486 | 130.2354 | 115.5932 | 118.4873 | 120.3818
Tillsonburg TS | 74.0342 | 80.8159 | 83.1893 | 75.8787 | 84.2148
Wonderland TS | 62.6547 | 30.754 | 61.624 | 68.536 | 64.1889
Woodstock TS | 47.1194 | 47.1338 | 47.8967 | 45.9288 | 47.2234
Total CTS* Loads | 16.2635 | 18.1514 | 12.589 | 17.3897 | 14.4499
Total Region | 981.3869 | 978.5033 | 990.6429 | 977.8164 | 1035.8855
*CTS is the abbreviation of: Customer Transformer Station
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.