## Summer Planning Forecast
The IRRP planning forecast accounts for the median weather gross forecast provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | Net Extreme Weather Station Peak Demand Forecast, Non-Coincident to Renfrew Region (MW)
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Cobden DS | 7.2466 | 7.2898 | 7.2733 | 7.273 | 7.2863 | 7.3111 | 7.3188 | 7.3306 | 7.3348 | 7.3481 | 7.3567 | 7.3651 | 7.3855 | 7.4105 | 7.4395 | 7.4832 | 7.542 | 7.6038 | 7.6678 | 7.7298 | 7.7957 | 7.8556
Cobden TS | 22.3204 | 22.4865 | 22.4574 | 22.4697 | 22.5233 | 22.6132 | 22.6579 | 22.7095 | 22.7291 | 22.7739 | 22.8127 | 22.8537 | 22.9308 | 23.0249 | 23.1343 | 23.2983 | 23.5052 | 23.7203 | 23.9423 | 24.1566 | 24.3785 | 24.5855
Craig DS | 14.1677 | 14.3303 | 14.3801 | 14.4531 | 14.5465 | 14.669 | 14.7668 | 14.8725 | 14.96 | 15.06 | 15.1584 | 15.2536 | 15.3718 | 15.5025 | 15.6467 | 15.8121 | 16.0012 | 16.1967 | 16.3921 | 16.5842 | 16.7922 | 16.9849
Deep River DS | 8.0414 | 8.0593 | 8.0087 | 7.9813 | 7.9709 | 7.9757 | 7.9593 | 7.9499 | 7.933 | 7.928 | 7.9162 | 7.904 | 7.907 | 7.9154 | 7.9281 | 7.9552 | 7.9982 | 8.0462 | 8.0937 | 8.1386 | 8.1919 | 8.2361
Des Joachims DS | 2.2192 | 2.2221 | 2.2066 | 2.1971 | 2.1922 | 2.1914 | 2.185 | 2.1803 | 2.1736 | 2.17 | 2.1647 | 2.1594 | 2.1582 | 2.1584 | 2.1597 | 2.1651 | 2.1745 | 2.1853 | 2.1959 | 2.2058 | 2.2178 | 2.2275
Forest Lea DS | 9.0571 | 9.0975 | 9.0643 | 9.0486 | 9.049 | 9.0646 | 9.0627 | 9.0621 | 9.0489 | 9.0464 | 9.0419 | 9.0397 | 9.0516 | 9.0702 | 9.0939 | 9.1389 | 9.1967 | 9.2596 | 9.321 | 9.3788 | 9.4421 | 9.4991
Mazinaw DS | 3.4764 | 3.4997 | 3.4951 | 3.4968 | 3.5049 | 3.5181 | 3.5242 | 3.5311 | 3.5335 | 3.5398 | 3.545 | 3.5507 | 3.5616 | 3.5749 | 3.5902 | 3.6139 | 3.6438 | 3.6751 | 3.7073 | 3.7384 | 3.7702 | 3.8001
Mountain Chute DS | 0.58402 | 0.58982 | 0.59089 | 0.59316 | 0.59652 | 0.6008 | 0.60373 | 0.60688 | 0.60935 | 0.61252 | 0.61535 | 0.6182 | 0.62202 | 0.62621 | 0.63073 | 0.63662 | 0.64372 | 0.65109 | 0.65865 | 0.66604 | 0.67369 | 0.68091
Pembroke TS | 47.0774 | 47.7158 | 48.3141 | 48.8128 | 49.1973 | 49.631 | 50.1944 | 50.7929 | 51.2475 | 51.5978 | 52.2297 | 52.8453 | 53.4904 | 54.0729 | 54.7691 | 55.6527 | 56.5461 | 57.4293 | 58.3295 | 59.2364 | 60.1772 | 61.1155
Petawawa DS | 13.4755 | 13.4667 | 13.3353 | 13.2845 | 13.2753 | 13.2991 | 13.2551 | 13.2561 | 13.2668 | 13.3105 | 13.312 | 13.2988 | 13.3254 | 13.356 | 13.3919 | 13.4245 | 13.5104 | 13.6083 | 13.71 | 13.8122 | 13.9496 | 14.0503
Chalk River CTS | 6.9407 | 7.0323 | 7.0811 | 7.1021 | 7.1129 | 7.1427 | 7.1945 | 7.2383 | 7.2626 | 7.2741 | 7.313 | 7.3479 | 7.3823 | 7.4285 | 7.4929 | 7.5566 | 7.6135 | 7.6645 | 7.7157 | 7.7669 | 7.8197 | 7.8725
Megellan CTS | 2.968 | 3.0063 | 3.0262 | 3.0338 | 3.0369 | 3.0444 | 3.0655 | 3.0871 | 3.0962 | 3.0998 | 3.1153 | 3.1291 | 3.1426 | 3.1615 | 3.1882 | 3.2145 | 3.2379 | 3.259 | 3.28 | 3.3007 | 3.3223 | 3.3436
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## DG
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | Total Contracted Distributed Generation (DG) Contribution to Peak (MW)
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Cobden DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cobden TS | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54 | 1.54
Craig DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deep River DS | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Des Joachims DS | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Forest Lea DS | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
Mazinaw DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mountain Chute DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pembroke TS | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17 | 0.17
Petawawa DS | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Chalk River CTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Megellan CTS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DRAFT

## CDM
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The analyses were conducted under normal weather conditions and can be adjusted to reflect extreme weather conditions. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | Total Conservation and Demand Management (CDM) Forecast (MW)
| 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Cobden DS | 0.067479 | 0.12988 | 0.20953 | 0.27147 | 0.32542 | 0.37481 | 0.44009 | 0.4974 | 0.55822 | 0.60998 | 0.66609 | 0.72215 | 0.76626 | 0.80575 | 0.84112 | 0.862 | 0.86833 | 0.87185 | 0.87346 | 0.87718 | 0.87722 | 0.88333
Cobden TS | 0.19809 | 0.39074 | 0.63656 | 0.83552 | 1.0121 | 1.1757 | 1.3813 | 1.567 | 1.7709 | 1.9495 | 2.1331 | 2.314 | 2.4589 | 2.5866 | 2.6989 | 2.7572 | 2.7742 | 2.7839 | 2.7876 | 2.7994 | 2.8044 | 2.8247
Craig DS | 0.13536 | 0.25062 | 0.39792 | 0.51943 | 0.63245 | 0.73132 | 0.85353 | 0.96058 | 1.0783 | 1.1835 | 1.2903 | 1.4003 | 1.4878 | 1.5631 | 1.6252 | 1.6667 | 1.6858 | 1.6993 | 1.7138 | 1.7322 | 1.736 | 1.7554
Deep River DS | 0.092084 | 0.17068 | 0.2694 | 0.3433 | 0.40665 | 0.46262 | 0.53838 | 0.6027 | 0.66989 | 0.72501 | 0.78646 | 0.84782 | 0.89399 | 0.93458 | 0.9707 | 0.99242 | 0.99869 | 1.0001 | 1.0021 | 1.0068 | 1.0033 | 1.0088
Des Joachims DS | 0.024075 | 0.044913 | 0.071085 | 0.090721 | 0.10753 | 0.12239 | 0.14239 | 0.15947 | 0.1774 | 0.19211 | 0.20836 | 0.22446 | 0.23656 | 0.24714 | 0.25652 | 0.26188 | 0.26327 | 0.26335 | 0.26365 | 0.26466 | 0.26363 | 0.26488
Forest Lea DS | 0.075068 | 0.14963 | 0.24481 | 0.32066 | 0.3875 | 0.44782 | 0.52428 | 0.59443 | 0.67202 | 0.73874 | 0.80709 | 0.87282 | 0.92444 | 0.96909 | 1.0086 | 1.027 | 1.033 | 1.0341 | 1.0368 | 1.0433 | 1.0445 | 1.0519
Mazinaw DS | 0.02842 | 0.056575 | 0.092418 | 0.12117 | 0.1464 | 0.16988 | 0.1999 | 0.22738 | 0.2573 | 0.28335 | 0.31038 | 0.33677 | 0.35796 | 0.37678 | 0.39365 | 0.40214 | 0.40463 | 0.40597 | 0.40642 | 0.40812 | 0.40911 | 0.41214
Mountain Chute DS | 0.0051729 | 0.010134 | 0.016496 | 0.021546 | 0.02599 | 0.030124 | 0.035535 | 0.040421 | 0.045678 | 0.050239 | 0.055122 | 0.05998 | 0.063898 | 0.06744 | 0.070663 | 0.072552 | 0.073277 | 0.073775 | 0.07411 | 0.074644 | 0.074945 | 0.0757
Pembroke TS | 0.13411 | 0.25505 | 0.42766 | 0.69694 | 1.0294 | 1.338 | 1.5221 | 1.6654 | 1.943 | 2.2668 | 2.4682 | 2.6939 | 2.8995 | 3.025 | 3.0463 | 3.0538 | 3.0654 | 3.101 | 3.1343 | 3.1754 | 3.1983 | 3.2387
Petawawa DS | 0.28862 | 0.48196 | 0.7181 | 0.87225 | 0.99587 | 1.1001 | 1.2691 | 1.3867 | 1.4875 | 1.5556 | 1.6643 | 1.787 | 1.8704 | 1.9494 | 2.0228 | 2.0992 | 2.1238 | 2.1368 | 2.1465 | 2.1561 | 2.1314 | 2.143
Chalk River CTS | 0 | 0 | 0.0029959 | 0.031419 | 0.074873 | 0.10623 | 0.11534 | 0.12858 | 0.157 | 0.19773 | 0.2114 | 0.22869 | 0.24635 | 0.25213 | 0.24 | 0.22826 | 0.22337 | 0.22428 | 0.22522 | 0.2262 | 0.22575 | 0.22543
Megellan CTS | 0 | 0 | 0.0013347 | 0.013969 | 0.033182 | 0.050865 | 0.054879 | 0.056757 | 0.069262 | 0.087091 | 0.093051 | 0.10066 | 0.10839 | 0.11082 | 0.10546 | 0.10044 | 0.098273 | 0.09846 | 0.098748 | 0.099295 | 0.099169 | 0.099224
DRAFT