## Menu
Sudbury Algoma Area Integrated Regional Resource Plan Data Tables 2026 - Winter
Table 1 Distributed Generation Contribution Factor Assumptions
Table 2: IRRP eDSM (Codes and Standards + Energy Efficiency) Forecast
Table 3: Effective DG Contribution to Coincident Peak
Table 4: Extreme-weather Net Coincident Demand - Reference Forecast
Table 5: Extreme-weather Net Concident Demand - High Growth Scenario
Table 6: Extreme-weather Net Non-coincident Demand - Reference Forecast
Table 7: Extreme-weather Net Non-concident Demand - High Growth Scenario
Table 8: Historical Weather-Corrected Gross Coincident Demand
Table 9: Historical Power Factor at the LV Terminal
This document and the information contained herein is provided for informational purposes only. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained in this document are subject to risks, uncertainties and other factors that could cause actual results or circumstances to differ materially from the information, statements and assumptions contained herein. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document, as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT
DRAFT

## Table 1
Distirbuted Generation Contribution Factors used to develop the efective DG contribution to coincident peak
Resource Type | Table 1 Distributed Generation Contribution Factor Assumptions - Winter
Contribution Factor (%)
Hydroelectric | 82
Thermal | 94
Solar | 0
Wind | 26

## Table 2
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 2 IRRP eDSM Forecast (MW) - Winter
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Clarabelle TS | 0.67782 | 1.4089 | 2.1296 | 3.0642 | 3.9369 | 4.7808 | 5.6057 | 6.3406 | 7.0315 | 7.4625 | 7.7824 | 8.1609 | 8.397 | 8.6566 | 8.8429 | 9.0481 | 9.2282 | 9.4272 | 9.6216 | 9.8268
Elliott Lake TS | 0.13149 | 0.26971 | 0.40206 | 0.57172 | 0.72583 | 0.87455 | 1.0177 | 1.141 | 1.2441 | 1.3005 | 1.3436 | 1.3886 | 1.4123 | 1.4373 | 1.4505 | 1.4644 | 1.4782 | 1.4937 | 1.5083 | 1.5239
Espanola TS | 0.082706 | 0.16971 | 0.25216 | 0.36244 | 0.4623 | 0.55786 | 0.64817 | 0.72464 | 0.78714 | 0.82171 | 0.84515 | 0.86946 | 0.88352 | 0.8994 | 0.90799 | 0.91691 | 0.92581 | 0.93544 | 0.94469 | 0.95439
Larchwood TS | 0.067396 | 0.13881 | 0.20732 | 0.29782 | 0.38063 | 0.46076 | 0.53772 | 0.60415 | 0.65977 | 0.69172 | 0.71548 | 0.74024 | 0.75529 | 0.77168 | 0.78183 | 0.7924 | 0.80299 | 0.81438 | 0.82545 | 0.83706
Manitoulin TS | 0.27722 | 0.57183 | 0.85568 | 1.2298 | 1.5734 | 1.9072 | 2.2294 | 2.5093 | 2.7454 | 2.8829 | 2.9876 | 3.0969 | 3.1647 | 3.238 | 3.2852 | 3.3344 | 3.3837 | 3.4368 | 3.4885 | 3.5427
Martindale TS | 0.66397 | 1.4334 | 2.1821 | 3.1629 | 4.1424 | 5.0662 | 5.9401 | 6.7284 | 7.3607 | 7.7322 | 8.0163 | 8.3516 | 8.5626 | 8.7957 | 8.9645 | 9.1513 | 9.3185 | 9.5085 | 9.6982 | 9.8887
Massey DS | 0.045825 | 0.09397 | 0.13942 | 0.20061 | 0.25592 | 0.30866 | 0.35827 | 0.40006 | 0.43398 | 0.45264 | 0.46486 | 0.47754 | 0.4849 | 0.49335 | 0.49782 | 0.50246 | 0.5071 | 0.51211 | 0.51693 | 0.52199
Northshore DS | 0.048872 | 0.10089 | 0.15291 | 0.21241 | 0.26792 | 0.32347 | 0.38055 | 0.43304 | 0.48041 | 0.50724 | 0.53415 | 0.56253 | 0.57689 | 0.59032 | 0.59866 | 0.60763 | 0.61656 | 0.62682 | 0.63643 | 0.64689
Sowerby DS | 0.013144 | 0.027003 | 0.040163 | 0.057684 | 0.07355 | 0.088716 | 0.10304 | 0.11514 | 0.125 | 0.13034 | 0.13396 | 0.1377 | 0.13977 | 0.1421 | 0.14327 | 0.14449 | 0.14571 | 0.14704 | 0.1483 | 0.14963
Spanish DS | 0.029675 | 0.061055 | 0.091117 | 0.13053 | 0.16648 | 0.20119 | 0.23449 | 0.26317 | 0.28712 | 0.30065 | 0.31071 | 0.3212 | 0.3273 | 0.33392 | 0.33782 | 0.3419 | 0.34597 | 0.3504 | 0.35467 | 0.35917
Striker DS | 0.050854 | 0.1046 | 0.15638 | 0.22274 | 0.28336 | 0.34213 | 0.39904 | 0.44848 | 0.49023 | 0.51361 | 0.532 | 0.55121 | 0.56183 | 0.57303 | 0.57949 | 0.58629 | 0.59308 | 0.60057 | 0.60771 | 0.6153
Verner DS | 0.043233 | 0.0889 | 0.13209 | 0.19131 | 0.24509 | 0.29656 | 0.34496 | 0.38582 | 0.41907 | 0.43805 | 0.45033 | 0.46306 | 0.47131 | 0.48086 | 0.4866 | 0.49251 | 0.49844 | 0.50471 | 0.51087 | 0.51725
Warren DS | 0.059342 | 0.12213 | 0.18195 | 0.26236 | 0.33566 | 0.40623 | 0.47335 | 0.53071 | 0.57812 | 0.60528 | 0.62432 | 0.64412 | 0.6565 | 0.67034 | 0.67881 | 0.6876 | 0.69642 | 0.70584 | 0.71504 | 0.72465
Wharncliffe DS | 0.026406 | 0.054539 | 0.082307 | 0.11603 | 0.14736 | 0.17838 | 0.20951 | 0.23758 | 0.26233 | 0.27664 | 0.28973 | 0.30349 | 0.3111 | 0.31863 | 0.32349 | 0.32863 | 0.33379 | 0.33952 | 0.345 | 0.34965
Whitefish DS | 0.046459 | 0.0954 | 0.14154 | 0.20472 | 0.26195 | 0.31649 | 0.36762 | 0.41059 | 0.44532 | 0.46483 | 0.47717 | 0.48995 | 0.49797 | 0.50734 | 0.51268 | 0.51819 | 0.52371 | 0.52956 | 0.53528 | 0.54121
Total Region | 2.2644 | 4.7408 | 7.1468 | 10.2873 | 13.2587 | 16.1092 | 18.8496 | 21.2727 | 23.3502 | 24.5807 | 25.5079 | 26.5585 | 27.2029 | 27.9086 | 28.3916 | 28.9171 | 29.3982 | 29.9325 | 30.4569 | 30.9992

## Table 3
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 3 Effective DG Contribution to Coincident Peak (MW) - Winter
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Clarabelle TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Elliott Lake TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Espanola TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Larchwood TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Manitoulin TS | 1.655 | 1.655 | 1.655 | 1.655 | 1.04 | 1.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Martindale TS | 14.911 | 13.407 | 13.407 | 13.407 | 13.407 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3
Massey DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Northshore DS | 3.2226 | 3.2226 | 3.2226 | 3.2226 | 1.353 | 1.353 | 1.353 | 1.353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sowerby DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spanish DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Striker DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Verner DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Warren DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wharncliffe DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Whitefish DS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Region | 19.7886 | 18.2846 | 18.2846 | 18.2846 | 15.8 | 14.693 | 13.653 | 13.653 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3 | 12.3

## Table 4
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 4 Extreme-weather Net Coincident Demand - Reference Forecast (MW) - Winter
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Clarabelle TS | 116.0294 | 118.151 | 120.6066 | 122.229 | 123.8153 | 125.437 | 126.9803 | 128.8292 | 132.188 | 135.5017 | 138.2049 | 141.795 | 145.0143 | 148.4268 | 151.8166 | 155.5083 | 158.7126 | 162.1148 | 165.5301 | 169.0474
Elliott Lake TS | 18.4467 | 18.4826 | 18.5272 | 18.533 | 18.5551 | 18.5872 | 18.6259 | 18.6854 | 18.7663 | 18.8951 | 19.0384 | 19.181 | 19.3463 | 19.5115 | 19.69 | 19.8691 | 20.0497 | 20.23 | 20.4125 | 20.5955
Espanola TS | 12.6445 | 12.6858 | 12.7334 | 12.7534 | 12.7844 | 12.8201 | 12.8617 | 12.9178 | 12.9886 | 13.088 | 13.1992 | 13.3104 | 13.4326 | 13.5539 | 13.6832 | 13.8131 | 13.9438 | 14.0746 | 14.2066 | 14.339
Larchwood TS | 9.9544 | 10.0202 | 10.0912 | 10.1413 | 10.2004 | 10.2634 | 10.331 | 10.4105 | 10.5023 | 10.6192 | 10.7459 | 10.8732 | 11.0117 | 11.1506 | 11.2973 | 11.4453 | 11.5949 | 11.7454 | 11.898 | 12.0517
Manitoulin TS | 38.9784 | 39.3056 | 39.6543 | 39.9188 | 40.8351 | 41.153 | 42.5297 | 42.9159 | 43.3534 | 43.8972 | 44.4816 | 45.0697 | 45.7079 | 46.3492 | 47.0255 | 47.7088 | 48.4008 | 49.0983 | 49.8063 | 50.5211
Martindale TS | 111.6312 | 121.0794 | 125.0055 | 128.3899 | 133.3333 | 137.886 | 139.8281 | 142.2734 | 143.8403 | 145.8783 | 147.9029 | 150.7091 | 153.7464 | 156.9724 | 160.3694 | 164.0631 | 167.3647 | 170.958 | 174.6586 | 178.258
Massey DS | 7.1585 | 7.1785 | 7.2015 | 7.2089 | 7.2226 | 7.2392 | 7.2593 | 7.2877 | 7.3243 | 7.3767 | 7.4361 | 7.4954 | 7.5606 | 7.6251 | 7.6942 | 7.7636 | 7.8336 | 7.9037 | 7.9745 | 8.0456
Northshore DS | 1.8561 | 1.8811 | 1.9061 | 1.9237 | 3.815 | 3.8375 | 3.8594 | 3.8869 | 5.2734 | 5.3284 | 5.3844 | 5.4399 | 5.5106 | 5.5833 | 5.6621 | 5.7415 | 5.822 | 5.9023 | 5.9845 | 6.0669
Sowerby DS | 2.0003 | 2.009 | 2.0177 | 2.0215 | 2.0263 | 2.0313 | 2.0367 | 2.0438 | 2.0528 | 2.0658 | 2.0806 | 2.0953 | 2.1118 | 2.1281 | 2.1456 | 2.1632 | 2.1808 | 2.1984 | 2.2161 | 2.2339
Spanish DS | 4.3336 | 4.3572 | 4.3819 | 4.397 | 4.4153 | 4.4354 | 4.4574 | 4.4844 | 4.5167 | 4.5599 | 4.6072 | 4.6545 | 4.7068 | 4.7591 | 4.8147 | 4.8707 | 4.9273 | 4.9841 | 5.0417 | 5.0996
Striker DS | 7.09 | 7.1234 | 7.1582 | 7.178 | 7.2033 | 7.231 | 7.2613 | 7.2997 | 7.3467 | 7.4128 | 7.4846 | 7.5564 | 7.6377 | 7.7192 | 7.8063 | 7.8939 | 7.9824 | 8.071 | 8.1609 | 8.2512
Verner DS | 6.9257 | 6.9661 | 7.0097 | 7.038 | 7.0724 | 7.1099 | 7.1513 | 7.2011 | 7.2594 | 7.3328 | 7.4139 | 7.4955 | 7.5825 | 7.6691 | 7.7606 | 7.8529 | 7.9461 | 8.0401 | 8.1351 | 8.231
Warren DS | 9.1026 | 9.1594 | 9.2202 | 9.2615 | 9.311 | 9.3645 | 9.4228 | 9.492 | 9.5726 | 9.6748 | 9.7866 | 9.899 | 10.0203 | 10.1417 | 10.2699 | 10.3993 | 10.5302 | 10.6621 | 10.7957 | 10.9306
Wharncliffe DS | 3.2193 | 3.2429 | 3.2674 | 3.2865 | 3.3086 | 3.3316 | 3.3552 | 3.3825 | 3.4138 | 3.4562 | 3.5006 | 3.545 | 3.5964 | 3.6486 | 3.7043 | 3.7605 | 3.8175 | 3.8747 | 3.933 | 3.9779
Whitefish DS | 7.5455 | 7.5797 | 7.6171 | 7.638 | 7.6654 | 7.6961 | 7.7309 | 7.7745 | 7.827 | 7.8955 | 7.9718 | 8.0485 | 8.1307 | 8.2123 | 8.2988 | 8.3859 | 8.4737 | 8.5621 | 8.6513 | 8.7412
Total LDC Demand | 356.9162 | 369.222 | 376.3979 | 381.9184 | 391.5634 | 398.4233 | 403.6908 | 408.8848 | 416.2255 | 422.9825 | 429.2385 | 437.1679 | 445.1166 | 453.4509 | 462.0386 | 471.2391 | 479.58 | 488.4195 | 497.405 | 506.3907
Total CTS* Demand | 305.01 | 308.0286 | 310.0757 | 313.9414 | 327.3661 | 331.4498 | 333.6626 | 335.7149 | 341.3869 | 343.3887 | 345.4105 | 347.4525 | 349.5149 | 351.598 | 353.7018 | 355.8267 | 357.9729 | 360.1405 | 362.3298 | 364.541
Total Region Demand | 661.9262 | 677.2506 | 686.4736 | 695.8598 | 718.9295 | 729.873 | 737.3534 | 744.5998 | 757.6124 | 766.3712 | 774.6489 | 784.6204 | 794.6315 | 805.0488 | 815.7404 | 827.0658 | 837.553 | 848.56 | 859.7348 | 870.9317
*CTS is the abbreviation of: Customer Transformer Station

## Table 5
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 5 Extreme-weather Net Concident Demand - High Growth Scenario (MW) - Winter
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Clarabelle TS | 116.2553 | 118.9231 | 121.8287 | 124.0132 | 126.17 | 128.2662 | 130.3968 | 132.9458 | 136.9094 | 140.837 | 144.1633 | 149.8444 | 155.0604 | 160.4791 | 165.7812 | 171.2912 | 176.4283 | 181.774 | 187.1437 | 192.3139
Elliott Lake TS | 18.5386 | 18.6688 | 18.8098 | 18.9143 | 19.0373 | 19.1728 | 19.3172 | 19.4848 | 19.6762 | 19.9181 | 20.1768 | 20.4376 | 20.7236 | 21.0121 | 21.3166 | 21.6243 | 21.9363 | 22.2508 | 22.5705 | 22.8934
Espanola TS | 12.7075 | 12.8133 | 12.9271 | 13.015 | 13.1154 | 13.2224 | 13.3368 | 13.4675 | 13.6146 | 13.7921 | 13.9833 | 14.1761 | 14.3819 | 14.5885 | 14.8052 | 15.0243 | 15.2462 | 15.4702 | 15.6974 | 15.927
Larchwood TS | 10.0038 | 10.1206 | 10.2443 | 10.3488 | 10.4639 | 10.5847 | 10.7118 | 10.8527 | 11.0077 | 11.1897 | 11.3834 | 11.5796 | 11.7891 | 12.0009 | 12.2227 | 12.4478 | 12.6768 | 12.9089 | 13.1452 | 13.385
Manitoulin TS | 39.1797 | 39.7155 | 40.2802 | 40.7681 | 41.9155 | 42.4723 | 44.0957 | 44.7369 | 45.4376 | 46.2531 | 47.1179 | 47.9953 | 48.9318 | 49.8807 | 50.8741 | 51.8842 | 52.913 | 53.9574 | 55.0226 | 56.1053
Martindale TS | 111.8273 | 121.9955 | 126.7505 | 130.9691 | 138.7227 | 146.5058 | 148.2612 | 151.8736 | 154.3022 | 157.3114 | 160.9353 | 165.7616 | 171.3437 | 176.913 | 182.6597 | 188.5019 | 194.0621 | 199.7131 | 205.478 | 211.0447
Massey DS | 7.1942 | 7.2508 | 7.3111 | 7.3568 | 7.4097 | 7.4663 | 7.5274 | 7.5977 | 7.6772 | 7.7734 | 7.8774 | 7.9825 | 8.0944 | 8.2067 | 8.3246 | 8.4438 | 8.5646 | 8.6867 | 8.8105 | 8.9358
Northshore DS | 1.8814 | 1.9325 | 1.9845 | 2.0301 | 3.9502 | 4.0026 | 4.0552 | 4.1144 | 5.5337 | 5.6225 | 5.7133 | 5.8047 | 5.9124 | 6.0232 | 6.1413 | 6.2612 | 6.3833 | 6.5066 | 6.6329 | 6.7608
Sowerby DS | 2.0102 | 2.0291 | 2.0484 | 2.0629 | 2.0788 | 2.0951 | 2.112 | 2.1308 | 2.1517 | 2.177 | 2.2042 | 2.2317 | 2.2612 | 2.2907 | 2.3217 | 2.3531 | 2.3847 | 2.4166 | 2.449 | 2.4815
Spanish DS | 4.3551 | 4.401 | 4.4485 | 4.4871 | 4.5296 | 4.5745 | 4.622 | 4.6753 | 4.7345 | 4.8055 | 4.8811 | 4.9576 | 5.0399 | 5.1229 | 5.2101 | 5.2984 | 5.3882 | 5.479 | 5.5714 | 5.6651
Striker DS | 7.1252 | 7.195 | 7.2672 | 7.3254 | 7.39 | 7.4583 | 7.5302 | 7.6114 | 7.7022 | 7.8133 | 7.9313 | 8.0506 | 8.1804 | 8.3118 | 8.45 | 8.59 | 8.7322 | 8.8759 | 9.0221 | 9.1702
Verner DS | 6.9601 | 7.036 | 7.1161 | 7.1818 | 7.2549 | 7.3321 | 7.4144 | 7.5061 | 7.6076 | 7.7254 | 7.852 | 7.9803 | 8.1153 | 8.2513 | 8.3933 | 8.5375 | 8.6841 | 8.8327 | 8.9838 | 9.1372
Warren DS | 9.1478 | 9.2513 | 9.3601 | 9.4509 | 9.5515 | 9.6575 | 9.7698 | 9.8947 | 10.0326 | 10.1937 | 10.3661 | 10.5408 | 10.7262 | 10.9134 | 11.1092 | 11.3082 | 11.5106 | 11.7158 | 11.9248 | 12.137
Wharncliffe DS | 3.2353 | 3.2754 | 3.3171 | 3.3539 | 3.3945 | 3.4365 | 3.4798 | 3.5275 | 3.5799 | 3.6441 | 3.7109 | 3.7786 | 3.854 | 3.931 | 4.0122 | 4.0948 | 4.179 | 4.2642 | 4.3514 | 4.4247
Whitefish DS | 7.583 | 7.6558 | 7.7328 | 7.7943 | 7.8634 | 7.9369 | 8.0155 | 8.104 | 8.2026 | 8.3183 | 8.4431 | 8.5694 | 8.7024 | 8.836 | 8.9758 | 9.1174 | 9.2611 | 9.4066 | 9.5544 | 9.7042
Total LDC Demand | 358.0045 | 372.2636 | 381.4262 | 389.0717 | 402.8473 | 414.1838 | 420.6457 | 428.5233 | 438.1698 | 447.3745 | 456.7394 | 469.6909 | 483.1165 | 496.7615 | 510.5978 | 524.7781 | 538.3505 | 552.2584 | 566.3577 | 580.0857
Total CTS* Deamand | 313.56 | 324.6786 | 333.1157 | 336.9814 | 350.4061 | 354.4898 | 356.7026 | 358.7549 | 364.4269 | 366.4287 | 368.4505 | 370.4925 | 372.5549 | 374.638 | 376.7418 | 378.8667 | 381.0129 | 383.1805 | 385.3698 | 387.581
Total Region | 671.5645 | 696.9422 | 714.5419 | 726.0531 | 753.2534 | 768.6736 | 777.3483 | 787.2783 | 802.5967 | 813.8032 | 825.1899 | 840.1834 | 855.6714 | 871.3994 | 887.3396 | 903.6448 | 919.3634 | 935.4389 | 951.7275 | 967.6667
*CTS is the abbreviation of: Customer Transformer Station

## Table 6
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 6 Extreme-weather Net Non-coincident Demand - Reference Forecast - Winter
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Clarabelle TS | 117.7292 | 119.8923 | 122.3942 | 124.0538 | 125.6759 | 127.3335 | 128.9114 | 130.7979 | 134.2156 | 137.5839 | 140.3311 | 143.979 | 147.2487 | 150.7146 | 154.1565 | 157.905 | 161.1585 | 164.6132 | 168.081 | 171.6526
Elliott Lake TS | 18.5808 | 18.618 | 18.6638 | 18.671 | 18.6943 | 18.7277 | 18.7677 | 18.8286 | 18.9108 | 19.041 | 19.1855 | 19.3295 | 19.4962 | 19.6628 | 19.8427 | 20.0232 | 20.2051 | 20.3868 | 20.5708 | 20.7552
Espanola TS | 12.7249 | 12.7669 | 12.8153 | 12.8362 | 12.868 | 12.9046 | 12.947 | 13.0039 | 13.0755 | 13.1758 | 13.2879 | 13.3999 | 13.523 | 13.6451 | 13.7753 | 13.906 | 14.0376 | 14.1693 | 14.3023 | 14.4356
Larchwood TS | 12.3207 | 12.4189 | 12.5228 | 12.6061 | 12.6987 | 12.7955 | 12.8972 | 13.0111 | 13.1377 | 13.2899 | 13.4521 | 13.6152 | 13.79 | 13.9655 | 14.1493 | 14.3347 | 14.5222 | 14.7109 | 14.9021 | 15.0949
Manitoulin TS | 40.0815 | 40.4254 | 40.7912 | 41.0729 | 42.0066 | 42.3421 | 43.7365 | 44.1407 | 44.5964 | 45.1585 | 45.7615 | 46.3684 | 47.0256 | 47.6862 | 48.382 | 49.085 | 49.7971 | 50.5148 | 51.2433 | 51.9789
Martindale TS | 114.0621 | 123.6768 | 127.6922 | 131.16 | 136.2166 | 140.8528 | 142.8487 | 145.3557 | 146.9647 | 149.0487 | 151.1174 | 153.9837 | 157.0831 | 160.3751 | 163.8403 | 167.6082 | 170.976 | 174.6416 | 178.4166 | 182.0884
Massey DS | 7.3841 | 7.4062 | 7.4313 | 7.4409 | 7.4567 | 7.4755 | 7.4978 | 7.5284 | 7.5672 | 7.6219 | 7.6834 | 7.745 | 7.8124 | 7.8793 | 7.9507 | 8.0224 | 8.0947 | 8.1672 | 8.2404 | 8.3139
Northshore DS | 3.4356 | 3.4844 | 3.5331 | 3.5744 | 5.4895 | 5.5361 | 5.5823 | 5.6344 | 7.0458 | 7.1261 | 7.2076 | 7.289 | 7.3858 | 7.485 | 7.5907 | 7.6973 | 7.8054 | 7.9136 | 8.024 | 8.1351
Sowerby DS | 2.3509 | 2.3635 | 2.376 | 2.3835 | 2.392 | 2.4005 | 2.4093 | 2.4198 | 2.432 | 2.4482 | 2.4662 | 2.4842 | 2.5039 | 2.5234 | 2.5442 | 2.565 | 2.586 | 2.6069 | 2.6279 | 2.6489
Spanish DS | 4.4385 | 4.4634 | 4.4894 | 4.5058 | 4.5255 | 4.5469 | 4.5702 | 4.5985 | 4.6322 | 4.6768 | 4.7254 | 4.7741 | 4.8278 | 4.8816 | 4.9386 | 4.996 | 5.0541 | 5.1124 | 5.1714 | 5.2308
Striker DS | 7.8427 | 7.8853 | 7.9293 | 7.9582 | 7.9924 | 8.0293 | 8.0688 | 8.1165 | 8.1728 | 8.2483 | 8.3297 | 8.4111 | 8.502 | 8.5933 | 8.6903 | 8.7879 | 8.8864 | 8.9852 | 9.0852 | 9.1858
Verner DS | 7.0432 | 7.0851 | 7.1302 | 7.1599 | 7.1958 | 7.2348 | 7.2777 | 7.3291 | 7.3889 | 7.4639 | 7.5466 | 7.6297 | 7.7183 | 7.8066 | 7.8997 | 7.9937 | 8.0886 | 8.1842 | 8.281 | 8.3786
Warren DS | 9.2445 | 9.3032 | 9.3658 | 9.409 | 9.4605 | 9.5159 | 9.576 | 9.6473 | 9.7299 | 9.8341 | 9.9479 | 10.0623 | 10.1857 | 10.3091 | 10.4395 | 10.571 | 10.7041 | 10.8382 | 10.974 | 11.1111
Wharncliffe DS | 4.4225 | 4.4653 | 4.5091 | 4.5478 | 4.5897 | 4.6328 | 4.6767 | 4.7245 | 4.7765 | 4.84 | 4.9057 | 4.9717 | 5.045 | 5.1194 | 5.1975 | 5.2764 | 5.3564 | 5.437 | 5.5189 | 5.5822
Whitefish DS | 7.6042 | 7.639 | 7.6771 | 7.6986 | 7.7267 | 7.7581 | 7.7935 | 7.8378 | 7.891 | 7.9601 | 8.0372 | 8.1145 | 8.1974 | 8.2798 | 8.3669 | 8.4547 | 8.5433 | 8.6324 | 8.7224 | 8.813

## Table 7
The IRRP planning forecast accounts for the median weather gross forecasts provided by the local distributors, savings from distributed generation and electrical demand management, as well as extreme weather adjustments. Additional details on the overall IRRP forecast methodology are provided in the methodology document.
Transformer Station | Table 7 Extreme-weather Net Non-concident Demand - High Growth Scenario - Winter
| 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045
Clarabelle TS | 117.9583 | 120.6757 | 123.6341 | 125.864 | 128.0649 | 130.204 | 132.3776 | 134.9745 | 139.0058 | 142.9969 | 146.3763 | 152.1457 | 157.441 | 162.9425 | 168.3244 | 173.9177 | 179.1322 | 184.5587 | 190.0094 | 195.2579
Elliott Lake TS | 18.6734 | 18.8055 | 18.9485 | 19.055 | 19.18 | 19.3175 | 19.464 | 19.6337 | 19.8273 | 20.0713 | 20.3322 | 20.5952 | 20.8834 | 21.1742 | 21.4809 | 21.791 | 22.1054 | 22.4223 | 22.7443 | 23.0697
Espanola TS | 12.7882 | 12.8952 | 13.0103 | 13.0995 | 13.2011 | 13.3093 | 13.4251 | 13.5571 | 13.7055 | 13.8843 | 14.0769 | 14.2711 | 14.4783 | 14.6863 | 14.9044 | 15.1249 | 15.3483 | 15.5737 | 15.8024 | 16.0335
Larchwood TS | 12.3817 | 12.543 | 12.712 | 12.8625 | 13.0244 | 13.1926 | 13.3679 | 13.5578 | 13.7625 | 13.995 | 14.2401 | 14.4884 | 14.7509 | 15.0167 | 15.2932 | 15.574 | 15.8595 | 16.1491 | 16.4438 | 16.743
Manitoulin TS | 40.2882 | 40.8464 | 41.434 | 41.9451 | 43.1161 | 43.6969 | 45.3447 | 46.0108 | 46.7368 | 47.5779 | 48.4689 | 49.3729 | 50.3364 | 51.313 | 52.3344 | 53.3731 | 54.4309 | 55.5049 | 56.6003 | 57.7136
Martindale TS | 114.2619 | 124.6103 | 129.4705 | 133.7884 | 141.7089 | 149.6373 | 151.4429 | 155.1395 | 157.6266 | 160.7003 | 164.3989 | 169.3239 | 175.0166 | 180.6969 | 186.5566 | 192.514 | 198.1836 | 203.9463 | 209.8249 | 215.5017
Massey DS | 7.4209 | 7.4807 | 7.5444 | 7.5934 | 7.6497 | 7.7097 | 7.7743 | 7.8481 | 7.9311 | 8.0309 | 8.1386 | 8.2474 | 8.363 | 8.4791 | 8.6008 | 8.7239 | 8.8486 | 8.9747 | 9.1025 | 9.2319
Northshore DS | 3.4687 | 3.5516 | 3.6357 | 3.7136 | 5.6664 | 5.752 | 5.8385 | 5.932 | 7.3863 | 7.5107 | 7.6378 | 7.7661 | 7.9114 | 8.0604 | 8.2176 | 8.377 | 8.5396 | 8.704 | 8.8721 | 9.0427
Sowerby DS | 2.3626 | 2.3872 | 2.4121 | 2.4322 | 2.4536 | 2.4754 | 2.4977 | 2.5219 | 2.5482 | 2.5788 | 2.6114 | 2.6443 | 2.6793 | 2.7143 | 2.751 | 2.788 | 2.8254 | 2.8631 | 2.9012 | 2.9397
Spanish DS | 4.4605 | 4.5082 | 4.5576 | 4.5981 | 4.6425 | 4.6893 | 4.7388 | 4.794 | 4.8553 | 4.9282 | 5.0059 | 5.0846 | 5.1689 | 5.2541 | 5.3435 | 5.434 | 5.526 | 5.6192 | 5.7139 | 5.8099
Striker DS | 7.8817 | 7.9644 | 8.0497 | 8.1211 | 8.1989 | 8.2806 | 8.366 | 8.461 | 8.5658 | 8.6911 | 8.8235 | 8.9573 | 9.102 | 9.2484 | 9.4018 | 9.5573 | 9.7152 | 9.8748 | 10.0372 | 10.2017
Verner DS | 7.0782 | 7.1562 | 7.2383 | 7.3062 | 7.3814 | 7.4608 | 7.5453 | 7.6393 | 7.743 | 7.8631 | 7.992 | 8.1227 | 8.2601 | 8.3986 | 8.5431 | 8.6899 | 8.839 | 8.9902 | 9.144 | 9.3
Warren DS | 9.2904 | 9.3965 | 9.5079 | 9.6014 | 9.7046 | 9.8134 | 9.9285 | 10.0562 | 10.197 | 10.361 | 10.5363 | 10.7141 | 10.9025 | 11.0928 | 11.2918 | 11.494 | 11.6996 | 11.9082 | 12.1206 | 12.3363
Wharncliffe DS | 4.4444 | 4.5099 | 4.5773 | 4.6403 | 4.7075 | 4.7767 | 4.8475 | 4.9233 | 5.0042 | 5.0975 | 5.1941 | 5.2919 | 5.3981 | 5.5064 | 5.6196 | 5.7346 | 5.8519 | 5.9709 | 6.0925 | 6.1946
Whitefish DS | 7.642 | 7.7157 | 7.7937 | 7.8562 | 7.9262 | 8.0007 | 8.0803 | 8.1699 | 8.2695 | 8.3863 | 8.5121 | 8.6394 | 8.7735 | 8.9083 | 9.0492 | 9.1919 | 9.3368 | 9.4835 | 9.6324 | 9.7834

## Table 8
The starting points used to develop the IRRP planning forecast were based off of the historical weather-corrected gross coincident demand (MW).
Transformer Station | Table 8 Historical Weather-Corrected Gross Coincident Demand (MW) - Winter
| 2021 | 2022 | 2023 | 2024 | 2025
Clarabelle TS | 100.9592 | 101.4211 | 102.7584 | 106.8789 | 110.945
Elliott Lake TS | 17.0332 | 17.8757 | 17.1128 | 17.3243 | 17.3578
Espanola TS | 11.2763 | 11.6861 | 11.5139 | 11.6483 | 11.9851
Larchwood TS | 10.8835 | 11.2305 | 11.0754 | 11.5107 | 11.4892
Manitoulin TS | 34.6246 | 36.9299 | 37.2953 | 37.3171 | 38.1251
Martindale TS | 110.4267 | 119.6533 | 124.8174 | 120.105 | 120.0475
Massey DS | 5.9327 | 6.3976 | 6.2618 | 6.163 | 6.9638
Northshore DS | 4.5994 | 4.5259 | 3.8142 | 5.5806 | 3.9882
Sowerby DS | 4.6407 | 1.9708 | 2.0499 | 2.0967 | 2.211
Spanish DS | 3.6278 | 3.7435 | 3.804 | 3.8334 | 4.1638
Striker DS | 6.6252 | 6.9423 | 6.9757 | 7.1161 | 7.3151
Verner DS | 5.6846 | 5.952 | 6.374 | 6.3007 | 6.6228
Warren DS | 6.8422 | 7.3682 | 8.0873 | 7.9632 | 8.2036
Wharncliffe DS | 1.0026 | 3.8921 | 3.6612 | 3.6533 | 4.0811
Whitefish DS | 6.2014 | 6.5165 | 6.4453 | 6.7349 | 6.9638
Total Region | 330.3602 | 346.1053 | 352.0466 | 354.2262 | 360.4628

## Table 9
The power factor is used to develop the IRRP planning forecast were based off of the historical measurements.
Transformer Station | Table 9 Historical Power Factor at the LV Terminal - Winter
| 2021 | 2022 | 2023 | 2024 | 2025 | Average
Clarabelle TS | 0.977 | 0.981 | 0.982 | 0.978 | 0.976 | 0.97886
Elliott Lake TS | 0.977 | 0.981 | 0.981 | 0.985 | 0.983 | 0.98149
Espanola TS | 0.98 | 0.976 | 0.973 | 0.988 | 0.988 | 0.98151
Larchwood TS | 0.979 | 0.945 | 0.984 | 0.987 | 0.987 | 0.97843
Manitoulin TS | 0.976 | 0.977 | 0.981 | 0.98 | 0.982 | 0.97926
Martindale TS | 0.978 | 0.981 | 0.974 | 0.977 | 0.978 | 0.97766
Massey DS | 0.992 | 0.993 | 0.993 | 0.994 | 0.994 | 0.99322
Northshore DS | 0.984 | 0.984 | 0.978 | 0.983 | 0.981 | 0.98207
Sowerby DS | 0.99 | -0.996 | -0.994 | -1 | -0.993 | -0.99938
Spanish DS | 0.993 | 0.994 | 0.994 | 0.996 | 0.996 | 0.99467
Striker DS | 0.999 | 0.992 | 0.998 | 0.998 | 0.998 | 0.99739
Verner DS | 1 | 0.999 | 0.999 | 1 | -1 | 0.99984
Warren DS | 0.984 | 0.983 | 0.982 | 0.985 | 0.983 | 0.98342
Wharncliffe DS | 0.999 | 0.997 | 1 | 1 | -0.992 | -1
Whitefish DS | 0.999 | 0.999 | 0.999 | 0.999 | 0.999 | 0.999