## Summer Reference Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER REFERENCE: Net Extreme Weather Station Peak Demand Forecast, Coincident to Windsor-Essex Region (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 49.7756 | 49.6495 | 49.6618 | 49.7852 | 49.5956 | 49.5844 | 49.4792 | 49.4236 | 49.5566 | 50.0953 | 50.7955 | 51.3786 | 52.251 | 53.3203 | 54.5636 | 55.9185 | 57.2415 | 58.6322 | 61.5101 | 62.514 | 63.3216 | 64.1409
Crawford TS | 63.8507 | 63.32 | 63.0633 | 62.7164 | 62.0149 | 61.5715 | 61.0474 | 60.6208 | 60.3944 | 60.3167 | 60.2493 | 60.1466 | 60.0194 | 59.9775 | 60.0316 | 60.1812 | 60.3243 | 60.5296 | 60.7442 | 60.8785 | 61.1041 | 61.2361
Essex TS | 68.4083 | 67.8161 | 67.4313 | 67.0102 | 66.2022 | 65.6711 | 65.0504 | 64.5328 | 64.2257 | 64.0677 | 63.9349 | 63.7707 | 63.5685 | 63.4689 | 63.461 | 63.56 | 63.6729 | 63.8021 | 63.9458 | 64.1627 | 64.2771 | 64.3756
Keith TS | 55.6578 | 55.9974 | 56.6772 | 57.3228 | 57.1131 | 57.181 | 57.1906 | 57.3115 | 57.6893 | 58.2638 | 58.9291 | 59.5658 | 60.2056 | 66.2678 | 67.3523 | 70.7165 | 72.202 | 73.7786 | 75.5244 | 77.343 | 79.3813 | 81.6868
Kingsville TS | 61.059 | 61.416 | 61.9101 | 62.6035 | 62.793 | 63.283 | 63.6188 | 64.0359 | 63.8207 | 63.7783 | 63.8684 | 63.9202 | 63.9082 | 64.1564 | 64.7391 | 76.3017 | 77.0969 | 80.8061 | 83.134 | 83.9437 | 84.5453 | 85.9803
Lauzon TS DESN1 | 102.277 | 101.6423 | 101.4639 | 101.1234 | 100.3206 | 99.8811 | 99.3195 | 98.9046 | 115.6891 | 116.1003 | 116.5862 | 108.7505 | 109.3317 | 110.0745 | 110.9605 | 112.0053 | 113.0663 | 114.1638 | 115.1706 | 116.0966 | 116.9512 | 117.8707
Lauzon TS DESN2 | 89.4604 | 89.6261 | 90.158 | 90.8509 | 91.2145 | 91.8255 | 92.3245 | 92.9209 | 93.906 | 95.5106 | 97.3875 | 99.0705 | 101.0965 | 103.6684 | 106.5485 | 110.2095 | 113.6009 | 118.5781 | 123.1873 | 126.1822 | 129.2509 | 132.601
Leamington TS DESN1 | 50.0995 | 50.6175 | 50.767 | 51.484 | 51.8705 | 52.3898 | 52.843 | 53.3279 | 53.9616 | 55.0424 | 56.2901 | 57.4229 | 58.9441 | 60.6283 | 62.4681 | 64.3927 | 66.355 | 68.3382 | 70.0467 | 71.5309 | 73.0734 | 74.5756
Leamington TS DESN2 | 46.1749 | 46.0062 | 45.3863 | 45.3626 | 45.3227 | 45.2907 | 45.2569 | 45.2269 | 45.208 | 45.1964 | 45.1873 | 45.1731 | 45.1551 | 45.1436 | 45.1378 | 45.1364 | 45.1347 | 45.1331 | 45.1317 | 45.1299 | 45.1285 | 45.1283
Malden TS | 88.163 | 89.3546 | 91.1616 | 93.0485 | 92.524 | 92.4971 | 92.3427 | 92.337 | 92.784 | 93.7787 | 94.9368 | 95.8827 | 96.9522 | 100.453 | 102.176 | 106.0783 | 106.773 | 112.1281 | 115.7734 | 117.97 | 120.1823 | 122.6364
South Middle Road TS DESN1 | 37.4608 | 49.69 | 51.6503 | 51.5258 | 51.2227 | 51.0215 | 50.7883 | 50.5949 | 50.4984 | 50.4605 | 50.4593 | 50.4345 | 50.384 | 50.4083 | 50.4795 | 50.5904 | 50.6984 | 50.8059 | 50.9245 | 51.0391 | 51.1477 | 51.2671
South Middle Road TS DESN2 | 0 | 0 | 0 | 47.7995 | 50.0331 | 52.3288 | 52.0895 | 51.8912 | 51.7923 | 51.7534 | 51.7522 | 51.7268 | 51.675 | 51.6998 | 51.7729 | 51.8866 | 51.9974 | 52.1077 | 52.2293 | 52.3468 | 52.4582 | 52.5806
Tilbury West DS | 17.8382 | 17.784 | 17.8523 | 17.9839 | 18.0965 | 18.2672 | 18.467 | 18.7248 | 19.0864 | 19.5743 | 20.1238 | 20.6483 | 21.1862 | 24.633 | 25.2723 | 26.2297 | 26.9147 | 27.8942 | 30.0665 | 31.0599 | 31.6933 | 32.3432
Walker MTS #2 | 44.0574 | 47.9349 | 47.8503 | 47.6359 | 47.5053 | 47.5651 | 47.5495 | 47.6008 | 47.7883 | 48.0927 | 48.3616 | 48.6018 | 48.8091 | 49.0324 | 49.5655 | 49.9488 | 50.3524 | 50.6931 | 51.1544 | 51.4543 | 51.5227 | 51.6118
Walker TS #1 | 48.0965 | 47.7835 | 47.6385 | 43.4257 | 43.0081 | 42.7704 | 42.4736 | 42.2433 | 42.1405 | 42.1418 | 42.1248 | 50.2097 | 50.1048 | 50.0506 | 50.0736 | 50.3033 | 50.5303 | 50.7107 | 50.874 | 50.9885 | 51.101 | 51.1993
CTS1 | 23.7494 | 23.7731 | 23.7969 | 23.8207 | 23.8445 | 23.8683 | 23.8922 | 23.9161 | 23.94 | 23.964 | 23.9879 | 24.0119 | 24.0359 | 24.06 | 24.084 | 24.1081 | 24.1322 | 24.1563 | 24.1805 | 24.2047 | 24.2289 | 24.2531
CTS2 | 8.5361 | 8.5446 | 8.5532 | 8.5617 | 8.5703 | 8.5789 | 8.5874 | 8.596 | 8.6046 | 8.6132 | 8.6218 | 8.6305 | 8.6391 | 8.6477 | 8.6564 | 8.665 | 8.6737 | 8.6824 | 8.6911 | 8.6997 | 8.7084 | 8.7172
CTS3 | 9.3106 | 9.3199 | 9.3292 | 9.3386 | 9.3479 | 9.3572 | 9.3666 | 9.376 | 9.3853 | 9.3947 | 9.4041 | 9.4135 | 9.4229 | 9.4324 | 9.4418 | 9.4512 | 9.4607 | 9.4701 | 9.4796 | 9.4891 | 9.4986 | 9.5081
CTS4 | 1.1087 | 1.1098 | 1.1109 | 10.7542 | 10.7553 | 12.6848 | 12.6859 | 12.687 | 12.6882 | 12.6893 | 12.6904 | 12.6915 | 12.6926 | 12.6938 | 12.6949 | 12.696 | 12.6971 | 12.6983 | 12.6994 | 12.7005 | 12.7016 | 12.7028
CTS5 | 14.2822 | 14.1598 | 14.0702 | 13.9791 | 13.8073 | 13.6936 | 13.5607 | 13.4489 | 13.3793 | 13.3387 | 13.305 | 13.2669 | 13.2208 | 13.1974 | 13.193 | 13.2076 | 13.221 | 13.2335 | 13.2536 | 13.2708 | 13.2825 | 13.2992
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 39.4998 | 84.2446 | 91.595 | 95.5697 | 100.1409 | 99.8162 | 99.565 | 99.2679 | 98.9212 | 98.722 | 98.615 | 98.585 | 98.5492 | 98.512 | 98.4956 | 98.471 | 98.4344 | 98.4182
Remainder of Industrial Forecast | 0 | 3 | 4.5 | 4.5 | 8 | 8 | 63.5422 | 64.7669 | 66.0306 | 67.4001 | 68.7404 | 69.9998 | 117.3582 | 117.0658 | 116.9103 | 116.8799 | 116.8453 | 116.8279 | 116.8139 | 116.767 | 116.719 | 116.719
Total Region | 879.3659 | 898.5452 | 904.0322 | 960.6325 | 1002.662 | 1051.5559 | 1113.0712 | 1118.0575 | 1142.7105 | 1149.3889 | 1157.3014 | 1163.9846 | 1217.8822 | 1236.8017 | 1248.1977 | 1277.0516 | 1289.5399 | 1311.6821 | 1333.0306 | 1346.243 | 1358.7121 | 1372.8512
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter Reference Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER REFERENCE: Net Extreme Weather Station Peak Demand Forecast, Coincident to Windsor-Essex Region (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 33.393 | 33.3499 | 33.4638 | 33.6151 | 33.6968 | 33.8187 | 33.7941 | 33.8033 | 33.9222 | 34.3609 | 34.9169 | 35.3876 | 36.0734 | 36.8674 | 37.7712 | 38.7428 | 39.7337 | 43.5502 | 44.3398 | 44.9742 | 45.5663 | 46.1631
Crawford TS | 45.5935 | 45.3364 | 45.4445 | 45.379 | 45.2797 | 45.2486 | 45.0468 | 44.9146 | 44.8901 | 45.0045 | 45.1047 | 45.1787 | 45.2405 | 45.305 | 45.4125 | 45.5967 | 45.7822 | 45.9631 | 46.1344 | 46.2973 | 46.4645 | 46.6322
Essex TS | 42.5138 | 42.284 | 42.3398 | 42.2571 | 42.149 | 42.1033 | 41.8918 | 41.7452 | 41.6951 | 41.772 | 41.8362 | 41.8793 | 41.9012 | 41.9254 | 42.0022 | 42.1487 | 42.2959 | 42.4363 | 42.5693 | 42.6944 | 42.8237 | 42.9536
Keith TS | 48.1242 | 49.2487 | 50.7641 | 52.2265 | 52.2949 | 52.4315 | 52.3982 | 52.4395 | 52.6315 | 52.9801 | 53.3732 | 53.7191 | 54.0394 | 54.4462 | 54.9202 | 55.4932 | 56.0766 | 56.6641 | 57.2481 | 57.8307 | 58.4262 | 59.0298
Kingsville TS | 75.704 | 76.2063 | 77.0493 | 78.0356 | 78.8605 | 79.8046 | 80.3134 | 80.917 | 80.4593 | 80.2756 | 80.2473 | 80.1627 | 79.9933 | 80.0585 | 80.3014 | 91.4466 | 91.8678 | 97.409 | 99.372 | 99.7722 | 100.1916 | 102.1768
Lauzon TS DESN1 | 68.627 | 68.4563 | 68.8781 | 69.0282 | 69.009 | 69.0887 | 68.9108 | 68.8353 | 85.1364 | 85.7424 | 86.3881 | 79.022 | 79.753 | 80.5259 | 81.3903 | 82.3933 | 83.4128 | 84.4328 | 85.3215 | 86.1055 | 86.8718 | 87.6441
Lauzon TS DESN2 | 52.0059 | 52.8063 | 53.9339 | 55.1325 | 55.6314 | 56.1845 | 56.5475 | 56.969 | 57.5836 | 58.6168 | 59.8033 | 60.8565 | 62.114 | 63.5478 | 65.1709 | 66.9279 | 68.7282 | 73.3728 | 77.8123 | 79.2553 | 80.6684 | 82.1013
Leamington TS DESN1 | 108.9563 | 109.4293 | 110.066 | 111.997 | 113.2548 | 114.5588 | 115.6708 | 116.7896 | 118.0608 | 120.2936 | 122.8477 | 125.1737 | 128.4411 | 131.9109 | 135.626 | 139.4296 | 143.3025 | 147.1726 | 150.3119 | 152.8776 | 155.2731 | 157.6896
Leamington TS DESN2 | 172.48 | 170.1548 | 167.8868 | 167.816 | 167.7137 | 167.6231 | 167.5136 | 167.4162 | 167.3537 | 167.3188 | 167.2936 | 167.2492 | 167.1922 | 167.1537 | 167.1352 | 167.1316 | 167.1301 | 167.1286 | 167.1265 | 167.1239 | 167.1217 | 167.1195
Malden TS | 61.1409 | 62.65 | 64.7767 | 66.5475 | 66.5355 | 66.6332 | 66.4789 | 66.419 | 66.6298 | 67.2408 | 67.9522 | 68.5075 | 69.12 | 69.8648 | 70.8262 | 73.4746 | 73.0847 | 82.6636 | 83.6884 | 84.6061 | 85.5163 | 86.4456
South Middle Road TS DESN1 | 142.2845 | 166.6851 | 173.1193 | 173.0463 | 172.9408 | 172.8473 | 172.7345 | 172.634 | 172.5696 | 172.5336 | 172.5076 | 172.4618 | 172.403 | 172.3634 | 172.3443 | 172.3406 | 172.3391 | 172.3375 | 172.3354 | 172.3326 | 172.3303 | 172.3281
South Middle Road TS DESN2 | 0 | 0 | 135.6141 | 152.5015 | 160.8758 | 169.2514 | 169.1408 | 169.0425 | 168.9794 | 168.9441 | 168.9187 | 168.8739 | 168.8163 | 168.7774 | 168.7588 | 168.7552 | 168.7537 | 168.7521 | 168.75 | 168.7473 | 168.7451 | 168.7429
Tilbury West DS | 11.5328 | 11.729 | 12.0734 | 12.4976 | 12.9578 | 13.4894 | 14.0664 | 14.6987 | 15.4108 | 16.255 | 17.1533 | 18.0168 | 18.8891 | 21.8064 | 22.7623 | 23.9495 | 24.9501 | 28.7318 | 29.2897 | 30.0713 | 30.6058 | 31.1432
Walker MTS #2 | 41.285 | 45.4326 | 45.6137 | 45.5906 | 45.8989 | 46.2672 | 46.4464 | 46.6883 | 47.0237 | 47.5028 | 47.9355 | 48.3384 | 48.7082 | 49.0452 | 49.449 | 49.9505 | 50.2517 | 50.5443 | 50.8287 | 51.0427 | 51.2014 | 51.3607
Walker TS #1 | 37.2657 | 37.13 | 37.2701 | 33.2441 | 33.2592 | 33.3231 | 33.256 | 33.2392 | 33.2905 | 33.447 | 33.5674 | 41.9846 | 42.0344 | 42.0741 | 42.1658 | 42.3276 | 42.4903 | 42.6464 | 42.7949 | 42.9353 | 43.0799 | 43.2251
CTS1 | 18.8915 | 18.9104 | 18.9293 | 18.9482 | 18.9672 | 18.9862 | 19.0051 | 19.0241 | 19.0432 | 19.0622 | 19.0813 | 19.1004 | 19.1195 | 19.1386 | 19.1577 | 19.1769 | 19.1961 | 19.2152 | 19.2345 | 19.2537 | 19.273 | 19.2922
CTS2 | 7.8675 | 7.8754 | 7.8833 | 7.8912 | 7.899 | 7.9069 | 7.9148 | 7.9228 | 7.9307 | 7.9386 | 7.9466 | 7.9545 | 7.9625 | 7.9704 | 7.9784 | 7.9864 | 7.9944 | 8.0023 | 8.0104 | 8.0184 | 8.0264 | 8.0344
CTS3 | 7.575 | 7.5826 | 7.5902 | 7.5977 | 7.6053 | 7.613 | 7.6206 | 7.6282 | 7.6358 | 7.6435 | 7.6511 | 7.6587 | 7.6664 | 7.6741 | 7.6817 | 7.6894 | 7.6971 | 7.7048 | 7.7125 | 7.7202 | 7.728 | 7.7357
CTS4 | 1.5128 | 1.5143 | 1.5158 | 11.0142 | 11.0157 | 12.9166 | 12.9181 | 12.9197 | 12.9212 | 12.9227 | 12.9242 | 12.9258 | 12.9273 | 12.9288 | 12.9303 | 12.9319 | 12.9334 | 12.935 | 12.9365 | 12.938 | 12.9396 | 12.9411
CTS5 | 5.6991 | 5.6734 | 5.6828 | 5.6732 | 5.6621 | 5.6594 | 5.6333 | 5.6161 | 5.6107 | 5.6222 | 5.6312 | 5.6381 | 5.6419 | 5.6447 | 5.655 | 5.6745 | 5.694 | 5.7124 | 5.7298 | 5.7461 | 5.763 | 5.78
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 132.1697 | 283.5546 | 310.2828 | 325.6075 | 342.5604 | 342.4888 | 342.4373 | 342.3464 | 342.2297 | 342.1509 | 342.1131 | 342.1057 | 342.1027 | 342.0996 | 342.0953 | 342.0899 | 342.0854 | 342.081
Remainder of Industrial Forecast | 0 | 3 | 4.5 | 4.5 | 8 | 8 | 63.4941 | 64.7144 | 65.9716 | 67.339 | 68.6753 | 69.9286 | 117.223 | 116.9202 | 116.7583 | 116.7259 | 116.6896 | 116.6788 | 116.6574 | 116.6073 | 116.5981 | 116.5981
Total Region | 982.4526 | 1015.4544 | 1164.3949 | 1194.5392 | 1341.6768 | 1507.3097 | 1591.0789 | 1609.9843 | 1647.3104 | 1655.3052 | 1664.1926 | 1672.364 | 1727.4893 | 1738.0999 | 1748.311 | 1772.399 | 1782.5066 | 1816.1532 | 1830.2993 | 1839.0402 | 1847.2993 | 1857.2183
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Summer High Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER HIGH: Net Extreme Weather Station Peak Demand Forecast, Coincident to Windsor-Essex Region (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 49.7756 | 49.6495 | 49.6618 | 54.9076 | 59.8404 | 64.9517 | 69.9689 | 75.0357 | 75.1687 | 75.7073 | 76.4076 | 76.9907 | 77.8631 | 78.9324 | 80.1757 | 81.5306 | 82.8535 | 84.2442 | 87.1222 | 88.126 | 88.9336 | 89.7529
Crawford TS | 64.1243 | 63.8269 | 63.8341 | 63.7477 | 63.5662 | 63.9355 | 64.2307 | 64.6311 | 65.2135 | 65.9474 | 66.7855 | 67.4246 | 68.0904 | 68.7811 | 69.5166 | 70.3483 | 71.1729 | 72.0614 | 72.959 | 73.7751 | 74.6823 | 75.496
Essex TS | 68.6598 | 68.2822 | 68.1322 | 67.8922 | 67.4191 | 67.3814 | 67.2624 | 67.2546 | 67.4395 | 67.7763 | 68.2247 | 68.495 | 68.7892 | 69.1299 | 69.4968 | 69.9718 | 70.4598 | 70.9677 | 71.4879 | 72.0803 | 72.5698 | 73.0434
Keith TS | 55.4266 | 56.611 | 58.1531 | 78.3472 | 79.5077 | 81.2286 | 82.8999 | 84.691 | 86.7379 | 88.9814 | 91.3449 | 93.5978 | 95.8238 | 103.4195 | 106.0085 | 110.8178 | 113.6721 | 116.5154 | 119.4058 | 122.2113 | 125.0409 | 127.8955
Kingsville TS | 61.059 | 61.416 | 61.9101 | 62.6035 | 62.793 | 75.1559 | 75.4917 | 75.9088 | 75.6936 | 75.6512 | 75.7413 | 75.7931 | 75.7811 | 76.0293 | 76.612 | 88.1746 | 88.9698 | 92.679 | 95.0069 | 95.8166 | 96.4182 | 97.8532
Lauzon TS DESN1 | 102.5082 | 122.5706 | 150.4937 | 210.5205 | 216.3341 | 226.7842 | 227.9283 | 229.2265 | 247.6971 | 249.8058 | 252.1335 | 245.8947 | 248.1255 | 250.4395 | 252.8372 | 255.4029 | 257.9748 | 260.5828 | 263.093 | 265.5118 | 267.8506 | 270.246
Lauzon TS DESN2 | 88.904 | 92.5577 | 96.5777 | 100.7386 | 104.694 | 110.3061 | 115.8024 | 121.4131 | 127.4 | 134.0146 | 140.8802 | 145.284 | 154.0417 | 159.2754 | 164.7887 | 171.035 | 176.9445 | 184.3633 | 191.3182 | 196.5234 | 201.6478 | 204.7436
Leamington TS DESN1 | 49.8369 | 50.221 | 50.7099 | 51.765 | 52.5837 | 53.5333 | 54.4283 | 55.3661 | 56.4637 | 58.0191 | 59.7515 | 61.3786 | 63.4029 | 65.5979 | 67.9548 | 70.4012 | 72.8879 | 75.3953 | 77.6247 | 79.6224 | 81.6663 | 83.6518
Leamington TS DESN2 | 46.1749 | 46.0062 | 45.3863 | 45.3626 | 45.3227 | 45.2907 | 45.2569 | 45.2269 | 45.208 | 45.1964 | 45.1873 | 45.1731 | 48.5387 | 48.5271 | 48.5213 | 48.52 | 48.5182 | 48.5167 | 48.5152 | 48.5135 | 48.5121 | 48.5119
Malden TS | 87.6854 | 89.9277 | 92.8619 | 95.922 | 97.4112 | 99.8915 | 102.2663 | 104.8075 | 107.8031 | 111.3709 | 115.1685 | 118.6458 | 122.3067 | 128.352 | 132.5282 | 136.9102 | 141.9423 | 182.5783 | 188.487 | 192.8519 | 197.1199 | 201.4752
South Middle Road TS DESN1 | 37.4608 | 49.69 | 51.6503 | 51.5258 | 51.2227 | 51.0215 | 50.7883 | 50.5949 | 50.4984 | 50.4605 | 50.4593 | 50.4345 | 50.384 | 50.4083 | 50.4795 | 50.5904 | 50.6984 | 50.8059 | 50.9245 | 51.0391 | 51.1477 | 51.1284
South Middle Road TS DESN2 | 0 | 0 | 0 | 48.2927 | 50.5538 | 52.8769 | 52.5006 | 52.1649 | 51.9283 | 51.7513 | 51.6118 | 51.4476 | 51.2567 | 51.1421 | 51.0754 | 51.049 | 51.0193 | 50.9888 | 50.9692 | 50.9452 | 50.9147 | 50.8949
Tilbury West DS | 18.1424 | 18.4279 | 18.8474 | 19.3882 | 19.9684 | 20.6652 | 21.4503 | 22.353 | 23.4193 | 24.6725 | 26.0482 | 27.4373 | 28.8788 | 33.1621 | 34.6517 | 36.4734 | 38.0374 | 39.9109 | 42.9927 | 44.9118 | 46.4872 | 48.0964
Walker MTS #2 | 44.4147 | 48.597 | 48.8397 | 48.8372 | 49.071 | 49.6343 | 50.1358 | 50.7164 | 51.4071 | 52.2191 | 53.1178 | 53.7828 | 54.5143 | 55.1813 | 56.0514 | 56.7736 | 57.5142 | 58.1988 | 58.9995 | 59.6373 | 60.0429 | 60.4692
Walker TS #1 | 48.3754 | 48.3003 | 48.4148 | 44.3966 | 44.335 | 44.6172 | 44.8496 | 45.1578 | 45.5735 | 46.0965 | 46.6969 | 55.2371 | 55.6576 | 56.0665 | 56.4782 | 57.0978 | 57.7136 | 58.2872 | 58.8411 | 59.3449 | 59.8463 | 60.3336
CTS1 | 23.7494 | 23.7731 | 23.7969 | 23.8207 | 23.8445 | 23.8683 | 23.8922 | 23.9161 | 23.94 | 23.964 | 23.9879 | 24.0119 | 24.0359 | 24.06 | 24.084 | 24.1081 | 24.1322 | 24.1563 | 24.1805 | 24.2047 | 24.2289 | 24.2531
CTS2 | 8.5361 | 8.5446 | 8.5532 | 8.5617 | 8.5703 | 8.5789 | 8.5874 | 8.596 | 8.6046 | 8.6132 | 8.6218 | 8.6305 | 8.6391 | 8.6477 | 8.6564 | 8.665 | 8.6737 | 8.6824 | 8.6911 | 8.6997 | 8.7084 | 8.7172
CTS3 | 9.3106 | 9.3199 | 9.3292 | 9.3386 | 9.3479 | 9.3572 | 9.3666 | 9.376 | 9.3853 | 9.3947 | 9.4041 | 9.4135 | 9.4229 | 9.4324 | 9.4418 | 9.4512 | 9.4607 | 9.4701 | 9.4796 | 9.4891 | 9.4986 | 9.5081
CTS4 | 1.1087 | 1.1098 | 1.1109 | 10.7542 | 10.7553 | 12.6848 | 12.6859 | 12.687 | 12.6882 | 12.6893 | 12.6904 | 12.6915 | 12.6926 | 12.6938 | 12.6949 | 12.696 | 12.6971 | 12.6983 | 12.6994 | 12.7005 | 12.7016 | 12.7028
CTS5 | 14.3307 | 14.2497 | 14.2045 | 14.1429 | 14.0224 | 13.9802 | 13.9207 | 13.884 | 13.8859 | 13.9174 | 13.9723 | 13.9951 | 14.0231 | 14.0629 | 14.1074 | 14.1712 | 14.2335 | 14.2959 | 14.3653 | 14.4316 | 14.4923 | 14.5579
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 56.3524 | 123.2966 | 134.5045 | 155.1256 | 176.5527 | 190.7289 | 204.9787 | 219.1825 | 233.3367 | 247.6384 | 254.7819 | 254.752 | 254.7162 | 254.8239 | 254.9526 | 255.073 | 255.1814 | 255.3102
Remainder of Industrial Forecast | 0 | 3 | 46.5 | 46.5 | 50 | 105 | 160.6851 | 220.0764 | 219.9116 | 270.3525 | 270.2642 | 270.095 | 268.4058 | 268.1135 | 267.958 | 267.9276 | 267.893 | 267.8755 | 267.8615 | 267.8146 | 267.7667 | 267.7667
Total Region | 879.5835 | 926.0812 | 1008.9678 | 1157.3653 | 1237.5155 | 1404.0401 | 1488.9028 | 1588.2092 | 1642.6202 | 1727.3303 | 1763.4782 | 1795.0368 | 1834.0109 | 1879.0929 | 1908.9005 | 1946.8675 | 1972.1851 | 2038.0981 | 2069.9768 | 2093.3237 | 2115.4583 | 2136.4077
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter High Net Forecast
The IRRP planning forecasts account for the median weather gross forecasts provided by the local distributors, savings from distributed generation and conservation and demand management, as well as extreme weather adjustments. A power factor of 0.9 was assumed for the forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER HIGH: Net Extreme Weather Station Peak Demand Forecast, Coincident to Windsor-Essex Region (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 33.393 | 33.3499 | 33.4638 | 38.5582 | 43.5829 | 48.6479 | 53.5664 | 58.5186 | 58.6375 | 59.0763 | 59.6322 | 60.1029 | 60.7888 | 61.5827 | 62.4866 | 63.4581 | 64.449 | 68.2656 | 69.0552 | 69.6896 | 70.2816 | 70.8784
Crawford TS | 45.5964 | 45.1875 | 45.2172 | 45.4874 | 46.3507 | 47.734 | 49.2889 | 51.0911 | 52.948 | 54.9367 | 57.0055 | 59.0573 | 61.1503 | 63.0201 | 64.8837 | 66.8249 | 68.7669 | 70.706 | 72.6355 | 74.5531 | 76.475 | 78.3976
Essex TS | 42.5166 | 42.1443 | 42.1188 | 42.2937 | 42.9484 | 43.9808 | 45.1707 | 46.5934 | 48.0617 | 49.6506 | 51.3153 | 52.9713 | 54.6708 | 56.1599 | 57.6377 | 59.1863 | 60.7348 | 62.2802 | 63.8163 | 65.3412 | 66.8701 | 68.3998
Keith TS | 48.1252 | 49.1562 | 50.569 | 68.8805 | 70.1329 | 71.9137 | 73.6622 | 75.5675 | 77.6291 | 79.8674 | 82.2071 | 84.5201 | 86.8259 | 89.1658 | 91.6127 | 94.1849 | 96.7958 | 99.4362 | 102.1053 | 104.8017 | 107.5419 | 110.3218
Kingsville TS | 75.704 | 76.2063 | 77.0493 | 78.0356 | 78.8605 | 91.6566 | 92.1654 | 92.769 | 92.3114 | 92.1277 | 92.0993 | 92.0147 | 91.8453 | 91.9106 | 92.1534 | 103.2986 | 103.7198 | 109.261 | 111.2241 | 111.6243 | 112.0437 | 114.0288
Lauzon TS DESN1 | 68.6312 | 87.4535 | 113.967 | 171.4326 | 178.3192 | 189.6196 | 192.4206 | 195.5815 | 215.048 | 218.8131 | 222.7576 | 218.7023 | 222.8058 | 226.6322 | 230.5081 | 234.5279 | 238.569 | 242.6153 | 246.5377 | 250.3557 | 254.1615 | 257.9793
Lauzon TS DESN2 | 52.0059 | 55.4686 | 59.2585 | 63.1195 | 66.2806 | 70.7265 | 74.9823 | 79.2966 | 83.804 | 88.73 | 93.8093 | 96.7418 | 103.458 | 106.7711 | 110.2735 | 113.9098 | 117.5893 | 124.1133 | 130.432 | 133.7543 | 137.0466 | 138.4796
Leamington TS DESN1 | 108.9563 | 109.4216 | 110.0413 | 111.944 | 113.5652 | 115.3229 | 116.9026 | 118.5033 | 120.2711 | 123.0154 | 126.0966 | 128.9655 | 132.7921 | 136.8379 | 141.146 | 145.5604 | 150.0622 | 154.5799 | 158.3859 | 161.6378 | 164.7397 | 167.8833
Leamington TS DESN2 | 172.48 | 170.1548 | 167.8868 | 167.816 | 167.7137 | 167.6231 | 167.5136 | 167.4162 | 167.3537 | 167.3188 | 167.2936 | 167.2492 | 173.3462 | 173.3077 | 173.2892 | 173.2856 | 173.2841 | 173.2826 | 173.2805 | 173.2778 | 173.2756 | 173.2735
Malden TS | 61.1429 | 62.5182 | 64.5605 | 66.8546 | 68.4111 | 70.7653 | 73.1059 | 75.685 | 78.523 | 81.7734 | 85.2029 | 88.5138 | 91.9661 | 95.4331 | 99.0715 | 102.7109 | 106.7603 | 148.1362 | 151.9392 | 155.6743 | 159.4181 | 163.2228
South Middle Road TS DESN1 | 142.2845 | 166.6851 | 173.1193 | 173.0463 | 172.9408 | 172.8473 | 172.7345 | 172.634 | 172.5696 | 172.5336 | 172.5076 | 172.4618 | 172.403 | 172.3634 | 172.3443 | 172.3406 | 172.3391 | 172.3375 | 172.3354 | 172.3326 | 172.3303 | 172.3281
South Middle Road TS DESN2 | 0 | 0 | 137.0074 | 154.0689 | 162.5302 | 170.9929 | 170.8824 | 170.784 | 170.721 | 170.6857 | 170.6603 | 170.6154 | 170.5579 | 170.519 | 170.5004 | 170.4967 | 170.4952 | 170.4937 | 170.4916 | 170.4889 | 170.4867 | 170.4845
Tilbury West DS | 11.23 | 11.6063 | 12.1781 | 12.8022 | 13.5085 | 14.3324 | 15.2484 | 16.2893 | 17.4741 | 18.8206 | 20.2828 | 21.7813 | 23.3193 | 26.9513 | 28.6349 | 30.5633 | 32.3189 | 37.1352 | 38.6615 | 40.2424 | 41.5918 | 42.9604
Walker MTS #2 | 41.2891 | 45.2221 | 45.2743 | 45.5921 | 47.2751 | 49.4037 | 51.832 | 54.5766 | 57.3373 | 60.2322 | 63.2139 | 66.1879 | 69.2381 | 71.9346 | 74.5867 | 77.3567 | 79.7002 | 82.0423 | 84.3718 | 86.5584 | 88.6219 | 90.6864
Walker TS #1 | 37.2688 | 36.9718 | 37.0191 | 33.2785 | 34.1416 | 35.3986 | 36.8908 | 38.6235 | 40.3666 | 42.2076 | 44.1127 | 54.3291 | 56.2529 | 57.9258 | 59.5763 | 61.2984 | 63.0203 | 64.74 | 66.4498 | 68.1477 | 69.8496 | 71.5522
CTS1 | 18.8915 | 18.9104 | 18.9293 | 18.9482 | 18.9672 | 18.9862 | 19.0051 | 19.0241 | 19.0432 | 19.0622 | 19.0813 | 19.1004 | 19.1195 | 19.1386 | 19.1577 | 19.1769 | 19.1961 | 19.2152 | 19.2345 | 19.2537 | 19.273 | 19.2922
CTS2 | 7.8675 | 7.8754 | 7.8833 | 7.8912 | 7.899 | 7.9069 | 7.9148 | 7.9228 | 7.9307 | 7.9386 | 7.9466 | 7.9545 | 7.9625 | 7.9704 | 7.9784 | 7.9864 | 7.9944 | 8.0023 | 8.0104 | 8.0184 | 8.0264 | 8.0344
CTS3 | 7.575 | 7.5826 | 7.5902 | 7.5977 | 7.6053 | 7.613 | 7.6206 | 7.6282 | 7.6358 | 7.6435 | 7.6511 | 7.6587 | 7.6664 | 7.6741 | 7.6817 | 7.6894 | 7.6971 | 7.7048 | 7.7125 | 7.7202 | 7.728 | 7.7357
CTS4 | 1.5128 | 1.5143 | 1.5158 | 11.0142 | 11.0157 | 12.9166 | 12.9181 | 12.9197 | 12.9212 | 12.9227 | 12.9242 | 12.9258 | 12.9273 | 12.9288 | 12.9303 | 12.9319 | 12.9334 | 12.935 | 12.9365 | 12.938 | 12.9396 | 12.9411
CTS5 | 5.6995 | 5.6526 | 5.6494 | 5.674 | 5.7661 | 5.9057 | 6.0701 | 6.2682 | 6.4707 | 6.6891 | 6.918 | 7.147 | 7.3836 | 7.5876 | 7.7882 | 7.9983 | 8.2082 | 8.4177 | 8.6259 | 8.8324 | 9.0394 | 9.2466
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 187.8993 | 412.6954 | 452.1796 | 562.513 | 675.1673 | 763.0096 | 850.8719 | 938.6949 | 1026.492 | 1114.3271 | 1158.2463 | 1158.2389 | 1158.2358 | 1159.1118 | 1159.9867 | 1160.8604 | 1161.735 | 1162.6098
Remainder of Industrial Forecast | 0 | 18 | 46.5 | 46.5 | 50 | 97 | 160.637 | 206.0239 | 205.8526 | 285.7914 | 285.6991 | 285.5238 | 283.7706 | 283.4678 | 283.3059 | 283.2735 | 283.2373 | 283.2264 | 283.205 | 283.1549 | 283.1457 | 283.1457
Total Region | 982.1703 | 1051.0812 | 1256.7983 | 1370.8354 | 1595.7141 | 1923.989 | 2052.7119 | 2236.2295 | 2388.0776 | 2582.8461 | 2699.2889 | 2813.2196 | 2936.7422 | 3053.6095 | 3125.7938 | 3166.2984 | 3196.1071 | 3278.0383 | 3311.4329 | 3339.2578 | 3366.6213 | 3393.8821
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. Readers are cautioned not to place undue reliance on forward-looking information contained in this document as actual results could differ materially from the plans, expectations, estimates, intentions and statements expressed herein. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Summer DG
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | SUMMER: Total Contracted Distributed Generation (DG) Contribution to Peak (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.962 | 1.953 | 1.9237 | 1.8745 | 1.8669 | 1.7948 | 0.14609 | 0.019438 | 0 | 0
Crawford TS | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.35228 | 0.34961 | 0.32289 | 0.29594 | 0.26776 | 0.18381 | 0.11569 | 0.10883 | 0 | 0
Essex TS | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26866 | 0.26714 | 0.25593 | 0.22548 | 0.1784 | 0.14814 | 0.037855 | 0 | 0
Keith TS | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 7.1699 | 2.3968 | 2.339 | 0.38325 | 0.2399 | 0.13649 | 0.037908 | 0.026433 | 0 | 0
Kingsville TS | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5308 | 17.5258 | 17.3333 | 6.2913 | 6.0194 | 2.8387 | 1.0962 | 0.86786 | 0.82824 | 0
Lauzon TS DESN1 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1306 | 1.1203 | 1.0839 | 0.95369 | 0.64897 | 0.42445 | 0.073141 | 0.032018 | 0 | 0
Lauzon TS DESN2 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.2526 | 4.1087 | 3.998 | 3.4224 | 3.2012 | 1.6347 | 0.25239 | 0.2404 | 0.2375 | 0.2375
Leamington TS DESN1 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.6078 | 21.4994 | 21.4994
Leamington TS DESN2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Malden TS | 15.1672 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 15.1772 | 13.2297 | 13.2297 | 13.0505 | 12.7529 | 9.8362 | 8.4365 | 8.3292 | 8.3047 | 8.29
South Middle Road TS DESN1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South Middle Road TS DESN2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tilbury West DS | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 4.9985 | 2.3781 | 2.3781 | 2.125 | 2.1211 | 1.8508 | 0.46851 | 0.14358 | 0.14358 | 0.14358
Walker MTS #2 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.93081 | 0.70994 | 0.70994 | 0.51263 | 0.37173 | 0.14357 | 0 | 0 | 0
Walker TS #1 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.45698 | 0.4475 | 0.31915 | 0.18792 | 0.098589 | 0.048111 | 0.031588 | 0 | 0
CTS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remainder of Industrial Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Region | 75.8282 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 75.8381 | 66.3264 | 65.6411 | 51.2895 | 49.652 | 40.9564 | 32.5741 | 31.4451 | 31.0135 | 30.1705
DRAFT

## Winter DG
Peak demand contribution from contracted, existing distributed generation was estimated based on technology type and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | WINTER: Total Contracted Distributed Generation (DG) Contribution to Peak (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 2.5923 | 0 | 0 | 0 | 0 | 0
Crawford TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Essex TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Keith TS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Kingsville TS | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 18.981 | 8.246 | 8.246 | 3.1134 | 1.5554 | 1.5554 | 1.5554 | 0
Lauzon TS DESN1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lauzon TS DESN2 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 5.422 | 2.8298 | 0.2375 | 0.2375 | 0.2375 | 0.2375
Leamington TS DESN1 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994 | 21.4994
Leamington TS DESN2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Malden TS | 16.0197 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 16.0296 | 8.3047 | 8.3047 | 8.3047 | 8.3047 | 8.29
South Middle Road TS DESN1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
South Middle Road TS DESN2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tilbury West DS | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 5.1133 | 3.2729 | 3.2729 | 3.0965 | 3.0965 | 0.32773 | 0.32773 | 0.10084 | 0.10084 | 0.10084
Walker MTS #2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Walker TS #1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Remainder of Industrial Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Region | 69.6276 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 69.6376 | 67.7973 | 67.7973 | 56.8858 | 56.8858 | 36.075 | 31.9248 | 31.6979 | 31.6979 | 30.1278
DRAFT

## Summer CDM
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | SUMMER: Total Conservation and Demand Management (CDM) Forecast (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 0 | 0.67083 | 1.209 | 1.6784 | 2.4752 | 3.1089 | 3.8119 | 4.4525 | 4.9228 | 5.3171 | 5.6616 | 6.0568 | 6.5585 | 6.9269 | 7.2111 | 7.4147 | 7.6292 | 7.8469 | 8.0089 | 8.1558 | 8.3094 | 8.4391
Crawford TS | 0 | 0.81628 | 1.4979 | 2.0701 | 3.0495 | 3.8008 | 4.6342 | 5.384 | 5.9253 | 6.3466 | 6.6748 | 7.0474 | 7.4795 | 7.7278 | 7.87 | 7.9261 | 7.9886 | 8.0547 | 8.0922 | 8.1397 | 8.2053 | 8.248
Essex TS | 0 | 0.8549 | 1.5822 | 2.1867 | 3.2215 | 4.0081 | 4.8824 | 5.6665 | 6.2355 | 6.6829 | 7.0302 | 7.4137 | 7.8526 | 8.0984 | 8.2399 | 8.2936 | 8.3534 | 8.4175 | 8.4494 | 8.4922 | 8.5563 | 8.5974
Keith TS | 0 | 0.83394 | 1.4915 | 2.0803 | 3.0525 | 3.8414 | 4.7165 | 5.5226 | 6.1157 | 6.574 | 6.962 | 7.4395 | 8.0141 | 8.4206 | 8.7103 | 8.9073 | 9.128 | 9.3672 | 9.6033 | 9.8768 | 10.1919 | 10.5083
Kingsville TS | 0 | 1.0734 | 2.0133 | 2.8127 | 4.1867 | 5.2739 | 6.5037 | 7.6406 | 8.4221 | 9.0421 | 9.5411 | 10.0902 | 10.7152 | 11.0972 | 11.3447 | 11.4745 | 11.6147 | 11.763 | 11.8678 | 11.9905 | 12.1467 | 12.2725
Lauzon TS DESN1 | 0 | 1.1782 | 2.1769 | 3.0108 | 4.4327 | 5.5284 | 6.7495 | 7.8532 | 10.024 | 10.773 | 11.3789 | 11.1883 | 11.9624 | 12.4547 | 12.7785 | 12.9596 | 13.1553 | 13.3581 | 13.5045 | 13.661 | 13.845 | 13.9903
Lauzon TS DESN2 | 0 | 1.2309 | 2.1285 | 2.9454 | 4.307 | 5.4526 | 6.7186 | 7.8943 | 8.7638 | 9.4546 | 10.0761 | 10.8489 | 11.8279 | 12.5816 | 13.1633 | 13.5905 | 14.0522 | 14.5288 | 14.9563 | 15.3976 | 15.8676 | 16.3116
Leamington TS DESN1 | 0 | 1.0172 | 1.9218 | 2.3006 | 2.9256 | 3.4379 | 4.0024 | 4.5223 | 4.9051 | 5.2159 | 5.4908 | 5.8214 | 6.2338 | 6.5435 | 6.7807 | 6.9529 | 7.136 | 7.3231 | 7.4829 | 7.6419 | 7.8091 | 7.9618
Leamington TS DESN2 | 0 | 0.63338 | 1.2533 | 1.277 | 1.3169 | 1.3489 | 1.3827 | 1.4127 | 1.4317 | 1.4432 | 1.4523 | 1.4665 | 1.4845 | 1.496 | 1.5018 | 1.5032 | 1.5049 | 1.5065 | 1.5079 | 1.5097 | 1.5111 | 1.5113
Malden TS | 0 | 1.4997 | 2.6358 | 3.6596 | 5.3114 | 6.6707 | 8.1559 | 9.5166 | 10.4749 | 11.1884 | 11.7979 | 12.602 | 13.6104 | 14.3406 | 14.8539 | 15.4023 | 15.5477 | 15.9199 | 16.263 | 16.6242 | 17.0025 | 17.3464
South Middle Road TS DESN1 | 0 | 0.69537 | 1.3869 | 1.644 | 2.08 | 2.4144 | 2.7813 | 3.1086 | 3.3393 | 3.5118 | 3.6479 | 3.808 | 3.9941 | 4.1058 | 4.1708 | 4.1966 | 4.2256 | 4.2553 | 4.2744 | 4.2979 | 4.3276 | 4.3469
South Middle Road TS DESN2 | 0 | 0 | 0 | 1.5251 | 2.0317 | 2.4763 | 2.8526 | 3.1882 | 3.4249 | 3.6018 | 3.7414 | 3.9056 | 4.0965 | 4.211 | 4.2777 | 4.3042 | 4.3338 | 4.3644 | 4.3839 | 4.408 | 4.4385 | 4.4583
Tilbury West DS | 0 | 0.26013 | 0.40815 | 0.54802 | 0.75207 | 0.94982 | 1.1621 | 1.3627 | 1.5117 | 1.6169 | 1.7186 | 1.8601 | 2.0476 | 2.1943 | 2.3005 | 2.3698 | 2.443 | 2.5142 | 2.5793 | 2.6484 | 2.7177 | 2.7739
Walker MTS #2 | 0 | 0.61788 | 1.1448 | 1.5849 | 2.3563 | 2.9595 | 3.6382 | 4.2607 | 4.7278 | 5.1087 | 5.413 | 5.7513 | 6.1381 | 6.3703 | 6.521 | 6.6045 | 6.6686 | 6.7362 | 6.7786 | 6.8221 | 6.8747 | 6.9087
Walker TS #1 | 0 | 0.60772 | 1.126 | 1.4287 | 2.1097 | 2.6319 | 3.2142 | 3.74 | 4.1246 | 4.4304 | 4.6676 | 5.8711 | 6.2264 | 6.4254 | 6.5406 | 6.5859 | 6.6361 | 6.6898 | 6.7181 | 6.7549 | 6.8085 | 6.8437
CTS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS5 | 0 | 0.17327 | 0.32448 | 0.44878 | 0.66172 | 0.82223 | 1.0013 | 1.1616 | 1.2792 | 1.373 | 1.4458 | 1.5236 | 1.6114 | 1.6595 | 1.6874 | 1.6981 | 1.7098 | 1.7226 | 1.7282 | 1.736 | 1.749 | 1.7574
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 1.604 | 3.9866 | 5.016 | 5.8719 | 6.622 | 6.9468 | 7.198 | 7.4951 | 7.8418 | 8.041 | 8.148 | 8.178 | 8.2138 | 8.251 | 8.2674 | 8.292 | 8.3286 | 8.3448
Remainder of Industrial Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 1.2197 | 1.4236 | 1.5884 | 1.6475 | 1.7358 | 1.905 | 3.5942 | 3.8865 | 4.042 | 4.0724 | 4.107 | 4.1245 | 4.1385 | 4.1854 | 4.2333 | 4.2333
Total Region | 0 | 12.1632 | 22.3006 | 31.2011 | 45.8746 | 58.7123 | 72.4432 | 83.9828 | 93.8389 | 100.2749 | 105.6339 | 112.0945 | 121.2892 | 126.5812 | 130.1424 | 132.4341 | 134.4478 | 136.7436 | 138.6049 | 140.634 | 142.9228 | 144.8536
DRAFT

## Winter CDM
Peak demand savings from codes and standards, as well as the delivery of conservation programs, were estimated for each sector and totalled for each station in the region. The resulting forecast savings were applied to gross demand to help determine the net peak demand for the IRRP planning forecast. Additional details on the overall IRRP forecast methodology will be provided in the final report.
Transformer Station | WINTER: Total Conservation and Demand Management (CDM) Forecast (MW)
| 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044
Belle River TS | 0 | 0.43003 | 0.71167 | 0.98225 | 1.3454 | 1.6717 | 2.1197 | 2.5245 | 2.8305 | 3.0623 | 3.2574 | 3.49 | 3.793 | 4.0246 | 4.1952 | 4.3053 | 4.4146 | 4.5303 | 4.6312 | 4.7223 | 4.8048 | 4.8874
Crawford TS | 0 | 0.53469 | 0.90139 | 1.2426 | 1.6938 | 2.0905 | 2.6513 | 3.1538 | 3.5338 | 3.8023 | 4.0035 | 4.2401 | 4.5235 | 4.7003 | 4.7975 | 4.8256 | 4.8515 | 4.8865 | 4.9261 | 4.9711 | 5.012 | 5.0525
Essex TS | 0 | 0.49098 | 0.83298 | 1.1488 | 1.5619 | 1.9234 | 2.4422 | 2.9055 | 3.259 | 3.5108 | 3.6989 | 3.9135 | 4.1677 | 4.3226 | 4.408 | 4.4301 | 4.4512 | 4.4811 | 4.5156 | 4.5553 | 4.591 | 4.6263
Keith TS | 0 | 0.58325 | 0.98663 | 1.3923 | 1.9042 | 2.366 | 2.9955 | 3.5665 | 3.9958 | 4.294 | 4.5294 | 4.8251 | 5.1862 | 5.4373 | 5.5914 | 5.6629 | 5.731 | 5.8074 | 5.8899 | 5.9803 | 6.0659 | 6.1518
Kingsville TS | 0 | 1.2073 | 2.0713 | 2.8683 | 3.9199 | 4.8644 | 6.2203 | 7.4574 | 8.3269 | 8.9307 | 9.3876 | 9.9093 | 10.5245 | 10.914 | 11.135 | 11.1979 | 11.2593 | 11.343 | 11.44 | 11.5519 | 11.6549 | 11.7579
Lauzon TS DESN1 | 0 | 0.785 | 1.328 | 1.8343 | 2.4939 | 3.0783 | 3.9128 | 4.663 | 6.3773 | 6.8781 | 7.2715 | 7.0043 | 7.5429 | 7.9135 | 8.1485 | 8.2636 | 8.3761 | 8.5019 | 8.6253 | 8.7512 | 8.8658 | 8.9799
Lauzon TS DESN2 | 0 | 0.69683 | 1.1295 | 1.5687 | 2.1575 | 2.7073 | 3.4286 | 4.0938 | 4.5945 | 4.957 | 5.2685 | 5.6723 | 6.1937 | 6.6004 | 6.8947 | 7.0855 | 7.273 | 7.4677 | 7.6515 | 7.8313 | 7.9994 | 8.1687
Leamington TS DESN1 | 0 | 1.7744 | 3.3728 | 3.7776 | 4.3086 | 4.7953 | 5.4268 | 6.0048 | 6.4393 | 6.7778 | 7.0744 | 7.4399 | 7.9173 | 8.3005 | 8.595 | 8.8065 | 9.0151 | 9.2299 | 9.419 | 9.5906 | 9.7504 | 9.9114
Leamington TS DESN2 | 0 | 2.3252 | 4.5932 | 4.664 | 4.7663 | 4.8569 | 4.9664 | 5.0638 | 5.1262 | 5.1612 | 5.1864 | 5.2308 | 5.2878 | 5.3263 | 5.3447 | 5.3483 | 5.3498 | 5.3514 | 5.3534 | 5.3561 | 5.3583 | 5.3604
Malden TS | 0 | 1.0031 | 1.6741 | 2.3223 | 3.1756 | 3.9468 | 4.9559 | 5.8707 | 6.5315 | 6.9832 | 7.3421 | 7.8267 | 8.4383 | 8.8779 | 9.1591 | 9.4634 | 9.4394 | 9.5821 | 9.7213 | 9.8596 | 9.9892 | 10.1184
South Middle Road TS DESN1 | 0 | 2.2778 | 4.7363 | 4.8094 | 4.9148 | 5.0083 | 5.1212 | 5.2216 | 5.286 | 5.322 | 5.348 | 5.3938 | 5.4526 | 5.4923 | 5.5113 | 5.515 | 5.5166 | 5.5182 | 5.5203 | 5.523 | 5.5253 | 5.5275
South Middle Road TS DESN2 | 0 | 0 | 3.7102 | 4.2384 | 4.5719 | 4.9041 | 5.0146 | 5.113 | 5.176 | 5.2113 | 5.2368 | 5.2816 | 5.3392 | 5.378 | 5.3966 | 5.4003 | 5.4018 | 5.4033 | 5.4054 | 5.4081 | 5.4104 | 5.4125
Tilbury West DS | 0 | 0.19042 | 0.28095 | 0.37548 | 0.51099 | 0.65525 | 0.82633 | 0.99462 | 1.1246 | 1.2145 | 1.303 | 1.4356 | 1.6142 | 1.7659 | 1.8791 | 1.9582 | 2.035 | 2.0929 | 2.1392 | 2.188 | 2.2308 | 2.2726
Walker MTS #2 | 0 | 0.52977 | 0.89936 | 1.2418 | 1.7052 | 2.1201 | 2.7147 | 3.2573 | 3.6826 | 3.9981 | 4.2426 | 4.5223 | 4.8516 | 5.0652 | 5.1987 | 5.2599 | 5.2983 | 5.347 | 5.4013 | 5.4553 | 5.4982 | 5.5406
Walker TS #1 | 0 | 0.43203 | 0.73392 | 0.90447 | 1.2338 | 1.5243 | 1.9408 | 2.3157 | 2.6039 | 2.8123 | 2.9685 | 3.9245 | 4.1827 | 4.3404 | 4.4279 | 4.4519 | 4.4747 | 4.5062 | 4.5424 | 4.5837 | 4.621 | 4.658
CTS1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
CTS5 | 0 | 0.064622 | 0.11066 | 0.15284 | 0.20739 | 0.25498 | 0.32453 | 0.3866 | 0.43464 | 0.46939 | 0.49533 | 0.52391 | 0.55739 | 0.57739 | 0.58852 | 0.59128 | 0.59404 | 0.59806 | 0.60275 | 0.60816 | 0.61302 | 0.61782
Remainder of Greenhouse Forecast | 0 | 0 | 0 | 0 | 3.7561 | 8.2161 | 9.1992 | 9.8486 | 10.493 | 10.5646 | 10.6161 | 10.707 | 10.8237 | 10.9025 | 10.9403 | 10.9477 | 10.9507 | 10.9538 | 10.9581 | 10.9635 | 10.968 | 10.9724
Remainder of Industrial Forecast | 0 | 0 | 0 | 0 | 0 | 0 | 1.2678 | 1.4761 | 1.6474 | 1.7086 | 1.8009 | 1.9762 | 3.7294 | 4.0322 | 4.1941 | 4.2265 | 4.2627 | 4.2736 | 4.295 | 4.3451 | 4.3543 | 4.3543
Total Region | 0 | 13.3254 | 28.0731 | 33.5234 | 44.2272 | 54.9839 | 65.5285 | 73.9172 | 81.4631 | 85.6582 | 89.0309 | 93.317 | 100.1256 | 103.9713 | 106.4056 | 107.7399 | 108.6948 | 109.8741 | 111.0376 | 112.2446 | 113.3127 | 114.3704
DRAFT