## Summer
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | SUMMER: Historical Net Station Peak Demand, Windsor-Essex Region 2022 (MW)
| Non-Coincident | Coincident
Belle River TS | 49.3 | 45.7
Crawford TS | 64.9 | 64.4
Essex TS | 72.4 | 67.2
Keith TS | 66.1 | 54.3
Kingsville TS | 94.4 | 56
Lauzon TS DESN1 | 108.7 | 99.3
Lauzon TS DESN2 | 78.5 | 75.7
Leamington TS DESN1 | 130.9 | 73.8
Leamington TS DESN2 | 161.3 | 19.4
Malden TS | 102.1 | 90.4
South Middle Road TS DESN1 | 55.4 | 0
South Middle Road TS DESN2 | 0 | 0
Tilbury West DS | 19 | 13.8
Walker MTS #2 | 47.1 | 44.6
Walker TS #1 | 63.9 | 63.9
CTS1 | 25.3 | 24.8
CTS2 | 9.8 | 9
CTS3 | 11 | 9.6
CTS4 | 1.7 | 1.2
CTS5 | 24.1 | 16.1
Total Region | 1186 | 829
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT

## Winter
Historic station peak demand data is used as the basis for developing the IRRP planning forecasts. Full details on the overall IRRP forecast methodology will be provided in the IRRP report, once finalized.
Transformer Station | WINTER: Historical Net Station Peak Demand, Windsor-Essex Region 2022 (MW)
| Non-Coincident | Coincident
Belle River TS | 35.8 | 28.4
Crawford TS | 51.7 | 45.9
Essex TS | 53.3 | 40.7
Keith TS | 63 | 37.1
Kingsville TS | 110 | 106.7
Lauzon TS DESN1 | 72.5 | 64.6
Lauzon TS DESN2 | 55.8 | 38.8
Leamington TS DESN1 | 177.5 | 160.1
Leamington TS DESN2 | 220.4 | 186
Malden TS | 78.4 | 65.5
South Middle Road TS DESN1 | 60.2 | 48.8
South Middle Road TS DESN2 | 0 | 0
Tilbury West DS | 17.4 | 6.7
Walker MTS #2 | 27 | 18.8
Walker TS #1 | 44.8 | 39.7
CTS1 | 20.8 | 19.4
CTS2 | 8.9 | 7.1
CTS3 | 8.9 | 6.6
CTS4 | 2.4 | 1.3
CTS5 | 21.3 | 8.9
Total Region | 1130.2 | 931.3
This document and the information contained herein is provided for informational purposes only and is subject to redaction and/or aggregation to protect against identifying specific customer electricity usage. The IESO has prepared this document based on information currently available to the IESO and reasonable assumptions associated therewith, including relating to electricity supply and demand. The information, statements and conclusions contained herein are subject to risks, uncertainties and other factors, and actual results or circumstances may differ materially. The IESO provides no guarantee, representation, or warranty, express or implied, with respect to any statement or information contained herein and disclaims any liability in connection therewith. The IESO undertakes no obligation to revise or update any information contained in this document as a result of new information, future events or otherwise. In the event there is any conflict or inconsistency between this document and the IESO market rules, any IESO contract, any legislation or regulation, or any request for proposals or other procurement document, the terms in the market rules, or the subject contract, legislation, regulation, or procurement document, as applicable, govern.
DRAFT