## Menu
Mid Term Review
Data Tables
December 2022
System Needs Review
Figure 2: Provincial Energy Demand (2019 versus 2021 APO)
Figure 3: Provincial Summer Peak Demand (2019 versus 2021 APO)
Figure 4: Provincial Winter Peak Demand (2019 versus 2021 APO)
Figure 5: Unserved Energy Needs (2019 versus 2021 APO)
Figure 6: Summer Capacity Needs (2019 versus 2021 APO)
Table 1: Comparison of 2019 and 2021 APO Forecasted Energy Demand by Sector
Figure 7: Avoided Energy Costs (2019 versus 2021 APO)
Figure 8: Avoided Summer Capacity Costs (2019 versus 2021 APO)
Figure 9: Avoided Winter Capacity Costs (2019 versus 2021 APO)
Figure 10: Comparison of Forecasted Achievable Peak Demand Savings Potential and Committed Savings
Figure 11: Comparison of Forecasted Achievable Energy Savings Potential and Committed Savings
Program Review
Table 3: CDM Program Plan for Business Programs
Table 5: CDM Program Plan for Support Programs
Table 6: Updated CDM Program Plan Including New Government-Directed Programs
Appendices
Figure A7.1: Ontario Commercial/Industrial and Residential Energy Efficiency Saving versus Energy Sales
Figure A7.2: Commercial and Industrial Energy-Efficiency Savings versus Utility-Level Commercial and Industrial Consumption
Figure A7.3: Residential Energy-Efficiency Savings versus Utility-Level Residential Energy Consumption
Table A8.1: Summary of EEAP Clearing Results

## Figure 2
Back to main menu
Figure 2: Provincial Energy Demand (2019 versus 2021 APO)
Net Annual Energy Demand (TWh) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
2019 APO: Energy-Efficiency Case | 144.33 | 144.74 | 144.4 | 144 | 145.01 | 145.91 | 146.11 | 146.7 | 148.19 | 148.84 | 150.13 | 151.09 | 152.36 | 153.27 | 154.73 | 156.11 | 157.68 | 158.32 | 159.28 | 160.23 | 161.66
2021 APO: Reference Scenario |  |  |  | 146.68 | 150.09 | 152 | 154.53 | 156 | 158.03 | 162.87 | 165.07 | 166.48 | 168.04 | 170.09 | 172.71 | 176.72 | 180.96 | 184.28 | 188.13 | 191.85 | 196.2 | 199.64 | 202.24
Back to main menu

## Figure 3
Back to main menu
Figure 3: Provincial Summer Peak Demand (2019 versus 2021 APO)
Net Summer Peak Demand (GW) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
2019 APO: Energy-Efficiency Case | 23.94 | 24.08 | 24.03 | 23.94 | 24.01 | 24.18 | 24.2 | 24.27 | 24.43 | 24.62 | 24.83 | 24.98 | 25.09 | 25.25 | 25.46 | 25.65 | 25.81 | 25.98 | 26.12 | 26.26 | 26.4
2021 APO: Reference Scenario |  |  |  | 24.36 | 24.73 | 25.07 | 25.4 | 25.57 | 25.78 | 26.4 | 26.69 | 26.87 | 26.99 | 27.22 | 27.48 | 27.83 | 28.16 | 28.62 | 29.17 | 29.7 | 30.23 | 30.8 | 31.34
Back to main menu

## Figure 4
Back to main menu
Figure 4: Provincial Winter Peak Demand (2019 versus 2021 APO)
Net Winter Peak Demand (GW) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
2019 APO: Energy-Efficiency Case | 21.81 | 21.85 | 21.97 | 21.82 | 21.68 | 21.73 | 21.76 | 21.75 | 21.87 | 21.95 | 22.09 | 22.19 | 22.29 | 22.47 | 22.64 | 22.81 | 22.92 | 23.06 | 23.2 | 23.32 | 23.45
2021 APO: Reference Scenario |  |  |  | 22.05 | 22.73 | 23.07 | 23.51 | 23.8 | 24.1 | 24.62 | 24.89 | 25.12 | 25.28 | 25.62 | 25.91 | 26.52 | 26.94 | 27.52 | 28.21 | 28.87 | 29.53 | 30.18 | 30.54
Back to main menu

## Figure 5
Back to main menu
Figure 5: Unserved Energy Needs (2019 versus 2021 APO)
Unserved Energy (TWh) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
2019 APO: Energy-Efficiency Case | 0 | 0 | 0 | 0.2 | 0.1 | 1.4 | 1.5 | 1.7 | 1.6 | 5.1 | 12.7 | 18.3 | 18.2 | 19.5 | 22.7 | 25.1 | 28 | 35.1 | 34.4 | 38.4 | 44.2
2021 APO: Reference Scenario |  |  |  | 0.294 | 0.283 | 0.858 | 4.266 | 2.917 | 3.141 | 10.521 | 21.23 | 27.378 | 30.592 | 32.828 | 36.671 | 44.226 | 52.432 | 56.602 | 65 | 67.711 | 80.418 | 83.189 | 86.619
Back to main menu

## Figure 6
Back to main menu
Figure 6: Summer Capacity Needs (2019 versus 2021 APO)
Summer Capacity Deficit/Surplus (MW) | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
2019 APO: Energy-Efficiency Case | 200 | 640 | -670 | -4140 | -2660 | -5100 | -5440 | -5120 | -5560 | -8320 | -9330 | -10230 | -10580 | -10690 | -10740 | -11420 | -12100 | -12460 | -12730 | -12980 | -14130
2021 APO: Reference Scenario |  |  |  | -2119.6818 | -2629.1776 | -4789.811 | -7277.4962 | -6155.7536 | -6497.378 | -9362.9555 | -11259.9332 | -11980.7668 | -12270.3735 | -12558.9861 | -13174.0548 | -13511.4974 | -15887.9824 | -15460.756 | -16114.8645 | -16739.4683 | -18400.0884 | -18921.4401 | -19541.182
Back to main menu

## Table 1
Back to main menu
Table 1: Comparison of 2019 and 2021 APO Forecasted Energy Demand by Sector
Sector | Difference between 2019 and 2021 APO in 2028 | Difference between 2019 and 2021 APO in 2033 | Zones of Particular Growth
Residential | + 0.2 TWh | + 1.5 TWh | Ottawa, Southwest, Toronto
Transportation | + 0.2 TWh | + 1.5 TWh | N/A
Agriculture | + 1.8 TWh | + 3.8 TWh | West
Commercial | + 1.8 TWh | + 1.0 TWh | Essa, Southwest
Industrial | + 3.1 TWh | + 6.7 TWh | Northwest, Northeast, Southeast
Back to main menu

## Figure 7
Back to main menu
Figure 7: Avoided Energy Costs (2019 versus 2021 APO)
Avoided Costs for Energy (2021$/MWh)
Year | 2019 APO | 2021 APO
2020 | 20.745
2021 | 21.1599
2022 | 25.716 | 27.2398
2023 | 30.2291 | 27.8603
2024 | 29.694 | 27.4734
2025 | 34.2303 | 29.8404
2026 | 32.3705 | 40.1807
2027 | 30.849 | 33.3635
2028 | 31.6711 | 34.0757
2029 | 30.9152 | 34.9544
2030 | 32.9146 | 36.7401
2031 | 33.4055 | 38.1288
2032 | 32.2403 | 37.5329
2033 | 32.1336 | 36.7582
2034 | 30.5839 | 40.9396
2035 | 30.1756 | 39.7907
2036 | 31.1899 | 50.827
2037 | 32.0216 | 47.2382
2038 | 33.0682 | 60.8425
2039 | 35.6106 | 65.7531
2040 | 34.4165 | 79.4771
2041 |  | 78.263
2042 |  | 99.7591
Back to main menu

## Figure 8
Back to main menu
Figure 8: Avoided Summer Capacity Costs (2019 versus 2021 APO)
Avoided Summer Capacity Cost (2021$/kW-month)
Year | 2019 APO | 2021 APO
2020 | 0
2021 | 0
2022 | 0 | 0
2023 | 10.762 | 5.7481
2024 | 7.7425 | 10.5837
2025 | 9.6535 | 15.2698
2026 | 10.3696 | 14.7084
2027 | 10.2888 | 15.6603
2028 | 10.5565 | 15.2124
2029 | 9.5339 | 15.8814
2030 | 10.3112 | 15.4337
2031 | 9.9978 | 14.9567
2032 | 10.7712 | 15.4482
2033 | 10.6499 | 16.3545
2034 | 10.6802 | 14.5345
2035 | 10.5765 | 16.0826
2036 | 12.0472 | 10.391
2037 | 10.3539 | 9.7046
2038 | 10.9054 | 11.7792
2039 | 10.7488 | 10.4307
2040 | 11.0363 | 10.7755
2041 |  | 8.8451
2042 |  | 10.0285
Back to main menu

## Figure 9
Back to main menu
Figure 9: Avoided Winter Capacity Costs (2019 versus 2021 APO)
Avoided Winter Capacity Cost (2021$/kW-month)
Year | 2019 APO | 2021 APO
2020 | 0
2021 | 0
2022 | 0
2023 | 0 | 0
2024 | 2.4421 | 0
2025 | 5.3204 | 0
2026 | 8.3861 | 9.2217
2027 | 0 | 7.7721
2028 | 0 | 10.932
2029 | 0 | 11.5228
2030 | 0 | 13.6305
2031 | 0 | 12.3832
2032 | 0 | 10.405
2033 | 0 | 10.2099
2034 | 0 | 9.7878
2035 | 0 | 11.7174
2036 | 0 | 9.6378
2037 | 0 | 10.0536
2038 | 3.7081 | 12.4941
2039 | 0 | 18.4902
2040 | 0 | 20.7137
2041 |  | 15.1062
2042 |  | 17.2834
Back to main menu

## Figure 10
Back to main menu
Figure 10: Comparison of Forecasted Achievable Peak Demand Savings Potential and Committed Savings
Forecasted Achievable Demand Savings Potential and Committed CDM Programs (MW) | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
2021-2024 CDM Framework | 229.3528 | 331.4914 | 418.8727 | 434.0989 | 429.8351 | 425.5713 | 420.6985 | 411.3124 | 358.8378 | 297.8028 | 204.0889
AAR Report Back | 149.7469 | 269.3244 | 285.7754 | 161.8966 | 158.4683 | 152.5452 | 149.5286 | 147.4518 | 139.2463 | 126.1074 | 115.5755
2019 APS Maximum Achievable Potential | 196.8588 | 405.6518 | 621.1435 | 837.1381 | 1048.9587 | 1254.0873 | 1449.8335 | 1628.2781 | 1792.0988 | 1943.5649 | 2082.6802
2022 APS Refresh Maximum Achievable Potential | 146.0839 | 302.4757 | 470.6403 | 653.8238 | 853.0807 | 1062.7563 | 1281.9286 | 1504.7578 | 1731.7019 | 1954.4342 | 2171.1074
Back to main menu

## Figure 11
Back to main menu
Figure 11: Comparison of Forecasted Achievable Energy Savings Potential and Committed Savings
Forecasted Achievable Energy Savings Potential and Committed CDM Programs (GWh) | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
2021-2024 CDM Framework | 1414.7839 | 2104.7986 | 2707.1021 | 2840.976 | 2806.8474 | 2772.7188 | 2733.7146 | 2658.5852 | 2322.6789 | 1941.3512 | 1354.6656
AAR Report Back | 558.3243 | 1137.7049 | 1137.7049 | 1135.9048 | 1132.3045 | 1126.9417 | 1123.9716 | 1121.729 | 1112.9095 | 948.2481 | 794.6383
2019 APS Maximum Potential | 1507.4739 | 3085.2952 | 4690.5179 | 6272.5848 | 7800.2388 | 9254.833 | 10617.7101 | 11857.7757 | 12990.8538 | 14026.3493 | 14966.2811
2022 APS Refresh Maximum Potential | 1285.1462 | 2650.2901 | 4100.4424 | 5666.0454 | 7356.8096 | 9121.7147 | 10930.1312 | 12741.9283 | 14650.0803 | 16517.1261 | 18283.2047
Back to main menu

## Table 3
Back to main menu
Table 3: CDM Program Plan for Business Programs
2021-2024 CDM Program Plan (as of January 2021) | Administrative Budget ($M) | Incentive Budget ($M) | Demand Savings (MW) | Energy Savings (TWh)
Business | $88 | $369 | 410 | 2.5
Updated forecast on January 2021 2021-2024 CDM Program Plan (as of November 2022)* | Administrative Budget ($M) | Incentive Budget ($M) | Demand Savings (MW) | Energy Savings (GWh)
Business | $80 | $376 | 314 | 2.4
* Note: Values may not add up precisely due to rounding.
Back to main menu

## Table 5
Back to main menu
Table 5: CDM Program Plan for Support Programs
2021-2024 CDM Program Plan (as of January 2021) | Administrative Budget ($M) | Incentive Budget ($M) | Demand Savings (MW) | Energy Savings (TWh)
Support | $44 | $148 | 30 | 0.2
Updated forecast on January 2021 2021-2024 CDM Program Plan (as of November 2022) | Administrative Budget ($M) | Incentive Budget ($M) | Demand Savings (MW) | Energy Savings (TWh)
Support | $16 | $105 | 16 | 0.1
* Note: The January 2021 version of the CDM Program Plan does not include incremental enhancement and AAR programs directed by the government in October 2022.
Back to main menu

## Table 6
Back to main menu
Table 6: Updated CDM Program Plan Including New Government-Directed Programs
| Administrative Budget ($M) | Incentive Budget ($M) | Demand Savings (MW) | Energy Savings (TWh)
Updated 2021-24 CDM Program Plan | 277 | 758 | 725 | 3.8
Business and Residential | 185 | 614 | 697 | 3.6
Support | 49 | 143 | 28 | 0.2
Central Services | 43 | N/A | N/A | N/A
* Note: Values may not add up precisely due to rounding
Back to main menu

## Figure A7.1
Back to main menu
Figure A7.1: Ontario Commercial/Industrial and Residential Energy-Efficiency Saving versus Energy Sales
Per cent of Energy-Efficiency Savings versus Electricity Consumption | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Coupons and Instant Discount | 0.4129% | 1.219% | 1.945% | 1.085% | 0% | 0%
Other Residential Province-Wide | 0.1716% | 0.2026% | 0.2121% | 0.204% | 0.04235% | 0.003006%
Low Income and Indigenous | 0.03573% | 0.02449% | 0.03123% | 0.02299% | 0.0496% | 0.02837%
LDC Residential | 0% | 0% | 0.3226% | 0.0363% | 0.01758% | 0%
LDC Business | 0% | 0.002088% | 0.02436% | 0.02131% | 0.008952% | 0.01908%
Retrofit Program and Pay for Performance | 0.9536% | 0.8862% | 1.101% | 0.8146% | 0.494% | 0.3996%
Other Business Province-Wide | 0.1474% | 0.06297% | 0.1845% | 0.1599% | 0.1347% | 0.02306%
Industrial Province-Wide | 0.3758% | 0.113% | 0.081% | 0.2054% | 0.05658% | 0.2498%
Back to main menu

## Figure A7.2
Back to main menu
Figure A7.2: Commercial and Industrial Energy-Efficiency Savings versus Utility-Level Commercial and Industrial Consumption
| Ontario | [5 empty] | Illinois | [5 empty] | Massachusetts | [5 empty] | Michigan | [5 empty] | New York | [5 empty] | Ohio | [5 empty] | Pennsylvania | [5 empty] | Rhode Island
Metric | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
C&I Savings / Sales | 1.956% | 1.313% | 1.639% | 1.523% | 0.8726% | 0.4686% | 1.126% | 1.304% | 1.89% | 1.508% | 1.507% | 1.662% | 2.899% | 2.648% | 2.307% | 2.447% | 2.39% | 2.906% | 0.9313% | 0.9672% | 1.221% | 1.315% | 1.32% | 1.688% | 0.7038% | 0.684% | 0.7342% | 0.7521% | 0.862% | 0.8338% | 0.9529% | 0.8142% | 1.121% | 1.088% | 1.058% | 1.23% | 0.6509% | 0.7071% | 0.8628% | 0.7694% | 0.7584% | 0.6604% | 2.816% | 2.308% | 2.963% | 2.578% | 2.361% | 2.172%
Back to main menu

## Figure A7.3
Back to main menu
Figure A7.3: Residential Energy-Efficiency Savings versus Utility-Level Residential Energy Consumption
| Ontario | [5 empty] | Illinois | [5 empty] | Massachusetts | [5 empty] | Michigan | [5 empty] | New York | [5 empty] | Ohio | [5 empty] | Pennsylvania | [5 empty] | Rhode Island
Metric | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
Residential Savings / Sales | 0.6378% | 1.347% | 2.638% | 1.62% | 0.1492% | 0.05029% | 2.179% | 2.393% | 4.099% | 2.979% | 2.859% | 2.665% | 3.376% | 4.236% | 5.134% | 4.75% | 5.305% | 3.719% | 1.511% | 1.498% | 1.997% | 1.595% | 1.689% | 1.481% | 0.7853% | 0.7916% | 0.9572% | 1.118% | 1.659% | 2.248% | 1.433% | 1.125% | 1.771% | 1.993% | 1.824% | 1.894% | 0.9055% | 1.242% | 1.699% | 1.563% | 1.329% | 1.013% | 3.953% | 4.301% | 4.222% | 4.822% | 6.101% | 5.028%
Back to main menu

## Table A8.1
Back to main menu
Table A8.1: Summary of EEAP Clearing Results
Metric | Winter Obligation Period | Summer Obligation Period
Number of resources cleared | 16 | 17
Seasonal energy efficiency capacity cleared (MW) | 7.4 | 6.6
Weighted average accepted annualized offer price ($/kWseason-year) | 34.2 | 38.72
Lowest accepted annualized offer price ($/kWseason-year) | 15 | 16
Highest accepted annualized offer price ($/kWseason-year) | 102.04 | 102.04
Back to main menu