|  | # Market Rule Amendment Proposal |
| --- | --- |

| ## Part 1 – Market Rule Information |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Identification No.: |  | MR-00375-R00 |  |  |  |  |  |
| Subject: | Enhanced Day-Ahead Commitment Process (EDAC) |  |  |  |  |  |  |
| Title: | Market Rule True-up |  |  |  |  |  |  |
| Nature of Proposal: |  |  | Alteration |  | Deletion |  | Addition |
| Chapter: | 7 |  |  |  | Appendix: |  |  |
| Sections: | 2.2, 2.2C, 3.3, 3.3A, 5.1, 5.5, 5.8, 6.3B, 12.1 |  |  |  |  |  |  |
| Sub-sections proposed for amending: |  |  |  | Various |  |  |  |

| ## Part 2 – Proposal History |  |  |  |
| --- | --- | --- | --- |
| ### Version | ### Reason for Issuing |  | ### Version Date |
| 1.0 | Working Draft for Discussion Purposes |  | November 3, 2010 |
| 2.0 | Second Working draft |  | December 8, 2010 |
| 3.0 | Third draft |  | February 15, 2011 |
| 4.0 | Draft for Technical Panel vote |  | March 15, 2011 |
| 5.0 | Recommended by Technical Panel; submitted for IESO Board approval |  | March 22, 2011 |
| 6.0 | Approved by IESO Board |  | April 14, 2011 |
| 7.0 | Effective Date approved by IESO Board |  | September 09, 2011 |
| Approved Amendment Publication Date: |  | All sections to be effective on or after October 12, 2011 |  |
| Approved Amendment Effective Date: |  |  |  |

## Part 3 – Explanation for Proposed Amendment

Provide a brief description of the following: - The reason for the proposed amendment and the impact on the IESO-administered markets if the amendment is not made. - Alternative solutions considered. - The proposed amendment, how the amendment addresses the above reason and impact of the proposed amendment on the IESO-administered markets.

### Summary ### This amendment proposal is the third set of market rule amendments required to implement the enhanced day-ahead commitment (EDAC) process design approved by the IESO Board in February 2009. The EDAC Project Advisory Group has identified changes that are required to: - address design detail changes subsequent to approved amendments MR-00348 and MR-00349, including obligations regarding pseudo-units (R00, R01); - enable the IESO to recover CMSC for the hours associated with a given start that occur after the DACP dispatch day (R01); and - provide greater clarity and consistency throughout. ### Background EDAC is a modification to the existing Day-Ahead Commitment Process (DACP) that introduces the following elements: - Optimization of commitment over the entire 24 hours of the next day; - Use of multiple passes of the constrained algorithm to determine commitment and resource scheduling; and - Three-part offers, i.e., the use of offers for energy supported by submitted fixed costs and technical data. For further background information, refer to MR-00375-Q00. ### Discussion Section 2.2 Registered Facilities Section 2.2.6B describes the required submission for certain dispatchable generation facilities. Minor wording changes are proposed to provide greater clarity. One reference to minimum run-time is unnecessary in this instance and has been deleted. The following editorial changes are required so that section numbering follows the market rules conventional style: - Delete sections 2.2.6B.1 through 2.2.6.B3, and move to sections 2.2.6J, 2.2.6K, and 2.2.6G, respectively. These sections describe data submission requirements. - Information will be submitted in accordance with the applicable market manuals and will not be itemized in the rules. In sections 2.2.6E, 2.2.6F and 2.2.6H, changes include: - Removing the reference to 2.2.6C which was deleted as part of MR-00348. - Revise section 2.2.6F to add references to 2.2.6J (which describes the daily submission of information) and 2.2.6G (which describes the information submitted for combined cycle facilities and pseudo-units), all of which the IESO will respect in scheduling. Also change the reference to section 4 since the determination of the real-time schedule is section 6. - Revise section 2.2.6H to add a clarifying phrase. New section 2.2.6I has been added to specify the IESO’s obligation to use the submitted daily information referred to in section 2.2.6J to calculate the pseudo-unit technical parameters, provided that the participant has declared to operate as a pseudo-unit in accordance with section 2.2.6G. Section 2.2C Generation Facility Eligibility for the Production Cost Guarantee - Modify the section title to reflect the change from Production Cost Guarantee to Day-Ahead Production Cost Guarantee. Section 3.3 Dispatch Data Submissions - Modify section 3.3.1 to reflect the change in the deadline for submitting initial dispatch data from 11:00 to 10:00 EST. - Modify section 3.3.2. The IESO will determine the initial pre-dispatch schedule after the release of the schedule of record (subject to the operation of the DACP on that pre-dispatch day), rather than during the DACP. Market participants may have revised their initial dispatch data under section 3.3A.6; the initial pre-dispatch schedule will consider the initial dispatch data as revised under 3.3A.6. Section 3.3A Dispatch Data Submission for the Day-Ahead Commitment Process - Modify section 3.3A.6 after the word “offers” to insert the words “or bids”, referring to submitted information from dispatchable loads and from boundary entities for export transactions. Delete words describing the types of market participants that submit dispatch data; this detail is provided under section 3.3A.2 which is referenced in this section. Also change wording of this section to clarify the timing and requirements for revision of dispatch data after 10:00 EST by market participants. - Delete section 3.3A.7. The section is redundant and therefore unnecessary. Section 3.3.2 already requires the IESO to determine the initial pre-dispatch schedule using the initial dispatch data submitted, including the dispatch data submitted under section 3.3A.2 and 3.3A.5. - Modify section 3.3A.8 to reflect the correct time after which dispatch data may be revised without restriction (until 2 hours prior to the dispatch hour, subject to 3.3A.9 and 3.3A.10); participants do not need to wait until after the release of the schedule of record, but rather may revise dispatch data after 14:00 EST. - Modify section 3.3A.9 to delete unnecessary wording and clarify the meaning of the section. - Modify section 3.3A.10 to reflect the change from Production Cost Guarantee to Day-Ahead Production Cost Guarantee. Section 5.1 Purpose and Timing of Pre-dispatch Schedules - Modify section 5.1.2 to specify the time for the determination of the initial pre-dispatch schedule for the next dispatch day, “no later than 16:00 EST” (changed from 12:00 EST). Section 5.5 Release of Pre-dispatch Schedule Information - Modify section 5.5.1 to specify the time by which the IESO must release and publish the initial pre-dispatch schedule, market schedule projections and market prices, “by 16:00 EST” (changed from 12:00 EST). Section 5.8 The Day-Ahead Commitment Scheduling Process - Modify section 5.8.1 to delete the reference to pre-dispatch schedules. Appendix 7.5A is used only for the determination of the schedule of record. - Modify section 5.8.2 to delete the reference to section 5.5 which refers to the release of pre-dispatch information only, not DACP information. The schedule of record is released in accordance with the applicable market manual. Also modify this section to make the release of the schedule of record subject to the schedule of record first being determined under section 5.8.1. - Modify section 5.8.4 to reflect the change from Production Cost Guarantee to Day-Ahead Production Cost Guarantee. - Modify section 5.8.5 to state that a facility will be constrained at minimum loading point or greater for all hours the facility is scheduled in the schedule of record (not just the minimum generation block run-time hours). Also modify this section to make it subject to section 5.8.4 (the facility must be eligible under section 2.2C for the day-ahead production cost guarantee). - Modify section 5.8.7 to delete the reference to pre-dispatch schedules since they are no longer produced before the schedule of record. The IESO only ignores the net intertie scheduling limit (NISL) for the first hour of the next dispatch day during the DACP timeframe. Section 6.3B Real-Time Scheduling of Generation Facilities Eligible for the Production Cost Guarantee - Modify the section title and sections 6.3B.1, 6.3B.2 and 6.3B.3 to reflect the change from Production Cost Guarantee to Day-Ahead Production Cost Guarantee. Section 12.1 IESO System Status Reports - Modify section 12.1.1.3 and 12.1.1.4 to reflect the new time for publishing the system status report, at 09:00 EST not 10:30 EST..

## Part 4 – Proposed Amendment

…………………………….

2.2.6B	A registered market participant for a dispatchable generation facility shall submit to the IESO the minimum loading point, the minimum generation block run-time, and the minimum run-time for the generation facility, if the minimum loading point for the facility is greater than zero MW and if the minimum generation block run-time for the facility is greater than one hour.

2.2.6C	[Intentionally left blank – section deleted]

2.2.6D	The IESO may request, and the registered market participant for a dispatchable generation facility shall submit to the IESO, the following information for the generation facility:

- start-up time; and

- minimum shut-down time.

2.2.6E	If no facility specific data is submitted to the IESO for the generation facility’s minimum loading point,  forbidden regions, or period of steady operation in accordance with sections 2.2.6A and 2.2.6B, the IESO shall assign default values of zero for that data.

2.2.6F	If facility specific data is submitted to the IESO in accordance with sections 2.2.6A, 2.2.6B, 2.2.6G or 2.2.6J, the IESO shall respect the data as submitted in its determination of the real-time schedule in accordance with section 6 and day-ahead schedule in accordance with section 5.

2.2.6G	In accordance with the applicable market manuals, a registered market participant that operates a combined cycle facility that is not aggregated under section 2.3 shall submit to the IESO the required data for that combined cycle facility, and for those registered market participants that wish to designate their non-aggregated combined cycle facility as a pseudo-unit in the day-ahead commitment process set out in section 5.8, the required data for that pseudo-unit.

2.2.6H	A registered market participant for a dispatchable hydroelectric generation facility shall submit to the IESO where applicable the daily cascading hydroelectric dependency for that generation facility.

2.2.6I         Subject to section 2.2.6G, the IESO shall determine, in accordance with the applicable market manual, the pseudo-unit technical parameters based on the facility specific data submitted under section 2.2.6J.

2.2.6J	A registered market participant for a dispatchable generation facility that is not a quick-start facility may submit on a daily basis the minimum loading point, the minimum generation block run-time, the maximum number of starts per day and the minimum generation block down time, and, for facilities designated as a pseudo-unit under section 2.2.6G, the combustion turbine single cycle mode, and the IESO shall use this data in the day-ahead commitment process set out in section 5.8.

2.2.6K	A registered market participant for a dispatchable generation facility shall submit to the IESO the elapsed time to dispatch for the generation facility.

…………………………………

2.2C	Generation Facility Eligibility for the Day-Ahead Production Cost Guarantee

…………………………………….

3.3.1	Subject to sections 3.3.9 and 3.3A, a registered market participant that submits or is required to submit dispatch data for the initial pre-dispatch schedule, shall submit initial dispatch data for each dispatch hour of the dispatch day after 06:00 EST but before 10:00 EST of each pre-dispatch day. Such initial dispatch data may thereafter be revised as permitted by this section 3.3.

3.3.2	Subject to section 3.3A.6, the IESO shall use the initial dispatch data submitted by registered market participants to determine and publish the initial pre-dispatch schedule in accordance with section 5.

………………………………..

3.3A.6	Registered market participants that submitted offers or bids in accordance with either section 3.3A.2 or section 3.3A.5 shall require IESO approval to modify those offers or bids between 10:00 and 14:00 EST except for registered market participants for:

dispatchable hydroelectric generation facilities which submitted a daily cascading hydroelectric dependency in accordance with section 2.2.6K and which are designated by the IESO as eligible energy-limited resources, and

physical generation units associated with a pseudo-unit designated in accordance with section 2.2.6G.

3.3A.7	[Intentionally left blank – section deleted]

### Market Participant Revisions to Dispatch Data

3.3A.8	Subject to sections 3.3A.9 and 3.3A.10, after 14:00 EST a registered market participant may submit revised dispatch data with respect to any dispatch hour without restriction until 2 hours prior to the beginning of that dispatch hour.

3.3A.9	Subject to section 3.3A.10, a  registered market participant for a dispatchable generation facility that did  submit dispatch data under section 3.3A.2 may revise its offer in real-time provided the revised dispatch data does not increase the number of hours offered or the offered quantity in any hour relative to the dispatch data submitted under section 3.3A.2.   Revised offers which represent increases to the number of hours offered or increases to the offered quantity relative to the dispatch data submitted under section 3.3A.2 will require IESO approval.  Changes to daily energy limits will not require IESO approval.

3.3A.10     A registered market participant for a dispatchable generation facility that was deemed to have accepted the day-ahead production cost guarantee in accordance with section 5.8.4 shall not increase the offer price associated with the minimum loading point of the facility.

……………………………..

5.1.2	The IESO shall determine an initial pre-dispatch schedule for the 24 dispatch hours of each dispatch day no later than 16:00 EST on the pre-dispatch day.

……………………………..

5.5.1	The IESO shall release the initial pre-dispatch schedule and associated projections of market schedules and shall publish market prices by 16:00 EST of each pre-dispatch day, and shall release any revised pre-dispatch schedules and projections of market schedules and shall publish market prices as soon as practical after they are determined. The information to be released to market participants is described in this section 5.5.

…………………………….

5.8.1	Starting from 10:00 EST, the IESO may in accordance with Appendix 7.5A determine the schedule of record.

5.8.2	Where the IESO determines the schedule of record in accordance with Section 5.8.1, it will be released by the IESO no later than 15:00 EST in accordance with the applicable market manual.

5.8.3	[Intentionally left blank – section deleted.]

5.8.4	A registered market participant whose facility is eligible under section 2.2C for the day-ahead production cost guarantee and whose facility is included in the schedule of record   is deemed to have accepted the guarantee for its facility.

5.8.5	Subject to sections 5.8.4 and 5.8.6, the IESO shall ensure that the scheduled output for  a facility will meet or exceed its minimum loading point for all hours that it was included in the schedule of record in future iterations of the pre-dispatch schedule and in the real-time schedule.

5.8.6	The IESO may, to maintain the reliable operation of the IESO-controlled grid, require a generation facility that was included in the schedule of record to either desynchronize from the IESO-controlled grid or to not synchronize to the IESO-controlled grid.

5.8.7	When determining the schedule of record applicable to the first hour of the next dispatch day , the IESO may disregard the net intertie scheduling limit.

…………………………….

6.3B	Real-Time Scheduling of Generation Facilities Eligible for the Day-Ahead Production Cost Guarantee

6.3B.1	If the IESO, for reasons of reliability, requires a generation facility that was eligible for the day-ahead production cost guarantee under section 2.2C to either desynchronize from the IESO-controlled grid or to not synchronize to the IESO-controlled grid such that the generation facility does not comply with its schedule of record, the generation facility shall remain eligible for the day-ahead production cost guarantee. The registered market participant for the generation facility may also apply to the IESO for additional compensation under section 4.7E.1 of Chapter 9.

6.3B.2	If a generation facility that was eligible for the day-ahead production cost guarantee under section 2.2C  does not  close its breaker by the start of the first interval of the first hour  of its schedule of record due to reasons not specified in sections 6.3B.1or 6.3B.3 then the generation facility shall not remain eligible for the day-ahead production cost guarantee associated with that start determined in accordance with section 5.8 nor shall the registered market participant for the generation facility be eligible to apply to the IESO for additional compensation under section 4.7E.1 of Chapter 9.

6.3B.3	If a generation facility that was eligible for the day-ahead production cost guarantee under section 2.2C does not comply with its schedule of record due to reasons specified in section 1.2.3 of Chapter 5 then the facility shall remain eligible for a pro-rated day-ahead production cost guarantee determined in accordance with section 4.7D of Chapter 9.

………………………………

12.1.1	The IESO shall publish system status reports with respect to each dispatch day at the following times:

12.1.1.1	15:30 EST of the day two days prior to the dispatch day;

12.1.1.2	05:30 EST of the pre-dispatch day;

12.1.1.3	09:00 EST of the pre-dispatch day;

12.1.1.4	any time of the pre-dispatch day subsequent to 09:00 EST if there is a material change to the information in the previous system status report for the dispatch day; and

12.1.1.5	any time during the dispatch day, for the current and remaining dispatch hours of the dispatch day, if there is a material change to the information in the previous system status report for such dispatch hours.

## Part 5 – IESO Board Decision Rationale

This amendment addresses IESO obligations for pseudo-units (related to combined-cycle gas generators) and other minor corrections and clarifications to the previously approved EDAC market rule amendments MR-00348: EDAC - 24 Hour Optimization and 3-part Offers; and MR-00349: EDAC – Settlement Guarantees. The Board approved the effective dates on September 09, 2011 in line with the expected go-live date for EDAC.

|  | # Market Rule Amendment Proposal |
| --- | --- |

| ## Part 1 – Market Rule Information |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Identification No.: |  | MR-00375-R01 |  |  |  |  |  |
| Subject: | Enhanced Day-Ahead Commitment Process (EDAC) |  |  |  |  |  |  |
| Title: | Market Rule True-up |  |  |  |  |  |  |
| Nature of Proposal: |  |  | Alteration |  | Deletion |  | Addition |
| Chapter: | 9 |  |  |  | Appendix: |  |  |
| Sections: | 3.1, 3.5, 3.8A, 3.8E, 4.7B, 4.7D |  |  |  |  |  |  |
| Sub-sections proposed for amending: |  |  |  | Various |  |  |  |

| ## Part 2 – Proposal History – please refer to Mr-00375-R00 |  |  |  |
| --- | --- | --- | --- |
| ### Version | ### Reason for Issuing |  | ### Version Date |
| Approved Amendment Publication Date: |  |  |  |
| Approved Amendment Effective Date: |  |  |  |

## Part 3 – Explanation for Proposed Amendment

Provide a brief description of the following: - The reason for the proposed amendment and the impact on the IESO-administered markets if the amendment is not made. - Alternative solutions considered. - The proposed amendment, how the amendment addresses the above reason and impact of the proposed amendment on the IESO-administered markets.

Summary Please refer to MR-00375-R00. Background Please refer to MR-00375-R00. Discussion It is proposed to modify the market rules in Chapter 9 in the following manner: Section 3.1 Hourly Settlement Variables and Data (for DACP) - Insert a new subsection 3.1.11 to reflect the IESO obligation to calculate the required information for settlement of a pseudo-unit. Section 3.5 Hourly Congestion Management Settlement Credits (CMSC) - Insert a new subsection 3.5.7A to give the IESO the authority to recover CMSC revenue, up to MLP, earned as a result of a constraint in the hours after midnight (after the DACP dispatch day). Section 3.8A Hourly Settlement Amounts for Intertie Offer Guarantees - Modify section 3.8A.4 to reflect the change from EDAC to DACP. The name of this project is EDAC; however, the name of the IESO program in the market rules remains DACP. - Also modify section 3.8A.4 to change “market schedule” (i.e. unconstrained schedule) to “constrained schedule” wherever it appears in order to reflect the approved equations in this section. - Reinstate sections 3.8A.5 and 3.8A.6, which were removed in error under MR-00349 (deleted), noting that they are intentionally left blank. Section 3.8E Day-Ahead Linked Wheel Failure Charge (DA-LWFC) - Modify section 3.8E.3 to reflect the correct calculation of the charge when a linked wheel is subject to both the DA-LWFC and the real time failure charge(s), by adjusting the real time failure charges within the calculation. This necessary adjustment is included in the stakeholdered EDAC design and in the settlements market manual. Section 4.7B Real-Time Generation Cost Guarantee Payments - Modify section 4.7B.3 to correct the reference to section 4.7B.1.1 (which is currently shown as 4.7.1.1 in error). - Modify section 4.7B.4 to reflect the change from day-ahead generation cost guarantee to day-ahead production cost guarantee and the change from generation facility to generation unit. Section 4.7D Day-Ahead Production Cost Guarantee Payments - Strike out “4.7D.1.1” and “4.7D.2.1”, which are unnecessary. - Modify section 4.7D.2, 4.7D.4, 4.7D.5 and 4.7D.6 to reflect the change from EDAC to DACP and the change from generation facility to generation unit. - Modify section 4.7D.4, Component 3 to use “schedule of record” not “day-ahead schedule”, and minor errata. - Modify section 4.7D.5 and 4.7D.6 to change the correct the reference to “4.7D.3” by changing it to “4.7D.4”.

Part 4 – IESO Board Decision Rationale

3.1.11	The IESO shall, in accordance with the applicable market manual, determine the required settlement data for registered market participants that submitted dispatch data for facilities operating as pseudo-units, using the information submitted under Chapter 7, sections 2.2.6G and 2.2.6J, and shall provide this settlement data directly to the settlement process.

……………………………..

3.5.7A	A registered market participant for a constrained on generation facility is not entitled to a congestion management settlement credits determined in accordance with section 3.5.2 for that facility up to minimum loading point if the congestion management settlement credit is earned as a result of constraints applied under Chapter 7, section 5.8.5 for hours in the day after the dispatch day.  In this case, the IESO may withhold or recover such congestion management settlement credits and shall redistribute any recovered payments in accordance with section 4.8.2 of Chapter 9.

...........................................

3.8A.4	The combined day-ahead and real-time intertie offer guarantees and intertie offer guarantee settlement credit offset (“IOG Offset”) process is as follows. Any adjustment made by the IESO under section 3.8A.3 shall be applied with respect to any export transaction in the constrained schedule for market participant ‘k’ in each settlement hour ‘h’ for which market participant ‘k’ is entitled to receive a real-time or day-ahead intertie offer guarantee settlement credit meeting the conditions set out in section 3.8A.3. The total amount offset shall be limited by the cumulative quantity of the export transactions expressed in the constrained schedule for that settlement hour and shall not exceed the total combined real-time and day-ahead intertie offer guarantee settlement credits received for the settlement hour. Where the cumulative quantity of the export transactions expressed in the constrained schedule for the settlement hour is less than the cumulative quantity of imports triggering real-time and day-ahead intertie offer guarantee settlement credits for that same settlement hour, the real-time and day-ahead intertie offer guarantee settlement credits will be offset in ascending order from the import transaction with the smallest real-time and/or smallest day-ahead intertie offer guarantee settlement rate to the import transaction attracting the largest real-time and/or largest day-ahead intertie offer guarantee settlement rate and only up until the point at which the total quantity of import transactions equals the total quantity of export transactions, and may be expressed as described in the general rule that follows.

...........................................

The ordering of these settlement amounts is described in terms of a general rule as follows:

Let MIk,ht [N,13] be an N by 13 matrix of N pairs of import quantities scheduled for injection by market participant ‘k’ in the real-time dispatch schedule and/or the constrained schedule from the DACP schedule of record in  the settlement hour ‘h’ (DA_DQSIk,hi and/or DQSIk,h i as the case may be) paired with the corresponding day-ahead intertie offer guarantee, the component of the real-time intertie offer guarantee settlement credit, DA-IOG rate, RT-IOG rate, DA Offset DQSW, DA-Offset Flag, Settlement rate, (gross) IOG$, RT Offset DQSW, IOG Offset $, (net) IOG $ for all intertie metering points ‘i’ arranged in ascending order by settlement rate in each row. Columns 1 through 4 are original inputs to the matrix, while columns 5 through 13 are derived.

...........................................

3.8A.5	[Intentionally left blank - section deleted]

3.8A.6	[Intentionally left blank - section deleted]

...........................................

3.8E.3	If a day-ahead linked wheel failure charge specified in section 3.8E.2 applies to a linked wheel where a real-time import failure charge specified in section 3.8C.3 and/or a real-time export failure charge specified in section 3.8C.5 applies to the same linked wheel, a charge shall apply to the market participant equal to the lesser of:

3.8E.3.1   	the day-ahead linked wheel failure charge specified in section 3.8E.2; and

3.8E.3.2   	the sum of the real-time import failure charge and the real-time export failure charge, both subject to the scheduling deviation quantity between the schedule of record and the pre-dispatch schedule, as follows:

RT_EFC_DALWk,hi + RT_IFC_DALWk,hi

Where:

………………………………….

4.7B.3	If for each eligible generation facility the sum of the revenues calculated pursuant to section 4.7B.1.1 is less than the combined guaranteed costs referred to in section 4.7B.1.2, then the IESO shall calculate that difference and shall include that amount in the form of additional payments made in respect of the eligible generation facility.

4.7B.4	A real-time generation cost guarantee shall not be paid for a generation unit with respect to costs incurred or revenues accrued by that generation unit for which a day-ahead production cost guarantee applies under section 4.7D.

………………………………

4.7D.1	The IESO shall determine on a per-start basis, for each generation unit that has met the criteria set out in chapter 7, sections 5.8.4, a day-ahead production cost guarantee consisting of the following components:

a.	Component 1 is any shortfall in payment on the delivered real-time dispatch of the schedule of record and will be based upon the real-time revenue received for that amount of energy in comparison with the value as represented in the generator’s day-ahead offer for incremental energy and speed-no-load costs;

……………………………..

4.7D.2	The IESO shall determine the type of schedule and which components described in Section 4.7D.1 are included in the day-ahead production cost guarantee, for each generation unit, as follows:

a.	Variant 1: If the generation unit is not operating from the previous dispatch day into the current dispatch day, the day-ahead production costs guarantee calculation for the current dispatch day includes Components 1 through 5. Variant 1 occurs when:

      - the generation unit is not operating at the end of the previous DACP dispatch day (Day-1 HE 24 indicates off-line status); or

      - the generation unit is operating at the end of the previous DACP dispatch day (Day-1, HE 24 indicates on-line status)  but it is not operating into the current DACP dispatch day (Day 0, HE 1 indicates off-line status); or

        - the generation unit is scheduled to start later in the current DACP dispatch day.

b.	Variant 2: If the generation unit is operating from the previous dispatch day into the current dispatch day, to complete its minimum generation block run-time the day-ahead production costs guarantee calculation for the current dispatch day includes Components 1 through 4 but does not include Component 5.  The day-ahead production costs guarantee calculation also includes a clawback for Component 1 and Component 3

c.	Variant 3: If a generation unit is operating from the previous dispatch day into the current dispatch day and has completed its minimum generation block run-time in the previous dispatch day, the day-ahead production costs guarantee calculation for the current dispatch day includes Components 1 through 4 but does not include Component 5. Variant 3 occurs when:

        - the generation unit is operating from the previous DACP dispatch day (Day-1, HE 24 indicates on-line status) into the current DACP dispatch day (Day 0, HE 1 indicates on-line status) and has completed its MGBRT in the previous DACP dispatch day; or

        - the generation unit is operating from the previous DACP dispatch day (Day-1, HE 24 indicates on-line status) into the current DACP dispatch day, (Day 0, HE 1 indicates on-line status) and has not completed its MGBRT and is scheduled in the current DACP dispatch day for hours in excess of completing its MGBRT from the previous DACP dispatch day. Variant 3 in the current DACP dispatch day is only for the hours in excess of completing the MGBRT hours for the start from the previous DACP dispatch day.

……………………………….

4.7D.4	The IESO shall calculate the day-ahead production cost guarantee components based on the type of schedule described in Section 4.7D.2.1 as follows:

……………………………….

#### Component 3 Clawback – Variant 2

- Component 3 Clawback – Variant 2 recovers the congestion management settlement credits (CMSC) paid up to the minimum loading point for the remaining hours of MGBRT. Component 3 Clawback – Variant 2 is calculated as follows :

| PCG_COMP3_CBk,hm,t | = | Income received from real time congestion management settlement credits (CMSC) from the minimum of generation unit’s minimum loading point and the allocated quantity of energy injected to the real-time unconstrained schedule over the interval |
| --- | --- | --- |

Component 3 Clawback - Variant 2 is only calculated when:

- the schedule of record is not less than both the real-time constrained schedule and the real-time unconstrained schedule and the event is a constrained-on event (i.e. Scenarios 3 and 5);

- the minimum loading point is greater than the real-time unconstrained schedule; and

- Component 3 (PCG_COMP3k,hm,t) for the same interval is a value other than zero.

……………………………

#### Component 5 – Variant 1

Component 5 is the as-offered start-up cost incurred to bring an off-line generation unit through all the unit specific start-up procedures, including synchronization and ramp up to minimum loading point. Component 5 is calculated as follows:

| PCG_COMP5k,hm,t | = | As-offered start-up cost submitted by the market participant for the DACP start event. |
| --- | --- | --- |

The rules for calculating Component 5 are as follows:

- Scenario 1: If the generation unit achieves minimum loading point within the first 6 intervals of the start of the DACP scheduled period, the full as-offered start-up cost is considered.

- Scenario 2: If the generation unit achieves minimum loading point between the start of the 7th interval and before the start of the 18th interval of the start of the DACP scheduled period, the as-offered start-up cost is calculated on a fractional basis. The as-offered start-up cost is calculated based on the number of 5-minute intervals the resource takes to achieve minimum loading point between the start of the 7th interval and before the start of the 18th interval.

  - Scenario 3: If the generation unit achieves minimum loading point after the 17th interval of the start of the DACP scheduled period (i.e. 18th interval and onwards), the as-offered start-up cost is not considered.

…………………………………..

4.7D.5	If for each DACP start event for each eligible generation unit the sum of the revenues referred to in section 4.7D.4 is greater than or equal to the sum of the costs referred to in section 4.7D.4, then the IESO shall make no additional payments in respect of the eligible generation facility.

4.7D.6	If for each DACP start event for each eligible generation unit the sum of the revenues referred to in section 4.7D.4 is less than the sum of the costs referred to in section 4.7D.4, then the IESO shall include that amount in the form of additional payments made in respect of the eligible generation facility.

Part 5 – IESO Board Decision Rationale – refer to MR-00375-R00

|  | # Market Rule Amendment Proposal |
| --- | --- |

| ## Part 1 – Market Rule Information |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Identification No.: |  | MR-00375-R02 |  |  |  |  |  |
| Subject: | Enhanced Day-Ahead Commitment Process (EDAC) |  |  |  |  |  |  |
| Title: | Market Rule True-up |  |  |  |  |  |  |
| Nature of Proposal: |  |  | Alteration |  | Deletion |  | Addition |
| Chapter: | 11 |  |  |  | Appendix: |  |  |
| Sections: | n/a |  |  |  |  |  |  |
| Sub-sections proposed for amending: |  |  |  |  |  |  |  |

| ## Part 2 – Proposal History – please refer to Mr-00375-R00 |  |  |  |
| --- | --- | --- | --- |
| ### Version | ### Reason for Issuing |  | ### Version Date |
| Approved Amendment Publication Date: |  |  |  |
| Approved Amendment Effective Date: |  |  |  |

## Part 3 – Explanation for Proposed Amendment

Provide a brief description of the following: - The reason for the proposed amendment and the impact on the IESO-administered markets if the amendment is not made. - Alternative solutions considered. - The proposed amendment, how the amendment addresses the above reason and impact of the proposed amendment on the IESO-administered markets.

Summary Please refer to MR-00375-R00. Background Please refer to MR-00375-R00. Discussion It is proposed to modify the market rules in Chapter 11 Definitions in the following manner: - The definitions of schedule of record and pseudo-unit will be modified to improve clarity. - The definition of combined guaranteed costs was deleted in MR-00348 because it was no longer used in the calculation of the day-ahead generation cost guarantee once the day-ahead production cost guarantee became effective. However, Combined Guaranteed Costs are still required in the calculation of the real-time generation cost guarantee. The definition will be re-instated.

## Part 4 – Proposed Amendment schedule of record means the last valid set of results from the day-ahead commitment process used by the IESO for the application of constraints and the calculation of various day-ahead settlement amounts; pseudo-unit means a combined cycle generation facility that is modeled based on a gas-to-steam relationship between generation units, and which is comprised of one combustion turbine generation unit and a share of one steam turbine generation unit at the same combined cycle generation facility. combined guaranteed costs means all fuel costs incurred by a generation facility up to and including its minimum loading point, as defined in the applicable market manual, including costs incurred by that generation facility to achieve synchronization and once synchronized with the IESO-controlled grid to move to the generation facility’s minimum loading point;

## Part 5 – IESO Board Decision Rationale

Refer to MR-00375-R00

|  | # Market Rule Amendment Proposal |
| --- | --- |

| ## Part 1 – Market Rule Information |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Identification No.: |  | MR-00375-R03 |  |  |  |  |  |
| Subject: | Enhanced Day-Ahead Commitment Process (EDAC) |  |  |  |  |  |  |
| Title: | Market Rule True-up |  |  |  |  |  |  |
| Nature of Proposal: |  |  | Alteration |  | Deletion |  | Addition |
| Chapter: | n/a |  |  |  | Appendix: | 7.5A |  |
| Sections: | various |  |  |  |  |  |  |
| Sub-sections proposed for amending: |  |  |  | various |  |  |  |

| ## Part 2 – Proposal History – please refer to Mr-00375-R00 |  |  |  |
| --- | --- | --- | --- |
| ### Version | ### Reason for Issuing |  | ### Version Date |
| Approved Amendment Publication Date: |  |  |  |
| Approved Amendment Effective Date: |  |  |  |

## Part 3 – Explanation for Proposed Amendment

Provide a brief description of the following: - The reason for the proposed amendment and the impact on the IESO-administered markets if the amendment is not made. - Alternative solutions considered. - The proposed amendment, how the amendment addresses the above reason and impact of the proposed amendment on the IESO-administered markets.

Summary Please refer to MR-00375-R00. Background Please refer to MR-00375-R00. Discussion It is proposed to amend Appendix 7.5 to reflect that the Production Cost Guarantee is now referred to as Day-Ahead Production Cost Guarantee, and all references to EDAC have been replace with DACP. Also amend this appendix to correct the errata in the numbering of section 6.11.

## Part 4 – Proposed Amendment

Table of Contents

Market Rule Amendment Proposal	1

Part 1 – Market Rule Information	1

Part 2 – Proposal History	1

Part 3 – Explanation for Proposed Amendment	2

Part 4 – Proposed Amendment	4

2.2C	Generation Facility Eligibility for the Day-Ahead Production Cost Guarantee	6

…………………………………….	6

6.3B	Real-Time Scheduling of Generation Facilities Eligible for the Day-Ahead Production Cost Guarantee	8

Part 5 – IESO Board Decision Rationale	9

Market Rule Amendment Proposal	11

Part 1 – Market Rule Information	11

Part 2 – Proposal History – please refer to Mr-00375-R00	11

Part 3 – Explanation for Proposed Amendment	12

Part 4 – IESO Board Decision Rationale	13

Market Rule Amendment Proposal	21

Part 1 – Market Rule Information	21

Part 2 – Proposal History – please refer to Mr-00375-R00	21

Part 3 – Explanation for Proposed Amendment	22

Part 4 – Proposed Amendment	23

Part 5 – IESO Board Decision Rationale	23

Market Rule Amendment Proposal	25

Part 1 – Market Rule Information	25

Part 2 – Proposal History – please refer to Mr-00375-R00	25

Part 3 – Explanation for Proposed Amendment	26

Part 4 – Proposed Amendment	26

Appendix 7.5A – The DACP Calculation Engine Process	28

1.1	Interpretation	28

2.	DACP Calculation Engine	29

2.1	Overview	29

3.	Inputs into the DACP Calculation Engine	29

3.1	Demand Forecast	29

3.2	Energy Offers and Bids	30

3.3	Operating Reserve Offers	30

3.4	Forecasts from Self-Scheduling Generation Facilities, Transitional Scheduling Generators and Intermittent Generators	30

3.5	Ramp up to Minimum Loading Point	30

3.6	Energy Limited Resources	30

3.7	Transmission Inputs	30

3.8	Other Inputs	31

4.4	Security Assessment	31

4.5	Outputs from Pass 1	32

4.6	Glossary of Sets, Indices, Variables and Parameters for Pass 1	32

4.11	Constraints to Ensure Schedules Do Not Violate Reliability Requirements	32

5.0	Pass 2: Constrained Commitment to Meet Peak Demand	36

5.1	Overview	36

5.5	Outputs from Pass 2	36

5.12	Constraints to Ensure Schedules Do Not Violate Reliability Requirements	36

6.11	Constraints to Ensure Schedules Do Not Violate Reliability Requirements	38

7.	Combined-Cycle Modeling	40

7.1	Overview	40

7.2	Modeling by DACP Calculation Engine	41

Part 5 – IESO Board Decision Rationale	41

Appendix 7.5A – The DACP Calculation Engine Process

1.1	Interpretation

1.1.1	This appendix describes the DACP calculation engine process used to determine commitments, constrained schedules, and shadow prices.

1.1.1.1	Commitment refers to the availability of generation facilities and imports to provide energy and/or operating reserve and dispatchable loads and exports to provide operating reserve.

1.1.1.2	The constrained schedules of the schedule of record are assessed in the calculation of day-ahead production cost guarantees.

1.1.1.3	The shadow price of a location indicates the price of meeting an infinitesmal amount of change in load at that location.

1.1.2	The mathematical description of the optimization algorithm of the DACP calculation engine process is also described in this appendix.

1.1.3	The DACP calculation engine “outputs” described in this appendix refer to data produced by DACP calculation engine and the IESO shall not be required to publish such data except where expressly required by these market rules.

2.	DACP Calculation Engine

2.1	Overview

2.1.1	The DACP calculation engine is a core component of the DACP process that performs the functions of commitment and constrained scheduling over a 24-hour period for energy and operating reserves, and the calculation of shadow prices. The DACP calculation engine executes three passes to produce the final schedule of record.

2.1.1.1	Pass 1, the Commitment Pass determines the initial set of commitments and constrained schedules required to satisfy the average forecast demand of the next day. Details of Pass 1 are described in section 4.

2.1.1.2	Pass 2, the Reliability Pass ensures that if the resources committed by Pass 1 are insufficient to satisfy peak forecast demand, additional resources are committed and scheduled. Details of Pass 2 are described in section 5.

2.1.1.3	Pass 3, the Scheduling Pass uses the commitments made in Passes 1 and 2 to determine the schedule of record and the associated constrained schedules to meet average forecast demand. Details of Pass 3 are described in section 6.

2.1.2	Since each pass provides constrained schedules, the DACP calculation engine will iterate the calculations for constrained schedules with security assessments until there are no security violations. The security assessment functionality is described in section 4.4.

3.	Inputs into the DACP Calculation Engine

3.1	Demand Forecast

3.1.1	The IESO shall prepare forecasts of the total demand in Ontario for each hour of the next day. This hourly forecast will be modified by the DACP calculation engine so that the expected consumption associated with dispatchable loads will be removed. Average hourly demand forecasts will be used as inputs to Passes 1 and 3. Peak hourly demand forecasts will be used as inputs to Pass 2.

3.2	Energy Offers and Bids

3.2.1	A registered market participant may submit an energy offer or energy bid and associated dispatch data with respect to a given registered facility for each dispatch hour of the next day for DACP. Energy offers, bids and dispatch data shall be submitted in accordance to Chapter 7.

3.3	Operating Reserve Offers

3.3.1	A registered market participant may submit an offer and associated dispatch data to provide each class of operating reserve for each dispatch hour of the next day for DACP. Operating reserve offers and dispatch data shall be submitted in accordance to Chapter 7.

3.4	Forecasts from Self-Scheduling Generation Facilities, Transitional Scheduling Generators and Intermittent Generators

3.4.1	The DACP calculation engine will take into account the expected output of self-scheduling generation facilities, transitional scheduling generators and intermittent generators when committing resources to meet forecast demand for the next day. The registered market participant representing such generation at each location will inform the IESO of the amount of energy it expects to produce in each hour of the next day as a function of price in accordance to Chapter 7.

3.5	Ramp up to Minimum Loading Point

3.5.1	In order for the DACP calculation engine to determine constrained schedules in Pass 3 that account for the energy produced by generation facilities during ramping to their minimum loading points, an approximate value of this energy will be used. This energy will be represented by a fraction of the unit’s minimum loading point in the hour prior to the first hour it is scheduled.

3.6	Energy Limited Resources

3.6.1	Energy limited resources constitute a subset of generation facilities that at times can be limited in the amount of energy they can provide during each day.

3.6.2	An energy limited resource shall designate the daily limit on the amount of energy it could be scheduled to generate over the course of the day.

3.7	Transmission Inputs

3.7.1.	Transmission inputs are based on information prepared by the IESO for the security assessment function of the DACP calculation engine described in section 4.4. These inputs include:

3.7.1.1	Internal transmission constraints;

3.7.1.2	Limits on imports and exports;

3.7.1.3	Loop flows; and

3.7.1.4	Transmission losses.

3.8	Other Inputs

3.8.1	The IESO shall also provide other inputs into the DACP calculation engine that are necessary in order to ensure a solution that is consistent with system reliability. These include:

3.8.1.1	Distribution of internal demand;

3.8.1.2	Distribution of imports, exports and loop flows;

3.8.1.3	Operating reserve requirements;

3.8.1.4	Must-run resources for other reliability purposes;

3.8.1.5	Regulation (AGC);

3.8.1.6	Voltage constraints;

3.8.1.7	Initializing assumptions regarding resources in operation; and

3.8.1.8	Costs of violations.

………………..

4.4	Security Assessment

4.4.1	For constrained scheduling, the DACP calculation engine iterates a security assessment function with the scheduling function. The scheduling function produces schedules which are passed to the security assessment function. The security assessment function determines losses and additional constraints which feed back to the subsequent iteration of the scheduling function.

4.4.2	The security assessment function used by Pass 1 is common to all passes of the DACP calculation engine process.

………………

4.4.6	Constraint violation variables, when violated indicate the type of problem that is not allowing the optimization of the objective function to have a solution. The equivalent constraint violation variables and their values as used in the real-time market and described Appendix 7.5, section 4.12 are utilized by the DACP calculation engine. Further details of these inputs for the DACP calculation engine are described in section 4.6.2.4.

4.5	Outputs from Pass 1

4.5.1	The primary outputs of Pass 1 which are used in Pass 2 and other DACP processes include the following:

4.5.1.1	Commitments;

4.5.1.2	Constrained schedules for energy; and

4.5.1.3	Shadow prices for energy.

4.6	Glossary of Sets, Indices, Variables and Parameters for Pass 1

………………..

4.6.2.4	Constraint Violation Price Inputs

| PLdViol | The value that the DACP calculation engine will assign to scheduling the forecast load. As measured by the effect on the value of the objective function, if the cost of serving that load (in dollars per MWh) exceeds PLdViol, then that load would not be scheduled. This is not applicable to Pass 1 since PLdViol will exceed maximum bid price allowed and no bid load could be scheduled at this price. This equals the shortage cost for energy applied in the real-time market. |
| --- | --- |

……………….

4.11	Constraints to Ensure Schedules Do Not Violate Reliability Requirements

4.11.1	Load

4.11.1.1	For each hour of the DACP, the total amount of energy generated in the DACP schedule, plus scheduled imports must be sufficient to meet forecast demand, scheduled exports, and transmission losses consistent with these schedules. It will be easiest to break the derivation of the constraint that will ensure this occurs into several steps.

4.11.1.2	First, define the total amount of withdrawals scheduled in Pass 1 at each bus b in each hour h, With1h,b, as the sum of:

- the portion of the load forecast for that hour that has been allocated to that bus;

- all dispatchable load bid, net of the amount of load reduction scheduled (since the dispatchable load is excluded from the demand forecast by the DACP calculation engine);

- exports from Ontario to each intertie zone sink bus; and

- outflows from Ontario associated with loop flows between Ontario and each intertie zone, allocated among the buses in the intertie zones using the distribution factors developed for that purpose, yielding:

- Withh,b1=LDFh,b⋅AFLh+j∈JbQPRLj,h,b−SPRLj,h,b1; andWithh,d1=j∈Jd(SHXLj,h,d1)−a∈AProxyUPOWtd,amin(0,PFh,a).

- ………………..

4.11.1.4	Injections and withdrawals at each bus must be multiplied by one plus the marginal loss factor to reflect the losses (or reduction in losses) that result when injections or withdrawals occur at locations other than the reference bus. These loss-adjusted injections and withdrawals must then be equal to each other, after taking into account any system loss adjustment that is required due to the difference between average and marginal losses. Load reduction associated with the demand constraint violation will be subtracted from the total load and generation reduction will be subtracted from total generation associated with the demand constraint violation to ensure that the DACP calculation engine will always produce a solution. These violation variables are assigned a very high cost to limit their use to infeasible cases.

b∈B(1+MglLossh,b)Withh,b1+d∈D(1+MglLossh,d)Withh,d1−SLdViolh1     =b∈B(1+MglLossh,b)Injh,b1        +d∈D(1+MglLossh,d)Injh,d1−SGenViolh1+LossAdjh.

………………..

4.11.3	Internal Transmission Limits

4.11.3.1	The IESO must ensure that the set of DACP schedules produced by Pass 1 of the DACP calculation engine would not violate any security limits in either the pre-contingency state or after any contingency.

4.11.3.2	To develop the constraints to ensure that this occurs, the total amount of energy scheduled to be injected at each bus and the total amount of energy scheduled to be withdrawn at each bus will be used.

4.11.3.3	The security assessment function of the DACP calculation engine will linearize binding (violated) pre-contingency limits on transmission facilities within Ontario. The linearized constraints will take the form:

b∈BPreConSFb,f,h(Injh,b1−Withh,b1)+d∈DPreConSFd,f,h(Injh,d1−Withh,d1)       −SPreConITLViolf,h1≤AdjNormMaxFlowf,h

where D is the set of sink and source buses outside Ontario, for all facilities f and hours h.

4.11.3.4	Similarly, the linearized binding post-contingency limits will take the form:

b∈BSFb,f,c,h(Injh,b1−Withh,b1)+d∈DSFd,f,c,h(Injh,d1−Withh,d1)       −SITLViolf,c,h1≤AdjEmMaxFlowf,c,h

for all facilities f, hours h, and monitored contingencies c.

4.11.4	Intertie Limits and Constraints on Net Imports

4.11.4.1	The IESO must ensure that the set of DACP schedules produced by Pass 1 of the DACP calculation engine would not violate any security limits associated with interties between Ontario and intertie zones. To ensure this, we must calculate the net amount of energy scheduled to flow over each intertie in each hour and the amount of operating reserve scheduled to be provided by resources in that control area. This will be summed over all affected interties. The result will be compared to the limit associated with that constraint. Consequently:

a∈AEnCoeffa,zd∈DIa,k∈Kd(SHIGk,h,d1)+PFh,a−d∈DXa,j∈Jd(SHXLj,h,d1)+

for all hours h, for all intertie zones a relevant to the constraint z

(EnCoeffa,z≠0), and for all constraints z in the set Zsch.

4.11.4.2	In addition, changes in the net energy schedule over all interties cannot exceed the limits set forth by the IESO for hour-to-hour changes in those schedules. The net import schedule is summed over all interties for a given hour. It cannot exceed the sum of net import schedule for all interties for the previous hour plus the maximum permitted hourly increase. It cannot be less than the sum of the net import schedule for all interties for the previous hour minus the maximum permitted hourly decrease. Violation variables are provided for both the up and down ramp limits to ensure that the DACP calculation engine will always find a solution. Therefore:

d∈Dk∈Kd(SHIGk,h−1,d1)−j∈Jd(SHXLj,h−1,d1)−ExtDSCh−SDRmpXTLViolh1     ≤d∈Dk∈Kd(SHIGk,h,a1)−j∈Jd(SHXLj,h,d1)     ≤d∈Dk∈Kd(SHIGk,h−1,d1)−j∈Jd(SHXLj,h−1,d1)+ExtUSCh+SURmpXTLViolh1    for all hours h (schedules for hour, h=0 are obtained from the initializing inputs listed in section 3.8).

....................

5.0	Pass 2: Constrained Commitment to Meet Peak Demand

5.1	Overview

5.1.1	Pass 2 performs a least cost, security constrained unit commitment and constrained scheduling to meet the forecast peak demand and IESO-specified operating reserve requirements.

5.1.2	In each hour, peak demand occurs for a fraction of that hour. If additional commitment of generation facilities above those made in Pass 1 are required to meet peak demand, these generation facilities would only need to be operating for a fraction of the hour. Therefore, in Pass 2, the DACP calculation engine performs least cost optimization with respect to minimizing commitment costs to satisfy peak demand.

………………..

5.5	Outputs from Pass 2

5.5.1	The primary outputs of Pass 2 which are used in Pass 3 and other DACP processes include the following:

5.5.1.1	Commitments; and

5.5.1.2	Constrained schedules for energy.

………………..

5.12	Constraints to Ensure Schedules Do Not Violate Reliability Requirements

5.12.1	Load

5.12.1.1	Load constraints are structured in the same manner as described in section 4.11.1 for Pass 1.

5.12.1.2	The total amount of withdrawals scheduled in Pass 2 at each bus b in each hour h, With2h,b, is the sum of:

- the portion of the load forecast for that hour that has been allocated to that bus;

- all dispatchable load bid, net of the amount of load reduction scheduled (since the dispatchable load is excluded from the demand forecast by the DACP calculation engine);

- exports from Ontario to each intertie zone sink bus; and

- outflows from Ontario associated with loop flows between Ontario and each intertie zone, allocated among the buses in the intertie zones using the distribution factors developed for that purpose, yielding:

Withh,b2=LDFh,b⋅PFLh+j∈JbQPRLj,h,b−SPRLj,h,b2; andWithh,d2=j∈Jd(SHXLj,h,d2)−a∈AProxyUPOWtd,amin(0,PFh,a).

………………..

5.12.3	Internal Transmission Limits

5.12.3.1	The IESO must ensure that the set of DACP schedules produced by Pass 2 of the calculation engine would not violate any security limits in either the pre-contingency state or in any contingency. To develop the constraints to ensure that this occurs, the total amount of energy scheduled to be injected at each bus and the total amount of energy scheduled to be withdrawn at each bus will be used.

……………

6.6.2	Variables and Parameters

………………..

6.6.2.6	Output Schedule and Commitment Variables

| ………………. |  |
| --- | --- |
| RAMPUP_ENRG | The estimated fraction of a generation facility’s minimum loading point in the hour prior to the first hour it is scheduled. This value is used by the DACP calculation engine to determine constrained schedules in Pass 3 so that the energy produced by the generation facility during ramping to their minimum loading point is accounted for. |

……………….

6.11	Constraints to Ensure Schedules Do Not Violate Reliability Requirements

6.11.1	Load

6.11.1.1	The total amount of withdrawals scheduled in Pass 3 at each bus b in each hour h, With3h,b, is the sum of:

- the portion of the load forecast for that hour that has been allocated to that bus;

- all dispatchable load bid, net of the amount of load reduction scheduled (since the dispatchable load is excluded from the demand forecast by the DACP calculation engine);

- exports from Ontario to each intertie zone sink bus; and

- outflows from Ontario associated with loop flows between Ontario and each intertie zone, allocated among the buses in the intertie zones using the distribution factors developed for that purpose, yielding:

Withh,b3=LDFh,b⋅PFLh+j∈JbQPRLj,h,b−SPRLj,h,b3;andWithh,d3=j∈Jd(SHXLj,h,d3)−a∈AProxyUPOWtd,amin(0,PFh,a).

……………….

6.11.3	Internal Transmission Limits

6.11.3.1	The IESO must ensure that the set of DACP schedules produced by Pass 3 of the calculation engine would not violate any security limits in either the pre-contingency state or in any contingency. To develop the constraints to ensure that this occurs, the total amount of energy scheduled to be injected at each bus and the total amount of energy scheduled to be withdrawn at each bus will be used.

6.11.3.2	Then the pre-contingency limits on transmission within Ontario will not be violated if:

b∈BPreConSFb,f,h(Injh,b3−Withh,b3)+d∈DPreConSFd,f,h(Injh,d3−Withh,d3)   −SPreConITLViolf,h3≤AdjNormMaxFlowf,h

for all facilities f and hours h.

6.11.3.3	Post-contingency limits on transmission facilities within Ontario will not be violated if:

b∈BSFb,f,c,h(Injh,b3−Withh,b3)+d∈DSFd,f,c,h(Injh,d3−Withh,d3)       −SITLViolf,c,h3≤AdjEmMaxFlowf,c,h

for all facilities f, hours h, and monitored contingencies c.

6.11.4	Intertie Transmission Limits and Constraints on Net Imports

6.11.4.1	The calculation engine would not violate any security limits associated with interties between Ontario and intertie zones. To ensure this, we must calculate the net amount of energy scheduled to flow over each intertie in each hour and the amount of operating reserve scheduled to be provided by resources in that control area. This will be summed over all affected interties. The result will be compared to the limit associated with that constraint. Consequently:

a∈AEnCoeffa,zd∈DIa,k∈Kd(SHIGk,h,d3)+PFh,a−d∈DXa,j∈JdSHXLj,h,d3+

for all hours h, for all intertie zones a relevant to the constraint z

(EnCoeffa,z≠0), and for all constraints z in the set Zsch.

6.11.4.2	In addition, changes in the net energy schedule over all interties cannot exceed the limits set forth by the IESO for hour-to-hour changes in those schedules. The net import schedule is summed over all interties for a given hour. It cannot exceed the sum of net import schedule for all interties for the previous hour plus the maximum permitted hourly increase. It cannot be less than the sum of the net import schedule for all interties for the previous hour minus the maximum permitted hourly decrease. Violation variables are provided for both the up and down ramp limits to ensure that the calculation engine will always find a solution. Therefore:

d∈Dk∈Kd(SHIGk,h−1,d3)−j∈Jd(SHXLj,h−1,d3)−ExtDSCh−SDRmpXTLViolh3     ≤d∈Dk∈Kd(SHIGk,h,d3)−j∈Jd(SHXLj,h,d3)     ≤d∈Dk∈Kd(SHIGk,h−1,d3)−j∈Jd(SHXLj,h−1,d3)+ExtUSCh+SURmpXTLViolh3    for all hours h (schedules for hour, h=0 are obtained from the initializing inputs listed in section 3.8).

6.11.5	Intertie Schedule Limits Based on Pass 2 Outputs

6.11.5.1	Pass 3 will not reduce the amount of imported energy scheduled from each intertie zone in any hour. Additional imports of energy may be scheduled in Pass 3, Therefore, for imports that are not part of a linked wheeling transaction:

SHIGk,h,d3≥SHIGk,h,d2

for all offers k, hours h and intertie zones source bus d, and:

6.11.5.2	Pass 3 will not increase the amount of exported energy scheduled from each intertie zone in any hour to the amount scheduled in Pass 2.

6.11.5.3	Therefore, for exports that are not part of a linked wheeling transaction:

SHXLj,h,d3≤SHXLj,h,d2.

………………..

7.	Combined-Cycle Modeling

7.1	Overview

7.1.1	Registered market participants with combined-cycle plants of one or more combustion turbines and one steam turbine may choose to have the associated generation facilities modeled as one or more pseudo-units. Each pseudo-unit comprises of a single combustion turbine and a share of the steam turbine capacity. Inputs for pseudo-units used by the DACP calculation engine are described in Chapter 7, section 2.2.6G.

7.2	Modeling by DACP Calculation Engine

7.2.1	The pseudo-units are independently scheduled in each pass subject to the optimization objective function described in sections 4.3, 5.3 and 6.3 respectively. However, the security assessment described in section 4.4 is performed for each generation facility of the combined-cycle plant.

7.2.2	As the security assessment function iterates with the scheduling function of the DACP calculation engine, the output relationship of each combustion turbine and its share of output from the steam turbine is respected. This output relationship is described as follows:

7.2.2.1	For a combined-cycle plant with i combustion turbines and one steam turbine, it is represented by i pseudo-units.

7.2.2.2	For each pseudo-unit i, let psti,k represent the percentage of the pseudo-unit’s schedule that relates to the steam turbine in association with offer k.

7.2.2.3	Then for each pseudo-unit i, the percentage of the pseudo-unit’s schedule that relates to the combustion turbine i is (100% - psti,k).

7.2.2.4	For a given pseudo-unit schedule SPSUk,h for hour h and k offers its associated combustion turbine schedule is: kSPSUk,h×(100%−psti,k).

7.2.2.5	And the steam turbine schedule of the pseudo-unit plant for hour h is: ikSPSUk,h×(100%−psti,k).

## Part 5 – IESO Board Decision Rationale

Refer to MR-00375-R00